## Template Inputs
Alberta Electric System Operator
Estimated Cost Parameters and Physical Constraints Template
Section 206.2 of the ISO rules, Interim Supply Cushion Directives
Notes:
- The information contained on this sheet is required under Section 206.2 of the ISO rules and must be submitted in this format
- Input cells are indicated in blue
- Please refer to subsection 3 of ID #2024-005, Interim Supply Cushion Directives, for further information to assist in the completion of this template
Asset ID:
Minimum stable generation (MW)
Minimum off time (hours)
No load heat rate estimate (GJ/hour)
Incremental heat rate estimate (GJ/MWh)
Variable O&M cost estimate at MSG ($/hour)
Emissions cost estimate at MSG ($/hour)
Loss Factor %
Warmth category | HOT | WARM | COLD
Lower limit (hours) | 0
Maximum run up time (minutes)
Minimum on time (hours)
Initial start-up time (hours)
Start-up heat (GJ)
Start-up variable O&M cost estimate ($)
Start-up emissions cost estimate ($)
Note on B21: HOT lower limit MUST be 0
Note on A24: See subsection 3.2 of ID #2024-005.

## Cost Estimates
Alberta Electric System Operator
Cost Estimates Sheet
Section 206.2 of the ISO rules, Interim Supply Cushion Directives
Notes:
- Cost Estimates sheet may be used to assist in the estimation of costs
- Submission of Cost Estimates sheet is not required unless requested by the ISO under Section 206.2 of the ISO rules
- Input cells are indicated in blue and are used for cost estimate calculations
- Prefilled values are for demonstration purposes only
Updated version
Asset name | Warmth category | MSG (MW) | Start-up - lower limit (hours) | Maximum run up time (minutes) | Initial start-up time (hours) | Start-up heat (GJ) | No load heat rate (GJ/hour) | Incremental heat rate (GJ/MWh) | Fuel Price ($/GJ) | Carbon intensity (t C02e per GJ) | Carbon compliance rate ($ per t C02e) | Tonnes of CO2e for total fuel usage pre-sync (t CO2 e) | Start-up Emissions cost total ($) | Pre-Sync Var O&M Cost ($) | Start-up Variable O&M Cost ($)
ASSET1 | Hot | 120 | 0 | 120 | 5 | 800 | 100 | 8 | 3 | 0.0561 | 95 | 44.88 | 4263.6 | 200 | 200
ASSET1 | Warm | 120 | 5 | 120 | 8 | 1200 | 100 | 8 | 3 | 0.0561 | 95 | 67.32 | 6395.4 | 400 | 400
ASSET1 | Cold | 120 | 20 | 120 | 12 | 2000 | 100 | 8 | 3 | 0.0561 | 95 | 112.2 | 10659 | 600 | 600
Hourly costs while operating at MSG
Asset name | Hourly Tonnes of CO2e at MSG (t CO2e) | TIER electricity HPB (t CO2e per MWh) | Hourly OBA allowance at MSG (t C02e) | Excess CO2e over OBA (t CO2e) | Emissions cost estimate at MSG ($/hour) | Variable O&M charge at MSG ($/MWh) | Variable O&M Cost Estimate at MSG ($/hour)
ASSET1 | 59.466 | 0.3478 | 41.736 | 17.73 | 1684.35 | 4 | 480