## 2017 In-Service
Document: | Loss Factor Asset List for 2019 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2019
Version: | October 4, 2018
Summary: | All loss factor locations and associated source assets in-service any time during 2017 (including any additions, changes, and terminations during 2017)
Colour Legend: | Additions and changes in 2017 | Terminations in 2017 |  | In-service throughout 2017
Location (MPID) | Facility Name | Source Asset | Owner | Technology | Area Name | Number | PSS/E Bus | Date | Comments
0000001511 | FortisAlberta Reversing POD - Fort Macleod (15S) | — | FortisAlberta | Distribution-Connected | Fort Macleod | 53 | 4237 | 2017-01-01 | Continuing in-service
0000006511 | FortisAlberta Reversing POD - High River (65S) | MFG1 | FortisAlberta | Distribution-Connected | High River | 46 | 4242 | 2017-07-01 | STS 1.0 MW; New using profile locations: All FortisAlberta Distribution-Connected [6(1)(c)(i)]
0000006711 | FortisAlberta Reversing POD - Stirling (67S) | ICP1 | FortisAlberta | Distribution-Connected | Glenwood | 55 | 4280 | 2017-01-01 | Continuing in-service
0000012111 | FortisAlberta Reversing POD - Brooks (121S) | BSC1, ARC1 | FortisAlberta | Distribution-Connected | Brooks | 47 | 3256 | 2017-11-28 | STS 7.0 MW; New using profile locations: All FortisAlberta Distribution-Connected [6(1)(c)(i)]
0000022911 | FortisAlberta Reversing POD - Glenwood (229S) | — | FortisAlberta | Distribution-Connected | Glenwood | 55 | 4245 | 2017-01-01 | Continuing in-service
0000025611 | FortisAlberta Reversing POD - Harmattan (256S) | — | FortisAlberta | Distribution-Connected | Didsbury | 39 | 124 | 2017-01-01 | Continuing in-service
0000027711 | FortisAlberta Reversing POD - Hayter (277S) | BUL1, BUL2 | FortisAlberta | Distribution-Connected | Provost | 37 | 220 | 2017-12-01 | STS 20.0 MW; Increase of 10.0 MW in STS contract capacity
0000034911 | FortisAlberta Reversing POD - Stavely (349S) | ALP2 | FortisAlberta | Distribution-Connected | Stavely | 49 | 4235 | 2017-01-01 | Continuing in-service
0000038511 | FortisAlberta Reversing POD - Spring Coulee (385S) | — | FortisAlberta | Distribution-Connected | Glenwood | 55 | 4246 | 2017-01-01 | Continuing in-service
0000039611 | FortisAlberta Reversing POD - Pincher Creek (396S) | — | FortisAlberta | Distribution-Connected | Fort Macleod | 53 | 4224 | 2017-01-01 | Continuing in-service
0000045411 | FortisAlberta Reversing POD - Buck Lake (454S) | PW01 | FortisAlberta | Distribution-Connected | Drayton Valley | 30 | 4080 | 2017-01-01 | Continuing in-service
0000065911 | FortisAlberta Reversing POD - Pegasus (659S) | GEN5 | FortisAlberta | Distribution-Connected | Swan Hills | 26 | 325 | 2017-01-01 | Continuing in-service
0000079301 | FortisAlberta DOS - Cochrane EV Partnership (793S) | — | FortisAlberta | Demand Opportunity Service | Seebe | 44 | 191 | 2017-01-01 | Continuing in-service
0000089511 | FortisAlberta Reversing POD - Suffield (895S) | NAT1 | FortisAlberta | Distribution-Connected | Medicine Hat | 4 | 3270 | 2017-01-01 | Continuing in-service
120SIMP | Alberta-Montana Intertie - Import | MATLIMP | Enbridge | Import | Glenwood | 55 | 80000 | 2017-01-01 | Continuing in-service
311S033N | ATCO Electric Reversing POD - Elmsworth (731S) | NPC1, NPC2 | ATCO Electric | Distribution-Connected | Grande Prairie | 20 | 19134 | 2017-01-01 | Continuing in-service
321S009N | ATCO Electric Reversing POD - Carmon (830S) | WCD1, GEN3, GEN7 | ATCO Electric | Distribution-Connected | Peace River | 19 | 19083 | 2017-01-01 | Continuing in-service
321S033 | ATCO Electric DOS - Daishowa-Marubeni (839S) | — | ATCO Electric | Demand Opportunity Service | Peace River | 19 | 1088 | 2017-01-01 | Continuing in-service
325S009N | ATCO Electric Reversing POD - Hotchkiss (788S) | MDF1 | ATCO Electric | Distribution-Connected | Peace River | 19 | 19050 | 2017-01-01 | Continuing in-service
372S025N | ATCO Electric Reversing POD - Lindbergh (969S) | PEC1 | ATCO Electric | Distribution-Connected | Cold Lake | 28 | 1444 | 2017-01-01 | Continuing in-service
AFG1TX | APF Athabasca | AFG1 | Alberta-Pacific Forest Industries | Biomass and Other | Athabasca | 27 | 392 | 2017-01-01 | Continuing in-service
AKE1 | McBride Lake Wind Facility | AKE1 | ENMAX Energy Corporation | Wind | Fort Macleod | 53 | 901 | 2017-01-01 | Continuing in-service
ANC1 | Alberta Newsprint | ANC1 | Alberta Newprint Company | Gas - Simple Cycle | Swan Hills | 26 | 298 | 2017-01-01 | Continuing in-service
ARD1 | Ardenville Wind Facility | ARD1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 739 | 2017-01-01 | Continuing in-service
BAR | Barrier Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 216 | 2017-01-01 | Continuing in-service
BCHEXP | Alberta-BC Interite - Export | BCHEXP | TransAlta Corporation | Export | WSCC | 15 | 1520 | 2017-01-01 | Continuing in-service
BCHIMP | Alberta-BC Interite - Import | BCHIMP | TransAlta Corporation | Import | WSCC | 15 | 1520 | 2017-01-01 | Continuing in-service
BCR2 | Bear Creek #2 | BCR2 | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2017-01-01 | Continuing in-service
BCRK | Bear Creek #1 | BCRK | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2017-01-01 | Continuing in-service
BIG | Bighorn Hydro Facility | BIG | TransAlta Generation Partnership | Hydro | Abraham Lake | 34 | 103 | 2017-01-01 | Continuing in-service
BPW | Bearspaw Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 184 | 2017-01-01 | Continuing in-service
BR3 | Battle River #3 | BR3 | Alberta Power (2000) Ltd. | Coal | Alliance | 36 | 1491 | 2017-01-01 | Continuing in-service
BR4 | Battle River #4 | BR4 | Alberta Power (2000) Ltd. | Coal | Alliance | 36 | 1491 | 2017-01-01 | Continuing in-service
BR5 | Battle River #5 | BR5 | Balancing Pool | Coal | Alliance | 36 | 1469 | 2017-01-01 | Continuing in-service
BRA | Brazeau Hydro Facility | BRA | TransAlta Generation Partnership | Hydro | Drayton Valley | 30 | 153 | 2017-01-01 | Continuing in-service
BSR1 | Blackspring Ridge Wind Facility | BSR1 | EDF EN Canada Development Inc. | Wind | Stavely | 49 | 736 | 2017-01-01 | Continuing in-service
BTR1 | Blue Trail Wind Facility | BTR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 328 | 2017-01-01 | Continuing in-service
CAS | Cascade Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 175 | 2017-01-01 | Continuing in-service
CES1/CES2 | Calgary Energy Centre | CAL1 | Calgary Energy Centre No. 2 Inc. | Gas - Combined Cycle | Calgary | 6 | 187 | 2017-01-01 | Continuing in-service
CHIN | Chin Chute Hydro Facility | CHIN | Irrigation Canal Power Co-operative Ltd. | Hydro | Lethbridge | 54 | 406 | 2017-01-01 | Continuing in-service
CL01 | Cenovus Christina Lake Industrial System | CL01 | Cenovus FFCL | Gas - Cogeneration | Fort McMurray | 25 | 879 | 2017-01-01 | Continuing in-service
CMH1 | City of Medicine Hat | CCMH, CMH1 | City of Medicine Hat | City of Medicine Hat | Medicine Hat | 4 | 976 | 2017-01-01 | Continuing in-service
CNR5 | CNRL Horizon Industrial System | CNR5 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1263 | 2017-01-01 | Continuing in-service
CR1 | Castle River #1 Wind Facility | CR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 234 | 2017-01-01 | Continuing in-service
CRE3 | Cowley Ridge Wind Facility | CRE3 | TransAlta Corporation | Wind | Fort Macleod | 53 | 264 | 2017-01-01 | Continuing in-service
CRR1 | Castle Rock Wind Facility | CRR1 | Enel Alberta Wind Inc. | Wind | Fort Macleod | 53 | 221 | 2017-01-01 | Continuing in-service
CRS1 | Crossfield Energy Centre #1 | CRS1 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2017-01-01 | Continuing in-service
CRS2 | Crossfield Energy Centre #2 | CRS2 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2017-01-01 | Continuing in-service
CRS3 | Crossfield Energy Centre #3 | CRS3 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2017-01-01 | Continuing in-service
DAI1 | Daishowa-Marubeni | DAI1 | Daishowa-Marubeni Int. Ltd. | Biomass and Other | Peace River | 19 | 1089 | 2017-01-01 | Continuing in-service
DOWGEN15M | Dow Hydrocarbon Industrial Complex | DOWG | Dow Chemical Canada ULC | Gas - Cogeneration | Fort Saskatchewan | 33 | 61 | 2017-01-01 | Continuing in-service
DRW1 | Drywood #1 | DRW1 | BowArk Energy Ltd. | Gas - Simple Cycle | Glenwood | 55 | 4226 | 2017-01-01 | Continuing in-service
EAGL | Whitecourt Power | EAGL | Whitecourt Power Ltd. | Biomass and Other | Swan Hills | 26 | 410 | 2017-01-01 | Continuing in-service
EC01 | Cavalier | EC01 | ENMAX Cavalier LP | Gas - Combined Cycle | Strathmore | 45 | 340 | 2017-01-01 | Continuing in-service
EC04 | Foster Creek Industrial System | EC04 | Cenovus FCCL Ltd. | Gas - Cogeneration | Cold Lake | 28 | 1301 | 2017-01-01 | Continuing in-service
EGC1 | Shepard | EGC1 | ENMAX Shepard Services Inc. | Gas - Combined Cycle | Calgary | 6 | 772 | 2017-01-01 | Continuing in-service
ENC1 | Clover Bar #1 | ENC1 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2017-01-01 | Continuing in-service
ENC2 | Clover Bar #2 | ENC2 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2017-01-01 | Continuing in-service
ENC3 | Clover Bar #3 | ENC3 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2017-01-01 | Continuing in-service
FH1 | Fort Hills Industrial System | FH1 | Fort Hills Energy Corporation | Gas - Cogeneration | Fort McMurray | 25 | 1612 | 2017-11-15 | MC 199 MW; New using profile locations: SCR1, SCR5, SCR6 [6(1)(c)(i)]
FNG1 | Fort Nelson | FNG1 | Powerex Corp. | Gas - Combined Cycle | Rainbow Lake | 17 | 20000 | 2017-01-01 | Continuing in-service
GHO | Ghost Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 180 | 2017-01-01 | Continuing in-service
GN1 | Genesee #1 | GN1 | Balancing Pool | Coal | Lake Wabamun | 40 | 525 | 2017-01-01 | Continuing in-service
GN2 | Genesee #2 | GN2 | Balancing Pool | Coal | Lake Wabamun | 40 | 525 | 2017-01-01 | Continuing in-service
GN3 | Genesee #3 | GN3 | Capital Power (G3) Limited Partnership | Coal | Lake Wabamun | 40 | 525 | 2017-01-01 | Continuing in-service
GPEC | Grande Prairie EcoPower | GPEC | Canadian Forest Products Ltd. | Biomass and Other | Grande Prairie | 20 | 1101 | 2017-01-01 | Continuing in-service
GWW1 | Soderglen Wind Facility | GWW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 358 | 2017-01-01 | Continuing in-service
HAL1 | Halkirk Wind Facility | HAL1 | Halkirk I Wind Project LP | Wind | Hanna | 42 | 1435 | 2017-01-01 | Continuing in-service
HRM | H. R. Milner | HRM | Milner Power Limited Partnership | Coal | Grande Cache | 22 | 1147 | 2017-07-31 | Mothballed from 2017-08-01 to 2018-05-28
HSH | Horseshoe Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 171 | 2017-01-01 | Continuing in-service
IEW1 | Summerview 1 Wind Facility | IEW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2017-01-01 | Continuing in-service
IEW2 | Summerview 2 Wind Facility | IEW2 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2017-01-01 | Continuing in-service
INT | Interlakes Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 376 | 2017-01-01 | Continuing in-service
IOR1 | Cold Lake Industrial System | IOR1, IOR2 | Imperial Oil Resources Ventures Limited | Gas - Cogeneration | Cold Lake | 28 | 1303 | 2017-01-01 | Continuing in-service
IOR3 | Kearl Oil Sands Industrial System | IOR3 | Imperial Oil Resources Ventures Limited | Gas - Cogeneration | Fort McMurray | 25 | 1610 | 2017-01-01 | Continuing in-service
KAN | Kananaskis Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 193 | 2017-01-01 | Continuing in-service
KH1 | Keephills #1 | KH1 | Balancing Pool | Coal | Lake Wabamun | 40 | 420 | 2017-01-01 | Continuing in-service
KH2 | Keephills #2 | KH2 | Balancing Pool | Coal | Lake Wabamun | 40 | 420 | 2017-01-01 | Continuing in-service
KH3 | Keephills #3 | KH3 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 510 | 2017-01-01 | Continuing in-service
KHW1 | Kettles Hill Wind Facility | KHW1 | Kettles Hill Wind Energy Inc. | Wind | Fort Macleod | 53 | 402 | 2017-01-01 | Continuing in-service
MEG1 | MEG Christina Lake Industrial System | MEG1 | MEG Energy Corp. | Gas - Cogeneration | Fort McMurray | 25 | 405 | 2017-01-01 | Continuing in-service
MKR1 | Muskeg River Industrial System | MKR1 | Shell Canada Energy | Gas - Cogeneration | Fort McMurray | 25 | 1236 | 2017-01-01 | Continuing in-service
MKRC | MacKay River Industrial System | MKRC | TransCanada Energy Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1274 | 2017-09-22 | MC 205 MW; Increase of 8 MW in net-to-grid capacity
MTEXP | Alberta-Montana Intertie - Export | MTEXP | Enbridge | Merchant Export | Glenwood | 55 | 80000 | 2017-01-01 | Continuing in-service
NEP1 | Ghost Pine Wind Facility | NEP1 | Ghost Pine Windfarm, LP | Wind | Hanna | 42 | 603 | 2017-01-01 | Continuing in-service
NOVAGEN15M | Joffre Industrial System | JOF1 | NOVA Chemicals | Gas - Cogeneration | Red Deer | 35 | 383 | 2017-01-01 | Continuing in-service
NPP1 | Northern Prairie Power Project | NPP1 | Grande Prairie Generation Inc. | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2017-01-01 | Continuing in-service
NRG3 | NRGreen | NRG3 | NRGreen Power Limited Partnership | Biomass and Other | Swan Hills | 26 | 1674 | 2017-01-01 | Continuing in-service
NX01 | Nexen Inc. #1 | NX01 | Nexen Energy ULC | Gas - Combined Cycle | Calgary | 6 | 198 | 2017-01-01 | Continuing in-service
NX02 | Nexen Inc. #2 | NX02 | Nexen Energy ULC | Gas - Cogeneration | Fort McMurray | 25 | 1241 | 2017-01-01 | Continuing in-service
OMRH | Oldman River Hydro Facility | OMRH | ATCO Power Canada Ltd. | Hydro | Fort Macleod | 53 | 230 | 2017-01-01 | Continuing in-service
OWF1 | Oldman 2 Wind Facility | OWF1 | Oldman 2 Wind Farm Limited | Wind | Fort Macleod | 53 | 543 | 2017-01-01 | Continuing in-service
PH1 | Poplar Hill #1 | PH1 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2017-01-01 | Continuing in-service
POC | Pocaterra Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 329 | 2017-01-01 | Continuing in-service
PR1 | Primrose #1 | PR1 | ATCO Power Canada Ltd. | Gas - Cogeneration | Cold Lake | 28 | 800 | 2017-01-01 | Continuing in-service
RB5 | Rainbow #5 | RB5, RL1 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Rainbow Lake | 17 | 83 | 2017-01-01 | Continuing in-service
RUN | Rundle Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 195 | 2017-01-01 | Continuing in-service
RYMD | Raymond Reservoir Hydro Facility | RYMD | Irrigation Canal Power Co-operative Ltd. | Hydro | Glenwood | 55 | 413 | 2017-01-01 | Continuing in-service
SCL1 | Syncrude Industrial System | SCL1 | Syncrude Canada Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2017-01-01 | Continuing in-service
SCR1 | Suncor Industrial System | SCR1, SCR5, SCR6 | Suncor Energy Inc. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2017-01-01 | Continuing in-service
SCR2 | Magrath Wind Facility | SCR2 | Suncor Energy Products Inc. | Wind | Glenwood | 55 | 251 | 2017-01-01 | Continuing in-service
SCR3 | Chin Chute Wind Facility | SCR3 | Suncor Energy Products Inc. | Wind | Lethbridge | 54 | 389 | 2017-01-01 | Continuing in-service
SCR4 | Wintering Hills Wind Facility | SCR4 | Suncor Energy Products Inc. | Wind | Sheernes | 43 | 759 | 2017-01-01 | Continuing in-service
SCTG | Scotford Industrial System | ALS1, APS1, SCTG | Shell Canada Limited | Gas - Cogeneration | Fort Saskatchewan | 33 | 43 | 2017-01-01 | Continuing in-service
SD1 | Sundance #1 | SD1 | TransAlta Corporation | Coal | Lake Wabamun | 40 | 135 | 2017-12-31 | Retired
SD2 | Sundance #2 | SD2 | TransAlta Corporation | Coal | Lake Wabamun | 40 | 135 | 2017-01-01 | Continuing in-service
SD3 | Sundance #3 | SD3 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2017-01-01 | Continuing in-service
SD4 | Sundance #4 | SD4 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2017-01-01 | Continuing in-service
SD5 | Sundance #5 | SD5 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2017-01-01 | Continuing in-service
SD6 | Sundance #6 | SD6 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2017-01-01 | Continuing in-service
SH1 | Sheerness #1 | SH1 | Balancing Pool | Coal | Sheernes | 43 | 1481 | 2017-01-01 | Continuing in-service
SH2 | Sheerness #2 | SH2 | Balancing Pool | Coal | Sheernes | 43 | 1486 | 2017-01-01 | Continuing in-service
SHCG | Shell Caroline | SHCG | Shell Canada Limited | Gas - Cogeneration | Caroline | 38 | 370 | 2017-01-01 | Continuing in-service
SLP1 | Slave Lake Pulp | SLP1 | Slave Lake Pulp | Biomass and Other | High Prairie | 21 | 1230 | 2017-01-01 | Continuing in-service
SPCEXP | Alberta-Saskatchewan Intertie - Export | SPCEXP | TransAlta Corporation | Export | Empress | 48 | 1473 | 2017-01-01 | Continuing in-service
SPCIMP | Alberta-Saskatchewan Intertie - Import | SPCIMP | TransAlta Corporation | Import | Empress | 48 | 1473 | 2017-01-01 | Continuing in-service
SPR | Spray Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 310 | 2017-01-01 | Continuing in-service
TAB1 | Taber Wind Facility | TAB1 | ENMAX Energy Corporation | Wind | Vauxhall | 52 | 343 | 2017-01-01 | Continuing in-service
TAY1 | Taylor Hydro Facility | TAY1 | TransAlta Corporation | Hydro | Glenwood | 55 | 693 | 2017-01-01 | Continuing in-service
TC01 | Carseland Industrial System | TC01 | TransCanada Energy Ltd. | Gas - Cogeneration | Strathmore | 45 | 5251 | 2017-01-01 | Continuing in-service
TC02 | Redwater Industrial System | TC02 | TransCanada Energy Ltd. | Gas - Cogeneration | Fort Saskatchewan | 33 | 50 | 2017-01-01 | Continuing in-service
THS | Three Sisters Hydro Plant | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 379 | 2017-01-01 | Continuing in-service; No production throughout 2017 due to maintenance outage
VVW1 | Valleyview #1 | VVW1 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2017-01-01 | Continuing in-service
VVW2 | Valleyview #2 | VVW2 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2017-01-01 | Continuing in-service
WEY1 | Weyerhaeuser | WEY1 | P&G Weyerhaeuser | Biomass and Other | Grande Prairie | 20 | 1140 | 2017-01-01 | Continuing in-service
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.

## 17-18-19 Additions and Changes
Document: | Loss Factor Asset List for 2019 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2019
Version: | October 4, 2018
Summary: | All additions and changes to loss factor locations from January 1, 2017 to December 31, 2019
Colour Legend: | Additions and changes in 2017 | Additions and changes in 2018 and 2019
Location (MPID) | Facility Name | Source Asset | Owner | Technology | Area Name | Number | PSS/E Bus | In-Service | Comments
0000006511 | FortisAlberta Reversing POD - High River (65S) | MFG1 | FortisAlberta | Distribution-Connected | High River | 46 | 4242 | 2017-07-01 | STS 1.0 MW; New using profile locations: All FortisAlberta Distribution-Connected [6(1)(c)(i)]
0000012111 | FortisAlberta Reversing POD - Brooks (121S) | BSC1, ARC1 | FortisAlberta | Distribution-Connected | Brooks | 47 | 3256 | 2017-11-28 | STS 7.0 MW; New using profile locations: All FortisAlberta Distribution-Connected [6(1)(c)(i)]
0000013711 | FortisAlberta Reversing POD - Sedgewick (137S) | — | FortisAlberta | Distribution-Connected | Wainwright | 32 |  | 2018-06-01 | STS 0.0 MW; Generation capacity less than normal load (Project 1794)
0000016301 | FortisAlberta DOS - Plains Midstream Canada (163S) | — | FortisAlberta | Demand Opportunity Service | Empress | 48 | 262 | 2018-02-01 | New demand opportunity service
0000027711 | FortisAlberta Reversing POD - Hayter (277S) | BUL1, BUL2 | FortisAlberta | Distribution-Connected | Provost | 37 | 220 | 2017-12-01 | STS 20.0 MW; Increase of 10.0 MW in STS contract capacity
0000027711 | FortisAlberta Reversing POD - Hayter (277S) | BUL1, BUL2 | FortisAlberta | Distribution-Connected | Provost | 37 | 220 | 2018-08-01 | STS 25.3 MW; Increase of 5.3 MW in STS contract capacity (Project 1988)
CMH1 | City of Medicine Hat | CCMH, CMH1 | City of Medicine Hat | City of Medicine Hat | Medicine Hat | 4 | 976 | 2018-03-06 | MC 297 MW; Increase of 45 MW in maximum capability
CRR1 | Castle Rock Wind Facility | CRR1 | Enel Alberta Wind Inc. | Wind | Fort Macleod | 53 | 221 | 2019-06-30 | MC 108 MW; Increase of 31 MW in maximum capability (Project 462)
FH1 | Fort Hills Industrial System | FH1 | Fort Hills Energy Corporation | Gas - Cogeneration | Fort McMurray | 25 | 1612 | 2017-11-15 | MC 199 MW; New using profile locations: SCR1, SCR5, SCR6 [6(1)(c)(i)]
MKRC | MacKay River Industrial System | MKRC | TransCanada Energy Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1274 | 2017-09-22 | MC 205 MW; Increase of 8 MW in net-to-grid capacity
Proj_0524 | Riverview Wind Facility | — | Enel Alberta Wind Inc. | Wind | Fort Macleod | 53 | 69221 | 2019-06-30 | MC 115 MW; New using profile location: CRR1 [6(1)(c)(i)]
Proj_1567 | Sharp Hills Wind Facility | — | EDP Renewables | Wind | Hanna | 42 | 60831 | 2019-08-01 | MC 248; New using profile locations: All locations with wind technology [6(1)(c)(ii)]
WST1 | Westlock Power Plant | WST1 | DAPP Power LP | Biomass and Other | Athabasca/Lac La Biche | 27 | 14 | 2019-02-01 | MC 18 MW; New using profile under SPR&D Program (which expires 2019-01-31)
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.

## 17-18-19 Terminations
Document: | Loss Factor Asset List for 2019 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2019
Version: | October 4, 2018
Summary: | All retirements and mothball outages to loss factor locations from January 1, 2017 to December 31, 2019
Colour Legend: | Terminations in 2017 | Terminations in 2018 and 2019
Location (MPID) | Facility Name | Source Asset | Owner | Technology | Area Name | Area | PSS/E Bus | Terminated | Comments
HRM | H. R. Milner | HRM | Milner Power Limited Partnership | Coal | Grande Cache | 22 | 1147 | 2017-07-31 | Mothballed from 2017-08-01 to 2018-05-28
SD1 | Sundance #1 | SD1 | TransAlta Corporation | Coal | Lake Wabamun | 40 | 135 | 2017-12-31 | Retired
SD2 | Sundance #2 | SD2 | TransAlta Corporation | Coal | Lake Wabamun | 40 | 135 | 2018-01-01 | Mothballed to 2018-07-31; Retired 2018-08-01
SD3 | Sundance #3 | SD3 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2018-04-01 | Mothballed
SD5 | Sundance #5 | SD5 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2018-04-01 | Mothballed
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.

## 2019 Expected
Document: | Loss Factor Asset List for 2019 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2019
Version: | October 4, 2018
Summary: | All loss factor locations and associated source assets expected to be in-service any time during 2019
Colour Legend: | Additions and changes in 2017 | In-service throughout 2017 and additions in 2018 and 2019
Location (MPID) | Facility Name | Source Asset | Owner | Technology | Area Name | Number | PSS/E Bus | Date | Comments
0000001511 | FortisAlberta Reversing POD - Fort Macleod (15S) | — | FortisAlberta | Distribution-Connected | Fort Macleod | 53 | 4237 | 2017-01-01 | Continuing in-service
0000006511 | FortisAlberta Reversing POD - High River (65S) | MFG1 | FortisAlberta | Distribution-Connected | High River | 46 | 4242 | 2017-07-01 | STS 1.0 MW; New using profile locations: All FortisAlberta Distribution-Connected [6(1)(c)(i)]
0000006711 | FortisAlberta Reversing POD - Stirling (67S) | ICP1 | FortisAlberta | Distribution-Connected | Glenwood | 55 | 4280 | 2017-01-01 | Continuing in-service
0000012111 | FortisAlberta Reversing POD - Brooks (121S) | BSC1, ARC1 | FortisAlberta | Distribution-Connected | Brooks | 47 | 3256 | 2017-11-28 | STS 7.0 MW; New using profile locations: All FortisAlberta Distribution-Connected [6(1)(c)(i)]
0000013711 | FortisAlberta Reversing POD - Sedgewick (137S) | — | FortisAlberta | Distribution-Connected | Wainwright | 32 |  | 2018-06-01 | STS 0.0 MW; Generation capacity less than normal load (Project 1794)
0000016301 | FortisAlberta DOS - Plains Midstream Canada (163S) | — | FortisAlberta | Demand Opportunity Service | Empress | 48 | 262 | 2018-02-01 | New demand opportunity service
0000022911 | FortisAlberta Reversing POD - Glenwood (229S) | — | FortisAlberta | Distribution-Connected | Glenwood | 55 | 4245 | 2017-01-01 | Continuing in-service
0000025611 | FortisAlberta Reversing POD - Harmattan (256S) | — | FortisAlberta | Distribution-Connected | Didsbury | 39 | 124 | 2017-01-01 | Continuing in-service
0000027711 | FortisAlberta Reversing POD - Hayter (277S) | BUL1, BUL2 | FortisAlberta | Distribution-Connected | Provost | 37 | 220 | 2018-08-01 | STS 25.3 MW; Increase of 5.3 MW in STS contract capacity (Project 1988)
0000034911 | FortisAlberta Reversing POD - Stavely (349S) | ALP2 | FortisAlberta | Distribution-Connected | Stavely | 49 | 4235 | 2017-01-01 | Continuing in-service
0000038511 | FortisAlberta Reversing POD - Spring Coulee (385S) | — | FortisAlberta | Distribution-Connected | Glenwood | 55 | 4246 | 2017-01-01 | Continuing in-service
0000039611 | FortisAlberta Reversing POD - Pincher Creek (396S) | — | FortisAlberta | Distribution-Connected | Fort Macleod | 53 | 4224 | 2017-01-01 | Continuing in-service
0000045411 | FortisAlberta Reversing POD - Buck Lake (454S) | PW01 | FortisAlberta | Distribution-Connected | Drayton Valley | 30 | 4080 | 2017-01-01 | Continuing in-service
0000065911 | FortisAlberta Reversing POD - Pegasus (659S) | GEN5 | FortisAlberta | Distribution-Connected | Swan Hills | 26 | 325 | 2017-01-01 | Continuing in-service
0000079301 | FortisAlberta DOS - Cochrane EV Partnership (793S) | — | FortisAlberta | Demand Opportunity Service | Seebe | 44 | 191 | 2017-01-01 | Continuing in-service
0000089511 | FortisAlberta Reversing POD - Suffield (895S) | NAT1 | FortisAlberta | Distribution-Connected | Medicine Hat | 4 | 3270 | 2017-01-01 | Continuing in-service
120SIMP | Alberta-Montana Intertie - Import | MATLIMP | Enbridge | Import | Glenwood | 55 | 80000 | 2017-01-01 | Continuing in-service
311S033N | ATCO Electric Reversing POD - Elmsworth (731S) | NPC1, NPC2 | ATCO Electric | Distribution-Connected | Grande Prairie | 20 | 19134 | 2017-01-01 | Continuing in-service
321S009N | ATCO Electric Reversing POD - Carmon (830S) | WCD1, GEN3, GEN7 | ATCO Electric | Distribution-Connected | Peace River | 19 | 19083 | 2017-01-01 | Continuing in-service
321S033 | ATCO Electric DOS - Daishowa-Marubeni (839S) | — | ATCO Electric | Demand Opportunity Service | Peace River | 19 | 1088 | 2017-01-01 | Continuing in-service
325S009N | ATCO Electric Reversing POD - Hotchkiss (788S) | MDF1 | ATCO Electric | Distribution-Connected | Peace River | 19 | 19050 | 2017-01-01 | Continuing in-service
372S025N | ATCO Electric Reversing POD - Lindbergh (969S) | PEC1 | ATCO Electric | Distribution-Connected | Cold Lake | 28 | 1444 | 2017-01-01 | Continuing in-service
AFG1TX | APF Athabasca | AFG1 | Alberta-Pacific Forest Industries | Biomass and Other | Athabasca | 27 | 392 | 2017-01-01 | Continuing in-service
AKE1 | McBride Lake Wind Facility | AKE1 | ENMAX Energy Corporation | Wind | Fort Macleod | 53 | 901 | 2017-01-01 | Continuing in-service
ANC1 | Alberta Newsprint | ANC1 | Alberta Newprint Company | Gas - Simple Cycle | Swan Hills | 26 | 298 | 2017-01-01 | Continuing in-service
ARD1 | Ardenville Wind Facility | ARD1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 739 | 2017-01-01 | Continuing in-service
BAR | Barrier Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 216 | 2017-01-01 | Continuing in-service
BCHEXP | Alberta-BC Interite - Export | BCHEXP | TransAlta Corporation | Export | WSCC | 15 | 1520 | 2017-01-01 | Continuing in-service
BCHIMP | Alberta-BC Interite - Import | BCHIMP | TransAlta Corporation | Import | WSCC | 15 | 1520 | 2017-01-01 | Continuing in-service
BCR2 | Bear Creek #2 | BCR2 | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2017-01-01 | Continuing in-service
BCRK | Bear Creek #1 | BCRK | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2017-01-01 | Continuing in-service
BIG | Bighorn Hydro Facility | BIG | TransAlta Generation Partnership | Hydro | Abraham Lake | 34 | 103 | 2017-01-01 | Continuing in-service
BPW | Bearspaw Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 184 | 2017-01-01 | Continuing in-service
BR3 | Battle River #3 | BR3 | Alberta Power (2000) Ltd. | Coal | Alliance | 36 | 1491 | 2017-01-01 | Continuing in-service
BR4 | Battle River #4 | BR4 | Alberta Power (2000) Ltd. | Coal | Alliance | 36 | 1491 | 2017-01-01 | Continuing in-service
BR5 | Battle River #5 | BR5 | Balancing Pool | Coal | Alliance | 36 | 1469 | 2017-01-01 | Continuing in-service
BRA | Brazeau Hydro Facility | BRA | TransAlta Generation Partnership | Hydro | Drayton Valley | 30 | 153 | 2017-01-01 | Continuing in-service
BSR1 | Blackspring Ridge Wind Facility | BSR1 | EDF EN Canada Development Inc. | Wind | Stavely | 49 | 736 | 2017-01-01 | Continuing in-service
BTR1 | Blue Trail Wind Facility | BTR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 328 | 2017-01-01 | Continuing in-service
CAS | Cascade Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 175 | 2017-01-01 | Continuing in-service
CES1/CES2 | Calgary Energy Centre | CAL1 | Calgary Energy Centre No. 2 Inc. | Gas - Combined Cycle | Calgary | 6 | 187 | 2017-01-01 | Continuing in-service
CHIN | Chin Chute Hydro Facility | CHIN | Irrigation Canal Power Co-operative Ltd. | Hydro | Lethbridge | 54 | 406 | 2017-01-01 | Continuing in-service
CL01 | Cenovus Christina Lake Industrial System | CL01 | Cenovus FFCL | Gas - Cogeneration | Fort McMurray | 25 | 879 | 2017-01-01 | Continuing in-service
CMH1 | City of Medicine Hat | CCMH, CMH1 | City of Medicine Hat | City of Medicine Hat | Medicine Hat | 4 | 976 | 2018-03-06 | MC 297 MW; Increase of 45 MW in maximum capability
CNR5 | CNRL Horizon Industrial System | CNR5 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1263 | 2017-01-01 | Continuing in-service
CR1 | Castle River #1 Wind Facility | CR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 234 | 2017-01-01 | Continuing in-service
CRE3 | Cowley Ridge Wind Facility | CRE3 | TransAlta Corporation | Wind | Fort Macleod | 53 | 264 | 2017-01-01 | Continuing in-service
CRR1 | Castle Rock Wind Facility | CRR1 | Enel Alberta Wind Inc. | Wind | Fort Macleod | 53 | 221 | 2019-06-30 | MC 108 MW; Increase of 31 MW in maximum capability (Project 462)
CRS1 | Crossfield Energy Centre #1 | CRS1 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2017-01-01 | Continuing in-service
CRS2 | Crossfield Energy Centre #2 | CRS2 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2017-01-01 | Continuing in-service
CRS3 | Crossfield Energy Centre #3 | CRS3 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2017-01-01 | Continuing in-service
DAI1 | Daishowa-Marubeni | DAI1 | Daishowa-Marubeni Int. Ltd. | Biomass and Other | Peace River | 19 | 1089 | 2017-01-01 | Continuing in-service
DOWGEN15M | Dow Hydrocarbon Industrial Complex | DOWG | Dow Chemical Canada ULC | Gas - Cogeneration | Fort Saskatchewan | 33 | 61 | 2017-01-01 | Continuing in-service
DRW1 | Drywood #1 | DRW1 | BowArk Energy Ltd. | Gas - Simple Cycle | Glenwood | 55 | 4226 | 2017-01-01 | Continuing in-service
EAGL | Whitecourt Power | EAGL | Whitecourt Power Ltd. | Biomass and Other | Swan Hills | 26 | 410 | 2017-01-01 | Continuing in-service
EC01 | Cavalier | EC01 | ENMAX Cavalier LP | Gas - Combined Cycle | Strathmore | 45 | 340 | 2017-01-01 | Continuing in-service
EC04 | Foster Creek Industrial System | EC04 | Cenovus FCCL Ltd. | Gas - Cogeneration | Cold Lake | 28 | 1301 | 2017-01-01 | Continuing in-service
EGC1 | Shepard | EGC1 | ENMAX Shepard Services Inc. | Gas - Combined Cycle | Calgary | 6 | 772 | 2017-01-01 | Continuing in-service
ENC1 | Clover Bar #1 | ENC1 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2017-01-01 | Continuing in-service
ENC2 | Clover Bar #2 | ENC2 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2017-01-01 | Continuing in-service
ENC3 | Clover Bar #3 | ENC3 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2017-01-01 | Continuing in-service
FH1 | Fort Hills Industrial System | FH1 | Fort Hills Energy Corporation | Gas - Cogeneration | Fort McMurray | 25 | 1612 | 2017-11-15 | MC 199 MW; New using profile locations: SCR1, SCR5, SCR6 [6(1)(c)(i)]
FNG1 | Fort Nelson | FNG1 | Powerex Corp. | Gas - Combined Cycle | Rainbow Lake | 17 | 20000 | 2017-01-01 | Continuing in-service
GHO | Ghost Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 180 | 2017-01-01 | Continuing in-service
GN1 | Genesee #1 | GN1 | Balancing Pool | Coal | Lake Wabamun | 40 | 525 | 2017-01-01 | Continuing in-service
GN2 | Genesee #2 | GN2 | Balancing Pool | Coal | Lake Wabamun | 40 | 525 | 2017-01-01 | Continuing in-service
GN3 | Genesee #3 | GN3 | Capital Power (G3) Limited Partnership | Coal | Lake Wabamun | 40 | 525 | 2017-01-01 | Continuing in-service
GPEC | Grande Prairie EcoPower | GPEC | Canadian Forest Products Ltd. | Biomass and Other | Grande Prairie | 20 | 1101 | 2017-01-01 | Continuing in-service
GWW1 | Soderglen Wind Facility | GWW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 358 | 2017-01-01 | Continuing in-service
HAL1 | Halkirk Wind Facility | HAL1 | Halkirk I Wind Project LP | Wind | Hanna | 42 | 1435 | 2017-01-01 | Continuing in-service
HRM | H. R. Milner | HRM | Milner Power Limited Partnership | Coal | Grande Cache | 22 | 1147 | 2017-07-31 | Mothballed from 2017-08-01 to 2018-05-28
HSH | Horseshoe Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 171 | 2017-01-01 | Continuing in-service
IEW1 | Summerview 1 Wind Facility | IEW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2017-01-01 | Continuing in-service
IEW2 | Summerview 2 Wind Facility | IEW2 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2017-01-01 | Continuing in-service
INT | Interlakes Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 376 | 2017-01-01 | Continuing in-service
IOR1 | Cold Lake Industrial System | IOR1, IOR2 | Imperial Oil Resources Ventures Limited | Gas - Cogeneration | Cold Lake | 28 | 1303 | 2017-01-01 | Continuing in-service
IOR3 | Kearl Oil Sands Industrial System | IOR3 | Imperial Oil Resources Ventures Limited | Gas - Cogeneration | Fort McMurray | 25 | 1610 | 2017-01-01 | Continuing in-service
KAN | Kananaskis Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 193 | 2017-01-01 | Continuing in-service
KH1 | Keephills #1 | KH1 | Balancing Pool | Coal | Lake Wabamun | 40 | 420 | 2017-01-01 | Continuing in-service
KH2 | Keephills #2 | KH2 | Balancing Pool | Coal | Lake Wabamun | 40 | 420 | 2017-01-01 | Continuing in-service
KH3 | Keephills #3 | KH3 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 510 | 2017-01-01 | Continuing in-service
KHW1 | Kettles Hill Wind Facility | KHW1 | Kettles Hill Wind Energy Inc. | Wind | Fort Macleod | 53 | 402 | 2017-01-01 | Continuing in-service
MEG1 | MEG Christina Lake Industrial System | MEG1 | MEG Energy Corp. | Gas - Cogeneration | Fort McMurray | 25 | 405 | 2017-01-01 | Continuing in-service
MKR1 | Muskeg River Industrial System | MKR1 | Shell Canada Energy | Gas - Cogeneration | Fort McMurray | 25 | 1236 | 2017-01-01 | Continuing in-service
MKRC | MacKay River Industrial System | MKRC | TransCanada Energy Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1274 | 2017-09-22 | MC 205 MW; Increase of 8 MW in net-to-grid capacity
MTEXP | Alberta-Montana Intertie - Export | MTEXP | Enbridge | Merchant Export | Glenwood | 55 | 80000 | 2017-01-01 | Continuing in-service
NEP1 | Ghost Pine Wind Facility | NEP1 | Ghost Pine Windfarm, LP | Wind | Hanna | 42 | 603 | 2017-01-01 | Continuing in-service
NOVAGEN15M | Joffre Industrial System | JOF1 | NOVA Chemicals | Gas - Cogeneration | Red Deer | 35 | 383 | 2017-01-01 | Continuing in-service
NPP1 | Northern Prairie Power Project | NPP1 | Grande Prairie Generation Inc. | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2017-01-01 | Continuing in-service
NRG3 | NRGreen | NRG3 | NRGreen Power Limited Partnership | Biomass and Other | Swan Hills | 26 | 1674 | 2017-01-01 | Continuing in-service
NX01 | Nexen Inc. #1 | NX01 | Nexen Energy ULC | Gas - Combined Cycle | Calgary | 6 | 198 | 2017-01-01 | Continuing in-service
NX02 | Nexen Inc. #2 | NX02 | Nexen Energy ULC | Gas - Cogeneration | Fort McMurray | 25 | 1241 | 2017-01-01 | Continuing in-service
OMRH | Oldman River Hydro Facility | OMRH | ATCO Power Canada Ltd. | Hydro | Fort Macleod | 53 | 230 | 2017-01-01 | Continuing in-service
OWF1 | Oldman 2 Wind Facility | OWF1 | Oldman 2 Wind Farm Limited | Wind | Fort Macleod | 53 | 543 | 2017-01-01 | Continuing in-service
PH1 | Poplar Hill #1 | PH1 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2017-01-01 | Continuing in-service
POC | Pocaterra Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 329 | 2017-01-01 | Continuing in-service
PR1 | Primrose #1 | PR1 | ATCO Power Canada Ltd. | Gas - Cogeneration | Cold Lake | 28 | 800 | 2017-01-01 | Continuing in-service
Proj_0524 | Riverview Wind Facility | — | Enel Alberta Wind Inc. | Wind | Fort Macleod | 53 | 69221 | 2019-06-30 | MC 115 MW; New using profile location: CRR1 [6(1)(c)(i)]
Proj_1567 | Sharp Hills Wind Facility | — | EDP Renewables | Wind | Hanna | 42 | 60831 | 2019-08-01 | MC 248; New using profile locations: All locations with wind technology [6(1)(c)(ii)]
RB5 | Rainbow #5 | RB5, RL1 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Rainbow Lake | 17 | 83 | 2017-01-01 | Continuing in-service
RUN | Rundle Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 195 | 2017-01-01 | Continuing in-service
RYMD | Raymond Reservoir Hydro Facility | RYMD | Irrigation Canal Power Co-operative Ltd. | Hydro | Glenwood | 55 | 413 | 2017-01-01 | Continuing in-service
SCL1 | Syncrude Industrial System | SCL1 | Syncrude Canada Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2017-01-01 | Continuing in-service
SCR1 | Suncor Industrial System | SCR1, SCR5, SCR6 | Suncor Energy Inc. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2017-01-01 | Continuing in-service
SCR2 | Magrath Wind Facility | SCR2 | Suncor Energy Products Inc. | Wind | Glenwood | 55 | 251 | 2017-01-01 | Continuing in-service
SCR3 | Chin Chute Wind Facility | SCR3 | Suncor Energy Products Inc. | Wind | Lethbridge | 54 | 389 | 2017-01-01 | Continuing in-service
SCR4 | Wintering Hills Wind Facility | SCR4 | Suncor Energy Products Inc. | Wind | Sheernes | 43 | 759 | 2017-01-01 | Continuing in-service
SCTG | Scotford Industrial System | ALS1, APS1, SCTG | Shell Canada Limited | Gas - Cogeneration | Fort Saskatchewan | 33 | 43 | 2017-01-01 | Continuing in-service
SD3 | Sundance #3 | SD3 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2018-04-01 | Mothballed
SD4 | Sundance #4 | SD4 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2017-01-01 | Continuing in-service
SD5 | Sundance #5 | SD5 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2018-04-01 | Mothballed
SD6 | Sundance #6 | SD6 | Balancing Pool | Coal | Lake Wabamun | 40 | 135 | 2017-01-01 | Continuing in-service
SH1 | Sheerness #1 | SH1 | Balancing Pool | Coal | Sheernes | 43 | 1481 | 2017-01-01 | Continuing in-service
SH2 | Sheerness #2 | SH2 | Balancing Pool | Coal | Sheernes | 43 | 1486 | 2017-01-01 | Continuing in-service
SHCG | Shell Caroline | SHCG | Shell Canada Limited | Gas - Cogeneration | Caroline | 38 | 370 | 2017-01-01 | Continuing in-service
SLP1 | Slave Lake Pulp | SLP1 | Slave Lake Pulp | Biomass and Other | High Prairie | 21 | 1230 | 2017-01-01 | Continuing in-service
SPCEXP | Alberta-Saskatchewan Intertie - Export | SPCEXP | TransAlta Corporation | Export | Empress | 48 | 1473 | 2017-01-01 | Continuing in-service
SPCIMP | Alberta-Saskatchewan Intertie - Import | SPCIMP | TransAlta Corporation | Import | Empress | 48 | 1473 | 2017-01-01 | Continuing in-service
SPR | Spray Hydro Facility | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 310 | 2017-01-01 | Continuing in-service
TAB1 | Taber Wind Facility | TAB1 | ENMAX Energy Corporation | Wind | Vauxhall | 52 | 343 | 2017-01-01 | Continuing in-service
TAY1 | Taylor Hydro Facility | TAY1 | TransAlta Corporation | Hydro | Glenwood | 55 | 693 | 2017-01-01 | Continuing in-service
TC01 | Carseland Industrial System | TC01 | TransCanada Energy Ltd. | Gas - Cogeneration | Strathmore | 45 | 5251 | 2017-01-01 | Continuing in-service
TC02 | Redwater Industrial System | TC02 | TransCanada Energy Ltd. | Gas - Cogeneration | Fort Saskatchewan | 33 | 50 | 2017-01-01 | Continuing in-service
THS | Three Sisters Hydro Plant | BOW1 | TransAlta Generation Partnership | Hydro | Seebe | 44 | 379 | 2017-01-01 | Continuing in-service; No production throughout 2017 due to maintenance outage
VVW1 | Valleyview #1 | VVW1 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2017-01-01 | Continuing in-service
VVW2 | Valleyview #2 | VVW2 | ATCO Power Canada Ltd. | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2017-01-01 | Continuing in-service
WEY1 | Weyerhaeuser | WEY1 | P&G Weyerhaeuser | Biomass and Other | Grande Prairie | 20 | 1140 | 2017-01-01 | Continuing in-service
WST1 | Westlock Power Plant | WST1 | DAPP Power LP | Biomass and Other | Athabasca/Lac La Biche | 27 | 14 | 2019-02-01 | MC 18 MW; New using profile under SPR&D Program (which expires 2019-01-31)
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.