## Disclaimer
Disclaimer
The information contained in this document is published in accordance with the AESO’s legislative obligations and is for information purposes only. As such, the AESO makes no warranties or representations as to the accuracy, completeness or fitness for any particular purpose with respect to the information contained herein, whether express or implied. While the AESO has made every attempt to ensure the information contained herein is timely and accurate, the AESO is not responsible for any errors or omissions. Consequently, any reliance placed on the information contained herein is at the reader’s sole risk.

## Notes
Notes
Regulation - In Use
- The Avg column shows the average volume of regulation reserve being dispatched within a given minute.
- Regulating reserves (RR) are controlled through the use of Automatic Generation Control (AGC). The AGC can update setpoint controls every 4 seconds to adjust the output of an asset that has an active RR range.
- An RR setpoint is determined based on frequency devations from 60 Hz and from system load and generation imbalances. Each asset providing RR is then directed to a volume that is proportional to the volume of RR they providing within the total RR volume.
- In abnormal grid conditions, it is possible for the RR setpoint to be at either extreme of the RR range for extended periods of time.
- Over the long run (e.g., on- or off-peak hours for a given day), it is anticipated that the average volume of RR provided by an asset is close to 50% of the volume they were contracted to provide.
- To reduce the size of this file, data is provided at the minute level, however RR can change every second. The Max & Min volumes are the highest and lowest volumes seen within the given minute.
Spin & Sup - Directed
- when the volume is > 0, a directive was issued to one or more assets to provided energy
- To reduce the size of this file, data is provided at the minute level. The Max & Min volumes are the highest and lowest volumes seen within the given minute and can be used to determine in which minute a directive was started or ended.