## 2020 In-Service
Document: | Loss Factor Asset List for 2022 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2022
Version: | Public — November 2, 2021
Summary: | All loss factor locations and associated source assets in-service any time during 2020 (including any additions, changes, and terminations during 2020)
Colour Legend: | Additions and changes in 2020 | Terminations in 2020 |  | In-service throughout 2020
Location (MPID) | Facility Name | Location Type | EMMO Offer Basis | Source Asset | Owner | Technology | Area Name | Number | PSS/E Bus | Date | Comments
0000001511 | FortisAlberta Reversing POD - Fort Macleod (15S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Fort Macleod | 53 | 4237 | 2020-01-01 | Continuing in-service
0000006511 | FortisAlberta Reversing POD - High River (65S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | High River | 46 | 4242 | 2020-01-01 | Continuing in-service
0000006711 | FortisAlberta Reversing POD - Stirling (67S) | Reversing POD | N/A | ICP1 | FortisAlberta | Distribution-Connected - Other | Glenwood | 55 | 4280 | 2020-01-01 | Continuing in-service
0000012111 | FortisAlberta Reversing POD - Brooks (121S) | Reversing POD | N/A | BSC1 | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | 3256 | 2020-01-01 | Continuing in-service
0000013711 | FortisAlberta Reversing POD - Sedgewick (137S) | Reversing POD | N/A | BHL1 | FortisAlberta | Distribution-Connected - Other | Wainwright | 32 | 4078 | 2020-01-01 | Continuing in-service
0000015811 | FortisAlberta Reversing POD - Vauxhall (158S) | Reversing POD | N/A | VXH1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 553274 | 2020-01-01 | Continuing in-service
0000016301 | FortisAlberta DOS - Plains Midstream Canada (163S) | DOS | N/A | — | FortisAlberta | Demand Opportunity Service | Empress | 48 | 262 | 2020-01-01 | Continuing in-service
0000019811 | FortisAlberta Reversing POD - Blackfalds (198S) | Reversing POD | N/A | BFD1 | FortisAlberta | Distribution-Connected - Other | Red Deer | 35 | 3113 | 2020-01-01 | Continuing in-service
0000021411 | FortisAlberta Reversing POD - Innisfail (214S) | Reversing POD | N/A | DKSN, INF1 | FortisAlberta | Distribution-Connected - Other | Didsbury | 39 | 557120 | 2020-06-01 | New: STS 4.3 MW (Project 2097)
0000022911 | FortisAlberta Reversing POD - Glenwood (229S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Glenwood | 55 | 4245 | 2020-01-01 | Continuing in-service
0000025411 | FortisAlberta Reversing POD - Coaldale (254S) | Reversing POD | N/A | COD1, ME04 | FortisAlberta | Distribution-Connected - Other | Lethbridge | 54 | 4690 | 2020-01-01 | Continuing in-service
0000025611 | FortisAlberta Reversing POD - Harmattan (256S) | Reversing POD | N/A | HMT1 | FortisAlberta | Distribution-Connected - Other | Didsbury | 39 | 124 | 2020-01-01 | Continuing in-service
0000025711 | FortisAlberta Reversing POD - Hull (257S) | Reversing POD | N/A | HUL1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 2401, 552402 | 2020-01-01 | Continuing in-service
0000027711 | FortisAlberta Reversing POD - Hayter (277S) | Reversing POD | N/A | BUL1, BUL2 | FortisAlberta | Distribution-Connected - Other | Provost | 37 | 220 | 2020-01-01 | Continuing in-service
0000033111 | FortisAlberta Reversing POD - Ponoka (331S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Wetaskiwin | 31 | 4090 | 2020-10-01 | New: STS 4.0 MW (Project 2231)
0000034911 | FortisAlberta Reversing POD - Stavely (349S) | Reversing POD | N/A | ALP2 | FortisAlberta | Distribution-Connected - Other | Stavely | 49 | 4235 | 2020-01-01 | Continuing in-service
0000035911 | FortisAlberta Reversing POD - West Pembina (359S) | Reversing POD | N/A | PMB1 | FortisAlberta | Distribution-Connected - Other | Drayton Valley | 30 | 4215 | 2020-06-01 | New: STS 0.0 MW (Projects 1849 and 2241)
0000035911 | FortisAlberta Reversing POD - West Pembina (359S) | Reversing POD | N/A | PMB1 | FortisAlberta | Distribution-Connected - Other | Drayton Valley | 30 | 4215 | 2020-10-01 | Terminated; PMB1 connected to transmission
0000038511 | FortisAlberta Reversing POD - Spring Coulee (385S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Glenwood | 55 | 4246 | 2020-01-01 | Continuing in-service
0000039611 | FortisAlberta Reversing POD - Pincher Creek (396S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Fort Macleod | 53 | 4224 | 2020-01-01 | Continuing in-service
0000045411 | FortisAlberta Reversing POD - Buck Lake (454S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Drayton Valley | 30 | 4080 | 2020-01-01 | Continuing in-service
0000065911 | FortisAlberta Reversing POD - Pegasus (659S) | Reversing POD | N/A | GEN5 | FortisAlberta | Distribution-Connected - Other | Swan Hills | 26 | 325 | 2020-01-01 | Continuing in-service
0000079301 | FortisAlberta DOS - Cochrane EV Partnership (793S) | DOS | N/A | — | FortisAlberta | Demand Opportunity Service | Seebe | 44 | 191 | 2020-01-01 | Continuing in-service
0000089511 | FortisAlberta Reversing POD - Suffield (895S) | Reversing POD | N/A | NAT1, SUF1 | FortisAlberta | Distribution-Connected - Other | Medicine Hat | 4 | 3270 | 2020-08-01 | Change: STS 35.0 MW (Project 1838)
311S033N | ATCO Electric Reversing POD - Elmsworth (731S) | Reversing POD | N/A | NPC1, NPC2 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19134 | 2020-01-01 | Continuing in-service
312S008N | ATCO Electric Reversing POD - Rycroft (730S) | Reversing POD | N/A | ERV1 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19100 | 2020-11-01 | New: STS 14.0 MW (Project 2214)
312S025N | ATCO Electric Reversing POD - Mowat (2033S) | Reversing POD | N/A | MUL1, SDH1 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19116 | 2020-01-01 | Continuing in-service
321S009N | ATCO Electric Reversing POD - Carmon (830S) | Reversing POD | N/A | WCD1 | ATCO Electric | Distribution-Connected - Other | Peace River | 19 | 19083 | 2020-01-01 | Continuing in-service
321S033 | ATCO Electric DOS - Mercer Peace River (839S) | DOS | N/A | — | ATCO Electric | Demand Opportunity Service | Peace River | 19 | 1088 | 2020-01-01 | Continuing in-service
325S009N | ATCO Electric Reversing POD - Hotchkiss (788S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Other | Peace River | 19 | 19050 | 2020-01-01 | Continuing in-service
372S025N | ATCO Electric Reversing POD - Lindbergh (969S) | Reversing POD | N/A | PEC1 | ATCO Electric | Distribution-Connected - Other | Cold Lake | 28 | 1444 | 2020-01-01 | Continuing in-service
AFG1TX | APF Athabasca | Self-supply | Net-to-grid | AFG1 | Alberta-Pacific Forest Industries | Biomass and Other | Athabasca | 27 | 392 | 2020-01-01 | Continuing in-service
AKE1 | McBride Lake Wind Facility | Source Asset | Gross | AKE1 | ENMAX Energy Corporation | Wind | Fort Macleod | 53 | 901 | 2020-01-01 | Continuing in-service
ANC1 | Alberta Newsprint | Self-supply | Gross | ANC1 | Alberta Newprint Company | Gas - Simple Cycle | Swan Hills | 26 | 298 | 2020-01-01 | Continuing in-service
ARD1 | Ardenville Wind Facility | Source Asset | Gross | ARD1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 739 | 2020-01-01 | Continuing in-service
BAR | Barrier Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 216 | 2020-01-01 | Continuing in-service
BCR2 | Bear Creek #2 | Self-supply | Gross | BCR2 | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2020-01-01 | Continuing in-service
BCRK | Bear Creek #1 | Self-supply | Gross | BCRK | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2020-01-01 | Continuing in-service
BIG | Bighorn Hydro Facility | Source Asset | Gross | BIG | TransAlta Alberta Hydro LP | Hydro | Abraham Lake | 34 | 103 | 2020-01-01 | Continuing in-service
BPW | Bearspaw Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 184 | 2020-01-01 | Continuing in-service
BR4 | Battle River #4 | Source Asset | Gross | BR4 | Heartland Generation | Dual Fuel | Alliance | 36 | 1491 | 2020-01-01 | Continuing in-service
BR5 | Battle River #5 | Source Asset | Gross | BR5 | Heartland Generation | Dual Fuel | Alliance | 36 | 1469 | 2020-01-01 | Continuing in-service
BRA | Brazeau Hydro Facility | Source Asset | Gross | BRA | TransAlta Alberta Hydro LP | Hydro | Drayton Valley | 30 | 153 | 2020-01-01 | Continuing in-service
BSR1 | Blackspring Ridge Wind Facility | Source Asset | Gross | BSR1 | EDF Renewables Canada | Wind | Stavely | 49 | 736 | 2020-01-01 | Continuing in-service
BTR1 | Blue Trail Wind Facility | Source Asset | Gross | BTR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 328 | 2020-01-01 | Continuing in-service
CAS | Cascade Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 175 | 2020-01-01 | Continuing in-service
CES1/CES2 | Calgary Energy Centre | Source Asset | Gross | CAL1 | Calgary Energy Centre No. 2 Inc. | Gas - Combined Cycle | Calgary | 6 | 187 | 2020-01-01 | Continuing in-service
CHIN | Chin Chute Hydro Facility | Source Asset | Gross | CHIN | Irrigation Canal Power Co-operative Ltd. | Hydro | Lethbridge | 54 | 406 | 2020-01-01 | Continuing in-service
CL01 | Cenovus Christina Lake Industrial System | Self-supply | Gross | CL01 | Cenovus Energy | Gas - Cogeneration | Fort McMurray | 25 | 879 | 2020-01-01 | Continuing in-service
CMH1 | City of Medicine Hat | Self-supply | Gross | CCMH, CMH1 | City of Medicine Hat | City of Medicine Hat | Medicine Hat | 4 | 976 | 2020-01-01 | Continuing in-service
CNR5 | CNRL Horizon Industrial System | Self-supply | Net-to-grid | CNR5 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1263 | 2020-01-01 | Continuing in-service
CR1 | Castle River #1 Wind Facility | Source Asset | Gross | CR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 234 | 2020-01-01 | Continuing in-service
CRE3 | Cowley Ridge Wind Facility | Source Asset | Gross | CRE3 | TransAlta Corporation | Wind | Fort Macleod | 53 | 264 | 2020-01-01 | Continuing in-service
CRR1 | Castle Rock Ridge Wind Facility | Source Asset | Gross | CRR1 | Enel Green Power | Wind | Fort Macleod | 53 | 221 | 2020-01-01 | Continuing in-service
CRR2 | Castle Rock Ridge Phase 2 Wind Facility | Source Asset | Gross | CRR2 | Enel Green Power | Wind | Fort Macleod | 53 | 221 | 2020-01-01 | Continuing in-service
CRS1 | Crossfield Energy Centre #1 | Source Asset | Gross | CRS1 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
CRS2 | Crossfield Energy Centre #2 | Source Asset | Gross | CRS2 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
CRS3 | Crossfield Energy Centre #3 | Source Asset | Gross | CRS3 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
DAI1 | Daishowa-Marubeni | Self-supply | Net-to-grid | DAI1 | Mercer Peace River Pulp | Biomass and Other | Peace River | 19 | 1089 | 2020-01-01 | Continuing in-service
DOWGEN15M | Dow Hydrocarbon Industrial Complex | Self-supply | Gross | DOWG | Dow Chemical Canada ULC | Gas - Cogeneration | Fort Saskatchewan | 33 | 61 | 2020-01-01 | Continuing in-service
DRW1 | Drywood #1 | Source Asset | Gross | DRW1 | BowArk Energy Ltd. | Gas - Simple Cycle | Glenwood | 55 | 4226 | 2020-01-01 | Continuing in-service
EAGL | Whitecourt Power | Source Asset | Gross | EAGL | Whitecourt Power Ltd. | Biomass and Other | Swan Hills | 26 | 410 | 2020-01-01 | Continuing in-service
EC01 | Cavalier | Self-supply | Gross | EC01 | ENMAX Cavalier LP | Gas - Combined Cycle | Strathmore | 45 | 340 | 2020-01-01 | Continuing in-service
EC04 | Foster Creek Industrial System | Self-supply | Gross | EC04 | Cenovus Energy | Gas - Cogeneration | Cold Lake | 28 | 1301 | 2020-01-01 | Continuing in-service
EGC1 | Shepard | Source Asset | Gross | EGC1 | ENMAX Shepard Services Inc. | Gas - Combined Cycle | Calgary | 6 | 772 | 2020-05-01 | Change: MC 868 MW (Project 2270)
ENC1 | Clover Bar #1 | Source Asset | Gross | ENC1 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
ENC2 | Clover Bar #2 | Source Asset | Gross | ENC2 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
ENC3 | Clover Bar #3 | Source Asset | Gross | ENC3 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
FH1 | Fort Hills Industrial System | Self-supply | Gross | FH1 | Fort Hills Energy Corporation | Gas - Cogeneration | Fort McMurray | 25 | 1612 | 2020-01-01 | Continuing in-service
FNG1 | Fort Nelson | Self-supply | Gross | FNG1 | Powerex Corp. | Gas - Combined Cycle | Rainbow Lake | 17 | 20000 | 2020-01-01 | Continuing in-service
GHO | Ghost Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 180 | 2020-01-01 | Continuing in-service
GN1 | Genesee #1 | Source Asset | Gross | GN1 | Capital Power | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GN2 | Genesee #2 | Source Asset | Gross | GN2 | Capital Power | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GN3 | Genesee #3 | Source Asset | Gross | GN3 | Capital Power (G3) Limited Partnership | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GPEC | Grande Prairie EcoPower | Self-supply | Gross | GPEC | Canadian Forest Products Ltd. | Biomass and Other | Grande Prairie | 20 | 1101 | 2020-01-01 | Continuing in-service
GWW1 | Soderglen Wind Facility | Source Asset | Gross | GWW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 358 | 2020-01-01 | Continuing in-service
HAL1 | Halkirk Wind Facility | Source Asset | Gross | HAL1 | Capital Power | Wind | Hanna | 42 | 1435 | 2020-01-01 | Continuing in-service
HRM | H. R. Milner | Source Asset | Gross | HRM | Milner Power II Limited Partnership | Gas - Simple Cycle | Grande Cache | 22 | 1147 | 2020-04-01 | Change: MC 208 MW (Project 2158)
HSH | Horseshoe Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 171 | 2020-01-01 | Continuing in-service
IEW1 | Summerview 1 Wind Facility | Source Asset | Gross | IEW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2020-01-01 | Continuing in-service
IEW2 | Summerview 2 Wind Facility | Source Asset | Gross | IEW2 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2020-01-01 | Continuing in-service
INT | Interlakes Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 376 | 2020-01-01 | Continuing in-service
IOR1 | Cold Lake Industrial System | Self-supply | Gross | IOR1, IOR2 | Imperial Oil Limited | Gas - Cogeneration | Cold Lake | 28 | 1303 | 2020-01-01 | Continuing in-service
IOR3 | Kearl Oil Sands Industrial System | Self-supply | Net-to-grid | IOR3 | Imperial Oil Limited | Gas - Cogeneration | Fort McMurray | 25 | 1610 | 2020-01-01 | Continuing in-service
IOR4 | Strathcona Refinery Industrial System | Self-supply | Net-to-grid | IOR4 | Imperial Oil Limited | Gas - Cogeneration | Edmonton | 60 | 30694066 | 2020-08-01 | New: MC 43 MW (Project 2057)
KAN | Kananaskis Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 193 | 2020-01-01 | Continuing in-service
KH1 | Keephills #1 | Source Asset | Gross | KH1 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 420 | 2020-01-01 | Continuing in-service
KH2 | Keephills #2 | Source Asset | Gross | KH2 | TransAlta Generation Partnership | Gas Fired Steam | Lake Wabamun | 40 | 420 | 2020-01-01 | Continuing in-service
KH3 | Keephills #3 | Source Asset | Gross | KH3 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 510 | 2020-01-01 | Continuing in-service
KHW1 | Kettles Hill Wind Facility | Source Asset | Gross | KHW1 | ENMAX Kettles Hill Inc. | Wind | Fort Macleod | 53 | 402 | 2020-01-01 | Continuing in-service
MEG1 | MEG Christina Lake Industrial System | Self-supply | Net-to-grid | MEG1 | MEG Energy Corp. | Gas - Cogeneration | Fort McMurray | 25 | 405 | 2020-01-01 | Continuing in-service
MKR1 | Muskeg River Industrial System | Self-supply | Gross | MKR1 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1236 | 2020-01-01 | Continuing in-service
MKRC | MacKay River Industrial System | Self-supply | Gross | MKRC | TransCanada Energy Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1274 | 2020-01-01 | Continuing in-service
NEP1 | Ghost Pine Wind Facility | Source Asset | Gross | NEP1 | Ghost Pine Windfarm, LP | Wind | Hanna | 42 | 603 | 2020-01-01 | Continuing in-service
NOVAGEN15M | Joffre Industrial System | Self-supply | Net-to-grid | JOF1 | NOVA Chemicals | Gas - Cogeneration | Red Deer | 35 | 383 | 2020-01-01 | Continuing in-service
NPP1 | Northern Prairie Power Project | Source Asset | Gross | NPP1 | Grande Prairie Generation Inc. | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2020-01-01 | Continuing in-service
NRG3 | NRGreen | Self-supply | Gross | NRG3 | NRGreen Power Limited Partnership | Biomass and Other | Swan Hills | 26 | 1674 | 2020-01-01 | Continuing in-service
NX01 | Nexen Balzac | Self-supply | Gross | NX01 | CNOOC International | Gas - Combined Cycle | Calgary | 6 | 198 | 2020-01-01 | Continuing in-service
NX02 | Nexen Long Lake Industrial System | Self-supply | Gross | NX02 | CNOOC International | Gas - Cogeneration | Fort McMurray | 25 | 1241 | 2020-01-01 | Continuing in-service
OMRH | Oldman River Hydro Facility | Source Asset | Gross | OMRH | ATCO Power Canada Ltd. | Hydro | Fort Macleod | 53 | 230 | 2020-01-01 | Continuing in-service
OWF1 | Oldman 2 Wind Facility | Source Asset | Gross | OWF1 | Oldman 2 Wind Farm Limited | Wind | Fort Macleod | 53 | 543 | 2020-01-01 | Continuing in-service
PH1 | Poplar Hill #1 | Source Asset | Gross | PH1 | Heartland Generation | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2020-01-01 | Continuing in-service
PMB1 | West Pembina | Self-supply | Net-to-grid | PMB1 | Keyera Partnership | Gas - Simple Cycle | Drayton Valley | 30 | 4215 | 2020-10-01 | New: MC 13 MW (Project 2012)
POC | Pocaterra Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 329 | 2020-01-01 | Continuing in-service
PR1 | Primrose Industrial System | Self-supply | Gross | PR1 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Cold Lake | 28 | 800 | 2020-01-01 | Continuing in-service
RB5 | Rainbow #5 | Self-supply | Gross | RB5, RL1 | Heartland Generation | Gas - Simple Cycle | Rainbow Lake | 17 | 83 | 2020-01-01 | Continuing in-service
RIV1 | Riverview Wind Facility | Source Asset | Gross | RIV1 | Enel Green Power | Wind | Fort Macleod | 53 | 69221 | 2020-01-01 | Continuing in-service
RUN | Rundle Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 195 | 2020-01-01 | Continuing in-service
RYMD | Raymond Reservoir Hydro Facility | Source Asset | Gross | RYMD | Irrigation Canal Power Co-operative Ltd. | Hydro | Glenwood | 55 | 413 | 2020-01-01 | Continuing in-service
SCL1 | Syncrude Industrial System | Self-supply | Net-to-grid | SCL1 | Syncrude Canada Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2020-01-01 | Continuing in-service
SCR1 | Suncor Industrial System | Self-supply | Gross | SCR1, SCR5, SCR6 | Suncor Energy Inc. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2020-01-01 | Continuing in-service
SCR2 | Magrath Wind Facility | Source Asset | Gross | SCR2 | Suncor Energy Inc. | Wind | Glenwood | 55 | 251 | 2020-01-01 | Continuing in-service
SCR3 | Chin Chute Wind Facility | Source Asset | Gross | SCR3 | Suncor Energy Inc. | Wind | Lethbridge | 54 | 389 | 2020-01-01 | Continuing in-service
SCR4 | Wintering Hills Wind Facility | Source Asset | Gross | SCR4 | Oldman 2 Wind Farm Limited | Wind | Sheernes | 43 | 759 | 2020-01-01 | Continuing in-service
SCTG | Scotford Industrial System | Self-supply | Gross | ALS1, APS1 | Shell Canada Limited | Gas - Cogeneration | Fort Saskatchewan | 33 | 43 | 2020-01-01 | Continuing in-service
SD3 | Sundance #3 | Source Asset | Gross | SD3 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 135 | 2020-08-01 | Retired
SD4 | Sundance #4 | Source Asset | Gross | SD4 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 135 | 2020-01-01 | Continuing in-service
SD5 | Sundance #5 | Source Asset | Gross | SD5 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 135 | 2020-01-01 | Mothballed to 2021-10-31
SD6 | Sundance #6 | Source Asset | Gross | SD6 | TransAlta Generation Partnership | Gas Fired Steam | Lake Wabamun | 40 | 135 | 2020-01-01 | Continuing in-service
SH1 | Sheerness #1 | Source Asset | Gross | SH1 | Heartland Generation | Gas Fired Steam | Sheernes | 43 | 1481 | 2020-01-01 | Continuing in-service
SH2 | Sheerness #2 | Source Asset | Gross | SH2 | Heartland Generation | Gas Fired Steam | Sheernes | 43 | 1486 | 2020-01-01 | Continuing in-service
SHCG | Shell Caroline | Self-supply | Net-to-grid | SHCG | Shell Canada Limited | Gas - Cogeneration | Caroline | 38 | 370 | 2020-01-01 | Continuing in-service
SLP1 | Slave Lake Pulp | Self-supply | Net-to-grid | SLP1 | West Fraser Mills Ltd. | Biomass and Other | High Prairie | 21 | 1230 | 2020-01-01 | Continuing in-service
SPR | Spray Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 310 | 2020-01-01 | Continuing in-service
SUM1 | Summerview Energy Storage Facility | Source Asset | Gross | SUM1 | TransAlta Corporation | Energy Storage | Fort Macleod | 53 | 336 | 2020-11-01 | New: MC 10 MW (Project 2198)
TAB1 | Taber Wind Facility | Source Asset | Gross | TAB1 | ENMAX Energy Corporation | Wind | Vauxhall | 52 | 343 | 2020-01-01 | Continuing in-service
TAY1 | Taylor Hydro Facility | Source Asset | Gross | TAY1 | TransAlta Corporation | Hydro | Glenwood | 55 | 693 | 2020-01-01 | Continuing in-service
TC01 | Carseland Industrial System | Self-supply | Gross | TC01 | TransCanada Energy Ltd. | Gas - Cogeneration | Strathmore | 45 | 5251 | 2020-01-01 | Continuing in-service
TC02 | Redwater Industrial System | Self-supply | Gross | TC02 | TransCanada Energy Ltd. | Gas - Cogeneration | Fort Saskatchewan | 33 | 50 | 2020-01-01 | Continuing in-service
THS | Three Sisters Hydro Plant | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 379 | 2020-01-01 | Continuing in-service
VVW1 | Valleyview #1 | Source Asset | Gross | VVW1 | Heartland Generation | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2020-01-01 | Continuing in-service
VVW2 | Valleyview #2 | Source Asset | Gross | VVW2 | Heartland Generation | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2020-01-01 | Continuing in-service
WEY1 | Weyerhaeuser | Self-supply | Gross | WEY1 | International Paper Canada | Biomass and Other | Grande Prairie | 20 | 1140 | 2020-01-01 | Continuing in-service
WHT1 | Whitla Wind Facility | Source Asset | Gross | WHT1 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2020-01-01 | Continuing in-service
WST1 | Westlock Power Plant | Source Asset | Gross | WST1 | DAPP Power LP | Biomass and Other | Athabasca/Lac La Biche | 27 | 14 | 2020-01-01 | Continuing in-service
BCHEXP | Alberta-BC Interite - Export | Export | N/A | BCHEXP | AltaLink | Export | WSCC | 15 | 1520 | 2020-01-01 | Continuing in-service
BCHIMP | Alberta-BC Interite - Import | Import | N/A | BCHIMP | AltaLink | Import | WSCC | 15 | 1520 | 2020-01-01 | Continuing in-service
MTEXP | Alberta-Montana Intertie - Export | Export | N/A | MTEXP | Berkshire Hathaway Energy | Merchant Export | Glenwood | 55 | 80000 | 2020-01-01 | Continuing in-service
120SIMP | Alberta-Montana Intertie - Import | Import | N/A | MATLIMP | Berkshire Hathaway Energy | Import | Glenwood | 55 | 80000 | 2020-01-01 | Continuing in-service
SPCEXP | Alberta-Saskatchewan Intertie - Export | Export | N/A | SPCEXP | AltaLink | Export | Empress | 48 | 1473 | 2020-01-01 | Continuing in-service
SPCIMP | Alberta-Saskatchewan Intertie - Import | Import | N/A | SPCIMP | AltaLink | Import | Empress | 48 | 1473 | 2020-01-01 | Continuing in-service
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.

## 20-21-22 Additions and Changes
Document: | Loss Factor Asset List for 2022 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2022
Version: | Public — November 2, 2021
Summary: | All additions and changes to loss factor locations from January 1, 2020 to December 31, 2022
Colour Legend: | Additions and changes in 2020 | Additions and changes in 2021 and 2022
Location (MPID) | Facility Name | Location Type | EMMO Offer Basis | Source Asset | Owner | Technology | Area Name | Number | PSS/E Bus | Date | Comments
0000006811 | FortisAlberta Reversing POD - Willesden Green (68S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Drayton Valley | 30 | — | 2021-11-01 | New: STS 2.9 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2393)
0000010711 | FortisAlberta Reversing POD - Westfield (107S) | Reversing POD | N/A | WEF1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 4277 | 2021-03-01 | New: STS 18.4 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2171)
0000012111 | FortisAlberta Reversing POD - Brooks (121S) | Reversing POD | N/A | BRK1, BRK2, BSC1 | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | 3256 | 2022-02-01 | Change: STS 32.0 MW; increase of 25.0 MW from previous 7.0 MW [6(1)(c)] (Projects 2086 and 2092)
0000013511 | FortisAlberta Reversing POD - Conrad (135S) | Reversing POD | N/A | CRD1, CRD2 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | — | 2022-04-01 | New: STS 39.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 1918 and 1959)
0000015111 | FortisAlberta Reversing POD - Strathmore (151S) | Reversing POD | N/A | STR1, STR2 | FortisAlberta | Distribution-Connected - Solar | Strathmore | 45 | — | 2022-02-01 | New: STS 37.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 2029 and 2030)
0000021411 | FortisAlberta Reversing POD - Innisfail (214S) | Reversing POD | N/A | DKSN, INF1 | FortisAlberta | Distribution-Connected - Other | Didsbury | 39 | 557120 | 2020-06-01 | New: STS 4.3 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2097)
0000025411 | FortisAlberta Reversing POD - Coaldale (254S) | Reversing POD | N/A | COD1, ME04 | FortisAlberta | Distribution-Connected - Other | Lethbridge | 54 | 4690 | 2022-03-01 | Change: STS 23.9 MW; increase of 22.0 MW from previous 1.9 MW [6(1)(c)] (Project 1850)
0000025511 | FortisAlberta Reversing POD - Vulcan (255S) | Reversing POD | N/A | VCN1 | FortisAlberta | Distribution-Connected - Solar | Stavely | 49 | 557120 | 2022-06-01 | New: STS 17.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1831)
0000027511 | FortisAlberta Reversing POD - Jenner (275S) | Reversing POD | N/A | JER1 | FortisAlberta | Distribution-Connected - Solar | Empress | 48 | — | 2021-08-01 | New: STS 23.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1840)
0000033111 | FortisAlberta Reversing POD - Ponoka (331S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Wetaskiwin | 31 | 4090 | 2020-10-01 | New: STS 4.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2231)
0000034911 | FortisAlberta Reversing POD - Stavely (349S) | Reversing POD | N/A | ALP2 | FortisAlberta | Distribution-Connected - Other | Stavely | 49 | 4235 | 2022-06-01 | Change: STS 14.1 MW; increase of 13.0 MW from previous 1.1 MW [6(1)(c)] (Project 1870)
0000035911 | FortisAlberta Reversing POD - West Pembina (359S) | Reversing POD | N/A | PMB1 | FortisAlberta | Distribution-Connected - Other | Drayton Valley | 30 | 4215 | 2020-06-01 | New: STS 0.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Projects 1849 and 2241)
0000036811 | FortisAlberta Reversing POD - Burdett (368S) | Reversing POD | N/A | BRD1, BUR1, ME03 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 2269 | 2021-01-01 | New: STS 25.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 1849 and 2241)
0000038511 | FortisAlberta Reversing POD - Spring Coulee (385S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Glenwood | 55 | 4246 | 2021-12-01 | Change: STS 29.5 MW; increase of 28.5 MW from previous 1.0 MW [6(1)(c)] (Project 1862)
0000042111 | FortisAlberta Reversing POD - Hays (421S) | Reversing POD | N/A | HYS1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 4401 | 2021-08-01 | New: STS 13.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1839)
0000042811 | FortisAlberta Reversing POD - Namaka (428S) | Reversing POD | N/A | NMK1 | FortisAlberta | Distribution-Connected - Solar | Strathmore | 45 | — | 2021-09-01 | New: STS 16.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1932)
0000049211 | FortisAlberta Reversing POD - Monarch (492S) | Reversing POD | N/A | MON1 | FortisAlberta | Distribution-Connected - Other | Lethbridge | 54 | — | 2022-03-01 | New: STS 20.0 MWl; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1851]
0000049811 | FortisAlberta Reversing POD - Tilley (498S) | Reversing POD | N/A | ALP1, TIL1 | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | 3275 | 2022-02-01 | New: STS 20.8 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1837)
0000052611 | FortisAlberta Reversing POD - Buffalo Creek (526S) | Reversing POD | N/A | ERV2 | FortisAlberta | Distribution-Connected - Other | Wainwright | 32 | 4079 | 2021-10-01 | New: STS 16.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2272)
0000089511 | FortisAlberta Reversing POD - Suffield (895S) | Reversing POD | N/A | NAT1, SUF1 | FortisAlberta | Distribution-Connected - Other | Medicine Hat | 4 | 3270 | 2020-08-01 | Change: STS 35.0 MW; increase of 25.0 MW from previous 12.0 MW [6(1)(c)] (Project 1838)
312S008N | ATCO Electric Reversing POD - Rycroft (730S) | Reversing POD | N/A | ERV1 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19100 | 2020-11-01 | New: STS 14.0 MW; using profile locations: all ATCO Electric Distribution-Connected - Other [6(1)(e)(i)] (Project 2214)
CLR1 | Claresholm Solar A Facility | Source Asset | Gross | CLR1 | Claresholm Solar LP | Solar | Stavely | 49 | 99004 | 2021-01-01 | New: MC 58 MW; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 1879)
CLR2 | Claresholm Solar B Facility | Source Asset | Gross | CLR2 | Claresholm Solar LP | Solar | Stavely | 49 | 99004 | 2021-01-01 | New: MC 75 MW; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 1879)
CMH1 | City of Medicine Hat | Self-supply | Gross | CCMH, CMH1 | City of Medicine Hat | City of Medicine Hat | Medicine Hat | 4 | 976 | 2022-04-01 | Change: MC 341 MW; increase of 44 MW from previous 297 MW [6(1)(c)] (Project 2239)
EGC1 | Shepard | Source Asset | Gross | EGC1 | ENMAX Shepard Services Inc. | Gas - Combined Cycle | Calgary | 6 | 772 | 2020-05-01 | Change: MC 868 MW; increase of 8 MW from previous 860 MW [6(1)(c)] (Project 2270)
HRM | H. R. Milner | Source Asset | Gross | HRM | Milner Power II Limited Partnership | Gas - Simple Cycle | Grande Cache | 22 | 1147 | 2020-04-01 | Change: MC 208 MW; increase of 64 MW from previous 144 MW [6(1)(c)] (Project 2158)
HRM | H. R. Milner | Source Asset | Gross | HRM | Milner Power II Limited Partnership | Gas - Combined Cycle | Grande Cache | 22 | 1147 | 2022-07-01 | Change: MC 300 MW; increase of 92 MW from previous 208 MW [6(1)(c)] (Project 2350)
HRT1 | Heartland Petrochemical Complex Industrial System | Self-supply | Gross | HRT1 | Fengate Central Utilities Block | Gas - Cogeneration | Fort Saskatchewan | 33 | — | 2021-10-01 | New: MC 103 MW; using profile locations: all Gas - Cogeneration [6(1)(e)(ii)] (Project 1647)
IOR4 | Strathcona Refinery Industrial System | Self-supply | Net-to-grid | IOR4 | Imperial Oil Limited | Gas - Cogeneration | Edmonton | 60 | 30694066 | 2020-08-01 | New: MC 43 MW; using profile location: IOR1 [6(1)(e)(i)] (Project 2057)
PMB1 | West Pembina | Self-supply | Net-to-grid | PMB1 | Keyera Partnership | Gas - Simple Cycle | Drayton Valley | 30 | 4215 | 2020-10-01 | New: MC 13 MW; using profile locations: all Gas - Simple Cycle [6(1)(e)(ii)] (Project 2012)
PR1 | Primrose Industrial System | Self-supply | Gross | PR1 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Cold Lake | 28 | 800 | 2022-08-01 | Change: MC 132 MW; increase of 32 MW from previous 100 MW [6(1)(c)] (Project 2279)
Proj_1812 | Forty Mile Granlea Wind Facility | Source Asset | Gross | — | Suncor Energy Inc. | Wind | Medicine Hat | 4 | — | 2022-12-01 | New: MC 200 MW; using profile locations: SCR2, SCR3 [6(1)(e)(i)] (Project 1812)
Proj_1853 | FortisAlberta Reversing POD - Jenner (275S-2269L) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-12-01 | New: STS 12.3 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1853)
Proj_1892 | FortisAlberta Reversing POD - Jenner (275S-2323L) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-12-01 | New: STS 4.6 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1892)
Proj_1909 | Garden Plain Wind Facility | Source Asset | Gross | — | TransAlta Corporation | Wind | Hanna | 42 | — | 2022-11-01 | New: MC 130 MW; using profile locations: all TransAlta Corporation Wind [6(1)(e)(i)] (Project 1909)
Proj_1978_2061_2248 | ATCO Electric Reversing POD - Michichi Creek (802S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Solar | Hanna | 42 | — | 2022-03-01 | New: STS 24.5 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Projects 2061 and 2248)
Proj_1978_2061_2248 | ATCO Electric Reversing POD - Michichi Creek (802S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Solar | Hanna | 42 | — | 2022-05-01 | Change: STS 85.5 MW; increae of 61.0 MW from previous 24.5 MW [6(1)(c)] (Project 1978)
Proj_1982 | EPCOR Reversing POD - Petrolia (Petrolia) | Reversing POD | N/A | — | EPCOR Distribution | Distribution-Connected - Solar | Edmonton | 60 | — | 2022-03-31 | New: STS 0.0 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Project 1982)
Proj_2009_2341 | Travers Solar Facility | Source Asset | Gross | — | Greengate Power | Solar | Stavely | 49 | — | 2022-11-01 | New: MC 465 MW staged; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 2009)
Proj_2059 | ATCO Electric Reversing POD - Three Hills (770S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Solar | Hanna | 42 | — | 2022-10-01 | New: STS 14.0 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Project 2059)
Proj_2108 | FortisAlberta Reversing POD - Entwistle (235S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Wabamun | 40 | — | 2021-11-01 | New: STS 3.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1922)
Proj_2122 | Cypress Wind Facility | Source Asset | Gross | — | Cypress Renewable Energy Centre | Wind | Medicine Hat | 4 | — | 2022-12-01 | New: MC 202 MW; using profile locations: all Wind [6(1)(e)(ii)] (Project 2122)
Proj_2194 | FortisAlberta Reversing POD - East Crossfield (64S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Airdrie | 57 | — | 2022-05-01 | New: STS 1.0 MWl; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2194)
Proj_2199 | FortisAlberta Reversing POD - Jenner (275S-310LS) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-12-01 | New: STS 13.8 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2199)
Proj_2216 | FortisAlberta Reversing POD - Chappice Lake (649S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Medicine Hat | 4 | — | 2022-04-15 | New: STS 11.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2216)
Proj_2249_2250 | FortisAlberta Reversing POD - Empress (294S) | Reversing POD | N/A | EMP1 | FortisAlberta | Distribution-Connected - Solar | Empress | 48 |  | 2022-05-01 | New: STS 37.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 2249 and 2250)
Proj_2352 | ATCO Electric Reversing POD - Ethel Lake (717S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Other | Cold Lake | 28 | — | 2022-08-01 | New: STS 0 MW; using profile locations: all ATCO Electric Distribution-Connected - Other [6(1)(e)(i)] (Project 2352)
RTL1 | Rattlesnake Ridge Wind Facility | Source Asset | Gross | RTL1 | BHE Canada Rattlesnake G.P. | Wind | Medicine Hat | 4 | — | 2021-08-01 | New: MC 114 MW; using profile locations: all Wind [6(1)(e)(ii)] (Project 2212)
S09N | ENMAX Reversing POD - 9 Substation (SS-9) | Reversing POD | N/A | BON1 | ENMAX Power Corporation | Distribution-Connected - Other | Calgary | 6 | 4277 | 2021-10-01 | New: STS 4.8 MW; using profile locations: all Distribution-Connected - Other [6(1)(e)(ii)] (Project 2395)
SET1 | South Edmonton Terminal | Source Asset | Gross | SET1 | Enbridge Pipelines | Gas - Simple Cycle | Edmonton | 60 | 3436 | 2021-03-01 | New: MC 20 MW; using profile locations: all Gas - Simple Cycle [6(1)(e)(ii)] (Project 2203)
SUM1 | Summerview Energy Storage Facility | Source Asset | Gross | SUM1 | TransAlta Corporation | Energy Storage | Fort Macleod | 53 | 336 | 2020-11-01 | New: MC 10 MW; using new profile [6(1)(e)(iii)] (Project 2198)
WHT2 | Whitla Phase 2 Wind Facility | Source Asset | Gross | WHT2 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2021-08-01 | New: MC 97 MW; using profile location: HAL1, WHT1 [6(1)(e)(i)] (Project 1800-2)
WHT2 | Whitla Phase 2 Wind Facility | Source Asset | Gross | WHT2 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2021-09-01 | Change: MC 151 MW; increase of 54 MW from previous 97 MW [6(1)(c)] (Project 2338)
WRW1 | Windrise Wind Facility | Source Asset | Gross | WRW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | — | 2021-06-01 | New: MC 207 MW; using profile locations: all TransAlta Corporation Wind [6(1)(e)(i)] (Project 2041)
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.

## 20-21-22 Terminations
Document: | Loss Factor Asset List for 2022 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2022
Version: | Public — November 2, 2021
Summary: | All additions and changes to loss factor locations from January 1, 2020 to December 31, 2022
Colour Legend: | Terminations in 2020 | Terminations in 2021 and 2022
Location (MPID) | Facility Name | Location Type | EMMO Offer Basis | Source Asset | Owner | Technology | Area Name | Number | PSS/E Bus | Date | Comments
0000035911 | FortisAlberta Reversing POD - West Pembina (359S) | Reversing POD | N/A | PMB1 | FortisAlberta | Distribution-Connected | Drayton Valley | 30 | 4215 | 2020-10-01 | Terminated; PMB1 connected to transmission
0000045411 | FortisAlberta Reversing POD - Buck Lake (454S) | Reversing POD | N/A | PW01 | FortisAlberta | Distribution-Connected | Drayton Valley | 30 | 4080 | 2021-05-01 | Terminated
KH1 | Keephills #1 | Source Asset | Gross | KH1 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 420 | 2022-01-01 | Retired
SD3 | Sundance #3 | Source Asset | Gross | SD3 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 135 | 2020-08-01 | Retired
SD4 | Sundance #4 | Source Asset | Gross | SD4 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 135 | 2022-05-01 | Retired
SD5 | Sundance #5 | Source Asset | Gross | SD5 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 135 | 2021-11-01 | Mothballed to 2021-10-31, then retired
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.

## 2022 Expected
Document: | Loss Factor Asset List for 2022 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2022
Version: | Public — November 2, 2021
Summary: | All loss factor locations and associated source assets expected to be in-service any time during 2022 (including any additions, changes, and terminations during 2022)
Colour Legend: | Additions and changes in 2020 | In-service throughout 2020 and additions and changes in 2021 and 2022
Location (MPID) | Facility Name | Location Type | EMMO Offer Basis | Source Asset | Owner | Technology | Area Name | Number | PSS/E Bus | Date | Comments
0000001511 | FortisAlberta Reversing POD - Fort Macleod (15S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Fort Macleod | 53 | 4237 | 2020-01-01 | Continuing in-service
0000006511 | FortisAlberta Reversing POD - High River (65S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | High River | 46 | 4242 | 2020-01-01 | Continuing in-service
0000006711 | FortisAlberta Reversing POD - Stirling (67S) | Reversing POD | N/A | ICP1 | FortisAlberta | Distribution-Connected - Other | Glenwood | 55 | 4280 | 2020-01-01 | Continuing in-service
0000006811 | FortisAlberta Reversing POD - Willesden Green (68S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Drayton Valley | 30 | — | 2021-11-01 | New: STS 2.9 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2393)
0000010711 | FortisAlberta Reversing POD - Westfield (107S) | Reversing POD | N/A | WEF1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 4277 | 2021-03-01 | New: STS 18.4 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2171)
0000012111 | FortisAlberta Reversing POD - Brooks (121S) | Reversing POD | N/A | BRK1, BRK2, BSC1 | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | 3256 | 2022-02-01 | Change: STS 32.0 MW; increase of 25.0 MW from previous 7.0 MW [6(1)(c)] (Projects 2086 and 2092)
0000013511 | FortisAlberta Reversing POD - Conrad (135S) | Reversing POD | N/A | CRD1, CRD2 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | — | 2022-04-01 | New: STS 39.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 1918 and 1959)
0000013711 | FortisAlberta Reversing POD - Sedgewick (137S) | Reversing POD | N/A | BHL1 | FortisAlberta | Distribution-Connected - Other | Wainwright | 32 | 4078 | 2020-01-01 | Continuing in-service
0000015111 | FortisAlberta Reversing POD - Strathmore (151S) | Reversing POD | N/A | STR1, STR2 | FortisAlberta | Distribution-Connected - Solar | Strathmore | 45 | — | 2022-02-01 | New: STS 37.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 2029 and 2030)
0000015811 | FortisAlberta Reversing POD - Vauxhall (158S) | Reversing POD | N/A | VXH1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 553274 | 2020-01-01 | Continuing in-service
0000016301 | FortisAlberta DOS - Plains Midstream Canada (163S) | DOS | N/A | — | FortisAlberta | Demand Opportunity Service | Empress | 48 | 262 | 2020-01-01 | Continuing in-service
0000019811 | FortisAlberta Reversing POD - Blackfalds (198S) | Reversing POD | N/A | BFD1 | FortisAlberta | Distribution-Connected - Other | Red Deer | 35 | 3113 | 2020-01-01 | Continuing in-service
0000021411 | FortisAlberta Reversing POD - Innisfail (214S) | Reversing POD | N/A | DKSN, INF1 | FortisAlberta | Distribution-Connected - Other | Didsbury | 39 | 557120 | 2020-06-01 | New: STS 4.3 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2097)
0000022911 | FortisAlberta Reversing POD - Glenwood (229S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Glenwood | 55 | 4245 | 2020-01-01 | Continuing in-service
0000025411 | FortisAlberta Reversing POD - Coaldale (254S) | Reversing POD | N/A | COD1, ME04 | FortisAlberta | Distribution-Connected - Other | Lethbridge | 54 | 4690 | 2022-03-01 | Change: STS 23.9 MW; increase of 22.0 MW from previous 1.9 MW [6(1)(c)] (Project 1850)
0000025511 | FortisAlberta Reversing POD - Vulcan (255S) | Reversing POD | N/A | VCN1 | FortisAlberta | Distribution-Connected - Solar | Stavely | 49 | 557120 | 2022-06-01 | New: STS 17.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1831)
0000025611 | FortisAlberta Reversing POD - Harmattan (256S) | Reversing POD | N/A | HMT1 | FortisAlberta | Distribution-Connected - Other | Didsbury | 39 | 124 | 2020-01-01 | Continuing in-service
0000025711 | FortisAlberta Reversing POD - Hull (257S) | Reversing POD | N/A | HUL1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 2401, 552402 | 2020-01-01 | Continuing in-service
0000027511 | FortisAlberta Reversing POD - Jenner (275S) | Reversing POD | N/A | JER1 | FortisAlberta | Distribution-Connected - Solar | Empress | 48 | — | 2021-08-01 | New: STS 23.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1840)
0000027711 | FortisAlberta Reversing POD - Hayter (277S) | Reversing POD | N/A | BUL1, BUL2 | FortisAlberta | Distribution-Connected - Other | Provost | 37 | 220 | 2020-01-01 | Continuing in-service
0000033111 | FortisAlberta Reversing POD - Ponoka (331S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Wetaskiwin | 31 | 4090 | 2020-10-01 | New: STS 4.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2231)
0000034911 | FortisAlberta Reversing POD - Stavely (349S) | Reversing POD | N/A | ALP2 | FortisAlberta | Distribution-Connected - Other | Stavely | 49 | 4235 | 2022-06-01 | Change: STS 14.1 MW; increase of 13.0 MW from previous 1.1 MW [6(1)(c)] (Project 1870)
0000036811 | FortisAlberta Reversing POD - Burdett (368S) | Reversing POD | N/A | BRD1, BUR1, ME03 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 2269 | 2021-01-01 | New: STS 25.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 1849 and 2241)
0000038511 | FortisAlberta Reversing POD - Spring Coulee (385S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Glenwood | 55 | 4246 | 2021-12-01 | Change: STS 29.5 MW; increase of 28.5 MW from previous 1.0 MW [6(1)(c)] (Project 1862)
0000039611 | FortisAlberta Reversing POD - Pincher Creek (396S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Fort Macleod | 53 | 4224 | 2020-01-01 | Continuing in-service
0000042111 | FortisAlberta Reversing POD - Hays (421S) | Reversing POD | N/A | HYS1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 4401 | 2021-08-01 | New: STS 13.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1839)
0000042811 | FortisAlberta Reversing POD - Namaka (428S) | Reversing POD | N/A | NMK1 | FortisAlberta | Distribution-Connected - Solar | Strathmore | 45 | — | 2021-09-01 | New: STS 16.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1932)
0000049211 | FortisAlberta Reversing POD - Monarch (492S) | Reversing POD | N/A | MON1 | FortisAlberta | Distribution-Connected - Other | Lethbridge | 54 | — | 2022-03-01 | New: STS 20.0 MWl; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1851]
0000049811 | FortisAlberta Reversing POD - Tilley (498S) | Reversing POD | N/A | ALP1, TIL1 | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | 3275 | 2022-02-01 | New: STS 20.8 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1837)
0000052611 | FortisAlberta Reversing POD - Buffalo Creek (526S) | Reversing POD | N/A | ERV2 | FortisAlberta | Distribution-Connected - Other | Wainwright | 32 | 4079 | 2021-10-01 | New: STS 16.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2272)
0000065911 | FortisAlberta Reversing POD - Pegasus (659S) | Reversing POD | N/A | GEN5 | FortisAlberta | Distribution-Connected - Other | Swan Hills | 26 | 325 | 2020-01-01 | Continuing in-service
0000079301 | FortisAlberta DOS - Cochrane EV Partnership (793S) | DOS | N/A | — | FortisAlberta | Demand Opportunity Service | Seebe | 44 | 191 | 2020-01-01 | Continuing in-service
0000089511 | FortisAlberta Reversing POD - Suffield (895S) | Reversing POD | N/A | NAT1, SUF1 | FortisAlberta | Distribution-Connected - Other | Medicine Hat | 4 | 3270 | 2020-08-01 | Change: STS 35.0 MW; increase of 25.0 MW from previous 12.0 MW [6(1)(c)] (Project 1838)
311S033N | ATCO Electric Reversing POD - Elmsworth (731S) | Reversing POD | N/A | NPC1, NPC2 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19134 | 2020-01-01 | Continuing in-service
312S008N | ATCO Electric Reversing POD - Rycroft (730S) | Reversing POD | N/A | ERV1 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19100 | 2020-11-01 | New: STS 14.0 MW; using profile locations: all ATCO Electric Distribution-Connected - Other [6(1)(e)(i)] (Project 2214)
312S025N | ATCO Electric Reversing POD - Mowat (2033S) | Reversing POD | N/A | MUL1, SDH1 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19116 | 2020-01-01 | Continuing in-service
321S009N | ATCO Electric Reversing POD - Carmon (830S) | Reversing POD | N/A | WCD1 | ATCO Electric | Distribution-Connected - Other | Peace River | 19 | 19083 | 2020-01-01 | Continuing in-service
321S033 | ATCO Electric DOS - Mercer Peace River (839S) | DOS | N/A | — | ATCO Electric | Demand Opportunity Service | Peace River | 19 | 1088 | 2020-01-01 | Continuing in-service
325S009N | ATCO Electric Reversing POD - Hotchkiss (788S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Other | Peace River | 19 | 19050 | 2020-01-01 | Continuing in-service
372S025N | ATCO Electric Reversing POD - Lindbergh (969S) | Reversing POD | N/A | PEC1 | ATCO Electric | Distribution-Connected - Other | Cold Lake | 28 | 1444 | 2020-01-01 | Continuing in-service
AFG1TX | APF Athabasca | Self-supply | Net-to-grid | AFG1 | Alberta-Pacific Forest Industries | Biomass and Other | Athabasca | 27 | 392 | 2020-01-01 | Continuing in-service
AKE1 | McBride Lake Wind Facility | Source Asset | Gross | AKE1 | ENMAX Energy Corporation | Wind | Fort Macleod | 53 | 901 | 2020-01-01 | Continuing in-service
ANC1 | Alberta Newsprint | Self-supply | Gross | ANC1 | Alberta Newprint Company | Gas - Simple Cycle | Swan Hills | 26 | 298 | 2020-01-01 | Continuing in-service
ARD1 | Ardenville Wind Facility | Source Asset | Gross | ARD1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 739 | 2020-01-01 | Continuing in-service
BAR | Barrier Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 216 | 2020-01-01 | Continuing in-service
BCR2 | Bear Creek #2 | Self-supply | Gross | BCR2 | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2020-01-01 | Continuing in-service
BCRK | Bear Creek #1 | Self-supply | Gross | BCRK | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2020-01-01 | Continuing in-service
BIG | Bighorn Hydro Facility | Source Asset | Gross | BIG | TransAlta Alberta Hydro LP | Hydro | Abraham Lake | 34 | 103 | 2020-01-01 | Continuing in-service
BPW | Bearspaw Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 184 | 2020-01-01 | Continuing in-service
BR4 | Battle River #4 | Source Asset | Gross | BR4 | Heartland Generation | Dual Fuel | Alliance | 36 | 1491 | 2020-01-01 | Continuing in-service
BR5 | Battle River #5 | Source Asset | Gross | BR5 | Heartland Generation | Dual Fuel | Alliance | 36 | 1469 | 2020-01-01 | Continuing in-service
BRA | Brazeau Hydro Facility | Source Asset | Gross | BRA | TransAlta Alberta Hydro LP | Hydro | Drayton Valley | 30 | 153 | 2020-01-01 | Continuing in-service
BSR1 | Blackspring Ridge Wind Facility | Source Asset | Gross | BSR1 | EDF Renewables Canada | Wind | Stavely | 49 | 736 | 2020-01-01 | Continuing in-service
BTR1 | Blue Trail Wind Facility | Source Asset | Gross | BTR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 328 | 2020-01-01 | Continuing in-service
CAS | Cascade Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 175 | 2020-01-01 | Continuing in-service
CES1/CES2 | Calgary Energy Centre | Source Asset | Gross | CAL1 | Calgary Energy Centre No. 2 Inc. | Gas - Combined Cycle | Calgary | 6 | 187 | 2020-01-01 | Continuing in-service
CHIN | Chin Chute Hydro Facility | Source Asset | Gross | CHIN | Irrigation Canal Power Co-operative Ltd. | Hydro | Lethbridge | 54 | 406 | 2020-01-01 | Continuing in-service
CL01 | Cenovus Christina Lake Industrial System | Self-supply | Gross | CL01 | Cenovus Energy | Gas - Cogeneration | Fort McMurray | 25 | 879 | 2020-01-01 | Continuing in-service
CLR1 | Claresholm Solar A Facility | Source Asset | Gross | CLR1 | Claresholm Solar LP | Solar | Stavely | 49 | 99004 | 2021-01-01 | New: MC 58 MW; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 1879)
CLR2 | Claresholm Solar B Facility | Source Asset | Gross | CLR2 | Claresholm Solar LP | Solar | Stavely | 49 | 99004 | 2021-01-01 | New: MC 75 MW; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 1879)
CMH1 | City of Medicine Hat | Self-supply | Gross | CCMH, CMH1 | City of Medicine Hat | City of Medicine Hat | Medicine Hat | 4 | 976 | 2022-04-01 | Change: MC 341 MW; increase of 44 MW from previous 297 MW [6(1)(c)] (Project 2239)
CNR5 | CNRL Horizon Industrial System | Self-supply | Net-to-grid | CNR5 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1263 | 2020-01-01 | Continuing in-service
CR1 | Castle River #1 Wind Facility | Source Asset | Gross | CR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 234 | 2020-01-01 | Continuing in-service
CRE3 | Cowley Ridge Wind Facility | Source Asset | Gross | CRE3 | TransAlta Corporation | Wind | Fort Macleod | 53 | 264 | 2020-01-01 | Continuing in-service
CRR1 | Castle Rock Ridge Wind Facility | Source Asset | Gross | CRR1 | Enel Green Power | Wind | Fort Macleod | 53 | 221 | 2020-01-01 | Continuing in-service
CRR2 | Castle Rock Ridge Phase 2 Wind Facility | Source Asset | Gross | CRR2 | Enel Green Power | Wind | Fort Macleod | 53 | 221 | 2020-01-01 | Continuing in-service
CRS1 | Crossfield Energy Centre #1 | Source Asset | Gross | CRS1 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
CRS2 | Crossfield Energy Centre #2 | Source Asset | Gross | CRS2 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
CRS3 | Crossfield Energy Centre #3 | Source Asset | Gross | CRS3 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
DAI1 | Daishowa-Marubeni | Self-supply | Net-to-grid | DAI1 | Mercer Peace River Pulp | Biomass and Other | Peace River | 19 | 1089 | 2020-01-01 | Continuing in-service
DOWGEN15M | Dow Hydrocarbon Industrial Complex | Self-supply | Gross | DOWG | Dow Chemical Canada ULC | Gas - Cogeneration | Fort Saskatchewan | 33 | 61 | 2020-01-01 | Continuing in-service
DRW1 | Drywood #1 | Source Asset | Gross | DRW1 | BowArk Energy Ltd. | Gas - Simple Cycle | Glenwood | 55 | 4226 | 2020-01-01 | Continuing in-service
EAGL | Whitecourt Power | Source Asset | Gross | EAGL | Whitecourt Power Ltd. | Biomass and Other | Swan Hills | 26 | 410 | 2020-01-01 | Continuing in-service
EC01 | Cavalier | Self-supply | Gross | EC01 | ENMAX Cavalier LP | Gas - Combined Cycle | Strathmore | 45 | 340 | 2020-01-01 | Continuing in-service
EC04 | Foster Creek Industrial System | Self-supply | Gross | EC04 | Cenovus Energy | Gas - Cogeneration | Cold Lake | 28 | 1301 | 2020-01-01 | Continuing in-service
EGC1 | Shepard | Source Asset | Gross | EGC1 | ENMAX Shepard Services Inc. | Gas - Combined Cycle | Calgary | 6 | 772 | 2020-05-01 | Change: MC 868 MW; increase of 8 MW from previous 860 MW [6(1)(c)] (Project 2270)
ENC1 | Clover Bar #1 | Source Asset | Gross | ENC1 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
ENC2 | Clover Bar #2 | Source Asset | Gross | ENC2 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
ENC3 | Clover Bar #3 | Source Asset | Gross | ENC3 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
FH1 | Fort Hills Industrial System | Self-supply | Gross | FH1 | Fort Hills Energy Corporation | Gas - Cogeneration | Fort McMurray | 25 | 1612 | 2020-01-01 | Continuing in-service
FNG1 | Fort Nelson | Self-supply | Gross | FNG1 | Powerex Corp. | Gas - Combined Cycle | Rainbow Lake | 17 | 20000 | 2020-01-01 | Continuing in-service
GHO | Ghost Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 180 | 2020-01-01 | Continuing in-service
GN1 | Genesee #1 | Source Asset | Gross | GN1 | Capital Power | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GN2 | Genesee #2 | Source Asset | Gross | GN2 | Capital Power | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GN3 | Genesee #3 | Source Asset | Gross | GN3 | Capital Power (G3) Limited Partnership | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GPEC | Grande Prairie EcoPower | Self-supply | Gross | GPEC | Canadian Forest Products Ltd. | Biomass and Other | Grande Prairie | 20 | 1101 | 2020-01-01 | Continuing in-service
GWW1 | Soderglen Wind Facility | Source Asset | Gross | GWW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 358 | 2020-01-01 | Continuing in-service
HAL1 | Halkirk Wind Facility | Source Asset | Gross | HAL1 | Capital Power | Wind | Hanna | 42 | 1435 | 2020-01-01 | Continuing in-service
HRM | H. R. Milner | Source Asset | Gross | HRM | Milner Power II Limited Partnership | Gas - Simple Cycle | Grande Cache | 22 | 1147 | 2020-04-01 | Change: MC 208 MW; increase of 64 MW from previous 144 MW [6(1)(c)] (Project 2158)
HRM | H. R. Milner | Source Asset | Gross | HRM | Milner Power II Limited Partnership | Gas - Combined Cycle | Grande Cache | 22 | 1147 | 2022-07-01 | Change: MC 300 MW; increase of 92 MW from previous 208 MW [6(1)(c)] (Project 2350)
HRT1 | Heartland Petrochemical Complex Industrial System | Self-supply | Gross | HRT1 | Fengate Central Utilities Block | Gas - Cogeneration | Fort Saskatchewan | 33 | — | 2021-10-01 | New: MC 103 MW; using profile locations: all Gas - Cogeneration [6(1)(e)(ii)] (Project 1647)
HSH | Horseshoe Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 171 | 2020-01-01 | Continuing in-service
IEW1 | Summerview 1 Wind Facility | Source Asset | Gross | IEW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2020-01-01 | Continuing in-service
IEW2 | Summerview 2 Wind Facility | Source Asset | Gross | IEW2 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2020-01-01 | Continuing in-service
INT | Interlakes Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 376 | 2020-01-01 | Continuing in-service
IOR1 | Cold Lake Industrial System | Self-supply | Gross | IOR1, IOR2 | Imperial Oil Limited | Gas - Cogeneration | Cold Lake | 28 | 1303 | 2020-01-01 | Continuing in-service
IOR3 | Kearl Oil Sands Industrial System | Self-supply | Net-to-grid | IOR3 | Imperial Oil Limited | Gas - Cogeneration | Fort McMurray | 25 | 1610 | 2020-01-01 | Continuing in-service
IOR4 | Strathcona Refinery Industrial System | Self-supply | Net-to-grid | IOR4 | Imperial Oil Limited | Gas - Cogeneration | Edmonton | 60 | 30694066 | 2020-08-01 | New: MC 43 MW; using profile location: IOR1 [6(1)(e)(i)] (Project 2057)
KAN | Kananaskis Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 193 | 2020-01-01 | Continuing in-service
KH2 | Keephills #2 | Source Asset | Gross | KH2 | TransAlta Generation Partnership | Gas Fired Steam | Lake Wabamun | 40 | 420 | 2020-01-01 | Continuing in-service
KH3 | Keephills #3 | Source Asset | Gross | KH3 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 510 | 2020-01-01 | Continuing in-service
KHW1 | Kettles Hill Wind Facility | Source Asset | Gross | KHW1 | ENMAX Kettles Hill Inc. | Wind | Fort Macleod | 53 | 402 | 2020-01-01 | Continuing in-service
MEG1 | MEG Christina Lake Industrial System | Self-supply | Net-to-grid | MEG1 | MEG Energy Corp. | Gas - Cogeneration | Fort McMurray | 25 | 405 | 2020-01-01 | Continuing in-service
MKR1 | Muskeg River Industrial System | Self-supply | Gross | MKR1 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1236 | 2020-01-01 | Continuing in-service
MKRC | MacKay River Industrial System | Self-supply | Gross | MKRC | TransCanada Energy Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1274 | 2020-01-01 | Continuing in-service
NEP1 | Ghost Pine Wind Facility | Source Asset | Gross | NEP1 | Ghost Pine Windfarm, LP | Wind | Hanna | 42 | 603 | 2020-01-01 | Continuing in-service
NOVAGEN15M | Joffre Industrial System | Self-supply | Net-to-grid | JOF1 | NOVA Chemicals | Gas - Cogeneration | Red Deer | 35 | 383 | 2020-01-01 | Continuing in-service
NPP1 | Northern Prairie Power Project | Source Asset | Gross | NPP1 | Grande Prairie Generation Inc. | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2020-01-01 | Continuing in-service
NRG3 | NRGreen | Self-supply | Gross | NRG3 | NRGreen Power Limited Partnership | Biomass and Other | Swan Hills | 26 | 1674 | 2020-01-01 | Continuing in-service
NX01 | Nexen Balzac | Self-supply | Gross | NX01 | CNOOC International | Gas - Combined Cycle | Calgary | 6 | 198 | 2020-01-01 | Continuing in-service
NX02 | Nexen Long Lake Industrial System | Self-supply | Gross | NX02 | CNOOC International | Gas - Cogeneration | Fort McMurray | 25 | 1241 | 2020-01-01 | Continuing in-service
OMRH | Oldman River Hydro Facility | Source Asset | Gross | OMRH | ATCO Power Canada Ltd. | Hydro | Fort Macleod | 53 | 230 | 2020-01-01 | Continuing in-service
OWF1 | Oldman 2 Wind Facility | Source Asset | Gross | OWF1 | Oldman 2 Wind Farm Limited | Wind | Fort Macleod | 53 | 543 | 2020-01-01 | Continuing in-service
PH1 | Poplar Hill #1 | Source Asset | Gross | PH1 | Heartland Generation | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2020-01-01 | Continuing in-service
PMB1 | West Pembina | Self-supply | Net-to-grid | PMB1 | Keyera Partnership | Gas - Simple Cycle | Drayton Valley | 30 | 4215 | 2020-10-01 | New: MC 13 MW; using profile locations: all Gas - Simple Cycle [6(1)(e)(ii)] (Project 2012)
POC | Pocaterra Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 329 | 2020-01-01 | Continuing in-service
PR1 | Primrose Industrial System | Self-supply | Gross | PR1 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Cold Lake | 28 | 800 | 2022-08-01 | Change: MC 132 MW; increase of 32 MW from previous 100 MW [6(1)(c)] (Project 2279)
Proj_1812 | Forty Mile Granlea Wind Facility | Source Asset | Gross | — | Suncor Energy Inc. | Wind | Medicine Hat | 4 | — | 2022-12-01 | New: MC 200 MW; using profile locations: SCR2, SCR3 [6(1)(e)(i)] (Project 1812)
Proj_1853 | FortisAlberta Reversing POD - Jenner (275S-2269L) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-12-01 | New: STS 12.3 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1853)
Proj_1892 | FortisAlberta Reversing POD - Jenner (275S-2323L) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-12-01 | New: STS 4.6 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1892)
Proj_1909 | Garden Plain Wind Facility | Source Asset | Gross | — | TransAlta Corporation | Wind | Hanna | 42 | — | 2022-11-01 | New: MC 130 MW; using profile locations: all TransAlta Corporation Wind [6(1)(e)(i)] (Project 1909)
Proj_1978_2061_2248 | ATCO Electric Reversing POD - Michichi Creek (802S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Solar | Hanna | 42 | — | 2022-03-01 | New: STS 24.5 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Projects 2061 and 2248)
Proj_1978_2061_2248 | ATCO Electric Reversing POD - Michichi Creek (802S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Solar | Hanna | 42 | — | 2022-05-01 | Change: STS 85.5 MW; increae of 61.0 MW from previous 24.5 MW [6(1)(c)] (Project 1978)
Proj_1982 | EPCOR Reversing POD - Petrolia (Petrolia) | Reversing POD | N/A | — | EPCOR Distribution | Distribution-Connected - Solar | Edmonton | 60 | — | 2022-03-31 | New: STS 0.0 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Project 1982)
Proj_2009_2341 | Travers Solar Facility | Source Asset | Gross | — | Greengate Power | Solar | Stavely | 49 | — | 2022-11-01 | New: MC 465 MW staged; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 2009)
Proj_2059 | ATCO Electric Reversing POD - Three Hills (770S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Solar | Hanna | 42 | — | 2022-10-01 | New: STS 14.0 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Project 2059)
Proj_2108 | FortisAlberta Reversing POD - Entwistle (235S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Wabamun | 40 | — | 2021-11-01 | New: STS 3.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1922)
Proj_2122 | Cypress Wind Facility | Source Asset | Gross | — | Cypress Renewable Energy Centre | Wind | Medicine Hat | 4 | — | 2022-12-01 | New: MC 202 MW; using profile locations: all Wind [6(1)(e)(ii)] (Project 2122)
Proj_2194 | FortisAlberta Reversing POD - East Crossfield (64S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Airdrie | 57 | — | 2022-05-01 | New: STS 1.0 MWl; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2194)
Proj_2199 | FortisAlberta Reversing POD - Jenner (275S-310LS) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-12-01 | New: STS 13.8 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2199)
Proj_2216 | FortisAlberta Reversing POD - Chappice Lake (649S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Medicine Hat | 4 | — | 2022-04-15 | New: STS 11.0 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2216)
Proj_2249_2250 | FortisAlberta Reversing POD - Empress (294S) | Reversing POD | N/A | EMP1 | FortisAlberta | Distribution-Connected - Solar | Empress | 48 |  | 2022-05-01 | New: STS 37.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 2249 and 2250)
Proj_2352 | ATCO Electric Reversing POD - Ethel Lake (717S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Other | Cold Lake | 28 | — | 2022-08-01 | New: STS 0 MW; using profile locations: all ATCO Electric Distribution-Connected - Other [6(1)(e)(i)] (Project 2352)
RB5 | Rainbow #5 | Self-supply | Gross | RB5, RL1 | Heartland Generation | Gas - Simple Cycle | Rainbow Lake | 17 | 83 | 2020-01-01 | Continuing in-service
RIV1 | Riverview Wind Facility | Source Asset | Gross | RIV1 | Enel Green Power | Wind | Fort Macleod | 53 | 69221 | 2020-01-01 | Continuing in-service
RTL1 | Rattlesnake Ridge Wind Facility | Source Asset | Gross | RTL1 | BHE Canada Rattlesnake G.P. | Wind | Medicine Hat | 4 | — | 2021-08-01 | New: MC 114 MW; using profile locations: all Wind [6(1)(e)(ii)] (Project 2212)
RUN | Rundle Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 195 | 2020-01-01 | Continuing in-service
RYMD | Raymond Reservoir Hydro Facility | Source Asset | Gross | RYMD | Irrigation Canal Power Co-operative Ltd. | Hydro | Glenwood | 55 | 413 | 2020-01-01 | Continuing in-service
S09N | ENMAX Reversing POD - 9 Substation (SS-9) | Reversing POD | N/A | BON1 | ENMAX Power Corporation | Distribution-Connected - Other | Calgary | 6 | 4277 | 2021-10-01 | New: STS 4.8 MW; using profile locations: all Distribution-Connected - Other [6(1)(e)(ii)] (Project 2395)
SCL1 | Syncrude Industrial System | Self-supply | Net-to-grid | SCL1 | Syncrude Canada Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2020-01-01 | Continuing in-service
SCR1 | Suncor Industrial System | Self-supply | Gross | SCR1, SCR5, SCR6 | Suncor Energy Inc. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2020-01-01 | Continuing in-service
SCR2 | Magrath Wind Facility | Source Asset | Gross | SCR2 | Suncor Energy Inc. | Wind | Glenwood | 55 | 251 | 2020-01-01 | Continuing in-service
SCR3 | Chin Chute Wind Facility | Source Asset | Gross | SCR3 | Suncor Energy Inc. | Wind | Lethbridge | 54 | 389 | 2020-01-01 | Continuing in-service
SCR4 | Wintering Hills Wind Facility | Source Asset | Gross | SCR4 | Oldman 2 Wind Farm Limited | Wind | Sheernes | 43 | 759 | 2020-01-01 | Continuing in-service
SCTG | Scotford Industrial System | Self-supply | Gross | ALS1, APS1 | Shell Canada Limited | Gas - Cogeneration | Fort Saskatchewan | 33 | 43 | 2020-01-01 | Continuing in-service
SD4 | Sundance #4 | Source Asset | Gross | SD4 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 135 | 2022-05-01 | Retired
SD6 | Sundance #6 | Source Asset | Gross | SD6 | TransAlta Generation Partnership | Gas Fired Steam | Lake Wabamun | 40 | 135 | 2020-01-01 | Continuing in-service
SET1 | South Edmonton Terminal | Source Asset | Gross | SET1 | Enbridge Pipelines | Gas - Simple Cycle | Edmonton | 60 | 3436 | 2021-03-01 | New: MC 20 MW; using profile locations: all Gas - Simple Cycle [6(1)(e)(ii)] (Project 2203)
SH1 | Sheerness #1 | Source Asset | Gross | SH1 | Heartland Generation | Gas Fired Steam | Sheernes | 43 | 1481 | 2020-01-01 | Continuing in-service
SH2 | Sheerness #2 | Source Asset | Gross | SH2 | Heartland Generation | Gas Fired Steam | Sheernes | 43 | 1486 | 2020-01-01 | Continuing in-service
SHCG | Shell Caroline | Self-supply | Net-to-grid | SHCG | Shell Canada Limited | Gas - Cogeneration | Caroline | 38 | 370 | 2020-01-01 | Continuing in-service
SLP1 | Slave Lake Pulp | Self-supply | Net-to-grid | SLP1 | West Fraser Mills Ltd. | Biomass and Other | High Prairie | 21 | 1230 | 2020-01-01 | Continuing in-service
SPR | Spray Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 310 | 2020-01-01 | Continuing in-service
SUM1 | Summerview Energy Storage Facility | Source Asset | Gross | SUM1 | TransAlta Corporation | Energy Storage | Fort Macleod | 53 | 336 | 2020-11-01 | New: MC 10 MW; using new profile [6(1)(e)(iii)] (Project 2198)
TAB1 | Taber Wind Facility | Source Asset | Gross | TAB1 | ENMAX Energy Corporation | Wind | Vauxhall | 52 | 343 | 2020-01-01 | Continuing in-service
TAY1 | Taylor Hydro Facility | Source Asset | Gross | TAY1 | TransAlta Corporation | Hydro | Glenwood | 55 | 693 | 2020-01-01 | Continuing in-service
TC01 | Carseland Industrial System | Self-supply | Gross | TC01 | TransCanada Energy Ltd. | Gas - Cogeneration | Strathmore | 45 | 5251 | 2020-01-01 | Continuing in-service
TC02 | Redwater Industrial System | Self-supply | Gross | TC02 | TransCanada Energy Ltd. | Gas - Cogeneration | Fort Saskatchewan | 33 | 50 | 2020-01-01 | Continuing in-service
THS | Three Sisters Hydro Plant | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 379 | 2020-01-01 | Continuing in-service
VVW1 | Valleyview #1 | Source Asset | Gross | VVW1 | Heartland Generation | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2020-01-01 | Continuing in-service
VVW2 | Valleyview #2 | Source Asset | Gross | VVW2 | Heartland Generation | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2020-01-01 | Continuing in-service
WEY1 | Weyerhaeuser | Self-supply | Gross | WEY1 | International Paper Canada | Biomass and Other | Grande Prairie | 20 | 1140 | 2020-01-01 | Continuing in-service
WHT1 | Whitla Wind Facility | Source Asset | Gross | WHT1 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2020-01-01 | Continuing in-service
WHT2 | Whitla Phase 2 Wind Facility | Source Asset | Gross | WHT2 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2021-08-01 | New: MC 97 MW; using profile location: HAL1, WHT1 [6(1)(e)(i)] (Project 1800-2)
WHT2 | Whitla Phase 2 Wind Facility | Source Asset | Gross | WHT2 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2021-09-01 | Change: MC 151 MW; increase of 54 MW from previous 97 MW [6(1)(c)] (Project 2338)
WRW1 | Windrise Wind Facility | Source Asset | Gross | WRW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | — | 2021-06-01 | New: MC 207 MW; using profile locations: all TransAlta Corporation Wind [6(1)(e)(i)] (Project 2041)
WST1 | Westlock Power Plant | Source Asset | Gross | WST1 | DAPP Power LP | Biomass and Other | Athabasca/Lac La Biche | 27 | 14 | 2020-01-01 | Continuing in-service
BCHEXP | Alberta-BC Interite - Export | Export | N/A | BCHEXP | AltaLink | Export | WSCC | 15 | 1520 | 2020-01-01 | Continuing in-service
BCHIMP | Alberta-BC Interite - Import | Import | N/A | BCHIMP | AltaLink | Import | WSCC | 15 | 1520 | 2020-01-01 | Continuing in-service
120SIMP | Alberta-Montana Intertie - Import | Import | N/A | MATLIMP | Berkshire Hathaway Energy | Import | Glenwood | 55 | 80000 | 2020-01-01 | Continuing in-service
MTEXP | Alberta-Montana Intertie - Export | Export | N/A | MTEXP | Berkshire Hathaway Energy | Merchant Export | Glenwood | 55 | 80000 | 2020-01-01 | Continuing in-service
SPCEXP | Alberta-Saskatchewan Intertie - Export | Export | N/A | SPCEXP | AltaLink | Export | Empress | 48 | 1473 | 2020-01-01 | Continuing in-service
SPCIMP | Alberta-Saskatchewan Intertie - Import | Import | N/A | SPCIMP | AltaLink | Import | Empress | 48 | 1473 | 2020-01-01 | Continuing in-service
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.