## Substation Capabilities Table
Substation Information |  |  |  | Bus 1 Information |  |  | Bus 2 Information |  |  | Bus 3 Information |  |  | Bus 4 Information |  |  | Date Updated
Name | Facility Code | TFO | Planning Area | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW)
Al Rothbauer | 321S | AltaLink | 04-Medicine Hat | 976 | 138 | 0 | [9 empty] | 2025-09-26
Amber | 611S | AltaLink | 04-Medicine Hat | 549041 | 240 | 0 | [9 empty] | 2025-09-26
Amoco Empress | 163S | AltaLink | 48-Empress | 262 | 240 | 5 | 267 | 138 | 4 | [6 empty] | 2025-09-26
Anderson | 801S | ATCO | 43-Sheerness | 1484 | 240 | 248 | 1485 | 144 | 35 | [6 empty] | 2025-09-26
Ardenville Wind Farm | 418S | AltaLink | 53-Fort Macleod | 739 | 138 | 38 | [9 empty] | 2025-09-26
Badlands | 981S | ATCO | 43-Sheerness | 1632 | 138 | 20 | [9 empty] | 2025-09-26
Bardo | 197S | AltaLink | 31-Wetaskiwin | Capability Not Calculated | [11 empty] | 2025-09-26
Bassano | 435S | AltaLink | 47-Brooks | 399 | 138 | 0 | [9 empty] | 2025-09-26
Battle River | 757S | ATCO | 36-Alliance/Battle River | 1489 | 240 | 234 | 1491 | 144 | 241 | 1469 | 240 | 110 | 1492 | 72 | 99 | 2025-09-26
Battle Sands | 594S | AltaLink | 32-Wainwright | 609 | 138 | 97 | [9 empty] | 2025-09-26
Bauer | 918S | ATCO | 13-Lloydminster | 1113 | 144 | 109 | [9 empty] | 2025-09-26
Big Knife Creek | 843S | ATCO | 36-Alliance/Battle River | 1401 | 72 | 57 | [9 empty] | 2025-09-26
Big Valley | 778S | ATCO | 42-Hanna | 1442 | 72 | 9 | [9 empty] | 2025-09-26
Bigfoot | 756S | ATCO | 36-Alliance/Battle River | 1498 | 72 | 48 | [9 empty] | 2025-09-26
Bindloss | 914S | ATCO | 48-Empress | 1454 | 144 | 5 | [9 empty] | 2025-09-26
Black Diamond | 392S | AltaLink | 46-High River | 238 | 138 | 0 | 241 | 69 | 0 | [6 empty] | 2025-09-26
Blackie | 253S | AltaLink | 45-Strathmore/Blackie | 253 | 138 | 0 | [9 empty] | 2025-09-26
Blackspring Ridge | 485S | AltaLink | 49-Stavely | 736 | 240 | 166 | [9 empty] | 2025-09-26
Blue Trail | 528S | AltaLink | 53-Fort Macleod | 328 | 138 | 38 | [9 empty] | 2025-09-26
Bonnyville | 700S | ATCO | 28-Cold Lake | Capability Not Calculated | [11 empty] | 2025-09-26
Bowmanton | 244S | AltaLink | 04-Medicine Hat | 669 | 240 | 0 | 659 | 138 | 0 | 645 | 138 | 0 |  |  |  | 2025-09-26
Bowron | 674S | City of Lethbridge | 54-Lethbridge | 698 | 138 | 20 | [9 empty] | 2025-09-26
Briker | 880S | ATCO | 13-Lloydminster | 1314 | 144 | 103 | [9 empty] | 2025-09-26
Brooks | 121S | AltaLink | 47-Brooks | 256 | 138 | 0 | [9 empty] | 2025-09-26
Buffalo Bird | 601S | ATCO | 42-Hanna | 996 | 138 | 94 | [9 empty] | 2025-09-26
Buffalo Creek | 526S | AltaLink | 32-Wainwright | 79 | 138 | 119 | [9 empty] | 2025-09-26
Bullpound | 803S | ATCO | 43-Sheerness | 1463 | 144 | 25 | [9 empty] | 2025-09-26
Bullseye | 1004S | ATCO | 42-Hanna | 549051 | 138 | 8 | [9 empty] | 2025-09-26
Bullshead | 523S | AltaLink | 04-Medicine Hat | 271 | 138 | 0 | [9 empty] | 2025-09-26
Burdett | 368S | AltaLink | 52-Vauxhall | 269 | 138 | 2 | [9 empty] | 2025-09-26
Carseland | 525S | AltaLink | 45-Strathmore/Blackie | 252 | 138 | 0 | [9 empty] | 2025-09-26
Cassils | 324S | AltaLink | 47-Brooks | 918 | 240 | 340 | [9 empty] | 2025-09-26
Castle River | 239S | AltaLink | 53-Fort Macleod | 234 | 138 | 69 | [9 empty] | 2025-09-26
Castle Rock Ridge | 205S | AltaLink | 53-Fort Macleod | 221 | 240 | 226 | [9 empty] | 2025-09-26
Castor | 759S | ATCO | 42-Hanna | 1404 | 72 | 57 | [9 empty] | 2025-09-26
Cavalier |  | AltaLink | 45-Strathmore/Blackie | 247 | 138 | 0 | [9 empty] | 2025-09-26
Cavendish | 893S | ATCO | 48-Empress | 1456 | 144 | 5 | [9 empty] | 2025-09-26
Chappice Lake | 649S | AltaLink | 04-Medicine Hat | 320 | 138 | 0 | [9 empty] | 2025-09-26
Chestermere | 419S | AltaLink | 6-Calgary | 949 | 138 | 25 | [9 empty] | 2025-09-26
Chin Chute | 315S | AltaLink | 54-Lethbridge | 406 | 138 | 3 | [9 empty] | 2025-09-26
Chinook | 181S | City of Lethbridge | 54-Lethbridge | 367 | 138 | 20 | [9 empty] | 2025-09-26
Clipper | 656S | AltaLink | 32-Wainwright | 484 | 138 | 89 | [9 empty] | 2025-09-26
Coalbanks | 111S | City of Lethbridge | 54-Lethbridge | 679 | 138 | 20 | [9 empty] | 2025-09-26
Coaldale | 254S | AltaLink | 54-Lethbridge | 690 | 138 | 9 | [9 empty] | 2025-09-26
Coleman | 799S | AltaLink | 53-Fort Macleod | 232 | 138 | 131 | [9 empty] | 2025-09-26
Conrad | 135S | AltaLink | 52-Vauxhall | 291 | 138 | 2 | [9 empty] | 2025-09-26
Cordel | 755S | ATCO | 36-Alliance/Battle River | 1499 | 240 | 234 | [9 empty] | 2025-09-26
Coronation | 773S | ATCO | 42-Hanna | 1465 | 72 | 20 | [9 empty] | 2025-09-26
Cowley Ridge | 322S | AltaLink | 53-Fort Macleod | 264 | 69 | 10 | [9 empty] | 2025-09-26
Coyote Lake | 963S | ATCO | 43-Sheerness | 1447 | 240 | 197 | 1421 | 144 | 140 | [6 empty] | 2025-09-26
Cutting Lake | 227S | AltaLink | 47-Brooks | 445 | 138 | 0 | [9 empty] | 2025-09-26
Cypress | 562S | AltaLink | 48-Empress | 677 | 240 | 5 | 674 | 138 | 4 | [6 empty] | 2025-09-26
Drywood | 415S | AltaLink | 55-Glenwood | 233 | 138 | 81 | 226 | 69 | 34 | [6 empty] | 2025-09-26
Duchess | 339S | AltaLink | 47-Brooks | 250 | 138 | 0 | [9 empty] | 2025-09-26
East Stavely | 928S | AltaLink | 49-Stavely | 279 | 138 | 1 | [9 empty] | 2025-09-26
Edgerton | 899S | AltaLink | 37-Provost | 362 | 138 | 152 | [9 empty] | 2025-09-26
Elkwater | 264S | AltaLink | 04-Medicine Hat | 477 | 240 | 0 | [9 empty] | 2025-09-26
Empress | 394S | AltaLink | 48-Empress | 266 | 138 | 4 | [9 empty] | 2025-09-26
Empress Liquids | 164S | AltaLink | 48-Empress | 263 | 138 | 4 | [9 empty] | 2025-09-26
Enchant | 447S | AltaLink | 52-Vauxhall | 286 | 138 | 0 | [9 empty] | 2025-09-26
Excel | 910S | ATCO | 42-Hanna | 1459 | 144 | 92 | [9 empty] | 2025-09-26
Fidler | 312S | AltaLink | 53-Fort Macleod | 751 | 240 | 226 | 752 | 138 | 225 | [6 empty] | 2025-09-26
Fincastle | 336S | AltaLink | 52-Vauxhall | 31 | 138 | 2 | [9 empty] | 2025-09-26
Foothills | 237S | AltaLink | 46-High River | 617 | 240 | 0 | 640 | 138 | 0 | [6 empty] | 2025-09-26
Fort Macleod | 15S | AltaLink | 53-Fort Macleod | 237 | 138 | 23 | [9 empty] | 2025-09-26
Forty Mile | 516S | AltaLink | 04-Medicine Hat | 608 | 240 | 0 | [9 empty] | 2025-09-26
Garden City | 226S | AltaLink | 55-Glenwood | 251 | 138 | 18 | [9 empty] | 2025-09-26
Garden Plain | 1045S | ATCO | 42-Hanna | 542002 | 240 | 167 | [9 empty] | 2025-09-26
Ghost Pine | 114S | ATCO | 42-Hanna | 603 | 144 | 20 | [9 empty] | 2025-09-26
Gleichen | 179S | AltaLink | 45-Strathmore/Blackie | 254 | 138 | 0 | [9 empty] | 2025-09-26
Glenwood | 229S | AltaLink | 55-Glenwood | 245 | 69 | 14 | [9 empty] | 2025-09-26
Goldeye | 620S | ATCO | 36-Alliance/Battle River | 1467 | 240 | 109 | [9 empty] | 2025-09-26
Goose Lake | 103S | AltaLink | 53-Fort Macleod | 346 | 240 | 225 | 296 | 138 | 179 | [6 empty] | 2025-09-26
Granlea | 1024S | AltaLink | 04-Medicine Hat | 994 | 240 | 0 | [9 empty] | 2025-09-26
Granum | 604S | AltaLink | 49-Stavely | 894 | 138 | 1 | [9 empty] | 2025-09-26
Grizzly Bear | 708S | ATCO | 13-Lloydminster | 1308 | 138 | 1 | [9 empty] | 2025-09-26
Halkirk | 615S | ATCO | 42-Hanna | 1435 | 240 | 62 | [9 empty] | 2025-09-26
Halsbury | 306S | AltaLink | 48-Empress | 798 | 240 | 9 | [9 empty] | 2025-09-26
Hanna | 763S | ATCO | 42-Hanna | 1408 | 72 | 28 | [9 empty] | 2025-09-26
Hansman Lake | 650S | AltaLink | 37-Provost | 649 | 240 | 280 | 648 | 138 | 297 | [6 empty] | 2025-09-26
Hardisty | 377S | AltaLink | 32-Wainwright | 73 | 138 | 208 | [9 empty] | 2025-09-26
Hartell | 512S | AltaLink | 46-High River | 243 | 138 | 0 | [9 empty] | 2025-09-26
Hays | 421S | AltaLink | 52-Vauxhall | 401 | 138 | 0 | [9 empty] | 2025-09-26
Hayter | 277S | AltaLink | 37-Provost | 220 | 138 | 180 | [9 empty] | 2025-09-26
Heatburg | 948S | ATCO | 42-Hanna | 1429 | 144 | 27 | [9 empty] | 2025-09-26
Heisler | 764S | ATCO | 36-Alliance/Battle River | 1464 | 144 | 126 | 1400 | 72 | 39 | [6 empty] | 2025-09-26
High River | 65S | AltaLink | 46-High River | 242 | 138 | 0 | 236 | 69 | 0 | [6 empty] | 2025-09-26
Highland | 572S | ATCO | 42-Hanna | 549045 | 138 | 13 | [9 empty] | 2025-09-26
Hilda | 662S | AltaLink | 48-Empress | 540004 | 138 | 0 | [9 empty] | 2025-09-26
Hill | 751S | ATCO | 13-Lloydminster | 1393 | 144 | 166 | [9 empty] | 2025-09-26
Hillridge | 139S | AltaLink | 54-Lethbridge | 389 | 138 | 7 | [9 empty] | 2025-09-26
Holsom | 1054S | AltaLink | 04-Medicine Hat | 549034 | 138 | 0 | [9 empty] | 2025-09-26
HRT Express | 329S | AltaLink | 32-Wainwright | 37 | 138 | 87 | [9 empty] | 2025-09-26
Hughenden | 213S | AltaLink | 37-Provost | 75 | 138 | 134 | [9 empty] | 2025-09-26
Hull | 257S | AltaLink | 52-Vauxhall | 2400 | 138 | 4 | [9 empty] | 2025-09-26
Hussar | 431S | AltaLink | 45-Strathmore/Blackie | 315 | 138 | 0 | [9 empty] | 2025-09-26
Irish Creek | 706S | ATCO | 13-Lloydminster | 1377 | 144 | 121 | [9 empty] | 2025-09-26
Janet | 74S | AltaLink | 6-Calgary | Capability Not Calculated | [11 empty] | 2025-09-26
Jarrow | 252S | AltaLink | 32-Wainwright | 72 | 138 | 101 | [9 empty] | 2025-09-26
Jenner | 275S | AltaLink | 48-Empress | 260 | 240 | 9 | 292 | 138 | 9 | [6 empty] | 2025-09-26
Kettle's Hill | 383S | AltaLink | 53-Fort Macleod | 402 | 138 | 111 | [9 empty] | 2025-09-26
Killarney Lake | 267S | AltaLink | 37-Provost | 219 | 138 | 153 | [9 empty] | 2025-09-26
Kitscoty | 705S | ATCO | 13-Lloydminster | 1387 | 144 | 146 | [9 empty] | 2025-09-26
Lac La Biche | 157S | AltaLink | 27-Athabasca/Lac La Biche | Capability Not Calculated | [11 empty] | 2025-09-26
Lakesend | 508S | AltaLink | 42-Hanna | 716 | 138 | 87 | [9 empty] | 2025-09-26
Lakeview | 593S | City of Lethbridge | 54-Lethbridge | 697 | 138 | 19 | [9 empty] | 2025-09-26
Lanes Lake | 973S | ATCO | 42-Hanna | 1418 | 240 | 62 | [9 empty] | 2025-09-26
Lanfine | 959S | ATCO | 42-Hanna | 1438 | 240 | 248 | 19438 | 144 | 140 | [6 empty] | 2025-09-26
Langdon | 102S | AltaLink | 6-Calgary | Capability Not Calculated | [11 empty] | 2025-09-26
Lindbergh | 969S | ATCO | 28-Cold Lake | Capability Not Calculated | [11 empty] | 2025-09-26
Little Bow | 991S | AltaLink | 49-Stavely | 549026 | 240 | 1 | [9 empty] | 2025-09-26
Lloydminster | 716S | ATCO | 13-Lloydminster | 1455 | 144 | 146 | [9 empty] | 2025-09-26
Loyalist | 903S | ATCO | 42-Hanna | 1458 | 144 | 86 | [9 empty] | 2025-09-26
Lundbreck | 513S | AltaLink | 53-Fort Macleod | 347 | 69 | 10 | [9 empty] | 2025-09-26
Macdonald | 146S | City of Lethbridge | 54-Lethbridge | 696 | 138 | 20 | [9 empty] | 2025-09-26
Magcan | 142S | AltaLink | 46-High River | 240 | 138 | 0 | [9 empty] | 2025-09-26
Magrath | 225S | AltaLink | 55-Glenwood | 694 | 138 | 18 | 693 | 69 | 15 | [6 empty] | 2025-09-26
Mannix Mine | 765S | ATCO | 36-Alliance/Battle River | 1488 | 72 | 47 | [9 empty] | 2025-09-26
Marion Lake | 873S | ATCO | 42-Hanna | 1437 | 72 | 53 | [9 empty] | 2025-09-26
McBride Lake | 240S | AltaLink | 53-Fort Macleod | 901 | 138 | 23 | [9 empty] | 2025-09-26
McNeill Station | 840S | AltaLink | 48-Empress | Capability Not Calculated | [11 empty] | 2025-09-26
Metiskow | 648S | AltaLink | 37-Provost | 74 | 138 | 297 | 87 | 240 | 280 | [6 empty] | 2025-09-26
Michichi Creek | 802S | ATCO | 42-Hanna | 1448 | 144 | 20 | 1449 | 72 | 22 | [6 empty] | 2025-09-26
Milo | 356S | AltaLink | 47-Brooks | 943 | 240 | 549 | [9 empty] | 2025-09-26
Monarch | 492S | AltaLink | 54-Lethbridge | 400 | 138 | 20 | [9 empty] | 2025-09-26
Monitor | 774S | ATCO | 42-Hanna | 1471 | 144 | 176 | 1472 | 72 | 32 | [6 empty] | 2025-09-26
Murray Lake | 326S | AltaLink | 04-Medicine Hat | 838 | 240 | 0 | [9 empty] | 2025-09-26
Namaka | 428S | AltaLink | 45-Strathmore/Blackie | 340 | 138 | 0 | [9 empty] | 2025-09-26
Nevis | 766S | ATCO | 42-Hanna | 1422 | 240 | 229 | 1423 | 144 | 129 | [6 empty] | 2025-09-26
Newell | 2075S | AltaLink | 47-Brooks | 1012 | 240 | 345 | [9 empty] | 2025-09-26
Nilrem | 574S | AltaLink | 32-Wainwright | 1427 | 240 | 254 | 19427 | 138 | 222 | [6 empty] | 2025-09-26
North Holden | 395S | AltaLink | 56-Vegreville | 68 | 138 | 5 | [9 empty] | 2025-09-26
North Lethbridge | 370S | AltaLink | 54-Lethbridge | 167 | 240 | 162 | 692 | 138 | 20 | [6 empty] | 2025-09-26
Oakland | 946S | ATCO | 43-Sheerness | 1440 | 240 | 242 | [9 empty] | 2025-09-26
Okotoks | 678S | AltaLink | 46-High River | 239 | 138 | 0 | [9 empty] | 2025-09-26
Oldman River | 806S | AltaLink | 53-Fort Macleod | 230 | 138 | 66 | [9 empty] | 2025-09-26
Oyen | 767S | ATCO | 42-Hanna | 1474 | 144 | 12 | 1475 | 72 | 27 | [6 empty] | 2025-09-26
Paintearth Creek | 863S | ATCO | 36-Alliance/Battle River | 1403 | 240 | 247 | [9 empty] | 2025-09-26
Peace Butte | 404S | AltaLink | 04-Medicine Hat | 284 | 138 | 0 | [9 empty] | 2025-09-26
Peigan | 59S | AltaLink | 53-Fort Macleod | 165 | 240 | 224 | 166 | 138 | 207 | [6 empty] | 2025-09-26
Pemukan | 932S | ATCO | 42-Hanna | 1419 | 240 | 310 | 19419 | 144 | 187 | [6 empty] | 2025-09-26
Picture Butte | 120S | AltaLink | 54-Lethbridge | 451 | 240 | 121 | [9 empty] | 2025-09-26
Pincher Creek | 396S | AltaLink | 53-Fort Macleod | 224 | 138 | 130 | 223 | 69 | 54 | [6 empty] | 2025-09-26
Provost | 545S | AltaLink | 37-Provost | 86 | 138 | 128 | [9 empty] | 2025-09-26
Queenstown | 504S | AltaLink | 45-Strathmore/Blackie | 333 | 138 | 7 | [9 empty] | 2025-09-26
Rangeland Yarrow | 995S | AltaLink | 55-Glenwood | 228 | 69 | 24 | [9 empty] | 2025-09-26
Rattlesnake Ridge | 719S | AltaLink | 04-Medicine Hat | 873 | 138 | 3 | [9 empty] | 2025-09-26
Raymond Reservoir | 313S | AltaLink | 55-Glenwood | 413 | 69 | 1 | [9 empty] | 2025-09-26
Red Coat | 967S | AltaLink | 54-Lethbridge | 1630 | 138 | 2 | [9 empty] | 2025-09-26
Red Deer | 63S | AltaLink | 35-Red Deer | Capability Not Calculated | [11 empty] | 2025-09-26
Ribstone Creek | 892S | ATCO | 42-Hanna | 1477 | 144 | 104 | [9 empty] | 2025-09-26
Richdale | 776S | ATCO | 42-Hanna | 1478 | 72 | 16 | [9 empty] | 2025-09-26
Riverbend | 618S | AltaLink | 54-Lethbridge | 699 | 138 | 20 | [9 empty] | 2025-09-26
Rosyth | 296S | AltaLink | 32-Wainwright | 373 | 138 | 80 | [9 empty] | 2025-09-26
Rowley | 768S | ATCO | 42-Hanna | 1436 | 144 | 23 | [9 empty] | 2025-09-26
Russell | 632S | AltaLink | 53-Fort Macleod | 656 | 138 | 130 | [9 empty] | 2025-09-26
Saddlebrook | 303S | AltaLink | 46-High River | 557240 | 138 | 0 | [9 empty] | 2025-09-26
Sand Hills Sub | 341S | AltaLink | 48-Empress | 111 | 138 | 4 | [9 empty] | 2025-09-26
Sandy Point | 204S | AltaLink | 48-Empress | 53 | 138 | 4 | [9 empty] | 2025-09-26
SC1 | 266S | AltaLink | 49-Stavely | Capability Not Calculated | [11 empty] | 2025-09-26
Sedalia | 363S | ATCO | 42-Hanna | 831 | 240 | 169 | [9 empty] | 2025-09-26
Sedgewick | 137S | AltaLink | 32-Wainwright | 78 | 138 | 80 | [9 empty] | 2025-09-26
Shamrock | 1018S | AltaLink | 04-Medicine Hat | 990 | 240 | 0 | [9 empty] | 2025-09-26
Sheerness | 807S | ATCO | 43-Sheerness | 1481 | 240 | 65 | 1486 | 240 | 75 | [6 empty] | 2025-09-26
Shell Waterton | 502S | AltaLink | 55-Glenwood | 231 | 69 | 44 | [9 empty] | 2025-09-26
Soderglen | 243S | AltaLink | 53-Fort Macleod | 358 | 138 | 43 | [9 empty] | 2025-09-26
Spring Coulee | 385S | AltaLink | 55-Glenwood | 246 | 69 | 9 | [9 empty] | 2025-09-26
SS-65 |  | ENMAX | 6-Calgary | Capability Not Calculated | [11 empty] | 2025-09-26
St. Paul | 707S | ATCO | 56-Vegreville | 1372 | 144 | 28 | [9 empty] | 2025-09-26
Stavely | 349S | AltaLink | 49-Stavely | 235 | 138 | 1 | [9 empty] | 2025-09-26
Stettler | 769S | ATCO | 42-Hanna | 1428 | 144 | 142 | 1439 | 72 | 85 | [6 empty] | 2025-09-26
Stirling | 67S | AltaLink | 55-Glenwood | 293 | 138 | 2 | 280 | 69 | 1 | [6 empty] | 2025-09-26
Strathmore | 151S | AltaLink | 45-Strathmore/Blackie | 259 | 138 | 0 | [9 empty] | 2025-09-26
Strome | 223S | AltaLink | 56-Vegreville | 76 | 138 | 13 | [9 empty] | 2025-09-26
Suffield | 895S | AltaLink | 04-Medicine Hat | 270 | 138 | 0 | [9 empty] | 2025-09-26
Sullivan Lake | 775S | ATCO | 42-Hanna | 1406 | 72 | 47 | [9 empty] | 2025-09-26
Summerview | 354S | AltaLink | 53-Fort Macleod | 336 | 138 | 22 | [9 empty] | 2025-09-26
Sunken Lake | 221S | AltaLink | 37-Provost | 112 | 138 | 86 | [9 empty] | 2025-09-26
Taber | 83S | AltaLink | 52-Vauxhall | 272 | 138 | 5 | [9 empty] | 2025-09-26
Taber Wind Farm | 134S | AltaLink | 52-Vauxhall | 343 | 138 | 2 | [9 empty] | 2025-09-26
Taylor Hydro Plant |  | AltaLink | 55-Glenwood | 670 | 69 | 15 | [9 empty] | 2025-09-26
Three Hills | 770S | ATCO | 42-Hanna | 1433 | 144 | 21 | [9 empty] | 2025-09-26
Tilley | 498S | AltaLink | 47-Brooks | 275 | 138 | 0 | [9 empty] | 2025-09-26
Tinchebray | 972S | ATCO | 36-Alliance/Battle River | 1431 | 240 | 110 | [9 empty] | 2025-09-26
Travers | 554S | AltaLink | 49-Stavely | 737 | 240 | 216 | [9 empty] | 2025-09-26
Tucuman | 478S | AltaLink | 32-Wainwright | 483 | 138 | 203 | [9 empty] | 2025-09-26
Uplands | 241S | City of Lethbridge | 54-Lethbridge | 691 | 138 | 19 | [9 empty] | 2025-09-26
Vauxhall | 158S | AltaLink | 52-Vauxhall | 274 | 138 | 8 | [9 empty] | 2025-09-26
Vegreville | 709S | ATCO | 56-Vegreville | 1367 | 144 | 3 | [9 empty] | 2025-09-26
Vermilion | 710S | ATCO | 13-Lloydminster | 1383 | 144 | 136 | [9 empty] | 2025-09-26
Veteran | 771S | ATCO | 42-Hanna | 1470 | 144 | 109 | [9 empty] | 2025-09-26
Vilna | 777S | ATCO | 56-Vegreville | 1357 | 144 | 6 | [9 empty] | 2025-09-26
Vulcan | 255S | AltaLink | 49-Stavely | 244 | 138 | 2 | [9 empty] | 2025-09-26
Wainwright | 51S | AltaLink | 32-Wainwright | 297 | 138 | 99 | [9 empty] | 2025-09-26
Wardlow | 230S | AltaLink | 48-Empress | 344 | 138 | 9 | [9 empty] | 2025-09-26
Ware Junction | 132S | AltaLink | 47-Brooks | 225 | 240 | 300 | [9 empty] | 2025-09-26
Warner | 344S | AltaLink | 55-Glenwood | 278 | 69 | 1 | [9 empty] | 2025-09-26
Waterton | 379S | AltaLink | 55-Glenwood | 227 | 69 | 44 | [9 empty] | 2025-09-26
Watt Lake | 956S | ATCO | 56-Vegreville | 1361 | 144 | 4 | [9 empty] | 2025-09-26
West Brooks | 28S | AltaLink | 47-Brooks | 430 | 240 | 339 | 276 | 138 | 0 | [6 empty] | 2025-09-26
Westfield | 107S | AltaLink | 52-Vauxhall | 277 | 138 | 2 | [9 empty] | 2025-09-26
Wheatcrest | 1039S | AltaLink | 52-Vauxhall | 549039 | 138 | 0 | [9 empty] | 2025-09-26
Wheatland | 609S | ATCO | 43-Sheerness | 759 | 144 | 18 | [9 empty] | 2025-09-26
Whitbylake | 819S | ATCO | 56-Vegreville | 1350 | 144 | 7 | [9 empty] | 2025-09-26
Whitla | 251S | AltaLink | 04-Medicine Hat | 662 | 240 | 0 | [9 empty] | 2025-09-26
Windrise | 1063S | AltaLink | 53-Fort Macleod | 549031 | 138 | 125 | [9 empty] | 2025-09-26
Windy Flats | 138S | AltaLink | 53-Fort Macleod | 746 | 240 | 224 | 654 | 138 | 203 | 745 | 138 | 203 |  |  |  | 2025-09-26
Windy Point | 112S | AltaLink | 53-Fort Macleod | 543 | 138 | 64 | [9 empty] | 2025-09-26
Wintering Hills | 804S | ATCO | 43-Sheerness | 1460 | 144 | 18 | [9 empty] | 2025-09-26
Woolchester | 1019S | AltaLink | 04-Medicine Hat | 549003 | 240 | 0 | [9 empty] | 2025-09-26
Wyndham | 269S | AltaLink | 45-Strathmore/Blackie | 5251 | 138 | 0 | [9 empty] | 2025-09-26
Youngstown | 772S | ATCO | 42-Hanna | 1476 | 72 | 10 | [9 empty] | 2025-09-26
Youngstown Express | 2037S | ATCO | 42-Hanna | 1480 | 72 | 17 | [9 empty] | 2025-09-26

## Line Capabilities Table
Line Name | Voltage (kV) | Substation Name | Facility Code | Planning Area | TFO | Capability* (MW) | Date Updated | *The T-tap connection capability for transmission lines will vary along the line depending on the T-tap location. As the T-tap location nears each substation, the T-tap capability approaches the MW value shown.
1002L [275S-163S] | 240 | Amoco Empress | 163S | 48-Empress | AltaLink | 5 | 2025-09-26
1002L [275S-163S] | 240 | Jenner | 275S | 48-Empress | AltaLink | 9 | 2025-09-26
1005AL [1005BL-991S] | 240 | Little Bow | 991S | 49-Stavely | AltaLink | 1 | 2025-09-26
1005L [356S-1005BL] | 240 | Milo | 356S | 54-Lethbridge | AltaLink | 1 | 2025-09-26
1005L [120S-1005BL] | 240 | Picture Butte | 120S | 54-Lethbridge | AltaLink | 1 | 2025-09-26
100L [895S-498S] | 138 | Tilley | 498S | 47-Brooks | AltaLink | 0 | 2025-09-26
100L [895S-498S] | 138 | Suffield | 895S | 47-Brooks | AltaLink | 0 | 2025-09-26
1011L [163S-562S] | 240 | Amoco Empress | 163S | 48-Empress | AltaLink | 5 | 2025-09-26
1011L [163S-562S] | 240 | Cypress | 562S | 48-Empress | AltaLink | 5 | 2025-09-26
1012L [516S-965L] | 240 | Forty Mile | 516S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
1012L [516S-965L] | 240 | Murray Lake | 326S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
1034L [244S-324S] | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
1034L [244S-324S] | 240 | Cassils | 324S | 04-Medicine Hat | AltaLink | 340 | 2025-09-26
1035L [244S-2075S] | 240 | Newell | 2075S | 47-Brooks | AltaLink | 345 | 2025-09-26
1035L [244S-2075S] | 240 | Bowmanton | 244S | 47-Brooks | AltaLink | 0 | 2025-09-26
1036L [554S-356S] | 240 | Milo | 356S | 47-Brooks | AltaLink | 150 | 2025-09-26
1036L [554S-356S] | 240 | Travers | 554S | 47-Brooks | AltaLink | 216 | 2025-09-26
1037L [266S-138S] | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
1037L [237S-266S] | 240 | Foothills | 237S | 53-Fort Macleod | AltaLink | 0 | 2025-09-26
1038L [266S-138S] | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
1038L [237S-266S] | 240 | Foothills | 237S | 53-Fort Macleod | AltaLink | 0 | 2025-09-26
1041L [370S-554S] | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 162 | 2025-09-26
1041L [370S-554S] | 240 | Travers | 554S | 54-Lethbridge | AltaLink | 216 | 2025-09-26
1042L [485S-554S] | 240 | Blackspring Ridge | 485S | 49-Stavely | AltaLink | 166 | 2025-09-26
1042L [485S-554S] | 240 | Travers | 554S | 49-Stavely | AltaLink | 166 | 2025-09-26
1047L [650S-574S] | 240 | Nilrem | 574S | 32-Wainwright | AltaLink | 254 | 2025-09-26
1047L [650S-574S] | 240 | Hansman Lake | 650S | 32-Wainwright | AltaLink | 280 | 2025-09-26
1048L [59S-138S] | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
1048L [59S-138S] | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
1049L [59S-138S] | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
1049L [59S-138S] | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
1051L [28S-324S] | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 339 | 2025-09-26
1051L [28S-324S] | 240 | Cassils | 324S | 47-Brooks | AltaLink | 340 | 2025-09-26
1052L [28S-324S] | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 339 | 2025-09-26
1052L [28S-324S] | 240 | Cassils | 324S | 47-Brooks | AltaLink | 340 | 2025-09-26
1053L [132S-324S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 300 | 2025-09-26
1053L [132S-324S] | 240 | Cassils | 324S | 47-Brooks | AltaLink | 340 | 2025-09-26
1071L [205S-312S] | 240 | Castle Rock Ridge | 205S | 53-Fort Macleod | AltaLink | 226 | 2025-09-26
1071L [205S-312S] | 240 | Fidler | 312S | 53-Fort Macleod | AltaLink | 226 | 2025-09-26
1072L [205S-103S] | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 225 | 2025-09-26
1072L [205S-103S] | 240 | Castle Rock Ridge | 205S | 53-Fort Macleod | AltaLink | 226 | 2025-09-26
1074AL [1074L-1019S] | 240 | Woolchester | 1019S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
1074L [244S-1074L] | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
1074L [264S-1074L] | 240 | Elkwater | 264S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
1075L [132S-28S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 300 | 2025-09-26
1075L [132S-28S] | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 293 | 2025-09-26
1087L [324S-2075S] | 240 | Newell | 2075S | 47-Brooks | AltaLink | 222 | 2025-09-26
1087L [324S-2075S] | 240 | Cassils | 324S | 47-Brooks | AltaLink | 340 | 2025-09-26
1088L [324S-2075S] | 240 | Newell | 2075S | 47-Brooks | AltaLink | 345 | 2025-09-26
1088L [324S-2075S] | 240 | Cassils | 324S | 47-Brooks | AltaLink | 340 | 2025-09-26
1097L [356S-611S] | 240 | Amber | 611S | 47-Brooks | AltaLink | 0 | 2025-09-26
1097L [356S-611S] | 240 | Milo | 356S | 47-Brooks | AltaLink | 0 | 2025-09-26
1106L [SS-65-237S] | 240 | Foothills | 237S | 46-High River | AltaLink | 0 | 2025-09-26
1106L [SS-65-237S] | 240 | SS-65 |  | 46-High River | AltaLink | 466 | 2025-09-26
1107L [SS-65-237S] | 240 | Foothills | 237S | 46-High River | AltaLink | 0 | 2025-09-26
1107L [SS-65-237S] | 240 | SS-65 |  | 46-High River | AltaLink | 466 | 2025-09-26
1148L [251S-1018S] | 240 | Shamrock | 1018S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
1148L [251S-1018S] | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
13L/158L [65S-392S] | 69 | Black Diamond | 392S | 46-High River | AltaLink | 0 | 2025-09-26
13L/158L [65S-392S] | 69 | High River | 65S | 46-High River | AltaLink | 0 | 2025-09-26
161L [255S-504S] | 138 | Vulcan | 255S | 49-Stavely | AltaLink | 2 | 2025-09-26
161L [255S-504S] | 138 | Queenstown | 504S | 49-Stavely | AltaLink | 7 | 2025-09-26
162L [415S-229S] | 69 | Glenwood | 229S | 55-Glenwood | AltaLink | 14 | 2025-09-26
162L [415S-229S] | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 22 | 2025-09-26
164L [415S-103S] | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 91 | 2025-09-26
164L [415S-103S] | 138 | Drywood | 415S | 53-Fort Macleod | AltaLink | 81 | 2025-09-26
170L [170AL-799S] | 138 | Coleman | 799S | 53-Fort Macleod | AltaLink | 131 | 2025-09-26
170L [170AL-799S] | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 130 | 2025-09-26
172EL [139S-172EL] | 138 | Hillridge | 139S | 54-Lethbridge | AltaLink | 7 | 2025-09-26
172L [83S-172EL] | 138 | Taber | 83S | 54-Lethbridge | City of Lethbridge | 5 | 2025-09-26
172L [181S-370S] | 138 | Chinook | 181S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
172L [254S-370S] | 138 | Coaldale | 254S | 54-Lethbridge | City of Lethbridge | 9 | 2025-09-26
172L [254S-172EL] | 138 | Coaldale | 254S | 54-Lethbridge | City of Lethbridge | 9 | 2025-09-26
172L [181S-370S] | 138 | North Lethbridge | 370S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
172L [254S-370S] | 138 | North Lethbridge | 370S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
174L [197S-395S] | 138 | North Holden | 395S | 31-Wetaskiwin | AltaLink | 5 | 2025-09-26
174L [197S-395S] | 138 | Bardo | 197S | 31-Wetaskiwin | AltaLink | 9 | 2025-09-26
180AL [180L-604S] | 138 | Granum | 604S | 49-Stavely | AltaLink | 1 | 2025-09-26
180L [928S-180L] | 138 | East Stavely | 928S | 53-Fort Macleod | AltaLink | 1 | 2025-09-26
180L [255S-928S] | 138 | Vulcan | 255S | 53-Fort Macleod | AltaLink | 2 | 2025-09-26
180L [15S-180L] | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 3 | 2025-09-26
180L [255S-928S] | 138 | East Stavely | 928S | 53-Fort Macleod | AltaLink | 1 | 2025-09-26
185AL [415S-995S] | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 24 | 2025-09-26
185AL [415S-995S] | 69 | Rangeland Yarrow | 995S | 55-Glenwood | AltaLink | 24 | 2025-09-26
185L [415S-379S] | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 44 | 2025-09-26
185L [396S-379S] | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 43 | 2025-09-26
185L [415S-379S] | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 34 | 2025-09-26
185L [396S-379S] | 69 | Pincher Creek | 396S | 55-Glenwood | AltaLink | 44 | 2025-09-26
197L [349S-928S] | 138 | Stavely | 349S | 49-Stavely | AltaLink | 1 | 2025-09-26
197L [349S-928S] | 138 | East Stavely | 928S | 49-Stavely | AltaLink | 1 | 2025-09-26
207L [111S-370S] | 138 | Coalbanks | 111S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
207L [111S-370S] | 138 | North Lethbridge | 370S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
225AL [313S-225AL] | 69 | Raymond Reservoir | 313S | 55-Glenwood | AltaLink | 1 | 2025-09-26
225L [67S-225AL] | 69 | Stirling | 67S | 55-Glenwood | AltaLink | 1 | 2025-09-26
225L [229S-385S] | 69 | Glenwood | 229S | 55-Glenwood | AltaLink | 14 | 2025-09-26
225L [385S-225S] | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 5 | 2025-09-26
225L [225S-225AL] | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 0 | 2025-09-26
225L [229S-385S] | 69 | Spring Coulee | 385S | 55-Glenwood | AltaLink | 9 | 2025-09-26
225L [385S-225S] | 69 | Spring Coulee | 385S | 55-Glenwood | AltaLink | 9 | 2025-09-26
300L/725BL [300L-240S] | 138 | McBride Lake | 240S | 53-Fort Macleod | AltaLink | 23 | 2025-09-26
398L [545S-277S] | 138 | Hayter | 277S | 37-Provost | AltaLink | 180 | 2025-09-26
398L [545S-277S] | 138 | Provost | 545S | 37-Provost | AltaLink | 128 | 2025-09-26
408L [252S-51S] | 138 | Jarrow | 252S | 32-Wainwright | AltaLink | 64 | 2025-09-26
408L [252S-51S] | 138 | Wainwright | 51S | 32-Wainwright | AltaLink | 84 | 2025-09-26
412L [396S-632S] | 138 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 130 | 2025-09-26
412L [396S-632S] | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 130 | 2025-09-26
413L [239S-632S] | 138 | Castle River | 239S | 53-Fort Macleod | AltaLink | 69 | 2025-09-26
413L [239S-632S] | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 69 | 2025-09-26
434L [65S-237S] | 138 | Foothills | 237S | 46-High River | AltaLink | 0 | 2025-09-26
434L [65S-237S] | 138 | High River | 65S | 46-High River | AltaLink | 0 | 2025-09-26
463AL [492S-463AL] | 138 | Monarch | 492S | 54-Lethbridge | AltaLink | 20 | 2025-09-26
463L [15S-463AL] | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 23 | 2025-09-26
463L [181S-463AL] | 138 | Chinook | 181S | 53-Fort Macleod | AltaLink | 20 | 2025-09-26
472AL [221S-472AL] | 138 | Sunken Lake | 221S | 37-Provost | AltaLink | 86 | 2025-09-26
472L [648S-472AL] | 138 | Metiskow | 648S | 37-Provost | AltaLink | 144 | 2025-09-26
472L [213S-472AL] | 138 | Hughenden | 213S | 37-Provost | AltaLink | 117 | 2025-09-26
491L [252S-474L] | 138 | Jarrow | 252S | 32-Wainwright | AltaLink | 101 | 2025-09-26
497L [138S-1063S] | 138 | Windrise | 1063S | 53-Fort Macleod | AltaLink | 125 | 2025-09-26
497L [138S-1063S] | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 124 | 2025-09-26
498L [523S-1054S] | 138 | Bullshead | 523S | 04-Medicine Hat | - | 0 | 2025-09-26
498L [523S-1054S] | 138 | Holsom | 1054S | 04-Medicine Hat | - | 0 | 2025-09-26
507L [83S-257S] | 138 | Hull | 257S | 52-Vauxhall | AltaLink | 4 | 2025-09-26
507L [83S-257S] | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 5 | 2025-09-26
508L [344S-67S] | 69 | Warner | 344S | 55-Glenwood | AltaLink | 1 | 2025-09-26
508L [344S-67S] | 69 | Stirling | 67S | 55-Glenwood | AltaLink | 1 | 2025-09-26
514BL [322S-514BL] | 69 | Cowley Ridge | 322S | 53-Fort Macleod | AltaLink | 10 | 2025-09-26
514L [396S-514BL] | 69 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 10 | 2025-09-26
514L [513S-514BL] | 69 | Lundbreck | 513S | 53-Fort Macleod | AltaLink | 10 | 2025-09-26
591L [379S-502S] | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 44 | 2025-09-26
591L [379S-502S] | 69 | Shell Waterton | 502S | 55-Glenwood | AltaLink | 44 | 2025-09-26
600L [523S-404S] | 138 | Peace Butte | 404S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
600L [523S-404S] | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
601L [275S-230S] | 138 | Wardlow | 230S | 48-Empress | AltaLink | 9 | 2025-09-26
601L [275S-230S] | 138 | Jenner | 275S | 48-Empress | AltaLink | 9 | 2025-09-26
603L [243S-603L] | 138 | Soderglen | 243S | 53-Fort Macleod | AltaLink | 43 | 2025-09-26
603L [138S-603L] | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 42 | 2025-09-26
607AL [134S-607AL] | 138 | Taber Wind Farm | 134S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
607L [336S-607AL] | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
607L [135S-607AL] | 138 | Conrad | 135S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
608AL [528S-608AL] | 138 | Blue Trail | 528S | 53-Fort Macleod | AltaLink | 38 | 2025-09-26
608L [418S-608AL] | 138 | Ardenville | 418S | 53-Fort Macleod | AltaLink | 38 | 2025-09-26
608L [138S-608AL] | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 38 | 2025-09-26
610L [336S-83S] | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
610L [336S-83S] | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 1 | 2025-09-26
612L [336S-368S] | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
612L [336S-368S] | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
613L [396S-103S] | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 95 | 2025-09-26
613L [396S-103S] | 138 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 130 | 2025-09-26
616AL [383S-616AL] | 138 | Kettle's Hill | 383S | 53-Fort Macleod | AltaLink | 111 | 2025-09-26
616L [59S-616AL] | 138 | Peigan | 59S | 53-Fort Macleod | AltaLink | 90 | 2025-09-26
616L [103S-616AL] | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 155 | 2025-09-26
624L [354S-312S] | 138 | Fidler | 312S | 53-Fort Macleod | AltaLink | 23 | 2025-09-26
624L [354S-312S] | 138 | Summerview | 354S | 53-Fort Macleod | AltaLink | 22 | 2025-09-26
646L [678S-237S] | 138 | Foothills | 237S | 46-High River | AltaLink | 0 | 2025-09-26
646L [678S-237S] | 138 | Okotoks | 678S | 46-High River | AltaLink | 0 | 2025-09-26
658AL [662S-658AL] | 138 | Hilda | 662S | 48-Empress | AltaLink | 0 | 2025-09-26
658L [562S-658AL] | 138 | Cypress | 562S | 48-Empress | AltaLink | 1 | 2025-09-26
658L [649S-658AL] | 138 | Chappice Lake | 649S | 48-Empress | AltaLink | 0 | 2025-09-26
666L [498S-28S] | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 0 | 2025-09-26
666L [498S-28S] | 138 | Tilley | 498S | 47-Brooks | AltaLink | 0 | 2025-09-26
667L [370S-146S] | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
667L [370S-146S] | 138 | North Lethbridge | 370S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
668L [394S-562S] | 138 | Empress | 394S | 48-Empress | AltaLink | 4 | 2025-09-26
668L [394S-562S] | 138 | Cypress | 562S | 48-Empress | AltaLink | 4 | 2025-09-26
669L [163S-562S] | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 4 | 2025-09-26
669L [163S-562S] | 138 | Cypress | 562S | 48-Empress | AltaLink | 4 | 2025-09-26
674L [649S-244S] | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
674L [649S-244S] | 138 | Chappice Lake | 649S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
675L [244S-321S] | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
675L [244S-321S] | 138 | Al Rothbauer | 321S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
676L [523S-244S] | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
676L [523S-244S] | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
679L [478S-574S] | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 162 | 2025-09-26
679L [478S-574S] | 138 | Nilrem | 574S | 32-Wainwright | AltaLink | 215 | 2025-09-26
680L [478S-574S] | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 162 | 2025-09-26
680L [478S-574S] | 138 | Nilrem | 574S | 32-Wainwright | AltaLink | 215 | 2025-09-26
681L [377S-478S] | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 208 | 2025-09-26
681L [377S-478S] | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 202 | 2025-09-26
691L [74S-419S] | 138 | Chestermere | 419S | 6-Calgary | AltaLink | 25 | 2025-09-26
691L [74S-419S] | 138 | Janet | 74S | 6-Calgary | AltaLink | 25 | 2025-09-26
696L/7L696 [508S-892S] | 138 | Lakesend | 508S | 42-Hanna | AltaLink | 87 | 2025-09-26
696L/7L696 [508S-892S] | 138 | Ribstone Creek | 892S | 42-Hanna | AltaLink | 85 | 2025-09-26
6L02 [757S-765S] | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 55 | 2025-09-26
6L02 [769S-000S] | 69 | Stettler | 769S | 36-Alliance/Battle River | ATCO | 61 | 2025-09-26
6L03 [775S-6L03] | 69 | Sullivan Lake | 775S | 36-Alliance/Battle River | ATCO | 47 | 2025-09-26
6L03 [6L03-757S] | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 47 | 2025-09-26
6L05 [843S-757S] | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 56 | 2025-09-26
6L05 [764S-6L05] | 69 | Heisler | 764S | 36-Alliance/Battle River | ATCO | 39 | 2025-09-26
6L05 [843S-757S] | 69 | Big Knife Creek | 843S | 36-Alliance/Battle River | ATCO | 57 | 2025-09-26
6L05 [843S-6L05] | 69 | Big Knife Creek | 843S | 36-Alliance/Battle River | ATCO | 57 | 2025-09-26
6L08 [757S-756S] | 69 | Bigfoot | 756S | 36-Alliance/Battle River | ATCO | 48 | 2025-09-26
6L08 [757S-756S] | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 48 | 2025-09-26
6L09 [767S-6L09] | 69 | Oyen | 767S | 42-Hanna | ATCO | 15 | 2025-09-26
6L09 [763S-776S] | 69 | Hanna | 763S | 42-Hanna | ATCO | 14 | 2025-09-26
6L09 [772S-772S] | 69 | Youngstown | 772S | 42-Hanna | ATCO | 10 | 2025-09-26
6L09 [776S-776S] | 69 | Richdale | 776S | 42-Hanna | ATCO | 16 | 2025-09-26
6L12 [775S-6L12] | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 18 | 2025-09-26
6L15 [775S-763S] | 69 | Hanna | 763S | 42-Hanna | ATCO | 28 | 2025-09-26
6L15 [775S-763S] | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 15 | 2025-09-26
6L17 [759S-6L03] | 69 | Castor | 759S | 42-Hanna | ATCO | 57 | 2025-09-26
6L21 [6L09-YOUNGSTOWN-EXPRESS] | 69 | Hurd | 2037S | 42-Hanna | ATCO | 17 | 2025-09-26
6L25 [773S-6L12] | 69 | Coronation | 773S | 42-Hanna | ATCO | 20 | 2025-09-26
6L44 [769S-778S] | 69 | Stettler | 769S | 42-Hanna | ATCO | 9 | 2025-09-26
6L44 [769S-778S] | 69 | Big Valley | 778S | 42-Hanna | ATCO | 9 | 2025-09-26
6L56 [763S-802S] | 69 | Hanna | 763S | 42-Hanna | ATCO | 16 | 2025-09-26
6L56 [763S-802S] | 69 | Michichi Creek | 802S | 42-Hanna | ATCO | 22 | 2025-09-26
6LA02 [765S-765S] | 69 | Mannix Mine | 765S | 36-Alliance/Battle River | ATCO | 47 | 2025-09-26
6LA09 [772S-772S] | 69 | Youngstown | 772S | 42-Hanna | ATCO | 10 | 2025-09-26
6LB02 [873S-000S] | 69 | Marion Lake | 873S | 42-Hanna | ATCO | 53 | 2025-09-26
701L [395S-223S] | 138 | Strome | 223S | 56-Vegreville | AltaLink | 13 | 2025-09-26
701L [395S-223S] | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 5 | 2025-09-26
701L/7L701 [223S-7LA701] | 138 | Strome | 223S | 56-Vegreville | AltaLink | 12 | 2025-09-26
702AL [137S-000S] | 138 | Sedgewick | 137S | 32-Wainwright | AltaLink | 80 | 2025-09-26
702L [377S-000S] | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 64 | 2025-09-26
702L/7L702 [757S-000S] | 138 | Battle River | 757S | 32-Wainwright | AltaLink | 105 | 2025-09-26
703BL [329S-703L] | 138 | HRT Express | 329S | 32-Wainwright | AltaLink | 87 | 2025-09-26
703L [377S-703L] | 138 | Hardisty | 377S | 37-Provost | AltaLink | 85 | 2025-09-26
703L [213S-703L] | 138 | Hughenden | 213S | 37-Provost | AltaLink | 134 | 2025-09-26
704L [51S-478S] | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 70 | 2025-09-26
704L [51S-478S] | 138 | Wainwright | 51S | 32-Wainwright | AltaLink | 59 | 2025-09-26
715AL [650S-715AL] | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 126 | 2025-09-26
715L [545S-715AL] | 138 | Provost | 545S | 37-Provost | AltaLink | 128 | 2025-09-26
722L [368S-107S] | 138 | Westfield | 107S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
722L [368S-107S] | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 2 | 2025-09-26
725AL [618S-725AL] | 138 | Riverbend | 618S | 54-Lethbridge | AltaLink | 20 | 2025-09-26
725L [15S-300L] | 138 | Fort Macleod | 15S | 54-Lethbridge | City of Lethbridge | 23 | 2025-09-26
725L [111S-725AL] | 138 | Coalbanks | 111S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
725L [674S-300L] | 138 | Bowron | 674S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
725L [674S-725AL] | 138 | Bowron | 674S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
727A1L [695L-303S] | 138 | Saddlebrook | 303S | 46-High River | AltaLink | 0 | 2025-09-26
727AL [142S-695L] | 138 | Magcan | 142S | 46-High River | AltaLink | 0 | 2025-09-26
727L [678S-727AL] | 138 | Okotoks | 678S | 46-High River | AltaLink | 0 | 2025-09-26
727L [65S-727AL] | 138 | High River | 65S | 46-High River | AltaLink | 0 | 2025-09-26
733L [179S-428S] | 138 | Gleichen | 179S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
733L [151S-428S] | 138 | Strathmore | 151S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
733L [179S-428S] | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
733L [151S-428S] | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
734L [241S-370S] | 138 | Uplands | 241S | 54-Lethbridge | City of Lethbridge | 19 | 2025-09-26
734L [241S-370S] | 138 | North Lethbridge | 370S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
748L [267S-277S] | 138 | Killarney Lake | 267S | 37-Provost | AltaLink | 129 | 2025-09-26
748L [267S-277S] | 138 | Hayter | 277S | 37-Provost | AltaLink | 180 | 2025-09-26
749AL [267S-749AL] | 138 | Killarney Lake | 267S | 37-Provost | AltaLink | 153 | 2025-09-26
749L [648S-749AL] | 138 | Metiskow | 648S | 37-Provost | AltaLink | 131 | 2025-09-26
749L [899S-749AL] | 138 | Edgerton | 899S | 37-Provost | AltaLink | 152 | 2025-09-26
749L/7L749 [899S-7LB749] | 138 | Edgerton | 899S | 37-Provost | AltaLink | 126 | 2025-09-26
753L [65S-253S] | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
753L [65S-253S] | 138 | High River | 65S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
760AL [164S-760AL] | 138 | Empress Liquids | 164S | 48-Empress | AltaLink | 4 | 2025-09-26
760L [163S-760AL] | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 4 | 2025-09-26
760L [394S-163S] | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 4 | 2025-09-26
760L [394S-163S] | 138 | Empress | 394S | 48-Empress | AltaLink | 4 | 2025-09-26
763A1L [763L-1039S] | 138 | Wheatcrest | 1039S | 52-Vauxhall | AltaLink | 0 | 2025-09-26
763AL [447S-763L] | 138 | Enchant | 447S | 52-Vauxhall | AltaLink | 0 | 2025-09-26
763L [158S-763L] | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 8 | 2025-09-26
763L [158S-257S] | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 8 | 2025-09-26
763L [28S-763L] | 138 | West Brooks | 28S | 52-Vauxhall | AltaLink | 0 | 2025-09-26
763L [158S-257S] | 138 | Hull | 257S | 52-Vauxhall | AltaLink | 4 | 2025-09-26
765L [151S-419S] | 138 | Strathmore | 151S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
765L [151S-419S] | 138 | Chestermere | 419S | 45-Strathmore/Blackie | AltaLink | 2 | 2025-09-26
769AL [656S-769AL] | 138 | Clipper | 656S | 32-Wainwright | AltaLink | 89 | 2025-09-26
769BL [594S-769BL] | 138 | Battle Sands | 594S | 32-Wainwright | AltaLink | 97 | 2025-09-26
769L [377S-769BL] | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 96 | 2025-09-26
769L [296S-769AL] | 138 | Rosyth | 296S | 32-Wainwright | AltaLink | 80 | 2025-09-26
770L [254S-370S] | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 9 | 2025-09-26
770L [254S-370S] | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 20 | 2025-09-26
782L [525S-CARSELAND-COGEN] | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
782L [525S-CARSELAND-COGEN] | 138 | Wyndham | 269S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
786L [799S-BC-EQUIV] | 138 | Coleman | 799S | 53-Fort Macleod | AltaLink | 119 | 2025-09-26
794L/7L794 [157S-819S] | 138 | Whitbylake | 819S | 27-Athabasca/Lac La Biche | AltaLink | 7 | 2025-09-26
794L/7L794 [157S-819S] | 138 | Lac La Biche | 157S | 27-Athabasca/Lac La Biche | AltaLink | 15 | 2025-09-26
795L [121S-421S] | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2025-09-26
795L [121S-421S] | 138 | Hays | 421S | 47-Brooks | AltaLink | 0 | 2025-09-26
7L110 [903S-774S] | 138 | Monitor | 774S | 42-Hanna | ATCO | 86 | 2025-09-26
7L110 [903S-774S] | 138 | Loyalist | 903S | 42-Hanna | ATCO | 86 | 2025-09-26
7L116 [910S-959S] | 138 | Excel | 910S | 42-Hanna | ATCO | 92 | 2025-09-26
7L116 [910S-959S] | 138 | Lanfine | 959S | 42-Hanna | ATCO | 92 | 2025-09-26
7L117 [706S-710S] | 138 | Irish Creek | 706S | 13-Lloydminster | ATCO | 107 | 2025-09-26
7L117 [706S-710S] | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 108 | 2025-09-26
7L127 [774S-932S] | 138 | Monitor | 774S | 42-Hanna | ATCO | 176 | 2025-09-26
7L127 [774S-932S] | 138 | Pemukan | 932S | 42-Hanna | ATCO | 187 | 2025-09-26
7L128 [802S-7L128] | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 20 | 2025-09-26
7L128 [963S-7L128] | 138 | Coyote Lake | 963S | 42-Hanna | ATCO | 14 | 2025-09-26
7L129 [526S-7LA129] | 138 | Buffalo Creek | 526S | 32-Wainwright | AltaLink | 117 | 2025-09-26
7L129 [7LA129-710S] | 138 | Vermilion | 710S | 32-Wainwright | AltaLink | 100 | 2025-09-26
7L130 [710S-705S] | 138 | Kitscoty | 705S | 13-Lloydminster | ATCO | 143 | 2025-09-26
7L130 [710S-705S] | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 113 | 2025-09-26
7L132 [767S-959S] | 138 | Oyen | 767S | 42-Hanna | ATCO | 12 | 2025-09-26
7L132 [767S-959S] | 138 | Lanfine | 959S | 42-Hanna | ATCO | 112 | 2025-09-26
7L137 [770S-768S] | 138 | Rowley | 768S | 42-Hanna | ATCO | 23 | 2025-09-26
7L137 [770S-768S] | 138 | Three Hills | 770S | 42-Hanna | ATCO | 21 | 2025-09-26
7L139 [7LA139-707S] | 138 | St. Paul | 707S | 56-Vegreville | ATCO | 28 | 2025-09-26
7L139 [7LA139-819S] | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 7 | 2025-09-26
7L14 [705S-751S] | 138 | Kitscoty | 705S | 13-Lloydminster | ATCO | 142 | 2025-09-26
7L14 [705S-751S] | 138 | Hill | 751S | 13-Lloydminster | ATCO | 135 | 2025-09-26
7L143 [766S-769S] | 138 | Nevis | 766S | 42-Hanna | ATCO | 129 | 2025-09-26
7L143 [766S-769S] | 138 | Stettler | 769S | 42-Hanna | ATCO | 142 | 2025-09-26
7L153 [609S-804S] | 138 | Wheatland | 609S | 43-Sheerness | ATCO | 18 | 2025-09-26
7L153 [609S-804S] | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 18 | 2025-09-26
7L159 [7LA16-948S] | 138 | Heatburg | 948S | 42-Hanna | ATCO | 20 | 2025-09-26
7L159 [7LA16-770S] | 138 | Three Hills | 770S | 42-Hanna | ATCO | 21 | 2025-09-26
7L16 [766S-948S] | 138 | Nevis | 766S | 42-Hanna | ATCO | 24 | 2025-09-26
7L16 [766S-948S] | 138 | Heatburg | 948S | 42-Hanna | ATCO | 27 | 2025-09-26
7L171 [802S-804S] | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 14 | 2025-09-26
7L171 [802S-804S] | 138 | Wintering Hills | 804S | 42-Hanna | ATCO | 18 | 2025-09-26
7L224 [650S-774S] | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 60 | 2025-09-26
7L224 [650S-774S] | 138 | Monitor | 774S | 37-Provost | AltaLink | 136 | 2025-09-26
7L238 [601S-959S] | 138 | Buffalo Bird | 601S | 42-Hanna | ATCO | 94 | 2025-09-26
7L238 [601S-959S] | 138 | Lanfine | 959S | 42-Hanna | ATCO | 94 | 2025-09-26
7L25 [768S-802S] | 138 | Rowley | 768S | 42-Hanna | ATCO | 23 | 2025-09-26
7L25 [768S-802S] | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 20 | 2025-09-26
7L42 [751S-716S] | 138 | Lloydminster | 716S | 13-Lloydminster | ATCO | 146 | 2025-09-26
7L42 [751S-716S] | 138 | Hill | 751S | 13-Lloydminster | ATCO | 140 | 2025-09-26
7L50 [526S-474L] | 138 | Buffalo Creek | 526S | 32-Wainwright | AltaLink | 74 | 2025-09-26
7L50 [474L-757S] | 138 | Battle River | 757S | 32-Wainwright | AltaLink | 108 | 2025-09-26
7L53 [7LA53-706S] | 138 | Irish Creek | 706S | 28-Cold Lake | ATCO | 114 | 2025-09-26
7L53 [7LA53-700S] | 138 | Bonnyville | 700S | 28-Cold Lake | ATCO | 70 | 2025-09-26
7L65 [7LA65-709S] | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 3 | 2025-09-26
7L65 [7LA65-710S] | 138 | Vermilion | 710S | 56-Vegreville | ATCO | 2 | 2025-09-26
7L70 [700S-707S] | 138 | St. Paul | 707S | 28-Cold Lake | ATCO | 28 | 2025-09-26
7L70 [700S-707S] | 138 | Bonnyville | 700S | 28-Cold Lake | ATCO | 114 | 2025-09-26
7L701 [7LA701-757S] | 138 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 141 | 2025-09-26
7L749 [7LB749-716S] | 138 | Lloydminster | 716S | 13-Lloydminster | ATCO | 100 | 2025-09-26
7L760 [7LC760-767S] | 138 | Oyen | 767S | 42-Hanna | ATCO | 12 | 2025-09-26
7L760 [7LC760-1004S] | 138 | Bullseye | 1004S | 42-Hanna | ATCO | 8 | 2025-09-26
7L77 [395S-709S] | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 5 | 2025-09-26
7L77 [395S-709S] | 138 | Vegreville | 709S | 56-Vegreville | AltaLink | 3 | 2025-09-26
7L79 [771S-932S] | 138 | Veteran | 771S | 42-Hanna | ATCO | 109 | 2025-09-26
7L79 [771S-892S] | 138 | Veteran | 771S | 42-Hanna | ATCO | 103 | 2025-09-26
7L79 [771S-932S] | 138 | Pemukan | 932S | 42-Hanna | ATCO | 107 | 2025-09-26
7L79 [771S-892S] | 138 | Ribstone Creek | 892S | 42-Hanna | ATCO | 104 | 2025-09-26
7L85 [803S-2072S] | 138 | Bullpound | 803S | 43-Sheerness | ATCO | 25 | 2025-09-26
7L85 [803S-801S] | 138 | Anderson | 801S | 43-Sheerness | ATCO | 35 | 2025-09-26
7L85 [804S-2072S] | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 18 | 2025-09-26
7L85 [803S-801S] | 138 | Bullpound | 803S | 43-Sheerness | ATCO | 25 | 2025-09-26
7L85AL [981S-2072S] | 138 | Badlands | 981S | 43-Sheerness | ATCO | 20 | 2025-09-26
7L92 [777S-7LA92] | 138 | Vilna | 777S | 56-Vegreville | ATCO | 6 | 2025-09-26
7L92 [819S-777S] | 138 | Vilna | 777S | 56-Vegreville | ATCO | 6 | 2025-09-26
7L92 [7LA92-709S] | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 3 | 2025-09-26
7L92 [819S-777S] | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 7 | 2025-09-26
7LA128 [7L128-572S] | 138 | Highland | 572S | 42-Hanna | AltaLink | 13 | 2025-09-26
7LA129 [7LA129-918S] | 138 | Bauer | 918S | 13-Lloydminster | ATCO | 109 | 2025-09-26
7LA159 [7LA16-114S] | 138 | Ghost Pine | 114S | 42-Hanna | ATCO | 20 | 2025-09-26
7LA53 [7LA53-969S] | 138 | Lindbergh | 969S | 28-Cold Lake | ATCO | 78 | 2025-09-26
7LA65 [708S-7LA65] | 138 | Grizzly Bear | 708S | 13-Lloydminster | ATCO | 1 | 2025-09-26
7LA701 [7LA701-764S] | 138 | Heisler | 764S | 36-Alliance/Battle River | ATCO | 126 | 2025-09-26
7LA760 [7LB760-914S] | 138 | Bindloss | 914S | 48-Empress | ATCO | 5 | 2025-09-26
7LA92 [956S-7LA92] | 138 | Watt Lake | 956S | 56-Vegreville | ATCO | 4 | 2025-09-26
7LB749 [7LB749-880S] | 138 | Briker | 880S | 13-Lloydminster | ATCO | 103 | 2025-09-26
7LB760 [7LB760-893S] | 138 | Cavendish | 893S | 48-Empress | ATCO | 5 | 2025-09-26
812AL [512S-812AL] | 138 | Hartell | 512S | 46-High River | AltaLink | 0 | 2025-09-26
812L [392S-812AL] | 138 | Black Diamond | 392S | 46-High River | AltaLink | 0 | 2025-09-26
812L [65S-812AL] | 138 | High River | 65S | 46-High River | AltaLink | 0 | 2025-09-26
813L [241S-146S] | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
813L [241S-146S] | 138 | Uplands | 241S | 54-Lethbridge | City of Lethbridge | 19 | 2025-09-26
814L [121S-28S] | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2025-09-26
814L [121S-28S] | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 0 | 2025-09-26
820AL [315S-820AL] | 138 | Chin Chute | 315S | 54-Lethbridge | AltaLink | 3 | 2025-09-26
820BL [820BL-967S] | 138 | Red Coat | 967S | 54-Lethbridge | AltaLink | 2 | 2025-09-26
820L [254S-820AL] | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 6 | 2025-09-26
820L [67S-820BL] | 138 | Stirling | 67S | 54-Lethbridge | AltaLink | 2 | 2025-09-26
821L [158S-421S] | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 8 | 2025-09-26
821L [158S-421S] | 138 | Hays | 421S | 52-Vauxhall | AltaLink | 0 | 2025-09-26
823L [146S-593S] | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
823L [146S-593S] | 138 | Lakeview | 593S | 54-Lethbridge | City of Lethbridge | 19 | 2025-09-26
824L [593S-618S] | 138 | Lakeview | 593S | 54-Lethbridge | City of Lethbridge | 19 | 2025-09-26
824L [593S-618S] | 138 | Riverbend | 618S | 54-Lethbridge | City of Lethbridge | 20 | 2025-09-26
827L [121S-28S] | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2025-09-26
827L [121S-28S] | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 0 | 2025-09-26
830L [562S-840S] | 138 | Cypress | 562S | 48-Empress | AltaLink | 1 | 2025-09-26
831AL [227S-831AL] | 138 | Cutting Lake | 227S | 47-Brooks | AltaLink | 0 | 2025-09-26
831L [339S-831AL] | 138 | Duchess | 339S | 47-Brooks | AltaLink | 0 | 2025-09-26
831L [121S-831AL] | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2025-09-26
850L [678S-525S] | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
850L [678S-525S] | 138 | Okotoks | 678S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
851L [525S-253S] | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
851L [525S-253S] | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
853AL [435S-853AL] | 138 | Bassano | 435S | 47-Brooks | AltaLink | 0 | 2025-09-26
853L [28S-853AL] | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 0 | 2025-09-26
853L [504S-853AL] | 138 | Queenstown | 504S | 47-Brooks | AltaLink | 7 | 2025-09-26
863L [225S-863L] | 138 | Magrath | 225S | 55-Glenwood | AltaLink | 18 | 2025-09-26
863L [618S-863L] | 138 | Riverbend | 618S | 55-Glenwood | AltaLink | 20 | 2025-09-26
869L [204S-163S] | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 4 | 2025-09-26
869L [204S-163S] | 138 | Sandy Point | 204S | 48-Empress | AltaLink | 4 | 2025-09-26
871L [341S-163S] | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 4 | 2025-09-26
871L [341S-163S] | 138 | Sand Hills Sub | 341S | 48-Empress | AltaLink | 4 | 2025-09-26
876L [253S-179S] | 138 | Gleichen | 179S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
876L [253S-179S] | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
879AL [719S-879AL] | 138 | Rattlesnake Ridge | 719S | 04-Medicine Hat | AltaLink | 3 | 2025-09-26
879L [244S-879AL] | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
879L [368S-879AL] | 138 | Burdett | 368S | 04-Medicine Hat | AltaLink | 2 | 2025-09-26
880L [523S-321S] | 138 | Al Rothbauer | 321S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
880L [523S-321S] | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
885L [648S-650S] | 138 | Metiskow | 648S | 37-Provost | AltaLink | 297 | 2025-09-26
885L [648S-650S] | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 297 | 2025-09-26
886L [431S-428S] | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
886L [431S-428S] | 138 | Hussar | 431S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
891L [226S-863L] | 138 | Garden City | 226S | 55-Glenwood | AltaLink | 18 | 2025-09-26
892L [895S-244S] | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
892L [895S-244S] | 138 | Suffield | 895S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
893AL [112S-893AL] | 138 | Windy Point | 112S | 53-Fort Macleod | AltaLink | 64 | 2025-09-26
893L [806S-893L] | 138 | Oldman River | 806S | 53-Fort Macleod | AltaLink | 66 | 2025-09-26
893L [893AL-312S] | 138 | Fidler | 312S | 53-Fort Macleod | AltaLink | 95 | 2025-09-26
912L [63S-766S] | 240 | Nevis | 766S | 35-Red Deer | AltaLink | 229 | 2025-09-26
912L [63S-766S] | 240 | Red Deer | 63S | 35-Red Deer | AltaLink | 174 | 2025-09-26
923L [356S-2075S] | 240 | Newell | 2075S | 47-Brooks | AltaLink | 307 | 2025-09-26
923L [356S-2075S] | 240 | Milo | 356S | 47-Brooks | AltaLink | 356 | 2025-09-26
924L [102S-356S] | 240 | Milo | 356S | 6-Calgary | AltaLink | 466 | 2025-09-26
924L [102S-356S] | 240 | Langdon | 102S | 6-Calgary | AltaLink | 222 | 2025-09-26
927L [102S-356S] | 240 | Milo | 356S | 6-Calgary | AltaLink | 466 | 2025-09-26
927L [102S-356S] | 240 | Langdon | 102S | 6-Calgary | AltaLink | 251 | 2025-09-26
931L [132S-28S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 300 | 2025-09-26
931L [132S-28S] | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 293 | 2025-09-26
933L/9L933 [132S-801S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 280 | 2025-09-26
933L/9L933 [132S-801S] | 240 | Anderson | 801S | 47-Brooks | AltaLink | 248 | 2025-09-26
934L/9L934 [132S-801S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 229 | 2025-09-26
934L/9L934 [132S-801S] | 240 | Anderson | 801S | 47-Brooks | AltaLink | 248 | 2025-09-26
935L [324S-356S] | 240 | Cassils | 324S | 47-Brooks | AltaLink | 323 | 2025-09-26
935L [324S-356S] | 240 | Milo | 356S | 47-Brooks | AltaLink | 365 | 2025-09-26
940L [370S-120S] | 240 | Picture Butte | 120S | 54-Lethbridge | AltaLink | 121 | 2025-09-26
940L [370S-120S] | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 162 | 2025-09-26
944L [132S-275S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 300 | 2025-09-26
944L [132S-275S] | 240 | Jenner | 275S | 47-Brooks | AltaLink | 9 | 2025-09-26
945L [275S-562S] | 240 | Jenner | 275S | 48-Empress | AltaLink | 9 | 2025-09-26
945L [275S-562S] | 240 | Cypress | 562S | 48-Empress | AltaLink | 5 | 2025-09-26
948L/9L948 [650S-863S] | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 280 | 2025-09-26
948L/9L948 [650S-863S] | 240 | Paintearth | 863S | 37-Provost | AltaLink | 247 | 2025-09-26
949L [275S-306S] | 240 | Jenner | 275S | 48-Empress | AltaLink | 9 | 2025-09-26
949L [275S-306S] | 240 | Halsbury | 306S | 48-Empress | AltaLink | 9 | 2025-09-26
950L/9L950 [132S-801S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 230 | 2025-09-26
950L/9L950 [132S-801S] | 240 | Anderson | 801S | 47-Brooks | AltaLink | 248 | 2025-09-26
951L [132S-275S] | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 300 | 2025-09-26
951L [132S-275S] | 240 | Jenner | 275S | 47-Brooks | AltaLink | 9 | 2025-09-26
953L/9L953 [574S-755S] | 240 | Nilrem | 574S | 32-Wainwright | AltaLink | 254 | 2025-09-26
953L/9L953 [574S-755S] | 240 | Cordel | 755S | 32-Wainwright | AltaLink | 234 | 2025-09-26
954L [648S-650S] | 240 | Metiskow | 648S | 37-Provost | AltaLink | 280 | 2025-09-26
954L [648S-650S] | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 280 | 2025-09-26
955L [59S-103S] | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 225 | 2025-09-26
955L [59S-103S] | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
956L [59S-103S] | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 225 | 2025-09-26
956L [59S-103S] | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
964AL [964AL-1024S] | 240 | Granlea | 1024S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
964L [964AL-965L] | 240 | Murray Lake | 326S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
964L [251S-964AL] | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
965L [244S-965L] | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
965L [244S-965L] | 240 | Murray Lake | 326S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
966L/9L966 [650S-932S] | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 274 | 2025-09-26
966L/9L966 [650S-932S] | 240 | Pemukan | 932S | 37-Provost | AltaLink | 310 | 2025-09-26
967L [370S-138S] | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
967L [370S-138S] | 240 | North Lethbridge | 370S | 53-Fort Macleod | AltaLink | 162 | 2025-09-26
968L [370S-138S] | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 224 | 2025-09-26
968L [370S-138S] | 240 | North Lethbridge | 370S | 53-Fort Macleod | AltaLink | 162 | 2025-09-26
983L [264S-251S] | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
983L [264S-251S] | 240 | Elkwater | 264S | 04-Medicine Hat | AltaLink | 0 | 2025-09-26
994L [103S-312S] | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 225 | 2025-09-26
994L [103S-312S] | 240 | Fidler | 312S | 53-Fort Macleod | AltaLink | 226 | 2025-09-26
9L100 [801S-807S] | 240 | Anderson | 801S | 43-Sheerness | ATCO | 75 | 2025-09-26
9L100 [801S-807S] | 240 | Sheerness | 807S | 43-Sheerness | ATCO | 75 | 2025-09-26
9L16 [755S-9L16] | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 104 | 2025-09-26
9L16 [972S-9L16] | 240 | Tinchebray | 972S | 36-Alliance/Battle River | ATCO | 110 | 2025-09-26
9L20 [766S-755S] | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 234 | 2025-09-26
9L20 [766S-755S] | 240 | Nevis | 766S | 36-Alliance/Battle River | ATCO | 160 | 2025-09-26
9L24 [959S-946S] | 240 | Oakland | 946S | 43-Sheerness | ATCO | 242 | 2025-09-26
9L24 [959S-946S] | 240 | Lanfine | 959S | 43-Sheerness | ATCO | 248 | 2025-09-26
9L27 [863S-755S] | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 234 | 2025-09-26
9L27 [863S-755S] | 240 | Paintearth | 863S | 36-Alliance/Battle River | ATCO | 247 | 2025-09-26
9L29 [946S-963S] | 240 | Oakland | 946S | 43-Sheerness | ATCO | 242 | 2025-09-26
9L29 [946S-963S] | 240 | Coyote Lake | 963S | 43-Sheerness | ATCO | 197 | 2025-09-26
9L46 [9LA46-932S] | 240 | Pemukan | 932S | 42-Hanna | ATCO | 169 | 2025-09-26
9L46 [9LA46-959S] | 240 | Lanfine | 959S | 42-Hanna | ATCO | 169 | 2025-09-26
9L46AL [363S-9LA46] | 240 | Sedalia | 363S | 42-Hanna | ATCO | 169 | 2025-09-26
9L59 [801S-9L59] | 240 | Anderson | 801S | 43-Sheerness | ATCO | 248 | 2025-09-26
9L59 [972S-9L59] | 240 | Tinchebray | 972S | 43-Sheerness | ATCO | 110 | 2025-09-26
9L59AL [1045S-9L59] | 240 | Garden Plain | 1045S | 42-Hanna | ATCO | 167 | 2025-09-26
9L70 [946S-801S] | 240 | Anderson | 801S | 43-Sheerness | ATCO | 248 | 2025-09-26
9L70 [946S-801S] | 240 | Oakland | 946S | 43-Sheerness | ATCO | 242 | 2025-09-26
9L79 [757S-755S] | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 110 | 2025-09-26
9L79 [757S-755S] | 240 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 110 | 2025-09-26
9L80 [757S-755S] | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 234 | 2025-09-26
9L80 [757S-755S] | 240 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 234 | 2025-09-26
9L93 [9LA93-615S] | 240 | Halkirk | 615S | 42-Hanna | ATCO | 62 | 2025-09-26
9L93 [9LA93-972S] | 240 | Tinchebray | 972S | 42-Hanna | ATCO | 62 | 2025-09-26
9L97 [946S-801S] | 240 | Anderson | 801S | 43-Sheerness | ATCO | 248 | 2025-09-26
9L97 [946S-801S] | 240 | Oakland | 946S | 43-Sheerness | ATCO | 242 | 2025-09-26
9L99 [807S-801S] | 240 | Anderson | 801S | 43-Sheerness | ATCO | 66 | 2025-09-26
9L99 [807S-801S] | 240 | Sheerness | 807S | 43-Sheerness | ATCO | 65 | 2025-09-26
9LA16 [620S-9L16] | 240 | Goldeye | 620S | 36-Alliance/Battle River | ATCO | 109 | 2025-09-26
9LA93 [9LA93-973S] | 240 | Lanes Lake | 973S | 42-Hanna | ATCO | 62 | 2025-09-26
CHD-1 [TAYLOR-225S] | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 15 | 2025-09-26
CHD-1 [TAYLOR-225S] | 69 | Taylor Hydro Plant |  | 55-Glenwood | AltaLink | 15 | 2025-09-26
PCES01L [CAVALIER-428S] | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26
PCES01L [CAVALIER-428S] | 138 | Cavalier |  | 45-Strathmore/Blackie | AltaLink | 0 | 2025-09-26