## Connection Project List
Status | Project Name | Planning Area | Cluster | Project Type | MW Type | Stage | CA Modelled | Inclusion | Applied On | EN1 STS MW | EN1 DTS MW | EN1 ISD | EN2 STS MW | EN2 DTS MW | EN2 ISD | EN3 STS MW | EN3 DTS MW | EN3 ISD
Active | P1756 TPG Canyon Creek PHES Storage Project | 29-Hinton/Edson |  | Connection | Pumped Hydro Storage | 3 | Yes | No | 2016-03-02 10:00 | 0 | 64 | 2026-12-01 | 75 | 0 | 2027-05-01
Active | P1828 hep Energy Alderson MPC Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2016-07-29 10:00 | 0 | 0 | 2025-04-10 | 0 | 0.5 | 2025-11-15 | 100 | 0 | 2026-03-05
Active | P1885 Northern Lights WAGF | 26-Swan Hills |  | Connection | Wind | 3 | Yes | No | 2016-11-01 10:00 | 400 | 3 | 2025-09-30
Active | P1926 Solar Krafte Vauxhall | 52-Vauxhall |  | Connection | Solar | 5 | Yes | Yes | 2017-03-23 10:00 | 60 | 0.375 | 2025-12-15
Active | P1927 Beargrass Solar | 47-Brooks |  | Connection | Solar | 5 | Yes | Yes | 2017-03-23 10:00 | 360 | 0.99 | 2026-10-01
Active | P1984 FortisAlberta Gleichen DG Solar | 45-Strathmore/Blackie |  | BTF | Solar | 5 | Yes | Yes | 2017-07-17 10:00 | 0 | 0 | 2025-02-15 | 11.9 | 0 | 2025-02-15
Active | P2034 Cold Lake Energy Centre (Lindbergh Cogeneration) | 28-Cold Lake |  | Connection | Cogen | 5 | Yes | Yes | 2018-01-02 10:00 | 0 | 3 | 2027-08-01 | 72 | 0 | 2027-10-01
Active | P2091 Arenosum Solar | 48-Empress |  | Connection | Solar | 3 | Yes | No | 2018-05-22 10:00 | 150 | 1 | 2027-05-26
Active | P2102 EPC East Calgary Area Reliability | 06-Calgary |  | Connection | Distribution Load | 5 | Yes | Yes | 2018-06-07 10:00 | 0 | 26 | 2025-06-25
Active | P2192 ENMAX FMC Change | 06-Calgary |  | BTF | Cogen | 5 | Yes | Yes | 2019-01-02 10:00 | 4.99 | 0 | 2026-10-04
Active | P2195 FortisAlberta Bassano 435S DER Solar | 47-Brooks |  | BTF | Solar | 5 | Yes | Yes | 2019-01-07 10:00 | 0 | 0 | 2024-03-25 | 4.65 | 0 | 2025-12-01
Active | P2232 ENGIE Buffalo Trail North Wind | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2019-05-03 10:00 | 200 | 6 | 2028-01-15
Active | P2256 ATCO Poplar Hill Load | 20-Grande Prairie |  | Connection | Distribution Load | 3 | No | No | 2019-07-11 10:00 | 0 | 87.4 | 2026-05-19
Active | P2259 FortisAlberta Metiskow 648S DER Solar | 37-Provost |  | BTF | Solar | 5 | Yes | Yes | 2019-07-17 10:00 | 22 | 0 | 2026-11-30
Active | P2289 Heartland Scotford Change | 33-Fort Saskatchewan |  | BTF | Equipment Change | 6 | Yes | Yes | 2019-10-23 10:00 | 0 | 0 | 2025-06-15
Active | P2292 FortisAlberta Killarney Lake 267S DER Solar | 37-Provost |  | BTF | Solar | 5 | Yes | Yes | 2019-10-28 10:00 | 18 | 0 | 2026-03-13
Active | P2300 Enterprise MPC Solar | 49-Stavely |  | Connection | Solar | 5 | Yes | Yes | 2019-11-21 10:00 | 0 | 0 | 2025-06-30 | 65 | 1 | 2025-07-10
Active | P2334 TCE Saddlebrook Solar Storage | 46-High River |  | Connection | Solar + Storage | 5 | Yes | Yes | 2020-03-20 10:00 | 81 | 0.2 | 2023-10-25 | 6.5 | 0 | 2025-10-01
Active | P2335 Fortis Vulcan 255S DER Solar | 49-Stavely |  | BTF | Solar | 5 | Yes | Yes | 2020-03-09 10:00 | 12.6 | 0 | 2025-08-30
Active | P2337 Dunmore Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2020-03-16 10:00 | 0 | 0.5 | 2026-03-31 | 216 | 0 | 2026-09-15
Active | P2342 EDF Bull Trail Wind | 04-Medicine Hat |  | Connection | Wind | 3 | Yes | No | 2020-03-30 10:00 | 300 | 4 | 2028-05-01
Active | P2347 Forty Mile Granlea Solar Phase 2 | 04-Medicine Hat |  | BTF | Solar | 5 | Yes | Yes | 2020-04-24 10:00 | 220 | 0.5 | 2025-07-01
Active | P2352 ATCO Ethel Lake 717S DER Wasteheat | 28-Cold Lake |  | BTF | Wasteheat | 5 | Yes | Yes | 2020-05-07 10:00 | 0 | 0 | 2025-03-01
Active | P2354 ENMAX FMC DER Cogen | 06-Calgary |  | BTF | Cogen | 5 | Yes | Yes | 2020-05-21 10:00 | 0 | 0 | 2025-04-30 | 4.99 | 0 | 2026-10-04
Active | P2356 RESC Oyen Wind | 42-Hanna |  | Connection | Wind | 4 | Yes | No | 2020-06-18 10:00 | 250 | 1 | 2027-09-01
Active | P2369 ATCO Anderson 801S DER Solar | 43-Sheerness |  | BTF | Solar | 3 | Yes | Yes | 2020-08-04 10:00 | 0 | 0 | 2025-08-01 | 12.3 | 0 | 2025-08-01
Active | P2378 RESC Nova MPC Solar | 45-Strathmore/Blackie |  | Connection | Solar | 4 | Yes | No | 2020-09-08 10:00 | 150 | 1 | 2026-08-01
Active | P2396 Georgetown Solar | 45-Strathmore/Blackie |  | Connection | Solar | 5 | Yes | Yes | 2020-11-12 10:00 | 230 | 1 | 2026-11-16
Active | P2407 Fortis Kirby 651S Contract Change | 27-Athabasca/Lac La Biche |  | Contract | DTS | 3 | Yes | No | 2020-12-11 10:00 | 0 | -5 | 2026-01-01
Active | P2411 Northland Power Jurassic MPC Solar Battery | 48-Empress |  | Connection | Solar + Storage | 5 | Yes | Yes | 2021-01-04 10:00 | 300 | 1.5 | 2026-04-01 | 0 | 0 | 2026-09-01
Active | P2418 Greencells Estuary Solar | 48-Empress |  | Connection | Solar | 5 | Yes | Yes | 2021-01-28 10:00 | 200 | 1.5 | 2027-01-31
Active | P2432 Suncor TG1 & TG2 Modification | 25-Fort McMurray |  | BTF | Equipment Change | 5 | Yes | Yes | 2021-03-26 10:00 | 0 | 0 | 2022-02-07 | 0 | 0 | 2025-07-02
Active | P2445 Kiwetinohk Homestead MPC Solar | 53-Fort Macleod |  | Connection | Solar | 4 | Yes | No | 2021-05-03 10:00 | 400 | 1.5 | 2027-03-01
Active | P2447 Luna MPC Solar Battery | 47-Brooks |  | Connection | Solar + Storage | 3 | Yes | No | 2021-05-13 10:00 | 465 | 1.5 | 2027-06-30
Active | P2451 Georgetown Battery Addition | 45-Strathmore/Blackie |  | BTF | Battery Storage | 3 | No | No | 2021-06-10 10:00 | 0 | 101 | 2027-07-20
Active | P2453 EDTI Edmonton 3 H2 Plant Cogen | 60-Edmonton |  | Connection | Cogen | 5 | Yes | Yes | 2021-06-16 10:00 | 0 | 50 | 2025-10-01 | 20 | 0 | 2025-10-01
Active | P2454 Kiwetinohk Flipi MPC Gas | 30-Drayton Valley |  | Connection | Gas | 3 | Yes | No | 2021-06-15 10:00 | 466 | 2.5 | 2028-06-01
Active | P2456 Kiwetinohk Opal Gas | 24-Fox Creek |  | Connection | Gas | 5 | Yes | Yes | 2021-06-21 10:00 | 98.5 | 0.4 | 2026-12-30
Active | P2457 Fortis Moon Lake DER Solar | 30-Drayton Valley |  | BTF | Solar | 5 | Yes | Yes | 2021-06-23 10:00 | 16.75 | 0 | 2025-03-14
Active | P2460 ABO Fox Meadows Wind | 37-Provost |  | Connection | Wind | 3 | Yes | No | 2021-06-30 10:00 | 150 | 1 | 2026-04-01
Active | P2461 Aira Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2021-07-07 10:00 | 450 | 1 | 2026-01-20
Active | P2462 Fortis Stony Plain 434S DER Solar | 40-Wabamun |  | BTF | Solar | 5 | Yes | Yes | 2021-07-14 10:00 | 12.2 | 0 | 2025-03-14
Active | P2464 Sunnynook Solar Battery | 43-Sheerness |  | Connection | Solar + Storage | 5 | Yes | Yes | 2021-07-21 10:00 | 280 | 2 | 2027-05-01
Active | P2465 Enerfin Winnifred Wind Modification | 04-Medicine Hat |  | BTF | Wind | 3 | Yes | Yes | 2021-07-22 10:00 | 60 | 0 | 2024-11-27 | 0 | 0 | 2025-10-31
Active | P2466 PR Prominence Solar | 54-Lethbridge |  | Connection | Solar | 5 | Yes | Yes | 2021-07-22 10:00 | 80 | 1 | 2026-02-02
Active | P2467 Pteragen Peace Butte Wind | 04-Medicine Hat |  | Connection | Wind | 3 | Yes | No | 2021-08-03 10:00 | 120 | 2 | 2026-11-02
Active | P2471 Fortis Buford 538S DER Solar | 31-Wetaskiwin |  | BTF | Solar | 5 | Yes | Yes | 2021-08-11 10:00 | 12.9 | 0 | 2025-06-02
Active | P2488 NGCI Ermineskin Cree Nation Solar | 31-Wetaskiwin |  | Connection | Solar | 3 | Yes | No | 2021-09-07 10:00 | 0 | 0.5 | 2028-01-12 | 80 | 0 | 2028-01-12
Active | P2490 TransAlta Tempest MPC Wind | 54-Lethbridge |  | Connection | Wind | 5 | Yes | Yes | 2021-09-20 10:00 | 99 | 1 | 2027-08-01
Active | P2499 Kiwetinohk Black Bear Gas | 26-Swan Hills |  | Connection | Gas | 3 | Yes | No | 2021-10-08 10:00 | 466 | 2.5 | 2028-06-01
Active | P2503 Willow Ridge Wind Battery | 53-Fort Macleod |  | Connection | Wind + Storage | 3 | Yes | No | 2021-10-15 10:00 | 0 | 1.5 | 2028-02-05 | 246 | 0 | 2028-03-11
Active | P2509 Kiwetinohk Granum MPC Solar | 53-Fort Macleod |  | Connection | Solar | 3 | Yes | No | 2021-10-29 10:00 | 400 | 1.5 | 2025-11-01
Active | P2513 Shell Scotford Substation Reliability | 33-Fort Saskatchewan |  | Connection | Other | 3 | No | No | 2021-11-17 10:00 | 0 | 0 | 2027-11-25
Active | P2517 Enfinite Bowmanton MPC Battery | 04-Medicine Hat |  | Connection | Battery Storage | 3 | Yes | No | 2022-01-20 10:00 | 100 | 100 | 2026-12-03
Active | P2520 Laramide MPC Battery | 46-High River |  | Connection | Battery Storage | 3 | Yes | No | 2022-01-20 10:00 | 100 | 50 | 2026-06-01
Active | P2524 Shell SR Scotford Solar | 33-Fort Saskatchewan |  | BTF | Solar | 5 | Yes | Yes | 2021-11-29 10:00 | 0 | 0 | 2024-06-20 | 0 | 0 | 2028-03-17
Active | P2527 TA Alberta Hydro WaterCharger Battery | 44-Seebe |  | Connection | Battery Storage | 3 | Yes | No | 2021-12-08 10:00 | 180 | 10 | 2025-05-09
Active | P2533 Greenlight Gas | 33-Fort Saskatchewan |  | Connection | Gas | 3 | Yes | No | 2022-01-14 | 466 | 20 | 2028-06-01
Active | P2537 Fortis Duchess 339S DER Solar | 47-Brooks |  | BTF | Solar | 3 | Yes | Yes | 2022-01-25 10:00 | 0 | 0 | 2025-06-23 | 18.6 | 0 | 2025-09-15
Active | P2540 Rising Sun Solar | 37-Provost |  | Connection | Solar | 3 | Yes | No | 2022-02-04 10:00 | 125 | 1 | 2026-03-30
Active | P2543 EDTI Castle Downs Load Reliability | 60-Edmonton |  | Connection | Distribution Load | 5 | Yes | Yes | 2022-02-14 10:00 | 0 | 14.58 | 2025-04-30
Active | P2552 Lone Butte Solar | 39-Didsbury |  | Connection | Solar | 3 | Yes | No | 2022-03-04 10:00 | 0 | 2 | 2027-07-05 | 450 | 0 | 2027-11-01
Active | P2557 Fortis Lundbreck 513S Contract Change | 53-Fort Macleod |  | Contract | DTS | 3 | No | No | 2022-03-10 10:00 | 0 | -1.317 | 2025-10-31
Active | P2566 Eastervale Solar Battery | 37-Provost |  | Connection | Solar + Storage | 3 | Yes | No | 2022-04-08 10:00 | 300 | 200 | 2027-10-01
Active | P2574 Fortis Aura Provost DER Solar | 37-Provost |  | BTF | Solar | 5 | Yes | Yes | 2022-06-01 10:00 | 20.7 | 0 | 2025-11-01
Active | P2592 Big Rock Solar Battery | 46-High River |  | Connection | Solar + Storage | 3 | Yes | No | 2022-07-25 10:22 | 90 | 40 | 2026-12-01
Active | P2593 AECG Forty Mile Wind Phase 2 | 04-Medicine Hat |  | BTF | Wind | 3 | Yes | Yes | 2022-07-22 10:33 | 134 | 0 | 2025-09-01
Active | P2602 Little Flipi MPC Gas | 35-Red Deer |  | Connection | Gas | 3 | Yes | No | 2022-08-31 16:30 | 120 | 3 | 2027-10-01
Active | P2611 UK Solar East | 42-Hanna |  | Connection | Solar | 3 | Yes | No | 2022-09-22 15:29 | 400 | 1 | 2027-03-15
Active | P2614 Dow Fort Sask. Load | 33-Fort Saskatchewan |  | Connection | Industrial Load | 3 | No | No | 2022-09-28 14:50 | 0 | 231 | 2026-08-15
Active | P2616 Jumbo Solar Battery | 53-Fort Macleod |  | Connection | Solar + Storage | 3 | Yes | No | 2022-10-11 13:43 | 218 | 1 | 2028-04-01
Active | P2619 Sweetgrass MPC Solar Battery | 53-Fort Macleod |  | Connection | Solar + Storage | 3 | Yes | No | 2022-10-19 08:39 | 315 | 2 | 2028-06-01
Active | P2627 Sundre 575S DER Solar | 38-Caroline |  | BTF | Solar | 3 | Yes | Yes | 2022-11-07 13:23 | 12.6 | 0 | 2026-01-24
Active | P2630 Berland River Load | 24-Fox Creek |  | Connection | Industrial Load | 4 | No | No | 2022-11-14 14:09 | 0 | 37 | 2026-05-06
Active | P2631 Smoky River MPC Wind | 19-Peace River |  | Connection | Wind | 3 | Yes | No | 2022-11-14 11:26 | 160 | 1 | 2025-10-01
Active | P2669 Mannix Solar Battery | 36-Alliance/Battle River |  | Connection | Solar + Storage | 3 | Yes | No | 2023-02-10 13:46 | 59 | 0 | 2026-01-31 | 0 | 34 | 2028-01-31
Active | P2674 Foster Creek Modification | 28-Cold Lake |  | BTF | Equipment Change | 3 | No | No | 2023-02-15 12:02 | 0 | 0 | 2025-12-31
Active | P2676 Kaybob South 3 Cogen | 24-Fox Creek |  | Connection | Cogen | 3 | Yes | No | 2023-02-22 09:38 | 25 | 0 | 2025-11-25
Active | P2678 SS-37 DER Gas | 06-Calgary |  | BTF | Gas | 5 | Yes | Yes | 2023-02-24 11:55 | 0 | 0 | 2027-06-01 | 1.1 | 0 | 2027-09-01
Active | P2690 Harvest Sky Solar Battery | 42-Hanna |  | Connection | Solar + Storage | 3 | Yes | No | 2023-03-28 09:41 | 15 | 0 | 2026-05-31 | 0 | 14 | 2028-05-31
Active | P2698 East Camrose 285S DER Solar Battery | 31-Wetaskiwin | EDM-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-04-03 14:28 | 0 | 0 | 2025-08-31 | 18.9 | 0 | 2025-08-31
Active | P2707 Sounding Creek Solar Battery | 42-Hanna | CNTL-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-05-12 13:26 | 0 | 50 | 2027-09-01 | 250 | 0 | 2027-09-22
Active | P2713 UK LS1 Solar | 23-Valleyview | NW-01 | Connection | Solar | 3 | Yes | No | 2023-06-01 12:01 | 0 | 1 | 2028-07-15 | 448 | 0 | 2028-07-15
Active | P2716 Wapiti 823S Load | 20-Grande Prairie |  | Connection | Distribution Load | 3 | No | No | 2023-06-07 13:22 | 0 | 21.3 | 2027-04-01
Active | P2717 Chin CH9 Modification | 54-Lethbridge |  | BTF | Equipment Change | 3 | No | No | 2023-06-07 12:56 | 0 | 0 | 2025-04-30
Active | P2722 Sturgeon 734S DER Solar | 23-Valleyview | NW-01 | BTF | Solar | 3 | Yes | Yes | 2023-06-16 11:38 | 0 | 0 | 2027-02-15 | 20 | 0 | 2027-02-15
Active | P2728 Kersey Solar | 57-Airdrie | CNTL-01 | Connection | Solar | 3 | Yes | No | 2023-07-14 13:43 | 0 | 2 | 2027-06-01 | 200 | 0 | 2027-08-02
Active | P2729 Coaldale 254S DER Solar & Wind | 54-Lethbridge | SE-01 | BTF | Wind | 3 | Yes | Yes | 2023-07-14 12:44 | 0 | 0 | 2026-03-01 | 12.3 | 0 | 2026-03-01
Active | P2738 UK LS4 Solar | 23-Valleyview | NW-01 | Connection | Solar | 3 | Yes | No | 2023-07-20 15:11 | 0 | 1 | 2028-02-15 | 89 | 0 | 2028-02-15
Active | P2741 Great Plains Load | 25-Fort McMurray |  | Connection | Industrial Load | 3 | No | No | 2023-07-21 15:37 | 0 | 51 | 2026-12-01
Active | P2747 Vegreville 709S DER Battery | 56-Vegreville | CNTL-01 | BTF | Battery Storage | 3 | Yes | Yes | 2023-07-31 15:44 | 0 | 1 | 2027-03-01 | 2.98 | 0 | 2027-04-01
Active | P2751 Hussar 431S Battery | 45-Strathmore/Blackie | SW-CAL-01 | BTF | Battery Storage | 3 | Yes | Yes | 2023-08-04 10:21 | 0 | 0 | 2027-04-01 | 20 | 0 | 2027-04-01
Active | P2753 Jarrow 252S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-08-10 09:37 | 0 | 0 | 2026-11-30 | 5.5 | 0 | 2026-11-30 | 0 | 0 | 2027-11-30
Active | P2754 Tucuman 478S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-08-10 10:00 | 0 | 0 | 2026-11-30 | 14.8 | 0 | 2026-11-30 | 0 | 0 | 2027-11-30
Active | P2757 Sturgeon 734S DER Battery | 23-Valleyview | NW-01 | BTF | Battery Storage | 3 | Yes | Yes | 2023-08-11 12:03 | 0 | 0 | 2026-07-01 | 19.9 | 0 | 2026-07-01
Active | P2758 UK TC II Solar | 42-Hanna | CNTL-01 | Connection | Solar | 3 | Yes | No | 2023-08-10 12:11 | 0 | 1 | 2027-10-15 | 162 | 0 | 2027-10-15
Active | P2763 Hand Hills Battery | 42-Hanna | CNTL-01 | BTF | Battery Storage | 3 | Yes | Yes | 2023-08-14 13:52 | 0 | 10 | 2026-08-31 | 10 | 0 | 2026-09-07
Active | P2764 Hand Hills Wind & Solar | 42-Hanna | CNTL-01 | Connection | Wind | 3 | Yes | No | 2023-08-14 08:06 | 0 | 2 | 2027-02-01 | 180 | 0 | 2027-02-01 | 120 | 0 | 2028-05-01
Active | P2774 CastorNorth Solar Battery | 42-Hanna | CNTL-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-17 19:47 | 0 | 0.75 | 2027-12-01 | 250 | 0 | 2027-12-01
Active | P2776 Legal Solar Battery | 27-Athabasca/Lac La Biche | EDM-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-17 20:02 | 0 | 0.5 | 2027-09-01 | 125 | 0 | 2027-09-01
Active | P2777 St. Albert Solar | 60-Edmonton | EDM-01 | Connection | Solar | 3 | Yes | No | 2023-08-17 07:46 | 0 | 0.8 | 2025-12-01 | 200 | 0 | 2025-12-01
Active | P2778 Rich Valley Solar Battery | 40-Wabamun | EDM-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-17 08:04 | 0 | 0.8 | 2027-12-01 | 200 | 0 | 2027-12-01
Active | P2781 Lamoureux Solar Battery | 33-Fort Saskatchewan | NE-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-18 08:29 | 0 | 0.8 | 2027-12-01 | 200 | 0 | 2027-12-01
Active | P2789 Red Willow Solar Battery | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-22 16:07 | 0 | 100 | 2027-02-01 | 225 | 0 | 2027-02-01
Active | P2792 Cascade Gas | 29-Hinton/Edson | CNTL-01 | BTF | Gas | 3 | Yes | Yes | 2023-08-24 14:04 | 0 | 0 | 2025-10-01 | 32 | 0 | 2025-10-01
Active | P2796 Greenlight U2 Gas | 33-Fort Saskatchewan | NE-01 | Connection | Gas | 3 | Yes | No | 2023-08-25 11:02 | 0 | 20 | 2028-06-01 | 466 | 0 | 2028-06-01
Active | P2797 Greenlight U3 Gas | 33-Fort Saskatchewan | NE-01 | Connection | Gas | 3 | Yes | No | 2023-08-25 11:07 | 0 | 20 | 2028-06-01 | 466 | 0 | 2028-06-01
Active | P2804 Nevis Solar | 42-Hanna | CNTL-01 | Connection | Solar | 3 | Yes | No | 2023-08-25 14:10 | 0 | 2 | 2026-03-01 | 200 | 0 | 2028-03-01
Active | P2805 High River 65S DER Gas | 46-High River | SW-CAL-01 | BTF | Gas | 3 | Yes | Yes | 2023-08-25 14:40 | 0 | 0 | 2026-06-10 | 11 | 0 | 2026-06-10
Active | P2806 Piikani Wind | 53-Fort Macleod | SW-CAL-01 | Connection | Wind | 3 | Yes | No | 2023-08-25 09:59 | 0 | 2 | 2026-07-02 | 153 | 0 | 2026-04-08
Active | P2811 Saamis Solar | 04-Medicine Hat | SE-01 | Connection | Solar | 3 | Yes | No | 2023-08-28 16:10 | 0 | 1 | 2026-08-31 | 325 | 1 | 2026-08-31
Active | P2816 Sol Aurora Solar Battery | 33-Fort Saskatchewan | NE-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-29 14:16 | 0 | 50 | 2026-11-01 | 200 | 0 | 2026-11-01
Active | P2818 Travers Battery | 49-Stavely |  | BTF | Battery Storage | 3 | No | No | 2023-08-29 14:27 | 0 | 0 | 2026-03-30
Active | P2826 Paul Band Solar | 40-Wabamun | EDM-01 | Connection | Solar | 3 | Yes | No | 2023-08-29 15:57 | 0 | 0.5 | 2026-06-01 | 37 | 0 | 2026-06-01
Active | P2827 Vilna 777S DER Solar | 56-Vegreville | CNTL-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-08-29 17:11 | 0 | 23 | 2027-01-15 | 27.3 | 0 | 2027-01-01
Active | P2829 Coronation 773S DER Solar | 42-Hanna | CNTL-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-08-29 14:29 | 0 | 3.7 | 2027-02-15 | 16 | 0 | 2027-02-15
Active | P2839 Edgerton Wind | 37-Provost | CNTL-01 | Connection | Wind | 3 | Yes | No | 2023-08-30 15:43 | 0 | 2 | 2028-01-15 | 110 | 0 | 2028-04-15
Active | P2843 Prairie Lights Power Gas | 20-Grande Prairie | NW-01 | Connection | Gas | 3 | Yes | No | 2023-08-31 16:16 | 0 | 0 | 2027-01-01 | 310 | 5 | 2027-02-01
Active | P2845 Marguerite Lake CAE Storage | 28-Cold Lake | CNTL-01 | Connection | Compressed Air Energy Storage | 3 | Yes | No | 2023-08-31 16:27 | 0 | 125 | 2027-09-01 | 320 | 0 | 2027-09-01
Active | P2849 Nose Hill Wind Battery | 42-Hanna | CNTL-01 | Connection | Wind + Storage | 3 | Yes | No | 2023-08-31 18:42 | 0 | 1 | 2026-10-20 | 120 | 0 | 2027-01-15
Active | P2852 Wainwright 51S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-08-31 10:13 | 0 | 0 | 2027-11-30 | 11.2 | 0 | 2027-11-30 | 0 | 0 | 2028-05-30
Active | P2863 Raymond Reservoir Battery | 55-Glenwood |  | BTF | Battery Storage | 3 | No | No | 2023-08-31 08:01 | 4.9 | 1.563 | 2025-02-28
Active | P2869 Provost 545S DER Gas | 37-Provost |  | BTF | Gas | 3 | No | No | 2023-09-22 15:39 | 1.26 | 0 | 2026-09-03
Active | P2879 Hayter 277S DER Gas | 37-Provost |  | BTF | Gas | 3 | No | No | 2023-10-27 10:33 | 2.92 | 0 | 2026-03-27
Active | P2880 Warner 344S DER Gas | 55-Glenwood |  | BTF | Gas | 3 | No | No | 2023-10-27 10:23 | 0 | 0 | 2026-07-25 | 3.52 | 0 | 2027-02-05
Active | P2881 South Mayerthorpe 443S DER Gas | 40-Wabamun |  | BTF | Gas | 3 | No | No | 2023-10-27 09:45 | 3.8 | 0 | 2026-05-06
Active | P2882 Hughenden 213S DER Gas | 37-Provost |  | BTF | Gas | 3 | No | No | 2023-10-27 09:38 | 3.82 | 0 | 2026-06-15
Active | P2894 Chickadee Area Load | 24-Fox Creek |  | Connection | Industrial Load | 2 | No | No | 2023-11-14 10:33 | 0 | 30 | 2026-03-01
Active | P2897 Paintearth Creek 863S DER Gas | 36-Alliance/Battle River |  | BTF | Gas | 3 | No | No | 2024-01-25 15:15 | 3.7 | 0 | 2026-10-08
Active | P2899 LCHA Cogen CO2 | 33-Fort Saskatchewan |  | Connection | Industrial Load | 2 | No | No | 2024-01-30 08:19 | 0 | 60 | 2027-07-01 | 0 | 0 | 2027-12-01
Active | P2900 Empress Extraction Plant Modification | 48-Empress |  | BTF | Cogen | 3 | No | No | 2024-01-30 13:52 | 0 | 11 | 2026-01-30
Active | P2902 Brintnell 876S Contract Change | 25-Fort McMurray |  | Contract | DTS | 2 | No | No | 2024-02-01 11:17 | 0 | -21 | 2025-07-01
Active | P2903 Edith Lake 739S Contract Change | 26-Swan Hills |  | Contract | DTS | 2 | No | No | 2024-02-01 10:55 | 0 | -19 | 2025-07-01
Active | P2907 Irish Creek 7065 Contract Change | 13-Lloydminster |  | Contract | DTS | 2 | No | No | 2024-02-01 15:36 | 0 | -18 | 2025-07-01
Active | P2908 Monitor 774S Contract Change | 42-Hanna |  | Contract | DTS | 2 | No | No | 2024-02-01 11:17 | 0 | -8 | 2025-07-01
Active | P2910 Norcen 812S Contract Change | 19-Peace River |  | Contract | DTS | 2 | No | No | 2024-02-01 16:04 | 0 | -8 | 2025-07-01
Active | P2914 Tower Road 933S Contract Change | 25-Fort McMurray |  | Contract | DTS | 2 | No | No | 2024-02-01 07:15 | 0 | -8 | 2025-07-01
Active | P2919 Forestwood Technology Park MPC Load | 57-Airdrie |  | Connection | Data Load | 2 | No | No | 2024-02-20 14:02 | 0 | 200 | 2027-11-26
Active | P2921 SS-54 Area Load | 06-Calgary |  | Connection | Distribution Load | 2 | No | No | 2024-03-27 11:53 | 0 | 60 | 2028-08-01
Active | P2924 Three Hills 770S DER Battery | 42-Hanna |  | BTF | Battery Storage | 3 | No | No | 2024-04-08 15:01 | 0 | 0 | 2025-11-01
Active | P2925 Michichi Creek 802S DER Battery | 42-Hanna |  | BTF | Battery Storage | 3 | No | No | 2024-04-04 15:25 | 0 | 0 | 2025-05-15
Active | P2926 Beacon Foothills A.I. Hub Load | 46-High River |  | Connection | Data Load | 2 | No | No | 2024-04-08 16:34 | 0 | 400 | 2027-01-15
Active | P2927 Beacon Harry Smith A.I. Hub Load | 40-Wabamun |  | Connection | Data Load | 2 | No | No | 2024-04-08 16:21 | 0 | 400 | 2027-01-15
Active | P2928 Beacon Langdon A.I. Hub Load | 06-Calgary |  | Connection | Data Load | 2 | No | No | 2024-04-08 16:09 | 0 | 400 | 2027-01-15
Active | P2930 Namao HVP Expansion - Pump Station Load | 60-Edmonton |  | Connection | Industrial Load | 2 | No | No | 2024-04-18 11:33 | 0 | 20 | 2027-01-04
Active | P2934 Beacon Heartland A.I. Hub Load | 33-Fort Saskatchewan |  | Connection | Data Load | 2 | No | No | 2024-05-10 16:22 | 0 | 400 | 2027-01-15
Active | P2935 Beacon Saunders Lake A.I. Hub Load | 60-Edmonton |  | Connection | Data Load | 2 | No | No | 2024-05-10 16:16 | 0 | 400 | 2027-01-15
Active | P2936 GLDC Load | 33-Fort Saskatchewan |  | Connection | Data Load | 2 | No | No | 2024-05-14 15:33 | 0 | 1800 | 2027-05-18
Active | P2938 Seal Lake 869S DER Solar | 19-Peace River |  | Contract | STS | 3 | No | No | 2024-05-28 16:06 | 3.7 | 0 | 2025-04-11
Active | P2940 Grassland 282S Modification | 27-Athabasca/Lac La Biche |  | BTF | Equipment Change | 5 | Yes | Yes | 2024-06-10 09:01 | 0 | 0 | 2025-06-30
Active | P2942 Genesee Data Center 1 MPC Load | 40-Wabamun |  | Connection | Data Load | 2 | No | No | 2024-06-26 08:12 | 0 | 1000 | 2027-01-01
Active | P2943 Conklin 762S Modification | 25-Fort McMurray |  | BTF | Equipment Change | 5 | Yes | Yes | 2024-07-09 08:40 | 0 | 0 | 2025-05-01
Active | P2945 Rocky Mountain House 262S DER Gas | 38-Caroline |  | BTF | Gas | 3 | No | No | 2024-07-31 11:49 | 4.9 | 0 | 2025-09-01
Active | P2946 Genesee Data Center 2 MPC Load | 40-Wabamun |  | Connection | Data Load | 2 | No | No | 2024-08-08 11:42 | 0 | 500 | 2027-02-01
Active | P2949 Suncor Base Plant GTG 6 Modification | 25-Fort McMurray |  | BTF | Cogen | 5 | Yes | Yes | 2024-08-21 10:52 | 0 | 0 | 2025-06-10
Active | P2950 Vetchland Load | 38-Caroline |  | Connection | Industrial Load | 1 | No | No | 2024-08-28 09:59 | 0 | 37 | 2028-09-01
Active | P2951 Wolf Lake Load | 29-Hinton/Edson |  | Connection | Industrial Load | 1 | No | No | 2024-08-28 10:34 | 0 | 37 | 2029-09-01
Active | P2952 North Calgary One Data Centre MPC Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-09-11 07:58 | 0 | 450 | 2026-12-01
Active | P2953 North Calgary Two Data Centre MPC Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-09-11 07:58 | 0 | 450 | 2026-12-01
Active | P2958 Hydrogen Canada MPC Load | 33-Fort Saskatchewan |  | Connection | Industrial Load | 1 | No | No | 2024-09-27 14:16 | 0 | 320 | 2027-07-27
Active | P2968 Scoria 318S Modification | 33-Fort Saskatchewan |  | BTF | Equipment Change | 1 | No | No | 2024-10-07 14:06 | 0 | 0 | 2025-10-31
Active | P2969 Cadomin Area Load | 29-Hinton/Edson |  | Connection | Distribution Load | 1 | No | No | 2024-10-07 14:18 | 0 | 1 | 2028-01-01 | 0 | 1.5 | 2026-01-01 | 0 | 2 | 2027-01-01
Active | P2970 Beacon Langdon A.I. Hub 2 Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-10-04 14:35 | 0 | 1400 | 2037-01-15 |  |  | *200 MW per year Jan 2031 to Jan 2037
Active | P2972 Southwest Edmonton Area Load | 60-Edmonton |  | Connection | Distribution Load | 1 | No | No | 2024-10-08 09:39 | 0 | 0 | 2027-04-30 | 0 | 0 | 2028-12-01 | 0 | 0 | 2030-12-01
Active | P3035 Aira Battery | 04-Medicine Hat |  | BTF | Battery Storage | 1 | No | No | 2024-11-18 13:48 | 0 | 0 | 2026-06-05
Active | P3066 Leedale Load | 38-Caroline |  | Connection | Data Load | 1 | No | No | 2024-11-11 13:42 | 0 | 1864 | 2028-08-01 |  |  | *466 MW x 4 stages Apr 2027 to Aug 2028
Active | P3070 MO Carson Creek #88701 Contract Change | 26-Swan Hills |  | Contract | DTS | 1 | No | No | 2024-11-28 14:05 | 0 | 1.9 | 2025-03-01
Active | P3071 Michichi Creek 802S Contract Change | 42-Hanna |  | Contract | DTS | 1 | No | No | 2024-12-12 13:49 | 0 | 62 | 2027-06-01
Active | P3072 Greenview Area Load | 22-Grande Cache |  | Connection | Distribution Load | 1 | No | No | 2024-12-15 08:56 | 0 | 47.5 | 2028-02-16
Active | P3076 Thornton Area Load | 22-Grande Cache |  | Connection | Distribution Load | 1 | No | No | 2024-12-20 10:25 | 0 | 51.5 | 2026-12-01
Active | P3077 Calgary Enterprise A.I. Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-12-19 14:01 | 0 | 100 | 2028-01-15 | 0 | 100 | 2029-01-15
Active | P3078 Calgary A.I. Centre Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-12-19 14:16 | 0 | 50 | 2027-01-15 | 0 | 50 | 2028-01-15 | 0 | 50 | 2029-01-15
Cluster 2 | P2929 RealPart Calgary Area Solar | 06-Calgary | SW-CAL-02 | Cluster | Solar | 1 | No | No | 2024-04-16 12:06 | 0 | 0.3 | 2025-12-01 | 150 | 0 | 2025-12-01
Cluster 2 | P2939 Ervick 542S DER Solar Battery | 31-Wetaskiwin | EDM-02 | Cluster | DC-Coupled Solar-BESS + Storage | 1 | No | No | 2024-05-30 | 0 | 0 | 2026-07-01 | 20.5 | 0 | 2026-07-01
Cluster 2 | P2941 WFS Cogen | 33-Fort Saskatchewan | NE-02 | Cluster | Cogen | 1 | No | No | 2024-06-12 09:00 | 0 | 30 | 2028-01-15 | 35 | 0 | 2028-02-02
Cluster 2 | P2944 Mowat 2033S DER Gas | 20-Grande Prairie | NW-02 | Cluster | Gas | 1 | No | No | 2024-07-24 | 0 | 0 | 2027-04-01 | 19 | 0 | 2027-04-01
Cluster 2 | P2948 Phoenix MPC Solar | 35-Red Deer | CNTL-02 | Cluster | Solar | 1 | No | No | 2024-08-12 | 0 | 0.5 | 2029-05-01 | 169.5 | 0 | 2029-05-01
Cluster 2 | P2954 Blue Heron MPC Solar Battery | 36-Alliance/Battle River | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-09-06 | 0 | 1 | 2028-05-01 | 200 | 0 | 2028-05-01 | 0 | 0 | 2028-05-01
Cluster 2 | P2960 Strathmore Battery | 45-Strathmore/Blackie | SW-CAL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-08 | 0 | 10 | 2027-06-30 | 100 | 0 | 2027-06-30
Cluster 2 | P2964 Normandeau Solar | 27-Athabasca/Lac La Biche | NE-02 | Cluster | Solar | 1 | No | No | 2024-09-27 | 0 | 1 | 2029-02-01 | 250 | 0 | 2029-02-01
Cluster 2 | P2965 Harvest Solar | 33-Fort Saskatchewan | NE-02 | Cluster | Solar | 1 | No | No | 2024-09-27 | 0 | 0.5 | 2029-02-01 | 120 | 0 | 2029-02-01
Cluster 2 | P2966 Veteran Solar Battery | 42-Hanna | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-09-27 | 0 | 1 | 2027-10-18 | 120 | 0 | 2027-11-08 | 0 | 0 | 2027-11-08
Cluster 2 | P2967 Clearwater Facility Cogen | 39-Didsbury | CNTL-02 | Cluster | Cogen | 1 | No | No | 2024-09-30 | 0 | 10 | 2027-03-01 | 75 | 0 | 2027-05-03 | 0 | 40 | 2027-09-01
Cluster 2 | P2974 Kâpîsimotêt Solar Battery | 31-Wetaskiwin | EDM-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-09 09:52 | 32 | 0 | 2028-01-12 | 0 | 29.8 | 2028-01-12
Cluster 2 | P2975 Genesee MPC Gas | 60-Edmonton | EDM-02 | Cluster | Gas | 1 | No | No | 2024-10-07 | 0 | 24 | 2029-03-01 | 1463 | 0 | 2029-03-01
Cluster 2 | P2976 Brooks Battery | 47-Brooks | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-10 15:10 | 0 | 10 | 2027-06-30 | 100 | 0 | 2027-06-30
Cluster 2 | P2977 Prosperity MPC Wind | 45-Strathmore/Blackie | SW-CAL-02 | Cluster | Wind | 1 | No | No | 2024-10-10 15:27 | 0 | 2 | 2029-09-01 | 465 | 0 | 2029-09-01
Cluster 2 | P2978 Donnelly 784S DER Battery | 19-Peace River | NW-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-10 | 0 | 16.8 | 2027-12-01 | 33 | 0 | 2027-12-01
Cluster 2 | P2979 Alsike Energy Park Inc. MPC Gas | 30-Drayton Valley | CNTL-02 | Cluster | Gas + Data Load | 1 | No | No | 2024-10-11 | 0 | 140 | 2027-09-01 | 0 | 140 | 2028-09-01 | 178 | 3 | 2029-06-01
Cluster 2 | P2980 Crossfield Energy Park Inc. MPC Gas | 57-Airdrie | CNTL-02 | Cluster | Gas + Data Load | 1 | No | No | 2024-10-11 | 0 | 140 | 2027-07-01 | 0 | 140 | 2028-07-01 | 178 | 3 | 2029-06-01
Cluster 2 | P2981 Myers Energy Park Inc. MPC Gas | 35-Red Deer | CNTL-02 | Cluster | Gas + Data Load | 1 | No | No | 2024-10-11 | 0 | 140 | 2027-11-01 | 0 | 140 | 2028-11-01 | 178 | 3 | 2029-06-01
Cluster 2 | P2982 Gilby Power Park Inc. MPC Gas | 35-Red Deer | CNTL-02 | Cluster | Gas | 1 | No | No | 2024-10-11 | 0 | 3 | 2029-06-01 | 178 | 0 | 2029-06-01
Cluster 2 | P2983 Moraine MPC Gas | 26-Swan Hills | NW-02 | Cluster | Gas | 1 | No | No | 2024-10-15 07:45 | 0 | 7.45 | 2028-02-01 | 465 | 0 | 2028-02-01
Cluster 2 | P2984 Lethbridge Three Solar | 54-Lethbridge | SE-02 | Cluster | Solar | 1 | No | No | 2024-10-11 | 0 | 0.35 | 2027-05-01 | 155 | 0 | 2027-05-01
Cluster 2 | P2985 Prairie Solar | 42-Hanna | CNTL-02 | Cluster | Solar | 1 | No | No | 2024-10-11 | 0 | 0.5 | 2027-05-01 | 336 | 0 | 2027-05-01
Cluster 2 | P2986 Dow Chemical Canada Cogen | 33-Fort Saskatchewan | NE-02 | Cluster | Cogen | 1 | No | No | 2024-10-15 15:14 | 0 | 0 | 2026-08-15 | 345 | 0 | 2029-01-01
Cluster 2 | P2988 Milo Battery | 45-Strathmore/Blackie | SW-CAL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-15 | 200 | 2 | 2028-03-01 | 0 | 200 | 2028-03-01
Cluster 2 | P2990 Benalto Battery | 35-Red Deer | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-16 | 0 | 100 | 2028-11-01 | 100 | 0 | 2028-11-01
Cluster 2 | P2991 Caroline Battery | 38-Caroline | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-16 | 0 | 100 | 2028-11-01 | 100 | 0 | 2028-11-01
Cluster 2 | P2992 Castle River Battery | 53-Fort Macleod | SW-CAL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-16 | 0 | 100 | 2028-11-01 | 100 | 0 | 2028-11-01
Cluster 2 | P2993 Cypress Battery | 48-Empress | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-16 | 0 | 100 | 2028-11-01 | 100 | 0 | 2028-11-01
Cluster 2 | P2994 Gaetz Battery | 35-Red Deer | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-16 | 0 | 100 | 2028-11-01 | 100 | 0 | 2028-11-01
Cluster 2 | P2995 Tilley Battery | 47-Brooks | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-16 | 0 | 100 | 2028-11-01 | 100 | 0 | 2028-11-01
Cluster 2 | P2996 Tucuman Battery | 32-Wainwright | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-16 | 0 | 100 | 2028-11-01 | 100 | 0 | 2028-11-01
Cluster 2 | P2997 Three Hills 770S DER Solar | 42-Hanna | CNTL-02 | Cluster | Solar | 1 | No | No | 2024-10-16 | 0 | 0 | 2027-10-01 | 18 | 0 | 2027-10-01
Cluster 2 | P2998 Updike 886S DER Gas | 20-Grande Prairie | NW-02 | Cluster | Gas | 1 | No | No | 2024-10-16 | 0 | 0 | 2027-05-01 | 3.5 | 0 | 2027-05-01
Cluster 2 | P2999 Three Hills 770S DER Gas | 42-Hanna | CNTL-02 | Cluster | Gas + Data Load | 1 | No | No | 2024-10-16 | 0 | 0 | 2027-11-01 | 10 | 10 | 2027-11-01
Cluster 2 | P3000 Luna 2 MPC Solar Battery | 47-Brooks | SE-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-17 21:41 | 0 | 1.5 | 2029-08-01 | 466 | 0 | 2029-08-01 | 0 | 0 | 2029-08-01
Cluster 2 | P3001 Midnight MPC Solar Battery | 04-Medicine Hat | SE-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-17 21:44 | 0 | 1.5 | 2029-10-18 | 467 | 0 | 2029-10-18 | 0 | 0 | 2029-10-18
Cluster 2 | P3003 Tent Mountain MPC Pumped Hydro | 53-Fort Macleod | SW-CAL-02 | Cluster | Pumped Hydro Storage | 1 | No | No | 2024-10-17 | 0 | 5 | 2029-05-01 | 400 | 400 | 2029-05-01
Cluster 2 | P3004 Captus MPC Cogen | 55-Glenwood | SW-CAL-02 | Cluster | Cogen | 1 | No | No | 2024-10-17 21:59 | 0 | 10.4 | 2029-07-02 | 440 | 0 | 2029-07-02
Cluster 2 | P3005 Stettler 769S DER Solar Battery | 42-Hanna | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-17 22:06 | 0 | 0 | 2028-01-03 | 23.1 | 0 | 2028-01-03 | 0 | 0 | 2028-01-03
Cluster 2 | P3006 Clairmont Energy MPC Gas | 20-Grande Prairie | NW-02 | Cluster | Gas | 1 | No | No | 2024-10-17 08:35 | 0 | 3 | 2029-05-01 | 178 | 17 | 2029-06-01
Cluster 2 | P3007 Amelia 108S DER Biomass | 33-Fort Saskatchewan | NE-02 | Cluster | Biomass | 1 | No | No | 2024-10-17 08:51 | 0 | 0 | 2027-10-01 | 15.3 | 0 | 2027-10-01
Cluster 2 | P3008 Ammolite Battery | 31-Wetaskiwin | EDM-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-17 | 0 | 0.5 | 2028-11-01 | 200 | 199.5 | 2028-11-03
Cluster 2 | P3009 Springbrook Battery | 35-Red Deer | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-17 | 0 | 0.5 | 2028-11-01 | 200 | 0 | 2028-11-03
Cluster 2 | P3010 Lone Pine MPC Wind | 42-Hanna | CNTL-02 | Cluster | Wind | 1 | No | No | 2024-10-18 | 0 | 2 | 2029-07-16 | 466 | 0 | 2029-07-16
Cluster 2 | P3011 Togo Lake Solar Battery | 42-Hanna | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 | 0 | 2 | 2027-12-01 | 400 | 0 | 2027-12-01 | 0 | 198 | 2027-12-01
Cluster 2 | P3012 Kainai EDF Pe-na-koyim Wind Battery | 54-Lethbridge | SE-02 | Cluster | Wind + Storage | 1 | No | No | 2024-10-18 | 0 | 5.82 | 2028-06-01 | 300 | 0 | 2028-06-01 | 0 | 0 | 2028-06-01
Cluster 2 | P3013 Raymond Reservoir Battery | 55-Glenwood | SW-CAL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 | 0 | 0 | 2026-12-31 | 8.1 | 0 | 2026-12-31
Cluster 2 | P3014 Meadowview Solar Battery | 60-Edmonton | EDM-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 | 0 | 66 | 2027-12-01 | 135 | 0 | 2027-12-01 | 0 | 0 | 2027-12-01
Cluster 2 | P3015 Spruce Grove North Solar Battery | 60-Edmonton | EDM-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 | 0 | 66 | 2027-12-01 | 135 | 0 | 2027-12-01 | 0 | 0 | 2027-12-01
Cluster 2 | P3016 St Albert Solar Battery | 60-Edmonton | EDM-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 | 0 | 100 | 2027-12-01 | 150 | 0 | 2027-12-01 | 0 | 0 | 2027-12-01
Cluster 2 | P3018 Southern Sky MPC Battery | 04-Medicine Hat | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 | 0 | 200 | 2028-11-30 | 200 | 0 | 2028-11-30
Cluster 2 | P3019 Harvest MPC Battery | 47-Brooks | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 | 0 | 200 | 2028-11-30 | 200 | 0 | 2028-11-30
Cluster 2 | P3020 Horsethief MPC Battery | 42-Hanna | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 | 0 | 100 | 2028-11-30 | 200 | 0 | 2028-11-30
Cluster 2 | P3021 Northwest Cardiff 191S DER Solar | 40-Wabamun | EDM-02 | Cluster | Solar | 1 | No | No | 2024-10-18 11:12 | 0 | 0 | 2026-10-01 | 12.5 | 0 | 2026-10-01
Cluster 2 | P3022 Pinnacle Solar Battery | 35-Red Deer | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 11:32 | 0 | 2 | 2029-10-01 | 300 | 0 | 2029-10-01
Cluster 2 | P3023 Pachamama Solar Battery | 31-Wetaskiwin | EDM-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 11:39 | 0 | 2 | 2029-10-01 | 466 | 0 | 2029-10-01
Cluster 2 | P3024 Jakob Solar Battery | 42-Hanna | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 11:46 | 0 | 2 | 2029-10-01 | 350 | 0 | 2029-10-01
Cluster 2 | P3025 Checkerboard Plains Solar battery | 04-Medicine Hat | SE-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 12:34 | 0 | 0.5 | 2028-08-01 | 200 | 153 | 2028-10-01
Cluster 2 | P3026 Pigeon Lake 964S DER Solar | 31-Wetaskiwin | EDM-02 | Cluster | Solar | 1 | No | No | 2024-10-18 | 0 | 0 | 2026-07-01 | 15.2 | 0 | 2026-07-01
Cluster 2 | P3027 East Crossfield 64S DER Battery | 42-Hanna | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 13:00 | 0 | 0 | 2027-06-01 | 17.8 | 0 | 2027-06-01
Cluster 2 | P3028 Vauxhall 158S DER Battery | 52-Vauxhall | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 | 0 | 0 | 2027-06-01 | 7.1 | 0 | 2027-06-01
Cluster 2 | P3029 Irrican Chin Battery | 54-Lethbridge | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 13:20 | 0 | 1 | 2026-03-31 | 6.5 | 0 | 2026-03-31
Cluster 2 | P3030 Blackfalds 198S DER Solar | 35-Red Deer | CNTL-02 | Cluster | Solar | 1 | No | No | 2024-10-18 13:24 | 25.909 | 0 | 2027-10-01 | 0 | 0 | 2027-10-01
Cluster 2 | P3031 Oyen Wind Ph 2 | 42-Hanna | CNTL-02 | Cluster | Wind | 1 | No | No | 2024-10-18 13:54 | 216 | 0 | 2027-12-01
Cluster 2 | P3032 Drayton Valley Solar Battery | 30-Drayton Valley | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 14:02 | 0 | 0.5 | 2028-12-01 | 150 | 0 | 2029-02-01 | 0 | 77 | 2029-02-01
Cluster 2 | P3033 Aira Solar Phase 2 | 04-Medicine Hat | SE-02 | Cluster | Solar | 1 | No | No | 2024-10-18 14:07 | 0 | 1 | 2026-01-20 | 16 | 0 | 2026-01-20
Cluster 2 | P3034 Valley Edge Battery | 35-Red Deer | CNTL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 | 250 | 250.5 | 2028-08-01 | 0 | 0 | 2028-08-01
Cluster 2 | P3036 Batter Junction Solar Battery | 42-Hanna | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 | 0 | 0.5 | 2028-07-01 | 200 | 0 | 2028-07-01 | 0 | 0 | 2028-07-01
Cluster 2 | P3037 Fort Saskatchewan Peaking Power Plant 1 DER Gas | 33-Fort Saskatchewan | NE-02 | Cluster | Gas | 1 | No | No | 2024-10-18 | 0 | 0 | 2027-06-30 | 10.34 | 0 | 2027-06-30
Cluster 2 | P3038 Fort Saskatchewan Peaking Power Plant 2 DER Gas | 33-Fort Saskatchewan | NE-02 | Cluster | Gas | 1 | No | No | 2024-10-18 14:37 | 0 | 0 | 2027-06-30 | 9.14 | 0 | 2027-06-30
Cluster 2 | P3039 Evolve MPC Battery | 26-Swan Hills | NW-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 14:47 | 0 | 25 | 2026-10-01 | 25 | 0 | 2026-10-01
Cluster 2 | P3040 AHI Red Deer MPC Cogen | 35-Red Deer | CNTL-02 | Cluster | Cogen + Solar + Storage | 1 | No | No | 2024-10-18 15:00 | 70 | 1 | 2027-01-01 | 80 | 0 | 2028-09-01 | 0 | 9 | 2029-01-01
Cluster 2 | P3041 Lathom MPC Solar | 47-Brooks | SE-02 | Cluster | Solar | 1 | No | No | 2024-10-18 09:43 | 0 | 0.5 | 2029-10-18 | 120 | 0 | 2029-10-18
Cluster 2 | P3042 Eagle Butte Wind | 04-Medicine Hat | SE-02 | Cluster | Wind | 1 | No | No | 2024-10-18 09:48 | 0 | 1 | 2028-09-15 | 200 | 0 | 2028-09-15
Cluster 2 | P3043 Buffalo Atlee Battery | 48-Empress | SE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 10:04 | 0 | 0.5 | 2029-08-01 | 150 | 150 | 2029-08-01
Cluster 2 | P3046 Marguerite Lake Compressed Air Phase 2 | 28-Cold Lake | CNTL-02 | Cluster | Compressed Air Energy Storage | 1 | No | No | 2024-10-18 12:00 | 0 | 0 | 2029-09-01 | 320 | 125 | 2029-09-01
Cluster 2 | P3047 Lowland Heights MPC Battery | 53-Fort Macleod | SW-CAL-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 13:29 | 0 | 0.5 | 2029-07-01 | 175 | 175 | 2029-07-01
Cluster 2 | P3048 Spruce Grove South DER Solar | 40-Wabamun | EDM-02 | Cluster | Solar | 1 | No | No | 2024-10-18 13:32 | 0 | 0 | 2026-10-01 | 11.6 | 0 | 2026-10-01
Cluster 2 | P3049 Carseland DER Solar | 45-Strathmore/Blackie | SW-CAL-02 | Cluster | Solar | 1 | No | No | 2024-10-18 13:59 | 0 | 0 | 2027-10-01 | 20.8 | 0 | 2027-10-01
Cluster 2 | P3050 Pembina Redwater Battery | 33-Fort Saskatchewan | NE-02 | Cluster | Battery Storage | 1 | No | No | 2024-10-18 14:09 | 23.1 | 0 | 2026-12-01
Cluster 2 | P3052 Warner 344S DER Solar | 55-Glenwood | SW-CAL-02 | Cluster | Solar | 1 | No | No | 2024-10-18 20:06 | 0 | 0 | 2026-01-01 | 14 | 0 | 2026-01-02
Cluster 2 | P3053 Bassano 435S DER Solar Battery | 47-Brooks | SE-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 08:08 | 0 | 0 | 2026-10-01 | 15 | 0 | 2026-10-01
Cluster 2 | P3055 Brooks 121 DER Solar Battery | 47-Brooks | SE-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 08:44 | 0 | 0 | 2026-10-01 | 22.3 | 0 | 2026-10-01
Cluster 2 | P3056 Onoway 352S DER Gas Battery | 40-Wabamun | EDM-02 | Cluster | Gas + Storage | 1 | No | No | 2024-10-18 08:59 | 20 | 0 | 2026-10-01 | 0 | 0 | 2027-02-01
Cluster 2 | P3057 Sedgewick 137S DER Solar Battery | 32-Wainwright | CNTL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 09:07 | 24.5 | 0 | 2026-10-18 | 0 | 0 | 2027-10-18
Cluster 2 | P3058 Sheerness Anderson MPC Solar Battery Wind | 43-Sheerness | SE-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 09:13 | 310 | 1 | 2028-10-18 | 130 | 1 | 2029-04-18 | 0 | 410 | 2029-04-18
Cluster 2 | P3061 Buffalo Trail South MPC Wind Battery A | 04-Medicine Hat | SE-02 | Cluster | Wind + Storage | 1 | No | No | 2024-10-18 13:08 | 0 | 2 | 2028-01-15 | 266 | 0 | 2028-01-15
Cluster 2 | P3062 Buffalo Trail South Wind Battery B | 04-Medicine Hat | SE-02 | Cluster | Wind + Storage | 1 | No | No | 2024-10-18 13:14 | 0 | 1 | 2028-01-15 | 166 | 0 | 2028-01-15
Cluster 2 | P3063 Duchess Solar | 47-Brooks | SE-02 | Cluster | Solar | 1 | No | No | 2024-10-18 13:21 | 0 | 0.11 | 2028-10-01 | 90 | 0 | 2028-10-01
Cluster 2 | P3064 Riverbend 618S DER Solar | 54-Lethbridge | SE-02 | Cluster | Solar | 1 | No | No | 2024-10-18 15:32 | 0 | 0 | 2026-05-01 | 10.9 | 0 | 2026-05-01
Cluster 2 | P3065 UK LS2 & LS6 Solar Battery | 23-Valleyview | NW-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 15:45 | 0 | 51 | 2028-07-01 | 219 | 0 | 2028-07-01 | 0 | 0 | 2028-07-01
Cluster 2 | P3067 Indus Solar Battery | 06-Calgary | SW-CAL-02 | Cluster | Solar + Storage | 1 | No | No | 2024-10-18 09:47 | 0 | 2 | 2029-10-01 | 230 | 0 | 2029-10-01
Cluster 2 | P3068 Alderson MPC Wind Solar | 04-Medicine Hat | SE-02 | Cluster | Wind | 1 | No | No | 2024-10-18 09:59 | 0 | 1 | 2028-09-15 | 450 | 0 | 2028-09-15
Cluster 2 | P3069 Prairie Lights Power Unit 2 MPC Gas | 20-Grande Prairie | NW-02 | Cluster | Gas | 1 | No | No | 2024-10-18 10:08 | 0 | 0 | 2029-06-01 | 466 | 0 | 2029-06-01
ISD Under Review | P2201 ENMAX SS-1 Substation Change | 06-Calgary |  | BTF | Equipment Change | 5 | Yes | Yes | 2019-01-30 10:00 | 0 | 0 | Under Review | 0 | 0 | Under Review | 0 | 0 | Under Review
ISD Under Review | P2553 Dolcy MPC Solar Battery | 37-Provost |  | Connection | Solar + Storage | 3 | Yes | No | 2022-03-04 10:00 | 300 | 102 | Under Review
ISD Under Review | P2582 Woodcroft Reliability | 60-Edmonton |  | Connection | Equipment Change | 3 | No | No | 2022-06-16 10:00 | 0 | 0 | Under Review
ISD Under Review | P2603 Flatbush 500S Contract Change | 27-Athabasca/Lac La Biche |  | Contract | DTS | 1 | No | No | 2022-09-08 10:39 | 0 | -1.6 | Under Review
ISD Under Review | P2628 Foster Creek Load | 28-Cold Lake |  | BTF | Industrial Load | 2 | No | No | 2022-11-07 15:41 | 0 | 41 | Under Review
ISD Under Review | P2637 Horizon 842S Contract Change | 25-Fort McMurray |  | Contract | STS | 2 | No | No | 2022-11-28 11:16 | 65 | 0 | Under Review
ISD Under Review | P2639 Kearl 9900S Load | 25-Fort McMurray |  | Connection | Industrial Load | 2 | No | No | 2022-11-28 14:31 | 0 | 50 | Under Review
ISD Under Review | P2656 Edmonton CCUS Gas | 60-Edmonton |  | Connection | Gas | 3 | Yes | No | 2023-01-04 11:02 | 0 | 3 | Under Review | 104 | 0 | Under Review
ISD Under Review | P2658 Rimbey 297S DER Gas | 35-Red Deer |  | BTF | Gas | 3 | Yes | Yes | 2023-01-04 15:25 | 27.9 | 0 | Under Review
On Hold | P2227 FortisAlberta Mearns Area Load | 60-Edmonton |  | Connection | Distribution Load | 2 | No | No | 2019-04-23 10:00 | 0 | 24.1 | On Hold
On Hold | P2228 FortisAlberta Sangudo Area Load | 40-Wabamun |  | Connection | Distribution Load | 2 | No | No | 2019-04-23 10:00 | 0 | 26 | On Hold
On Hold | P2229 FortisAlberta Whitecourt Area Load | 26-Swan Hills |  | Connection | Distribution Load | 2 | No | No | 2019-04-23 10:00 | 0 | 20 | On Hold
On Hold | P2538 EDTI Inland Cement Load and Reliability | 60-Edmonton |  | Connection | Distribution Load | 2 | No | No | 2022-02-01 10:00 | 0 | 7.5 | On Hold
Recently Cancelled | P2196 Grand Prairie MPC Gas | 20-Grande Prairie |  | Connection | Gas | 3 | Yes | No | 2019-01-11 10:00 | 310 | 5 | Cancelled
Recently Cancelled | P2424 ATCO Oyen 767S DER Solar | 42-Hanna |  | BTF | Solar | 5 | Yes | Yes | 2021-03-05 10:00 | 12.6 | 0 | Cancelled
Recently Cancelled | P2514 Sunrise Solar | 53-Fort Macleod |  | Connection | Solar | 3 | Yes | No | 2021-11-19 10:00 | 75 | 0.5 | Cancelled
Recently Cancelled | P2564 ATCO Bullpound 803S DER Solar | 43-Sheerness |  | BTF | Solar | 5 | Yes | Yes | 2022-04-07 10:00 | 14.3 | 0 | Cancelled
Recently Cancelled | P2568 Aura Peace Butte Solar Battery | 04-Medicine Hat |  | Connection | Solar + Storage | 3 | Yes | No | 2022-04-15 10:00 | 230 | 1 | Cancelled
Recently Cancelled | P2629 Taber Solar | 52-Vauxhall |  | BTF | Solar | 3 | Yes | Yes | 2022-11-09 11:11 | 45 | 0 | Cancelled
Recently Cancelled | P2702 Fort Macleod 15S DER Solar | 53-Fort Macleod | SW-CAL-01 | BTF | Solar | 2 | No | No | 2023-04-26 08:35 | 0 | 0 | Cancelled | 21.4 | 0 | Cancelled
Recently Cancelled | P2703 Pinnacle 1 & 2 Gas | 40-Wabamun | EDM-01 | Connection | Gas | 2 | No | No | 2023-04-27 13:52 | 0 | 1 | Cancelled | 44.6 | 0 | Cancelled
Recently Cancelled | P2710 Cypress North DER Solar | 48-Empress | SE-01 | BTF | Solar | 2 | No | No | 2023-05-23 14:34 | 0 | 0 | Cancelled | 14.8 | 0 | Cancelled
Recently Cancelled | P2733 South Bend Solar Battery | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-07-19 11:07 | 0 | 200 | Cancelled | 280 | 0 | Cancelled
Recently Cancelled | P2748 Halkirk MPC Solar | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-01 13:50 | 0 | 0.2 | Cancelled | 68 | 0 | Cancelled
Recently Cancelled | P2749 High River 65S DER Solar | 46-High River | SW-CAL-01 | BTF | Solar | 2 | No | No | 2023-08-01 13:53 | 0 | 0 | Cancelled | 17.1 | 0 | Cancelled
Recently Cancelled | P2767 CastorWest Solar | 42-Hanna | CNTL-01 | Connection | Solar | 2 | No | No | 2023-08-17 08:45 | 0 | 0.75 | Cancelled | 47 | 0 | Cancelled
Recently Cancelled | P2772 Clover Bar #2 Modification | 60-Edmonton | EDM-01 | BTF | Gas | 2 | No | No | 2023-08-17 19:27 | 0 | 0 | Cancelled | 9 | 0 | Cancelled
Recently Cancelled | P2773 Clover Bar #3 Modification | 60-Edmonton | EDM-01 | BTF | Gas | 2 | No | No | 2023-08-17 19:34 | 0 | 0 | Cancelled | 9 | 0 | Cancelled
Recently Cancelled | P2786 Hays 421S DER Solar | 52-Vauxhall | SE-01 | BTF | Solar | 2 | No | No | 2023-08-22 14:52 | 0 | 0 | Cancelled | 39.6 | 0 | Cancelled
Recently Cancelled | P2790 Rosyth Battery | 32-Wainwright | CNTL-01 | Connection | Battery Storage | 2 | No | No | 2023-08-23 13:24 | 0 | 200 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P2791 Saddle Hills 865S DER Battery | 20-Grande Prairie | NW-01 | BTF | Battery Storage | 2 | No | No | 2023-08-23 14:01 | 0 | 3 | Cancelled | 27.2 | 0 | Cancelled
Recently Cancelled | P2793 Proteus Solar 2 Battery | 52-Vauxhall | SE-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-25 10:22 | 0 | 1 | Cancelled | 185 | 0 | Cancelled
Recently Cancelled | P2794 Travers MPC Solar | 49-Stavely | SW-CAL-01 | Connection | Solar | 2 | No | No | 2023-08-25 10:50 | 0 | 0.5 | Cancelled | 123 | 0 | Cancelled
Recently Cancelled | P2798 Devon 14S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-25 11:17 | 0 | 0 | Cancelled | 20.2 | 0 | Cancelled
Recently Cancelled | P2800 Blackmud 155S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-25 11:28 | 0 | 0 | Cancelled | 20.3 | 0 | Cancelled
Recently Cancelled | P2801 Leduc 325S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-25 11:40 | 0 | 0 | Cancelled | 61.9 | 0 | Cancelled
Recently Cancelled | P2802 Milo Solar | 45-Strathmore/Blackie | SW-CAL-01 | Connection | Solar | 2 | No | No | 2023-08-25 11:46 | 0 | 2 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P2803 Vauxhall Solar | 52-Vauxhall | SE-01 | Connection | Solar | 2 | No | No | 2023-08-25 14:04 | 0 | 1 | Cancelled | 120 | 0 | Cancelled
Recently Cancelled | P2807 Red Deer 63S DER Solar | 35-Red Deer | CNTL-01 | BTF | Solar | 2 | No | No | 2023-08-25 14:53 | 0 | 0 | Cancelled | 16.6 | 0 | Cancelled
Recently Cancelled | P2809 Torlea Flats Wind | 42-Hanna | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-25 15:46 | 0 | 3.5 | Cancelled | 250 | 0 | Cancelled
Recently Cancelled | P2810 Keystone 384S DER Gas | 30-Drayton Valley | CNTL-01 | BTF | Gas | 2 | No | No | 2023-08-28 16:00 | 0 | 0 | Cancelled | 20.8 | 0 | Cancelled
Recently Cancelled | P2828 Vauxhall Battery | 52-Vauxhall | SE-01 | Connection | Battery Storage | 2 | No | No | 2023-08-29 17:17 | 0 | 60 | Cancelled | 60 | 0 | Cancelled
Recently Cancelled | P2832 Ra MPC Solar Battery | 56-Vegreville | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 13:58 | 0 | 80 | Cancelled | 80 | 0 | Cancelled | 170 | 1 | Cancelled
Recently Cancelled | P2833 Apex MPC Solar Battery | 40-Wabamun | EDM-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 14:37 | 0 | 0 | Cancelled | 80 | 1 | Cancelled | 270 | 1 | Cancelled
Recently Cancelled | P2834 Atacama MPC Solar Battery | 40-Wabamun | EDM-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 14:41 | 0 | 0 | Cancelled | 80 | 1 | Cancelled | 270 | 1 | Cancelled
Recently Cancelled | P2838 Erin MPC Solar Battery | 13-Lloydminster | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 15:38 | 0 | 1 | Cancelled | 86 | 0 | Cancelled
Recently Cancelled | P2840 Hansman Lake Wind | 37-Provost | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-30 15:47 | 0 | 6 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P2842 ENMAX SS-24 DER Battery | 06-Calgary | SW-CAL-01 | BTF | Battery Storage | 2 | No | No | 2023-08-31 16:08 | 0 | 0 | Cancelled | 15.4 | 0 | Cancelled
Recently Cancelled | P2848 Empress Battery | 48-Empress | SE-01 | BTF | Battery Storage | 2 | No | No | 2023-08-31 18:34 | 0 | 0 | Cancelled | 23 | 0 | Cancelled
Recently Cancelled | P2859 Suffield 895S DER Solar | 04-Medicine Hat | SE-01 | BTF | Solar | 2 | No | No | 2023-08-31 11:01 | 0 | 0 | Cancelled | 13.5 | 0 | Cancelled
Recently Cancelled | P2883 Stack Point Trotter Load | 06-Calgary |  | Connection | Data Load | 2 | No | No | 2023-10-30 14:01 | 0 | 55 | Cancelled
Recently Cancelled | P2937 CDH Solar | 33-Fort Saskatchewan |  | BTF | Solar | 2 | No | No | 2024-05-27 08:55 | 4.9 | 0 | Cancelled
Recently Cancelled | P2973 Anderson Hybrid Solar Battery | 43-Sheerness | CNTL-02 | Cluster | DC-Coupled Solar-BESS + Storage | 1 | No | No | 2024-09-25 | 0 | 100 | 2028-05-01 | 250 | 0 | 2028-05-01 | 0 | 0 | 2028-05-01
Recently Energized | P0693 Wild Rose 2 Wind Farm | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2007-05-01 10:00 | 0 | 1 | 2023-10-25 | 192 | 0 | 2024-12-19
Recently Energized | P2082 Suncor Base Plant Cogen | 25-Fort McMurray |  | Connection | Cogen | 5 | Yes | Yes | 2018-04-24 10:00 | 0 | -130 | 2023-09-02 | 0 | 0 | 2023-10-20 | 0 | 0 | 2024-04-01
Recently Energized | P2137 Enerfin Winnifred MPC Wind | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2018-08-10 10:00 | 90 | 1 | 2024-11-27
Recently Energized | P2248 ATCO Michichi Creek 802S DER Solar | 42-Hanna |  | BTF | Solar + Storage | 5 | Yes | Yes | 2019-06-26 10:00 | 13.5 | 0 | 2023-05-01 | 0 | 0 | 2024-11-10
Recently Energized | P2296 ATCO Willow Lake 2009S Contract Change | 25-Fort McMurray |  | Contract | DTS | 6 | Yes | Yes | 2019-11-22 10:00 | 0 | 25.6 | 2025-01-01
Recently Energized | P2390 Fortis Gulf Robb 414S Contract Change | 29-Hinton/Edson |  | Contract | DTS | 6 | Yes | Yes | 2020-10-14 10:00 | 0 | -0.93 | 2025-11-01
Recently Energized | P2421 Big Sky Solar | 48-Empress |  | Connection | Solar | 5 | Yes | Yes | 2021-02-10 10:00 | 0 | 0 | 2024-03-15 | 140 | 1 | 2024-11-01
Recently Energized | P2446 Fortis Tilley 498S DER Solar | 47-Brooks |  | BTF | Solar + Storage | 5 | Yes | Yes | 2021-05-07 10:00 | 19.6 | 0 | 2024-11-27
Recently Energized | P2468 ATCO Briker 880S DER Gas | 13-Lloydminster |  | BTF | Gas | 6 | Yes | Yes | 2021-08-09 10:00 | 4.7 | 0 | 2024-12-13
Recently Energized | P2548 ATCO Irish Creek 706S DER Gas | 13-Lloydminster |  | BTF | Gas | 6 | Yes | Yes | 2022-02-22 10:00 | 0 | 0 | 2024-11-14
Recently Energized | P2714 NRG3 Modification | 26-Swan Hills |  | BTF | Equipment Change | 6 | Yes | Yes | 2023-06-05 08:12 | 0 | 0 | 2024-12-03
Recently Energized | P2920 Muskeg River 847S Contract Change | 25-Fort McMurray |  | Contract | DTS | 6 | Yes | Yes | 2024-03-18 15:16 | 0 | 36 | 2025-01-24
Recently Energized | P2957 Rainbow Cogen 850S Contract Change | 17-Rainbow Lake |  | Contract | DTS | 6 | Yes | Yes | 2024-09-18 14:15 | 0 | 22.5 | 2025-01-01
Recently Energized | P2961 Drywood 415S Contract Change | 55-Glenwood |  | Contract | DTS | 6 | Yes | Yes | 2024-10-02 08:49 | 0 | 0 | 2024-12-31