## Connection Project List
Project Information | [8 empty] | Energization 1 |  |  | Energization 2 |  |  | Energization 3
Project Name | Planning Area | Cluster | Project Type | MW Type | Stage | CA Modelled | Inclusion | Applied On | STS MW | DTS MW | ISD | STS MW | DTS MW | ISD | STS MW | DTS MW | ISD
Cluster 1
P2698 East Camrose 285S DER Solar Battery | 31-Wetaskiwin | EDM-01 | BTF | Solar + Storage | 2 | No | No | 2023-04-03 14:28 | 0 | 0 | 2025-08-31 | 18.9 | 0 | 2025-08-31
P2701 Oyen Wind Phase II | 42-Hanna | CNTL-01 | BTF | Wind | 2 | No | No | 2023-04-26 13:41 | 0 | 0 | 2027-09-01 | 216 | 0 | 2027-09-01
P2702 Fort Macleod 15S DER Solar | 53-Fort Macleod | SW-CAL-01 | BTF | Solar | 2 | No | No | 2023-04-26 08:35 | 0 | 0 | 2027-02-18 | 21.4 | 0 | 2027-02-18
P2703 Pinnacle 1 & 2 Gas | 40-Wabamun | EDM-01 | Connection | Gas | 2 | No | No | 2023-04-27 13:52 | 0 | 1 | 2025-03-01 | 44.6 | 0 | 2025-06-01
P2704 Western MPC Solar | 06-Calgary | CNTL-01 | Connection | Solar | 2 | No | No | 2023-05-04 | 0 | 1 | 2026-09-01 | 150 | 0 | 2026-09-01
P2707 Sounding Creek Solar Battery | 42-Hanna | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-05-12 13:26 | 0 | 50 | 2026-09-01 | 250 | 0 | 2026-09-01
P2708 Diamond MPC Solar Battery | 44-Seebe | SW-CAL-01 | Connection | Solar + Storage | 2 | No | No | 2023-05-15 10:06 | 0 | 0.5 | 2027-06-01 | 60 | 0 | 2027-06-01
P2710 Cypress North DER Solar | 48-Empress | SE-01 | BTF | Solar | 2 | No | No | 2023-05-23 14:34 | 0 | 0 | 2026-06-01 | 14.8 | 0 | 2026-06-01
P2711 Tent Mountain MPC Pumped Hydro | 53-Fort Macleod | SW-CAL-01 | Connection | Pumped Hydro Storage | 2 | No | No | 2023-05-25 14:31 | 0 | 400 | 2028-05-01 | 400 | 0 | 2028-05-01
P2712 UK LS5 MPC Solar | 23-Valleyview | NW-01 | Connection | Solar | 2 | No | No | 2023-05-31 14:02 | 0 | 0.1 | 2026-09-01 | 25.3 | 0 | 2026-09-01
P2713 UK LS1 MPC Solar | 23-Valleyview | NW-01 | Connection | Solar | 2 | No | No | 2023-06-01 12:01 | 0 | 1 | 2027-02-01 | 448 | 0 | 2027-02-01
P2715 Ellis Energy Centre MPC Gas | 35-Red Deer | CNTL-01 | Connection | Gas | 2 | No | No | 2023-06-05 08:21 | 0 | 3 | 2026-07-01 | 178 | 0 | 2026-07-01
P2719 Westlock 438S DER Solar Battery | 27-Athabasca/Lac La Biche | EDM-01 | BTF | Solar + Storage | 2 | No | No | 2023-06-09 14:30 | 0 | 0 | 2025-08-31 | 22.45 | 0 | 2025-08-31
P2721 Alderson Solar & Wind | 04-Medicine Hat | SE-01 | Connection | Wind | 2 | No | No | 2023-06-16 10:39 | 0 | 1.5 | 2025-06-30 | 450 | 0 | 2025-07-30
P2722 Sturgeon 734S DER Solar | 23-Valleyview | NW-01 | BTF | Solar | 2 | No | No | 2023-06-16 11:38 | 20 | 0 | 2026-05-01 | 0 | 0 | 2026-01-01
P2724 Paintearth MPC Solar Battery | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-06-26 14:22 | 0 | 300 | 2027-03-01 | 330 | 0 | 2028-03-01
P2725 Sheerness MPC Solar Battery | 43-Sheerness | SE-01 | Connection | Solar + Storage | 2 | No | No | 2023-06-26 14:14 | 0 | 410 | 2027-03-01 | 310 | 0 | 2028-03-01
P2728 Kersey Solar Battery | 57-Airdrie | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-07-14 13:43 | 0 | 2 | 2027-06-01 | 225 | 0 | 2027-08-02
P2729 Coaldale 254S DER Solar & Wind | 54-Lethbridge | SE-01 | BTF | Wind | 2 | No | No | 2023-07-14 12:44 | 0 | 0 | 2026-03-01 | 12.3 | 0 | 2026-03-01
P2730 Magrath MPC Wind | 55-Glenwood | SE-01 | Connection | Wind | 2 | No | No | 2023-07-14 10:40 | 0 | 2.6 | 2027-09-01 | 190 | 0 | 2027-09-01
P2731 Provost MPC Wind | 37-Provost | CNTL-01 | Connection | Wind | 2 | No | No | 2023-07-14 10:46 | 0 | 2.3 | 2027-08-01 | 96 | 0 | 2027-08-01
P2733 South Bend Solar Battery | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-07-19 11:07 | 0 | 200 | 2025-10-01 | 280 | 0 | 2025-10-01
P2735 Lethbridge Three Solar | 54-Lethbridge | SE-01 | Connection | Solar | 2 | No | No | 2023-07-19 14:18 | 0 | 0.35 | 2026-05-26 | 140 | 0 | 2026-07-01
P2736 Prairie Solar | 42-Hanna | CNTL-01 | Connection | Solar | 2 | No | No | 2023-07-20 14:39 | 0 | 0.5 | 2027-07-01 | 300 | 0 | 2027-09-01
P2738 UK LS4 MPC Solar | 23-Valleyview | NW-01 | Connection | Solar | 2 | No | No | 2023-07-20 15:11 | 0 | 1 | 2027-04-01 | 89 | 0 | 2027-04-01
P2739 UK LS2 MPC Solar | 23-Valleyview | NW-01 | Connection | Solar | 2 | No | No | 2023-07-20 15:17 | 0 | 0 | 2026-01-01 | 169 | 1 | 2027-11-01
P2743 Gilby Energy Centre MPC Gas | 35-Red Deer | CNTL-01 | Connection | Gas | 2 | No | No | 2023-07-26 11:03 | 0 | 3 | 2026-07-01 | 178 | 0 | 2026-07-01
P2745 Eagle Butte Wind | 04-Medicine Hat | SE-01 | Connection | Wind | 2 | No | No | 2023-07-28 15:25 | 0 | 1 | 2026-03-16 | 200 | 0 | 2026-03-16
P2747 Vegreville 709S DER Battery | 56-Vegreville | CNTL-01 | BTF | Battery Storage | 2 | No | No | 2023-07-31 15:44 | 0 | 1 | 2025-09-01 | 2.98 | 0 | 2025-10-01
P2748 Halkirk MPC Solar | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-01 13:50 | 0 | 0.2 | 2026-12-15 | 68 | 0 | 2026-12-15
P2749 High River 65S DER Solar | 46-High River | SW-CAL-01 | BTF | Solar | 2 | No | No | 2023-08-01 13:53 | 0 | 0 | 2026-03-01 | 17.1 | 0 | 2026-04-01
P2750 Riverbend 618S DER Solar | 54-Lethbridge | SE-01 | BTF | Solar | 2 | No | No | 2023-08-03 09:53 | 0 | 0 | 2025-04-01 | 15.4 | 0 | 2025-04-01
P2751 Hussar 431S Battery | 45-Strathmore/Blackie | SW-CAL-01 | BTF | Battery Storage | 2 | No | No | 2023-08-04 10:21 | 0 | 0 | 2026-04-01 | 20 | 0 | 2026-04-01
P2752 Wild Rose 2 Wind Battery | 04-Medicine Hat | SE-01 | BTF | Wind + Storage | 2 | No | No | 2023-08-11 09:30 | 0 | 50 | 2027-07-01 | 50 | 0 | 2027-07-01
P2753 Jarrow 252S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-10 09:37 | 0 | 0 | 2025-11-30 | 5.5 | 0 | 2025-11-30 | 0 | 0 | 2027-11-30
P2754 Tucuman 478S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-10 10:00 | 0 | 0 | 2025-01-13 | 14.8 | 0 | 2025-10-30 | 0 | 0 | 2027-10-30
P2755 Brooks 121S DER Solar Battery | 47-Brooks | SE-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-10 10:06 | 0 | 0 | 2025-12-15 | 50 | 0 | 2027-12-15
P2756 Sedgewick 137S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-10 11:57 | 0 | 0 | 2025-01-13 | 19.8 | 0 | 2025-12-15 | 0 | 0 | 2027-12-15
P2757 Sturgeon 734S DER Battery | 23-Valleyview | NW-01 | BTF | Battery Storage | 2 | No | No | 2023-08-11 12:03 | 0 | 0 | 2026-07-01 | 19.9 | 0 | 2026-07-01
P2758 UK TC II MPC Solar | 42-Hanna | CNTL-01 | Connection | Solar | 2 | No | No | 2023-08-10 12:11 | 0 | 1 | 2027-01-01 | 162 | 0 | 2027-01-01
P2760 Carseland 525S DER Solar | 45-Strathmore/Blackie | SW-CAL-01 | BTF | Solar | 2 | No | No | 2023-08-11 12:51 | 0 | 0 | 2026-09-11 | 19.9 | 0 | 2025-09-11
P2763 Hand Hills Battery | 42-Hanna | CNTL-01 | BTF | Battery Storage | 2 | No | No | 2023-08-14 13:52 | 0 | 10 | 2025-03-03 | 10 | 0 | 2025-03-03
P2764 Hand Hills Wind & Solar | 42-Hanna | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-14 08:06 | 0 | 2 | 2027-02-01 | 180 | 0 | 2027-02-01 | 120 | 0 | 2028-05-01
P2765 Kitscoty Wind | 13-Lloydminster | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-15 08:31 | 0 | 1 | 2028-07-01 | 174 | 0 | 2028-08-01
P2766 Lathom MPC Solar | 47-Brooks | SE-01 | Connection | Solar | 2 | No | No | 2023-08-16 08:38 | 0 | 0.5 | 2027-01-15 | 120 | 0 | 2027-02-01
P2767 CastorWest Solar | 42-Hanna | CNTL-01 | Connection | Solar | 2 | No | No | 2023-08-17 08:45 | 0 | 0.75 | 2025-12-01 | 47 | 0 | 2025-12-01
P2769 Craig Lake Wind | 42-Hanna | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-16 09:16 | 0 | 1 | 2026-07-01 | 246 | 0 | 2026-08-01
P2771 Joffre 3 MPC Solar Battery | 35-Red Deer | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-17 19:21 | 0 | 250 | 2027-08-01 | 300 | 0 | 2027-08-01 | 0 | 0 | 2028-08-01
P2772 Clover Bar #2 Modification | 60-Edmonton | EDM-01 | BTF | Gas | 2 | No | No | 2023-08-17 19:27 | 0 | 0 | 2024-10-01 | 9 | 0 | 2024-10-01
P2773 Clover Bar #3 Modification | 60-Edmonton | EDM-01 | BTF | Gas | 2 | No | No | 2023-08-17 19:34 | 0 | 0 | 2024-10-01 | 9 | 0 | 2024-10-01
P2774 CastorNorth Solar | 42-Hanna | CNTL-01 | Connection | Solar | 2 | No | No | 2023-08-17 19:47 | 0 | 0.75 | 2025-12-01 | 250 | 0 | 2025-12-01
P2776 Legal Solar | 27-Athabasca/Lac La Biche | EDM-01 | Connection | Solar | 2 | No | No | 2023-08-17 20:02 | 0 | 0.5 | 2025-12-01 | 125 | 0 | 2025-12-01
P2777 St. Albert Solar | 60-Edmonton | EDM-01 | Connection | Solar | 2 | No | No | 2023-08-17 07:46 | 0 | 0.8 | 2025-12-01 | 200 | 0 | 2025-12-01
P2778 Rich Valley Solar | 40-Wabamun | EDM-01 | Connection | Solar | 2 | No | No | 2023-08-17 08:04 | 0 | 0.8 | 2025-12-01 | 200 | 0 | 2025-12-01
P2781 Lamoureux Solar | 33-Fort Saskatchewan | NE-01 | Connection | Solar | 2 | No | No | 2023-08-18 08:29 | 0 | 0.8 | 2025-12-01 | 200 | 0 | 2025-12-01
P2786 Hays 421S DER Solar | 52-Vauxhall | SE-01 | BTF | Solar | 2 | No | No | 2023-08-22 14:52 | 0 | 0 | 2026-04-30 | 39.6 | 0 | 2026-04-30
P2789 Red Willow Solar Battery | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-22 16:07 | 0 | 100 | 2027-02-01 | 225 | 0 | 2027-02-01
P2790 Rosyth Battery | 32-Wainwright | CNTL-01 | Connection | Battery Storage | 2 | No | No | 2023-08-23 13:24 | 0 | 200 | 2025-09-01 | 200 | 0 | 2025-11-01
P2791 Saddle Hills 865S DER Battery | 20-Grande Prairie | NW-01 | BTF | Battery Storage | 2 | No | No | 2023-08-23 14:01 | 0 | 3 | 2025-02-01 | 27.2 | 0 | 2026-07-01
P2792 Cascade Gas | 29-Hinton/Edson | CNTL-01 | BTF | Gas | 2 | No | No | 2023-08-24 14:04 | 0 | 0 | 2025-10-01 | 32 | 0 | 2025-10-01
P2793 Proteus Solar 2 Battery | 52-Vauxhall | SE-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-25 10:22 | 0 | 1 | 2027-09-01 | 185 | 0 | 2027-09-01
P2794 Travers MPC Solar | 49-Stavely | SW-CAL-01 | Connection | Solar | 2 | No | No | 2023-08-25 10:50 | 0 | 0.5 | 2028-08-31 | 123 | 0 | 2028-08-31
P2796 Greenlight U2 MPC Gas | 33-Fort Saskatchewan | NE-01 | Connection | Gas | 2 | No | No | 2023-08-25 11:02 | 0 | 20 | 2028-06-01 | 466 | 0 | 2028-06-01
P2797 Greenlight U3 MPC Gas | 33-Fort Saskatchewan | NE-01 | Connection | Gas | 2 | No | No | 2023-08-25 11:07 | 0 | 20 | 2028-06-01 | 466 | 0 | 2028-06-01
P2798 Devon 14S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-25 11:17 | 0 | 0 | 2025-10-01 | 20.2 | 0 | 2025-11-01
P2799 Silver Creek Solar | 38-Caroline | SW-CAL-01 | Connection | Solar | 2 | No | No | 2023-08-25 11:22 | 0 | 0.75 | 2025-07-01 | 96 | 0 | 2025-08-31
P2800 Blackmud 155S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-25 11:28 | 0 | 0 | 2025-10-01 | 20.3 | 0 | 2025-11-01
P2801 Leduc 325S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-25 11:40 | 0 | 0 | 2025-10-01 | 61.9 | 0 | 2025-11-01
P2802 Milo Solar | 45-Strathmore/Blackie | SW-CAL-01 | Connection | Solar | 2 | No | No | 2023-08-25 11:46 | 0 | 2 | 2028-03-01 | 200 | 0 | 2028-04-15
P2803 Vauxhall Solar | 52-Vauxhall | SE-01 | Connection | Solar | 2 | No | No | 2023-08-25 14:04 | 0 | 1 | 2028-03-01 | 120 | 0 | 2028-04-15
P2804 Nevis Solar | 42-Hanna | CNTL-01 | Connection | Solar | 2 | No | No | 2023-08-25 14:10 | 0 | 2 | 2028-03-01 | 200 | 0 | 2028-04-15
P2805 High River 65S DER Gas | 46-High River | SW-CAL-01 | BTF | Gas | 2 | No | No | 2023-08-25 14:40 | 0 | 0 | 2024-12-13 | 11 | 0 | 2024-12-13
P2806 Piikani Wind | 53-Fort Macleod | SW-CAL-01 | Connection | Wind | 2 | No | No | 2023-08-25 09:59 | 0 | 2 | 2026-07-02 | 153 | 0 | 2026-07-08
P2807 Red Deer 63S DER Solar | 35-Red Deer | CNTL-01 | BTF | Solar | 2 | No | No | 2023-08-25 14:53 | 0 | 0 | 2025-09-01 | 16.6 | 0 | 2025-09-01
P2808 Drywood Gas | 55-Glenwood | SW-CAL-01 | Connection | Gas | 2 | No | No | 2023-08-25 15:40 | 0 | 1 | 2025-09-30 | 33.9 | 0 | 2025-11-30
P2809 Torlea Flats Wind | 42-Hanna | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-25 15:46 | 0 | 3.5 | 2027-10-01 | 250 | 0 | 2027-12-01
P2810 Keystone 384S DER Gas | 30-Drayton Valley | CNTL-01 | BTF | Gas | 2 | No | No | 2023-08-28 16:00 | 0 | 0 | 2026-03-31 | 20.8 | 0 | 2026-03-31
P2811 Saamis Solar | 04-Medicine Hat | SE-01 | Connection | Solar | 2 | No | No | 2023-08-28 16:10 | 0 | 1 | 2026-08-31 | 325 | 1 | 2026-08-31
P2813 Lacuna MPC Battery | 47-Brooks | SE-01 | Connection | Battery Storage | 2 | No | No | 2023-08-28 15:01 | 0 | 0 | 2027-01-15 | 465 | 465 | 2027-01-15
P2815 Kirkcaldy MPC Solar | 49-Stavely | SW-CAL-01 | Connection | Solar | 2 | No | No | 2023-08-28 08:40 | 0 | 2 | 2027-02-01 | 350 | 0 | 2027-02-01
P2816 Sol Aurora Solar Battery | 33-Fort Saskatchewan | NE-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-29 14:16 | 0 | 50 | 2026-11-01 | 200 | 0 | 2026-11-01
P2821 Plains Empress Cogen | 48-Empress | SE-01 | BTF | Cogen | 2 | No | No | 2023-08-29 15:00 | 0 | 88 | 2027-01-15 | 47 | 0 | 2027-01-15
P2823 Three Hills 770S DER Solar | 42-Hanna | CNTL-01 | BTF | Solar | 2 | No | No | 2023-08-29 15:09 | 0 | 0 | 2025-09-01 | 18 | 0 | 2025-10-01
P2825 Acheson 305S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-29 15:20 | 0 | 0 | 2025-09-01 | 20.1 | 0 | 2025-09-01
P2826 Paul Band Solar | 40-Wabamun | EDM-01 | Connection | Solar | 2 | No | No | 2023-08-29 15:57 | 0 | 0.5 | 2026-06-01 | 37 | 0 | 2026-06-01
P2827 Vilna 777S DER Solar | 56-Vegreville | CNTL-01 | BTF | Solar | 2 | No | No | 2023-08-29 17:11 | 0 | 23 | 2026-11-15 | 27.3 | 0 | 2026-11-15
P2828 Vauxhall Battery | 52-Vauxhall | SE-01 | Connection | Battery Storage | 2 | No | No | 2023-08-29 17:17 | 0 | 60 | 2028-03-01 | 60 | 0 | 2028-04-15
P2829 Coronation 773S DER Solar | 42-Hanna | CNTL-01 | BTF | Solar | 2 | No | No | 2023-08-29 14:29 | 0 | 3.7 | 2026-11-15 | 16 | 0 | 2026-11-15
P2831 Split Battery | 06-Calgary | SW-CAL-01 | Connection | Battery Storage | 2 | No | No | 2023-08-30 13:47 | 0 | 116.25 | 2028-04-01 | 465 | 0 | 2028-04-01
P2832 Ra MPC Solar Battery | 56-Vegreville | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 13:58 | 0 | 80 | 2025-12-01 | 80 | 0 | 2028-06-01 | 170 | 1 | 2028-06-01
P2833 Apex MPC Solar Battery | 40-Wabamun | EDM-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 14:37 | 0 | 0 | 2027-06-01 | 80 | 80 | 2027-06-01 | 270 | 1 | 2027-06-01
P2834 Atacama MPC Solar Battery | 40-Wabamun | EDM-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 14:41 | 0 | 0 | 2027-01-15 | 80 | 80 | 2027-01-15 | 270 | 1 | 2027-01-15
P2835 Pinnacle MPC Solar Battery | 35-Red Deer | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 14:54 | 0 | 80 | 2025-12-01 | 80 | 0 | 2027-06-01 | 220 | 1 | 2027-06-01
P2836 Pachamama MPC Solar Battery | 35-Red Deer | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 15:23 | 0 | 1 | 2025-12-31 | 46 | 0 | 2028-06-01 | 420 | 46 | 2028-06-01
P2837 Jakob MPC Solar Battery | 35-Red Deer | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 15:35 | 0 | 80 | 2025-12-31 | 80 | 1 | 2027-06-01 | 270 | 0 | 2027-06-01
P2838 Erin MPC Solar Battery | 13-Lloydminster | CNTL-01 | Connection | Solar + Storage | 2 | No | No | 2023-08-30 15:38 | 0 | 1 | 2028-06-01 | 86 | 0 | 2028-06-01
P2839 Edgerton Wind | 37-Provost | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-30 15:43 | 0 | 2 | 2028-01-15 | 110 | 0 | 2028-04-15
P2840 Hansman Lake Wind | 37-Provost | CNTL-01 | Connection | Wind | 2 | No | No | 2023-08-30 15:47 | 0 | 6 | 2028-01-15 | 200 | 0 | 2028-04-15
P2841 Northwest Cardiff 191S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-31 15:52 | 0 | 0 | 2025-09-01 | 13.8 | 0 | 2025-09-01
P2842 ENMAX SS-24 DER Battery | 06-Calgary | SW-CAL-01 | BTF | Battery Storage | 2 | No | No | 2023-08-31 16:08 | 0 | 0 | 2025-02-01 | 15.4 | 0 | 2025-02-01
P2843 Prairie Lights Power Gas | 20-Grande Prairie | NW-01 | Connection | Gas | 2 | No | No | 2023-08-31 16:16 | 0 | 0 | 2027-01-01 | 440 | 0 | 2027-02-01
P2844 Stettler 769S DER Solar Battery | 42-Hanna | CNTL-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-31 16:21 | 0 | 0 | 2025-06-01 | 20 | 0 | 2025-06-01 | 0 | 0 | 2025-10-01
P2845 Marguerite Lake CAE Storage | 28-Cold Lake | CNTL-01 | Connection | Compressed Air Energy Storage | 2 | No | No | 2023-08-31 16:27 | 0 | 125 | 2027-09-01 | 320 | 0 | 2027-09-01
P2847 Oldman River Battery | 53-Fort Macleod | SW-CAL-01 | BTF | Battery Storage | 2 | No | No | 2023-08-31 18:28 | 0 | 0 | 2026-07-01 | 23.1 | 0 | 2026-07-01
P2848 Empress Battery | 48-Empress | SE-01 | BTF | Battery Storage | 2 | No | No | 2023-08-31 18:34 | 0 | 0 | 2025-02-15 | 23 | 0 | 2026-07-01
P2849 Nose Hill MPC Wind Battery | 42-Hanna | CNTL-01 | Connection | Wind + Storage | 2 | No | No | 2023-08-31 18:42 | 0 | 1.5 | 2027-01-15 | 120 | 0 | 2027-01-15
P2850 Harvest Sky MPC Solar | 42-Hanna | CNTL-01 | Connection | Solar | 2 | No | No | 2023-08-31 18:46 | 0 | 0 | 2026-06-30 | 25 | 0 | 2026-06-30
P2852 Wainwright 51S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-31 10:13 | 0 | 0 | 2026-01-09 | 11.2 | 0 | 2026-01-09 | 0 | 0 | 2028-01-09
P2853 Provost 545S DER Solar Battery | 37-Provost | CNTL-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-31 10:20 | 0 | 0 | 2026-01-09 | 8 | 0 | 2026-01-09 | 0 | 0 | 2028-01-09
P2854 Bassano 435S DER Solar Battery | 47-Brooks | SE-01 | BTF | Solar + Storage | 2 | No | No | 2023-08-31 10:26 | 0 | 0 | 2026-01-09 | 15 | 0 | 2028-01-09
P2855 Northwest Cardiff 191S DER Solar | 60-Edmonton | EDM-01 | BTF | Solar | 2 | No | No | 2023-08-31 10:40 | 0 | 0 | 2025-09-01 | 21.4 | 0 | 2025-09-01
P2859 Suffield 895S DER Solar | 04-Medicine Hat | SE-01 | BTF | Solar | 2 | No | No | 2023-08-31 11:01 | 0 | 0 | 2026-06-01 | 13.5 | 0 | 2026-06-01
Active
P0693 Wild Rose 2 Wind Farm | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2007-05-01 10:00 | 0 | 1 | 2023-10-25 | 192 | 0 | 2024-09-01
P1756 TPG Canyon Creek PHES Storage Project | 29-Hinton/Edson |  | Connection | Pumped Hydro Storage | 3 | Yes | No | 2016-03-02 10:00 | 0 | 64 | 2026-12-01 | 75 | 0 | 2027-05-01
P1824 Lone Pine MPC Wind | 42-Hanna |  | Connection | Wind | 3 | Yes | No | 2016-07-28 10:00 | 466 | 1 | 2026-07-01
P1828 hep Energy Alderson MPC Solar | 04-Medicine Hat |  | Connection | Solar | 4 | Yes | No | 2016-07-29 10:00 | 0 | 0 | 2025-04-10 | 0 | 0.5 | 2025-11-15 | 100 | 0 | 2026-03-05
P1885 Northern Lights WAGF | 26-Swan Hills |  | Connection | Wind | 3 | Yes | No | 2016-11-01 10:00 | 400 | 3 | 2025-09-30
P1926 Solar Krafte Vauxhall | 52-Vauxhall |  | Connection | Solar | 5 | Yes | Yes | 2017-03-23 10:00 | 60 | 0.375 | 2025-12-15
P1927 Solar Krafte Brooks | 47-Brooks |  | Connection | Solar | 5 | Yes | Yes | 2017-03-23 10:00 | 360 | 0.99 | 2024-12-01
P1984 FortisAlberta Gleichen DG Solar | 45-Strathmore/Blackie |  | BTF | Solar | 5 | Yes | Yes | 2017-07-17 10:00 | 11.9 | 0 | 2024-12-15
P2031 ATCO M.D. of Greenview Load | 22-Grande Cache |  | Connection | Load | 3 | No | No | 2018-01-02 10:00 | 0 | 33.2 | 2024-12-01
P2034 Cold Lake Area Energy Centre | 28-Cold Lake |  | Connection | Cogen | 3 | Yes | No | 2018-01-02 10:00 | 72 | 3 | 2025-04-01
P2091 Arenosum Solar | 48-Empress |  | Connection | Solar | 3 | Yes | No | 2018-05-22 10:00 | 150 | 1 | 2026-05-26
P2102 EPC East Calgary Area Reliability | 06-Calgary |  | Connection | Load | 5 | Yes | Yes | 2018-06-07 10:00 | 0 | 26 | 2025-06-25
P2137 Enerfin Winnifred MPC Wind | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2018-08-10 10:00 | 90 | 1 | 2024-10-01
P2192 ENMAX FMC Change | 06-Calgary |  | BTF | Cogen | 5 | Yes | Yes | 2019-01-02 10:00 | 4.99 | 0 | 2025-10-04
P2195 FortisAlberta Bassano 435S DER Solar | 47-Brooks |  | BTF | Solar | 5 | Yes | Yes | 2019-01-07 10:00 | 0 | 0 | 2024-03-25 | 4.65 | 0 | 2024-11-29
P2196 Grand Prairie MPC Gas | 20-Grande Prairie |  | Connection | Gas | 3 | Yes | No | 2019-01-11 10:00 | 310 | 5 | 2026-06-01
P2201 ENMAX SS-1 Substation Change | 06-Calgary |  | BTF | Equipment Change | 5 | Yes | Yes | 2019-01-30 10:00 | 0 | 0 | 2025-07-15 | 0 | 0 | 2025-09-30 | 0 | 0 | 2026-01-06
P2218 ENGIE Duchess Solar | 47-Brooks |  | Connection | Solar | 3 | Yes | No | 2019-04-01 10:00 | 90 | 0.11 | 2025-09-01
P2232 ENGIE Buffalo Trail North Wind | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2019-05-03 10:00 | 200 | 6 | 2028-01-15
P2247 Buffalo Plains MPC Wind | 47-Brooks |  | Connection | Wind | 5 | Yes | Yes | 2019-06-28 10:00 | 466 | 2 | 2024-08-20
P2256 ATCO Poplar Hill Load | 20-Grande Prairie |  | Connection | Load | 3 | No | No | 2019-07-11 10:00 | 0 | 34.5 | 2026-05-19
P2259 FortisAlberta Metiskow 648S DER Solar | 37-Provost |  | BTF | Solar + Storage | 5 | Yes | Yes | 2019-07-17 10:00 | 22 | 0 | 2024-12-13
P2289 Heartland Scotford Change | 33-Fort Saskatchewan |  | BTF | Equipment Change | 6 | Yes | Yes | 2019-10-23 10:00 | 0 | 0 | 2025-06-15
P2292 FortisAlberta Killarney Lake 267S DER Solar/Battery Storage | 37-Provost |  | BTF | Solar | 5 | Yes | Yes | 2019-10-28 10:00 | 18 | 0 | 2025-01-31
P2296 ATCO Willow Lake 2009S Contract Change | 25-Fort McMurray |  | Contract | DTS | 6 | Yes | Yes | 2019-11-22 10:00 | 0 | 25.6 | 2025-01-01
P2300 Enterprise MPC Solar | 49-Stavely |  | Connection | Solar | 5 | Yes | Yes | 2019-11-21 10:00 | 0 | 0 | 2025-06-30 | 65 | 1 | 2025-07-10
P2334 TCE Saddlebrook Solar Storage | 46-High River |  | Connection | Solar + Storage | 5 | Yes | Yes | 2020-03-20 10:00 | 81 | 0.2 | 2023-10-25 | 6.5 | 0 | 2025-10-01
P2335 Fortis Vulcan 255S DER Solar | 49-Stavely |  | BTF | Solar | 5 | Yes | Yes | 2020-03-09 10:00 | 12.6 | 0 | 2025-07-31
P2342 EDF Bull Trail Wind | 04-Medicine Hat |  | Connection | Wind | 3 | Yes | No | 2020-03-30 10:00 | 300 | 4 | 2028-05-01
P2347 Forty Mile Granlea Solar Phase 2 | 04-Medicine Hat |  | BTF | Solar | 5 | Yes | Yes | 2020-04-24 10:00 | 220 | 0.5 | 2025-07-01
P2352 ATCO Ethel Lake 717S DER Wasteheat | 28-Cold Lake |  | BTF | Wasteheat | 5 | Yes | Yes | 2020-05-07 10:00 | 0 | 0 | 2025-03-01
P2356 RESC Oyen Wind | 42-Hanna |  | Connection | Wind | 3 | Yes | No | 2020-06-18 10:00 | 250 | 1 | 2026-02-02
P2369 ATCO Anderson 801S DER Solar | 43-Sheerness |  | BTF | Solar | 3 | Yes | Yes | 2020-08-04 10:00 | 9.8 | 0 | 2025-01-15
P2378 RESC Nova MPC Solar | 45-Strathmore/Blackie |  | Connection | Solar | 4 | Yes | No | 2020-09-08 10:00 | 150 | 1 | 2026-08-01
P2389 CP Genesee Unit 1 Repower ST | 40-Wabamun |  | BTF | Gas | 5 | Yes | Yes | 2020-10-13 10:00 | 55 | 0 | 2024-08-16
P2390 Fortis Gulf Robb 414S Contract Change | 29-Hinton/Edson |  | Contract | DTS | 3 | No | No | 2020-10-14 10:00 | 0 | -0.93 | 2025-11-01
P2396 Georgetown Solar | 45-Strathmore/Blackie |  | Connection | Solar | 5 | Yes | Yes | 2020-11-12 10:00 | 230 | 1 | 2026-11-16
P2407 Fortis Kirby 651S Contract Change | 27-Athabasca/Lac La Biche |  | Contract | DTS | 3 | Yes | Yes | 2020-12-11 10:00 | 0 | -5 | 2026-01-01
P2410 CP Genesee 2 Repower ST | 40-Wabamun |  | BTF | Gas | 5 | Yes | Yes | 2021-01-04 10:00 | 55 | 0 | 2024-10-20
P2411 Northland Power Jurassic MPC Solar Battery | 48-Empress |  | Connection | Solar + Storage | 5 | Yes | Yes | 2021-01-04 10:00 | 300 | 1.5 | 2024-12-02
P2418 Greencells Estuary Solar | 48-Empress |  | Connection | Solar | 4 | Yes | No | 2021-01-28 10:00 | 200 | 1.5 | 2025-06-30
P2421 RESC Big Sky Solar | 48-Empress |  | Connection | Solar | 5 | Yes | Yes | 2021-02-10 10:00 | 0 | 0 | 2024-03-15 | 140 | 1 | 2024-08-01
P2422 EER Foothills MPC Solar | 46-High River |  | Connection | Solar | 3 | Yes | No | 2021-02-12 10:00 | 150 | 1 | 2026-09-30
P2424 ATCO Oyen 767S DER Solar | 42-Hanna |  | BTF | Solar | 5 | Yes | Yes | 2021-03-05 10:00 | 12.6 | 0 | 2024-12-02
P2432 Suncor TG1 & TG2 Modification | 25-Fort McMurray |  | BTF | Equipment Change | 5 | Yes | Yes | 2021-03-26 10:00 | 0 | 0 | 2025-07-02 | 0 | 0 | 2022-02-07
P2445 Kiwetinohk Homestead MPC Solar | 53-Fort Macleod |  | Connection | Solar | 4 | Yes | No | 2021-05-03 10:00 | 400 | 1.5 | 2026-03-01
P2451 Georgetown Battery Addition | 45-Strathmore/Blackie |  | BTF | Battery Storage | 2 | No | No | 2021-06-10 10:00 | 0 | 101 | 2027-07-20
P2453 EDTI Edmonton 3 H2 Plant Cogen | 60-Edmonton |  | Connection | Cogen | 5 | Yes | Yes | 2021-06-16 10:00 | 0 | 50 | 2024-11-01 | 20 | 0 | 2025-02-14
P2454 Kiwetinohk Flipi MPC Gas | 30-Drayton Valley |  | Connection | Gas | 3 | Yes | No | 2021-06-15 10:00 | 466 | 2.5 | 2025-08-07
P2456 Kiwetinohk Opal Gas | 24-Fox Creek |  | Connection | Gas | 5 | Yes | Yes | 2021-06-21 10:00 | 98.5 | 0.4 | 2026-12-30
P2460 ABO Fox Meadows Wind | 37-Provost |  | Connection | Wind | 3 | Yes | No | 2021-06-30 10:00 | 150 | 3.15 | 2026-04-01
P2461 Aira Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2021-07-07 10:00 | 450 | 1 | 2026-01-20
P2464 Sunnynook Solar Battery | 43-Sheerness |  | Connection | Solar + Storage | 4 | Yes | No | 2021-07-21 10:00 | 280 | 2 | 2027-05-01
P2465 Enerfin Winnifred Wind Modification | 04-Medicine Hat |  | BTF | Wind | 3 | Yes | Yes | 2021-07-22 10:00 | 60 | 0 | 2024-10-01
P2466 PR Prominence Solar | 54-Lethbridge |  | Connection | Solar | 4 | Yes | Yes | 2021-07-22 10:00 | 80 | 1 | 2026-02-02
P2467 Pteragen Peace Butte Wind | 04-Medicine Hat |  | Connection | Wind | 3 | Yes | No | 2021-08-03 10:00 | 120 | 0.1 | 2026-11-02
P2468 ATCO Briker 880S DER Gas | 13-Lloydminster |  | BTF | Gas | 3 | No | No | 2021-08-09 10:00 | 3.4 | 0 | 2024-11-08
P2469 ATCO Vermilion 710S DER Gas | 13-Lloydminster |  | BTF | Gas | 5 | Yes | Yes | 2021-08-09 10:00 | 0 | 0 | 2024-09-09
P2471 Fortis Buford 538S DER Solar | 31-Wetaskiwin |  | BTF | Solar | 3 | Yes | Yes | 2021-08-11 10:00 | 12.9 | 0 | 2024-11-29
P2472 Fortis Olds 55S DER Gas | 39-Didsbury |  | BTF | Gas | 5 | Yes | Yes | 2021-08-13 10:00 | 4.9 | 0 | 2024-07-20
P2474 Fortis Sylvan Lake 580S DER Gas | 35-Red Deer |  | BTF | Gas | 5 | Yes | Yes | 2021-08-13 10:00 | 1.4 | 0 | 2024-07-03
P2488 NGCI Ermineskin Cree Nation Solar | 31-Wetaskiwin |  | Connection | Solar | 3 | Yes | No | 2021-09-07 10:00 | 80 | 0.5 | 2028-01-12
P2490 TransAlta Tempest MPC Wind | 54-Lethbridge |  | Connection | Wind | 3 | Yes | No | 2021-09-20 10:00 | 99 | 1 | 2024-09-20
P2491 Phoenix MPC Solar | 35-Red Deer |  | Connection | Solar | 3 | Yes | No | 2021-09-17 10:00 | 169.5 | 0.5 | 2026-09-01
P2499 Kiwetinohk Black Bear Gas | 26-Swan Hills |  | Connection | Gas | 3 | Yes | No | 2021-10-08 10:00 | 466 | 2.5 | 2025-07-01
P2503 Willow Ridge Wind Battery | 53-Fort Macleod |  | Connection | Wind + Storage | 3 | Yes | No | 2021-10-15 10:00 | 250 | 1 | 2026-09-01
P2506 Luna 2 MPC Solar Battery | 47-Brooks |  | Connection | Solar + Storage | 3 | Yes | No | 2021-10-21 10:00 | 465 | 1.5 | 2025-12-01
P2509 Kiwetinohk Granum MPC Solar | 53-Fort Macleod |  | Connection | Solar | 3 | Yes | No | 2021-10-29 10:00 | 400 | 1.5 | 2025-11-01
P2511 COL Chinook 181S DER Solar | 54-Lethbridge |  | BTF | Solar | 5 | Yes | Yes | 2021-11-08 10:00 | 0 | 0 | 2024-09-30
P2514 Sunrise Solar | 53-Fort Macleod |  | Connection | Solar | 3 | Yes | No | 2021-11-19 10:00 | 75 | 0.5 | 2026-12-01
P2517 Enfinite Bowmanton MPC Battery | 04-Medicine Hat |  | Connection | Battery Storage | 3 | Yes | No | 2022-01-20 10:00 | 100 | 100 | 2026-12-03
P2520 Enfinite Laramide MPC Battery | 46-High River |  | Connection | Battery Storage | 3 | Yes | No | 2022-01-20 10:00 | 100 | 100 | 2024-09-02
P2524 Shell SR Scotford Solar | 33-Fort Saskatchewan |  | BTF | Solar | 5 | Yes | Yes | 2021-11-29 10:00 | 0 | 0 | 2024-06-19 | 0 | 0 | 2028-03-17
P2527 TA Alberta Hydro WaterCharger Battery | 44-Seebe |  | Connection | Battery Storage | 3 | Yes | No | 2021-12-08 10:00 | 180 | 10 | 2024-10-01
P2533 Greenlight Gas | 33-Fort Saskatchewan |  | Connection | Gas | 3 | Yes | No | 2022-01-14 | 466 | 20 | 2028-06-01
P2537 Fortis Duchess 339S DER Solar | 47-Brooks |  | BTF | Solar | 3 | Yes | Yes | 2022-01-25 10:00 | 0 | 0 | 2025-03-15 | 16.3 | 0 | 2025-04-30
P2540 Rising Sun Solar | 37-Provost |  | Connection | Solar | 3 | Yes | No | 2022-02-04 10:00 | 125 | 1 | 2024-09-30
P2548 ATCO Irish Creek 706S DER Gas | 13-Lloydminster |  | BTF | Gas | 5 | Yes | Yes | 2022-02-22 10:00 | 0 | 0 | 2024-10-08
P2552 Kneehill Solar | 42-Hanna |  | Connection | Solar | 3 | Yes | No | 2022-03-04 10:00 | 450 | 2 | 2025-07-01
P2553 Dolcy MPC Solar Battery | 37-Provost |  | Connection | Solar + Storage | 3 | Yes | No | 2022-03-04 10:00 | 300 | 102 | 2025-02-01
P2557 Fortis Lundbreck 513S Contract Change | 53-Fort Macleod |  | Contract | DTS | 3 | No | No | 2022-03-10 10:00 | 0 | -1.317 | 2024-10-31
P2558 Fortis Hartell 512S Contract Change | 46-High River |  | Contract | DTS | 3 | No | No | 2022-03-10 10:00 | 0 | -2.1 | 2024-10-31
P2559 Fortis Yarrow Rangeland 995S Contract Change | 55-Glenwood |  | Contract | DTS | 3 | No | No | 2022-03-10 10:00 | 0 | -2.21 | 2024-10-31
P2564 ATCO Bullpound 803S DER Solar | 43-Sheerness |  | BTF | Solar | 5 | Yes | Yes | 2022-04-07 10:00 | 14.3 | 0 | 2024-12-16
P2566 Eastervale Solar Battery | 37-Provost |  | Connection | Solar + Storage | 3 | Yes | No | 2022-04-08 10:00 | 300 | 200 | 2027-10-01
P2568 Aura Peace Butte Solar Battery | 04-Medicine Hat |  | Connection | Solar + Storage | 3 | Yes | No | 2022-04-15 10:00 | 230 | 1 | 2026-10-01
P2574 Fortis Aura Provost DER Solar | 37-Provost |  | BTF | Solar | 3 | Yes | Yes | 2022-06-01 10:00 | 20.7 | 0 | 2025-11-01
P2582 Woodcroft Reliability | 60-Edmonton |  | Connection | Equipment Change | 3 | No | No | 2022-06-16 10:00 | 0 | 0 | 2026-03-25
P2592 Big Rock Solar Battery | 46-High River |  | Connection | Solar + Storage | 3 | Yes | No | 2022-07-25 10:22 | 90 | 40 | 2025-06-01
P2593 AECG Forty Mile Wind Phase 2 | 04-Medicine Hat |  | BTF | Wind | 3 | Yes | Yes | 2022-07-22 10:33 | 134 | 0 | 2025-09-01
P2602 Little Flipi MPC Gas | 35-Red Deer |  | Connection | Gas | 3 | Yes | No | 2022-08-31 16:30 | 120 | 3 | 2026-03-01
P2603 Flatbush 500S Contract Change | 27-Athabasca/Lac La Biche |  | Contract | DTS | 1 | No | No | 2022-09-08 10:39 | 0 | -1.6 | 2024-11-01
P2611 UK Solar East | 42-Hanna |  | Connection | Solar | 3 | Yes | No | 2022-09-22 15:29 | 400 | 1 | 2025-01-15
P2614 Dow Fort Sask. Load | 33-Fort Saskatchewan |  | Connection | Load | 3 | No | No | 2022-09-28 14:50 | 0 | 231 | 2026-08-15
P2616 Jumbo Solar Battery | 53-Fort Macleod |  | Connection | Solar + Storage | 3 | Yes | No | 2022-10-11 13:43 | 218 | 1 | 2025-07-10
P2619 Sweetgrass MPC Solar Battery | 53-Fort Macleod |  | Connection | Solar + Storage | 3 | Yes | No | 2022-10-19 08:39 | 315 | 2 | 2025-07-18
P2627 Sundre 575S DER Solar | 38-Caroline |  | BTF | Solar | 3 | Yes | Yes | 2022-11-07 13:23 | 12.6 | 0 | 2026-01-24
P2630 Berland River Load | 24-Fox Creek |  | Connection | Load | 3 | No | No | 2022-11-14 14:09 | 0 | 37 | 2026-05-06
P2631 Smoky River MPC Wind | 19-Peace River |  | Connection | Wind | 3 | Yes | No | 2022-11-14 11:26 | 160 | 1 | 2025-10-01
P2637 Horizon 842S Contract Change | 25-Fort McMurray |  | Contract | STS | 1 | No | No | 2022-11-28 11:16 | 120 | 0 | 2024-12-01
P2656 Edmonton CCUS Gas | 60-Edmonton |  | Connection | Gas | 3 | Yes | No | 2023-01-04 11:02 | 104 | 3 | 2026-07-01
P2669 Mannix Solar Battery | 36-Alliance/Battle River |  | Connection | Solar + Storage | 3 | Yes | No | 2023-02-10 13:46 | 59 | 0 | 2026-01-31 | 0 | 34 | 2028-01-31
P2674 Foster Creek Modification | 28-Cold Lake |  | BTF | Equipment Change | 3 | No | No | 2023-02-15 12:02 | 0 | 0 | 2025-12-31
P2676 Kaybob South 3 Cogen | 24-Fox Creek |  | Connection | Cogen | 3 | Yes | No | 2023-02-22 09:38 | 25 | 0 | 2025-03-01
P2678 SS-37 DER Gas | 06-Calgary |  | BTF | Gas | 3 | Yes | Yes | 2023-02-24 11:55 | 1.1 | 0 | 2025-06-30
P2690 Harvest Sky Solar Battery | 42-Hanna |  | Connection | Solar + Storage | 3 | Yes | No | 2023-03-28 09:41 | 15 | 0 | 2026-05-31 | 0 | 14 | 2028-05-31
P2697 Springbrook Solar | 35-Red Deer |  | Connection | Solar | 2 | Yes | No | 2023-03-29 14:55 | 300 | 1.5 | 2025-11-01
P2714 NRG3 Modification | 26-Swan Hills |  | BTF | Equipment Change | 5 | Yes | Yes | 2023-06-05 08:12 | 0 | 0 | 2024-11-01
P2716 Wapiti 823S Load | 20-Grande Prairie |  | Connection | Load | 2 | No | No | 2023-06-07 13:22 | 0 | 21.3 | 2027-04-01
P2717 Chin CH9 Modification | 54-Lethbridge |  | BTF | Equipment Change | 1 | No | No | 2023-06-07 12:56 | 0 | 0 | 2025-04-30
P2723 Wapiti 823S DER Gas | 20-Grande Prairie |  | BTF | Gas | 5 | Yes | Yes | 2023-06-26 14:28 | 0 | 0 | 2024-09-01
P2741 Great Plains Load | 25-Fort McMurray |  | Connection | Load | 2 | No | No | 2023-07-21 15:37 | 0 | 34 | 2026-12-01
P2818 Travers Battery | 49-Stavely |  | BTF | Battery Storage | 1 | No | No | 2023-08-29 14:27 | 0 | 0 | 2026-03-30
P2862 Raymond Reservoir Battery Contract Change | 55-Glenwood |  | Contract | DTS | 1 | No | No | 2023-08-31 11:24 | 0 | 1.5 | 2024-12-20
P2863 Raymond Reservoir Battery | 55-Glenwood |  | BTF | Battery Storage | 2 | No | No | 2023-08-31 08:01 | 4.9 | 0 | 2025-01-01
P2866 Muir 2018S Contract Change | 24-Fox Creek |  | Contract | DTS | 2 | No | No | 2023-09-13 09:38 | 0 | 9 | 2024-08-01
P2867 Quigley 989S Contract Change | 25-Fort McMurray |  | Contract | DTS | 1 | No | No | 2023-09-13 09:47 | 0 | 10.9 | 2024-08-01
P2869 Provost 545S DER Gas | 37-Provost |  | BTF | Gas | 1 | No | No | 2023-09-22 15:39 | 1.26 | 0 | 2025-10-01
P2879 Hayter 277S DER Gas | 37-Provost |  | BTF | Gas | 1 | No | No | 2023-10-27 10:33 | 2.92 | 0 | 2025-06-01
P2880 Warner 344S DER Gas | 55-Glenwood |  | BTF | Gas | 1 | No | No | 2023-10-27 10:23 | 3.52 | 0 | 2025-09-01
P2881 South Mayerthorpe 443S DER Gas | 40-Wabamun |  | BTF | Gas | 1 | No | No | 2023-10-27 09:45 | 3.8 | 0 | 2025-07-01
P2882 Hughenden 213S DER Gas | 37-Provost |  | BTF | Gas | 1 | No | No | 2023-10-27 09:38 | 3.82 | 0 | 2025-08-01
P2883 Stack Point Trotter Load | 06-Calgary |  | Connection | Load | 2 | No | No | 2023-10-30 14:01 | 0 | 55 | 2025-11-11
P2894 Chickadee Area Load | 24-Fox Creek |  | Connection | Load | 2 | No | No | 2023-11-14 10:33 | 0 | 30 | 2026-03-01
P2897 Paintearth Creek 863S DER Gas | 36-Alliance/Battle River |  | BTF | Gas | 2 | No | No | 2024-01-25 15:15 | 3.7 | 0 | 2025-10-01
P2899 LCHA MPC Cogen CO2 | 33-Fort Saskatchewan |  | Connection | Load | 1 | No | No | 2024-01-30 08:19 | 0 | 60 | 2027-07-01 | 0 | 0 | 2027-12-01
P2900 Empress Extraction Plant Modification | 48-Empress |  | BTF | Cogen | 1 | No | No | 2024-01-30 13:52 | 0 | 11 | 2026-01-30
P2902 Brintnell 876S Contract Change | 25-Fort McMurray |  | Contract | DTS | 2 | No | No | 2024-02-01 11:17 | 0 | -21 | 2025-07-01
P2903 Edith Lake 739S Contract Change | 26-Swan Hills |  | Contract | DTS | 2 | No | No | 2024-02-01 10:55 | 0 | -19 | 2025-07-01
P2907 Irish Creek 7065 Contract Change | 13-Lloydminster |  | Contract | DTS | 2 | No | No | 2024-02-01 15:36 | 0 | -18 | 2025-07-01
P2908 Monitor 774S Contract Change | 42-Hanna |  | Contract | DTS | 2 | No | No | 2024-02-01 11:17 | 0 | -8 | 2025-07-01
P2910 Norcen 812S Contract Change | 19-Peace River |  | Contract | DTS | 2 | No | No | 2024-02-01 16:04 | 0 | -8 | 2025-07-01
P2914 Tower Road 933S Contract Change | 25-Fort McMurray |  | Contract | DTS | 2 | No | No | 2024-02-01 07:15 | 0 | -8 | 2025-07-01
P2917 Barlow SS 24 DER Solar | 06-Calgary |  | BTF | Solar | 3 | Yes | Yes | 2024-02-02 08:57 | 3.82 | 0 | 2024-07-08
P2918 Deerfoot SS 24 DER Solar | 06-Calgary |  | BTF | Solar | 3 | Yes | Yes | 2024-02-02 09:28 | 4.19 | 0 | 2024-07-08
P2919 Forestwood Technology Park MPC Load | 57-Airdrie |  | Connection | Load | 1 | No | No | 2024-02-20 14:02 | 0 | 200 | 2027-11-26
P2920 Muskeg River 847S Contract Change | 25-Fort McMurray |  | Contract | DTS | 2 | No | No | 2024-03-18 15:16 | 0 | 36 | 2024-12-01
P2921 SS-54 Area Load | 06-Calgary |  | Connection | Load | 1 | No | No | 2024-03-27 11:53 | 0 | 60 | 2028-08-01
P2923 Bullshead 523S Contract Change | 04-Medicine Hat |  | Contract | STS | 1 | No | No | 2024-04-02 15:08 | 4 | 0 | 2024-10-25
P2924 Three Hills 770S DER Battery | 42-Hanna |  | BTF | Battery Storage | 1 | No | No | 2024-04-08 15:01 | 0 | 0 | 2025-05-15
P2925 Michichi Creek 802S DER Battery | 42-Hanna |  | BTF | Battery Storage | 1 | No | No | 2024-04-04 15:25 | 0 | 0 | 2025-05-15
P2926 Beacon Foothills A.I. Hub Load | 46-High River |  | Connection | Load | 1 | No | No | 2024-04-08 16:34 | 0 | 400 | 2027-01-15
P2927 Beacon Harry Smith A.I. Hub Load | 40-Wabamun |  | Connection | Load | 1 | No | No | 2024-04-08 16:21 | 0 | 400 | 2027-01-15
P2928 Beacon Langdon A.I. Hub Load | 45-Strathmore/Blackie |  | Connection | Load | 1 | No | No | 2024-04-08 16:09 | 0 | 400 | 2027-01-15
P2931 AlbChem 308S Contract Change | 33-Fort Saskatchewan |  | Contract | DTS | 2 | No | No | 2024-04-18 08:51 | 0 | -45 | 2024-08-31
P2932 16-34 Compressor Station Load | 20-Grande Prairie |  | Connection | Load | 1 | No | No | 2024-04-25 09:34 | 0 | 18.6 | 2026-12-01
P2933 Michichi Creek 802S Contract Change | 42-Hanna |  | Contract | DTS | 3 | No | No | 2024-05-03 15:28 | 0 | -42 | 2024-08-01
P2934 Beacon Heartland A.I. Hub Load | 33-Fort Saskatchewan |  | Connection | Load | 1 | No | No | 2024-05-10 16:22 | 0 | 200 | 2028-01-15
P2935 Beacon Saunders Lake A.I. Hub Load | 60-Edmonton |  | Connection | Load | 1 | No | No | 2024-05-10 16:16 | 0 | 200 | 2028-01-15
ISD Under Review
P2082 Suncor Base Plant Cogen | 25-Fort McMurray |  | Connection | Cogen | 5 | Yes | Yes | 2018-04-24 10:00 | 0 | -130 | Under Review | 0 | 0 | Under Review | 0 | 0 | Under Review
P2248 ATCO Michichi Creek 802S DER Solar | 42-Hanna |  | BTF | Solar + Storage | 5 | Yes | Yes | 2019-06-26 10:00 | 13.5 | 0 | Under Review | 0 | 0 | Under Review
P2279 CNRL Primrose East 641S Gas | 28-Cold Lake |  | BTF | Gas | 5 | Yes | Yes | 2019-09-19 10:00 | 0 | 0 | Under Review
P2337 Dunmore Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2020-03-16 10:00 | 0 | 0.5 | Under Review | 216 | 0 | Under Review
P2354 ENMAX FMC DER Cogen | 06-Calgary |  | BTF | Cogen | 5 | Yes | Yes | 2020-05-21 10:00 | 0 | 0 | Under Review | 4.99 | 0 | Under Review
P2441 Capital Power Halkirk 2 Wind | 36-Alliance/Battle River |  | Connection | Wind | 5 | Yes | Yes | 2021-04-23 10:00 | 139.5 | 1 | Under Review
P2446 Fortis Tilley 498S DER Solar | 47-Brooks |  | BTF | Solar + Storage | 5 | Yes | Yes | 2021-05-07 10:00 | 19.6 | 0 | Under Review
P2447 Luna MPC Solar Battery | 47-Brooks |  | Connection | Solar + Storage | 3 | Yes | No | 2021-05-13 10:00 | 465 | 1.5 | Under Review
P2513 Shell Scotford Substation Reliability | 33-Fort Saskatchewan |  | Connection | Other | 3 | No | No | 2021-11-17 10:00 | 0 | 0 | Under Review
P2543 EDTI Castle Downs Load Reliability | 60-Edmonton |  | Connection | Load | 5 | Yes | Yes | 2022-02-14 10:00 | 0 | 14.58 | Under Review
P2615 High Plains Balzac Load | 57-Airdrie |  | Connection | Load | 2 | No | No | 2022-10-05 11:43 | 0 | 75 | Under Review
P2628 Foster Creek Load | 28-Cold Lake |  | Contract | DTS | 1 | No | No | 2022-11-07 15:41 | 0 | 41 | Under Review
P2629 Taber Solar | 52-Vauxhall |  | BTF | Solar | 3 | Yes | Yes | 2022-11-09 11:11 | 45 | 0 | Under Review
P2639 Kearl 9900S Load | 25-Fort McMurray |  | Connection | Load | 2 | No | No | 2022-11-28 14:31 | 0 | 50 | Under Review
P2658 Rimbey 297S DER Gas | 35-Red Deer |  | BTF | Gas | 3 | Yes | Yes | 2023-01-04 15:25 | 12.5 | 0 | Under Review
P2895 Michichi Creek 802S DER Solar | 42-Hanna |  | BTF | Solar | 3 | No | No | 2023-12-20 13:19 | 4.99 | 0 | Under Review
P2922 Petrolia E816S Breaker Addition | 60-Edmonton |  | Connection | Equipment Change | 1 | No | No | 2024-03-28 15:16 | 0 | 0 | Under Review
On Hold
P2227 FortisAlberta Mearns Area Load | 60-Edmonton |  | Connection | Load | 2 | No | No | 2019-04-23 10:00 | 0 | 24.1 | On Hold
P2228 FortisAlberta Sangudo Area Load | 40-Wabamun |  | Connection | Load | 2 | No | No | 2019-04-23 10:00 | 0 | 26 | On Hold
P2229 FortisAlberta Whitecourt Area Load | 26-Swan Hills |  | Connection | Load | 2 | No | No | 2019-04-23 10:00 | 0 | 20 | On Hold
P2238 Pembina CDH Load | 33-Fort Saskatchewan |  | Connection | Load | 2 | No | No | 2019-06-03 10:00 | 0 | 27.5 | On Hold
P2538 EDTI Inland Cement Load and Reliability | 60-Edmonton |  | Connection | Load | 2 | No | No | 2022-02-01 10:00 | 0 | 7.5 | On Hold
Recently Energized
P2237 AECG Forty Mile MPC Wind | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2019-05-09 10:00 | 0 | 0 | 2023-12-18 | 266 | 2 | 2024-06-04
P2409 CP Genesee Unit 7 Gas | 40-Wabamun |  | Connection | Gas | 6 | Yes | Yes | 2021-01-04 10:00 | 0 | 12 | 2024-04-26 | 411 | 0 | 2024-06-10
P2457 Fortis Moon Lake DER Solar | 30-Drayton Valley |  | BTF | Solar | 5 | Yes | Yes | 2021-06-23 10:00 | 16.75 | 0 | 2024-05-29
P2462 Fortis Stony Plain 434S DER Solar | 40-Wabamun |  | BTF | Solar | 5 | Yes | Yes | 2021-07-14 10:00 | 12.2 | 0 | 2024-05-29
P2632 Monarch 492S DER Battery | 54-Lethbridge |  | BTF | Battery Storage | 5 | Yes | Yes | 2022-11-16 13:56 | 0 | 0 | 2024-04-08
P2634 Vulcan 255S DER Battery | 49-Stavely |  | BTF | Battery Storage | 5 | Yes | Yes | 2022-11-18 14:36 | 0 | 0 | 2024-06-10
P2635 Coaldale 254S DER Battery | 54-Lethbridge |  | BTF | Battery Storage | 5 | Yes | Yes | 2022-11-18 14:44 | 0 | 0 | 2024-05-31
P2667 Grassland 282S Modification | 27-Athabasca/Lac La Biche |  | BTF | Equipment Change | 5 | Yes | Yes | 2023-02-09 10:40 | 0 | 0 | 2024-04-03
P2870 Saddle Hills 865S Contract Change | 20-Grande Prairie |  | Contract | DTS | 6 | Yes | Yes | 2023-09-28 14:08 | 0 | 3.5 | 2024-06-01
P2871 Vermilion 710S Contract Change | 13-Lloydminster |  | Contract | DTS | 6 | Yes | Yes | 2023-09-28 14:14 | 0 | 7.026 | 2024-06-01
P2872 Slave Lake 745S Contract Change | 21-High Prairie |  | Contract | DTS | 6 | Yes | Yes | 2023-09-28 14:21 | 0 | 3.79 | 2024-06-01
P2873 South Bezanson 862S Contract Change | 20-Grande Prairie |  | Contract | DTS | 6 | Yes | Yes | 2023-09-28 14:24 | 0 | 3.64 | 2024-06-01
P2874 Ethel Lake 717S Contract Change | 28-Cold Lake |  | Contract | DTS | 6 | Yes | Yes | 2023-09-28 14:31 | 0 | 17.27 | 2024-06-01
P2875 Leming Lake 715S Contract Change | 28-Cold Lake |  | Contract | DTS | 6 | Yes | Yes | 2023-09-28 14:34 | 0 | 3.49 | 2024-06-01
P2876 Cavendish 893S Contract Change | 48-Empress |  | Contract | DTS | 6 | Yes | Yes | 2023-10-04 14:44 | 0 | -22 | 2024-06-30
P2896 Obed 411S Contract Change | 29-Hinton/Edson |  | Contract | DTS | 6 | Yes | Yes | 2024-01-10 10:29 | 0 | -0.1 | 2024-04-30
P2901 Cranberry Lake 827S Contract Change | 19-Peace River |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 11:08 | 0 | -7 | 2024-05-01
P2904 Elmworth 731S Contract Change | 20-Grande Prairie |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 13:50 | 0 | -7.137 | 2024-05-01
P2905 Hangingstone 820S Contract Change | 25-Fort McMurray |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 13:54 | 0 | -9 | 2024-05-01
P2906 Heisler 764S Contract Change | 36-Alliance/Battle River |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 15:27 | 0 | -6.9744 | 2024-05-01
P2909 Nipisi 796S Contract Change | 19-Peace River |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 15:53 | 0 | -15.04 | 2024-05-01
P2911 Rainbow Lake 791S Contract Change | 17-Rainbow Lake |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 16:09 | 0 | -9 | 2024-05-01
P2912 Paintearth Creek 863S Contract Change | 36-Alliance/Battle River |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 16:13 | 0 | -17.27 | 2024-05-01
P2913 Seal Lake 869S Contract Change | 19-Peace River |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 16:29 | 0 | -5.635 | 2024-05-01
P2915 Virginia Hills 738S Contract Change | 26-Swan Hills |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 07:30 | 0 | -14.73 | 2024-05-01
P2916 Zama Lake 795S Contract Change | 17-Rainbow Lake |  | Contract | DTS | 6 | Yes | Yes | 2024-02-01 07:35 | 0 | -6.65 | 2024-05-01
Recently Cancelled
P2391 Old Elm Wind | 55-Glenwood |  | Connection | Wind | 2 | Yes | No | 2020-10-14 10:00 | 60 | 0.5 | Cancelled
P2482 TransAlta Willow Creek 1 MPC Wind | 53-Fort Macleod |  | Connection | Wind | 3 | Yes | No | 2021-08-17 10:00 | 70 | 3 | Cancelled
P2483 TransAlta Willow Creek 2 MPC Wind | 53-Fort Macleod |  | Connection | Wind | 2 | Yes | No | 2021-08-17 10:00 | 70 | 3 | Cancelled
P2510 Capital Power Aldersyde Solar | 46-High River |  | Connection | Solar | 3 | Yes | No | 2021-10-29 10:00 | 200 | 1 | Cancelled
P2546 Fortis Albchem Beaverhill Creek Load | 33-Fort Saskatchewan |  | Connection | Load | 2 | No | No | 2022-02-17 10:00 | 0 | 90 | Cancelled
P2573 BluEarth Prairie Yarrow MPC Wind | 37-Provost |  | Connection | Wind | 2 | Yes | No | 2022-05-25 10:00 | 75 | 0.5 | Cancelled
P2581 TransAlta Red Rock MPC Wind | 04-Medicine Hat |  | Connection | Wind | 2 | Yes | No | 2022-06-10 10:00 | 100 | 3 | Cancelled
P2587 Sunhills Solar | 40-Wabamun |  | Connection | Solar | 2 | Yes | No | 2022-07-07 08:03 | 130 | 1 | Cancelled