## R1.1
PRC-023-AB R1.1 Calculation Refer to the ISO PRC-023-AB Information Document (ID), for a description of the methods and calculations included within this spreadsheet. If this spreadsheet is submitted to the AESO as evidence for line loadability, then the facility owner is responsible for the applicability and accuracy of all data and calculations. All cells except those with brown shading are locked. A user is able to add new columns to add supplementary information and calculations.
User Data Entry Only In Brown Shaded Cells
Line Rating Data | [7 empty] | Line Terminal ID | Relay MFR & Model Number | PT Ratio | CT Ratio | Relay Settings
[12 empty] | Overcurrent Function |  |  |  | Mho Impedance Function (if no load encroachment feautre is available) | [5 empty] | Load Encroachment Function
Line ID | Line Current Rating (amps) | Line Voltage (kV L-L) | Line Apparent Power Rating (MVA) | Line Current Rating x 150% (using R1.1) | Line Apparent Impedance Rating at 1 pu Voltage and the rated line current (ohms) | Line Apparent Impedance Rating at 0.85 pu voltage and the rated line current (ohms) | Line Loadability Maximum Allowable Zrelay30 for R1.1 using 150% Factor (ohms) |  |  |  |  | Lowest Relay Current Setting (Secondary amps) | Lowest Relay Current Setting (Primary amps) | Current Setting Meets Loadability Requirement? | Overcurrent Function Line Loadability using 150% Factor (MVA) | Greatest Relay Setting of Zrelay (Secondary ohms) | Greatest Relay Setting of Zrelay (Primary ohms) | Relay Maximum Torque Angle (degrees) | Calculated Zrelay30 (Primary ohms) | Impedance Function Meets Loadability Requirement? | Line Loadability using 150% Factor and 85% Voltage Factor (MVA) | Relay Loadability (Secondary ohms) | Relay Loadability (Primary ohms) | Loadability Meets Requirements? | Load Encroachment Feature Line Loadability using 150% Factor and 85% Voltage Facytor (MVA)
The example data within the following two rows corresponds to the example data described and calculated within the AESO PRC-023 Information Document (ID)
L1 | 1250 | 240 | 519.6152 | 1875 | 110.8513 | 94.2236 | 62.8157 | LT1 | Relay A |  |  |  | 1900 | Yes | 526.5434 |  | 105 | 85 | 60.2255 | Yes | 541.9629 |  |  | - | 0
L1 | 1250 | 240 | 519.6152 | 1875 | 110.8513 | 94.2236 | 62.8157 | LT1 | Relay B |  |  |  | 1970 | Yes | 545.9424 |  | 95 | 87 | 51.7407 | Yes | 630.8379 |  |  | - | 0
L1 | 1250 | 240 | 519.6152 | 1875 | 110.8513 | 94.2236 | 62.8157 | LT2 | Relay C |  |  |  | 2200 | Yes | 609.6819 |  | 102 | 85 | 58.5048 | Yes | 557.903 |  |  | - | 0
L1 | 1250 | 240 | 519.6152 | 1875 | 110.8513 | 94.2236 | 62.8157 | LT2 | Relay D |  |  |  |  | - | 0 |  |  |  | 0 | - | 0 |  | 32 | Yes | 1020
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0
|  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | - | 0 |  |  |  | 0 | - | 0 |  |  | - | 0