## Information Page
The list of circuits that the Alberta Electric System Operator (“AESO”) must maintain pursuant to requirement R6.1 of Alberta Reliability Standard PRC-023-AB-4 Transmission Relay Loadability, is provided in the tables in this file.
For ease of reference, the AESO has separated the list of circuits into two lists: identified transmission lines and identified transformers, which are set out in Table 1 and Table 2, respectively.
The ratings referenced on this published list are the ratings used in the R6 assessment at that time, legal owners should review all circuits on the list to ensure PRC-023-AB-4 compliance, especially if the facility rating has changed.
Revision History
| Effective Date | Description of Changes
| 18/11/2024 | · List of circuits provided as per requirement R6.1 of PRC-023-AB-4. · Changes in Tables 1 and 2, from the previoulsy published list, are highlighted in red fonts.
| 15/9/2023 | · List of circuits provided as per requirement R6.1 of PRC-023-AB-4. · Changes in Tables 1, from the previoulsy published list, are highlighted in red fonts.
| 09/9/2022 | · List of circuits provided as per requirement R6.1 of PRC-023-AB-4. · Changes in Tables 1 and 2, from the previoulsy published list, are highlighted in red fonts.
| 26/7/2021 | · List of circuits provided as per requirement R6.1 of PRC-023-AB-4. · Changes in Tables 1 and 2, from the previoulsy published list, are highlighted in red fonts.
| 27/7/2020 | · List of circuits provided as per requirement R6.1 of PRC-023-AB-4. · Changes in Tables 1 and 2, from the previoulsy published list for PRC-023-AB-2, are highlighted in red fonts.
| 2019-07-25 | · Changed file format to Excel for more flexible data management, and made other administrative changes;
· Added transmission lines under 200 kV and the transformers that were identified earlier in 2019 with compliance to PRC-023-AB-2;
· Removed (strikethrough) facilities that no longer exist;
· Changes in Tables 1 and 2 are highlighted in red fonts.
| 2018-08-15 | Added transmission lines under 200 kV and the transformer that were identified earlier in 2018 with compliance to PRC-023-AB-2.
| 2017-07-28 | Added transmission lines under 200 kV and the transformer that were identified earlier in 2017 with compliance to PRC-023-AB-2.
| 2017-05-01 | Updated transmission line descriptions and ratings on comments received from legal owner.
| 2016-09-01 | Updated transmission line descriptions, ratings and effect date based on comments received from legal owners.
Removed transmission line 2.82L SS-2 to SS-5 138 kV from table.
| 2016-08-18 | Added transmission lines under 200 kV and the transformer that were identified earlier in 2016 with compliance to PRC-023-AB-2.
| 2015-08-20 | Updated legal ownership and transmission line descriptions based on comments received from legal owners.
Updated transmission line table header to clarify 138 kV base is used for rating.
| 2015-07-01 | List of circuits updated as per requirement R6.1 of PRC-023-AB-2.
| 2014-05-01 | List of circuits transferred to this document from Information Document ID#2012-004RS, Identified Transmission Lines and Transformers
Enter Footer |  | Public
List of Circuits (R6.1 PRC-023-AB)

## Table 1
Transmission Line | Rating (MVA, using 138 kV base) Summer/Winter | Legal Owner | Effective Date | Planning Region (For AESO Use Only)
(NE, NW, South, Calgary, Central, Edmonton)
7L40 (813S Little Smoky to 733S Simonette), 144 kV | 128.42/171.54 (Emergency Rating) | ATCO Electric Ltd. | 2026-11-01
7L61 (780S Lubicon to 796S Nipisi), 144 kV | 122.67/166.8 (Emergency Rating) | ATCO Electric Ltd. | 2026-11-01
29PL7-1 (29EDD-34 to 29EDD-85), 144 kV | 161.6/161.1 (Emergency Rating) | Suncor | 2026-11-01
29PL7-10 (29EDD-85 to 29EDD-18), 144 kV | 161.1/161.1 (Emergency Rating) | Suncor | 2026-11-01
29PL7-5 (29EDD-18 to 29EDD-71), 144 kV | 161.1/161.1 (Emergency Rating) | Suncor | 2026-11-01
472L (Hughenden 213S to 472ALTAP),138 kV | 92/138 (Emergency Rating) | AltaLink Management Ltd. | 2026-11-01
702L/7L702 (Sedgewick 137S - Battle Rive 757S),138kV | AML: 124/130 (Emergency Rating) AE: 122.7/169.6 (Emergency Rating) | AltaLink Management Ltd./ATCO Electric Ltd. | 2026-11-01
7L85 (Bullpound 803S - Anderson 801S), 144kV | 159.1/190.7 (Emergency Rating) | ATCO Electric Ltd. | 2026-11-01
851L (525S Carseland to 253S Blackie), 138 kV | 94/99 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | Calgary
727L (678S Okotoks to 65S High River), 138 kV | 131/161 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | Calgary
26.83L (SS-26 to SS-65), 138 kV | 285/350 (Emergency Rating) | ENMAX Power Corporation | 2025-11-01 | Calgary
7L127 (Pemukan 932S to Monitor 774S), 144 kV | 185.9/243.4 (Emergency Rating) | ATCO Electric Ltd. | 2025-11-01 | Central
7L137 (Three Hills 770S to Rowley 768S), 144 kV | 120.8/163.9 (Emergency Rating) | ATCO Electric Ltd. | 2025-11-01 | Central
702L (Hardisty 377S – Sedgewick 137S tap), 138 kV | 96/100 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | Central
7L159 (Three Hills 770S – 7LA159), 144 kV | 118.8/143.8 (Emergency Rating) | ATCO Electric Ltd. | 2025-11-01 | Central
7L80 (HR Milner 740S – Simonette 733S), 144 kV | 88.2/124.6 (Emergency Rating) | ATCO Electric Ltd. | 2025-11-01 | NW
668L (394S Empress - 562S Cypress), 138 kV | 133/164 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | South
760L (163S Amoco Empress– 394S Empress), 138 kV | 131/161 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | South
180L (Vulcan 255S – East Stavely 928S), 138 kV | 130/156 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | South
725L (Fort Macleod 15S – 725BL tap), 138 kV | 131/161 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | South
161L (Vulcan 255S – Queenstown 504S), 138 kV | 129/160 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | South
820L (820BL tap – 820AL tap), 138 kV | 132/163 (Emergency Rating) | AltaLink Management Ltd. | 2025-11-01 | South
685L (1012S Deer Hill to 397S Benbow), 138 kV | 184/218 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
740L (58S Edson to 39S Bickerdike), 138 kV | 124/146 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
744L (228S T.M.P.L.Niton to 207S Pinedale), 138 kV | 83/87 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
744L (228S T.M.P.L.Niton to 744AL tap), 138 kV | 83/87 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
744L (235S Entwistle to 744AL tap), 138 kV | 83/87 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
890L (58S Edson to 207S Pinedale), 138 kV | 83/87 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
7L66 (Leming Lake 715S to Ethel Lake 717S), 144kV | 120.8 / 143.8 (Emergency Rating) | ATCO Electric Ltd. | 2024-11-01 | Central
7L28 (Ethel Lake 717S to Grand Centre 846S), 144kV | 120.8 / 164.8 (Emergency Rating) | ATCO Electric Ltd. | 2024-11-01 | Central
7L39 (Crystal Lake 722S - Mercer Hill 728S Tap), 144 kV | 135.1/143.8 (Emergency Rating) | ATCO Electric Ltd. | 2024-11-01 | NW
172L (Chinook 181S to N. Lethbridge 370S), 138 kV | 94/99 (Emergency Rating) | AltaLink Management Ltd./ City of Lethbridge | 2024-11-01 | South
463L (Chinook 181S to Fort MacLeod 15S), 138 kV | 118/152 (Emergency Rating) | AltaLink Management Ltd./TransAlta Generation Partnership/ City of Lethbridge | 2024-11-01 | South
666L (Tilley 498S to W. Brooks 28S), 138 kV | 133/164 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | South
667L (N. Lethbridge 370S to McDonald 146S), 138 kV | 191/237 (Emergency Rating) | AltaLink Management Ltd./ City of Lethbridge | 2024-11-01 | South
725L (Coal Banks 111S to RVBD tap), 138 kV | 134/165 (Emergency Rating) | AltaLink Management Ltd./ City of Lethbridge | 2024-11-01 | South
725L (Bowron 674S to 725BL tap), 138 kV | 130/161 (Emergency Rating) | AltaLink Management Ltd./TransAlta Generation Partnership/ City of Lethbridge | 2024-11-01 | South
725L (Bowron 674S to RVBD tap), 138 kV | 134/165 (Emergency Rating) | AltaLink Management Ltd./ City of Lethbridge | 2024-11-01 | South
734L (Uplands 241S to N. Lethbridge 370S), 138 kV | 184/218 (Emergency Rating) | AltaLink Management Ltd./ City of Lethbridge | 2024-11-01 | South
763L (W. Brooks 28S to Vauxhall 158S), 138 kV | 132/163 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | South
770L (Coaldale 254S to N. Lethbridge 370S), 138 kV | 132/163 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | South
813L (Uplands 241S to McDonald 146S), 138 kV | 175/215 (Emergency Rating) | City of Lethbridge | 2024-11-01 | South
823L (McDonald 146S to Lakeview 593S), 138 kV | 142/174 (Emergency Rating) | City of Lethbridge | 2024-11-01 | South
824L (Lakeview 593S to Riverbend 618S), 138 kV | 184/218 (Emergency Rating) | City of Lethbridge | 2024-11-01 | South
853L (Queenstown 504S to W. Brooks 28S), 138 kV | 133/163 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | South
880L (Bullshead 523S to Al Rothbauer 321S), 138 kV | 133/165 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | South
156L (235S Entwistle to 165S Gainford tap), 138 kV | 139/186 (Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Edmonton
7L171 (Michichi Creek A802S to Wintering Hills A804S), 144 kV | 121.7/143.8 (Emergency Rating) | ATCO Electric Ltd. | 2023-09-01 | Central
739L (Devon 14S - Acheson 305S), 138kV | 169/186 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | Edmonton
730L (Bardo 197S – East Camrose 285S), 138 kV | 94/99 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | Edmonton
452L (Stony Plain 434S ­– Harry Smith 367S), 138 kV | 132/163 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | Edmonton
790L (Carvel 432S - Stony Plain 434S), 138 kV | 132/163 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | Edmonton
7L84 (Flying Shot Lake 749S - Crystal Lake 722S), 144 kV | 143.8/143.8 (Emergency Rating) | ATCO Electric Ltd. | 2023-09-01 | NW
879L (Bowmanton 244S - P2212 879AL Tap), 138kV | 94/99 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
879L (Burdett 368S - P2212 879AL Tap), 138kV | 94/99 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
100L (Tilley 498S - Suffield 895S), 138kV | 86/132 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
170L (Coleman 799S - Russell 632S), 138kV | 133/163 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
172L (Coaldale 254S - North Lethbridge 370S), 138kV | 131/161 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
610L (Taber 83S - Fincastle 336S), 138kV | 94/99 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
612L (Fincastle 336S - Burdett 368S), 138kV | 94/99 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
760L (Oyen 767S -Amoco Empress 163S), 138 kV | AML 132/156 (Emergency Rating) AE 122.7/167.7 (Emergency Rating) | ATCO Electric Ltd./ AltaLink Management Ltd. | 2023-09-01 | South
820L (Coaldale 254S - 820AL Tap), 138kV | 132/163 (Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
753L (High River 65S to Blackie 253S), 138 kV | 133/143 (Emergency Rating) | AltaLink Management Ltd. | 2022-09-01 | Calgary
850L (Okotoks 678S to Carseland 525S), 138 kV | 98/120 (Emergency Rating) | AltaLink Management Ltd. | 2022-09-01 | Calgary
752L (E.Crossfield 64S to Summit 653S), 138 kV | 133/156 (Emergency Rating) | AltaLink Management Ltd. | 2022-09-01 | Calgary
631L (East Airdrie 199S to Dry Creek 186S), 138 kV | 117/129 (Emergency Rating) | AltaLink Management Ltd. | 2022-09-01 | Calgary
733L (Strathmore 151S to Namaka 428S), 138 kV | 120/143 | AltaLink Management Ltd. | 2021-09-01 | South
408L (Jarrow 252S to Wainwright 51S), 138 kV | 75/87 | AltaLink Management Ltd. | 2021-09-01 | Central
709L (Fort Saskatchewan 54S to Sherritt 172S), 138 kV | 119/146 | AltaLink Management Ltd. | 2021-09-01 | NE
807L (Josephburg 410S - 807AL Tap), 138 kV | 175/217 | AltaLink Management Ltd. | 2021-09-01 | NE
54L (Canmore 118S to 85L Tap), 138 kV | 71/139 | AltaLink Management Ltd. | 2021-09-01 | South
754L (Canmore 118S to Baymag 437S), 138 kV | 94/135 | AltaLink Management Ltd. | 2021-09-01 | South
56L (Seebe 245S to Ghost 20S), 138 kV | 108/114 | AltaLink Management Ltd. and TransAlta Generation Partnership | 2021-09-01 | South
113L (Ghost 20S to Spray 33S), 138 kV | 120/120 | AltaLink Management Ltd. and TransAlta Generation Partnership | 2021-09-01 | South
7L25 (Rowley 768S to Michichi Creek 802S), 144 kV | 95/95 | ATCO Electric Ltd. | 2021-09-01 | Central
7L42 (Hill 751S to Lloydminster 716S), 144 kV | 95/95 | ATCO Electric Ltd. | 2021-09-01 | Central
7L159 (Heatburg 948S to 7LA159 Tap), 144 kV | 109/127 | ATCO Electric Ltd. | 2021-09-01 | Central
7L16 (Nevis 766S to Heatburg 948S), 144 kV | 109/127 | ATCO Electric Ltd. | 2021-09-01 | Central
788L (Lac La Biche 157S to Heart Lake 898S), 138 kV | 119/146 | AltaLink Management Ltd. | 2020-09-01 | NE
90L (Mt. Allan 115S – Barrier Plant 32S), 138 kV | 81/111 | AltaLink Management Ltd. | 2020-09-01 | South
85L (Rundle Plant 35s – 54L tap), 138 kV | 96/96 | AltaLink Management Ltd. | 2020-09-01 | South
50L (Bearspaw Plant 44S – SS-21), 138 kV | 98/122 | AltaLink Management Ltd. | 2020-09-01 | South
7L224 (Monitor 774S to Hansman Lake 650S), 144 kV | 109/139 | ATCO Electric Ltd./ AltaLink Management Ltd | 2020-09-01 | Central
7L132 (Lanfine 959S to Oyen 767S), 144 kV | 142.8/142.8 | ATCO Electric Ltd. | 2020-09-01 | Central
7L760 (Oyen 767S to 7LA760 tap), 144 kV | 109/139 | ATCO Electric Ltd. | 2020-09-01 | Central
24.82L (SS-65 to SS-24), 138 kV | 285/350 | ENMAX Power Corporation | 2020-09-01 | Calgary
7L64 (Arcenciel 930S to Bassett 747S & Chinchaga 779S to Keg River 789S) 144 KV | 71.9/86.3 | ATCO Electric Ltd. | 2019-09-01 | NW
7L45 (Big Mountain 845S to Bridge Creek 798S to Little Smoky 813S) 144 KV | 140.9/179.3 | ATCO Electric Ltd. | 2019-09-01 | NW
7L46 (Big Mountain 845S to Little Smoky 813S) 144 KV | 139.8/179.3 | ATCO Electric Ltd. | 2019-09-01 | NW
7L32 (Clairmont Lake 811S to South Bezanson 862S to Little Smoky 813S) 144 KV | 109.2/138.9 | ATCO Electric Ltd. | 2019-09-01 | NW
202L (Lodgepole 61S to Brazeau 62S) 138 KV | 119/146 | AltaLink Management Ltd. | 2019-09-01 | Central
202L( Edson 58S to Cynthia 178S) 138 KV | 85/90 | AltaLink Management Ltd. | 2019-09-01 | Central
202L (Lodgepole 61S to Cynthia 178S to West Pembina 359S) 138 KV | 98/132 | AltaLink Management Ltd. | 2019-09-01 | Central
801L (Brazeau 358S to Elk River 445S to Brazeau Outlet Works 294S) 138 KV | 119/146 | AltaLink Management Ltd. | 2019-09-01 | Central
801L (Brazeau 62S to Brazeau Outlet works 294S) 138 KV | 119/146 | AltaLink Management Ltd. | 2019-09-01 | Central
828L (Cynthia 178S to Petro Canada Brazeau River 489S) 138 KV | 122/150 | AltaLink Management Ltd. | 2019-09-01 | Central
836L (Lodgepole 61S to Violet Grove 283S) 138 KV | 119/146 | AltaLink Management Ltd. | 2019-09-01 | Central
841L (West Pembina 477S to Petro Canada Brazeau River 489S) 138 KV | 121/148 | AltaLink Management Ltd. | 2019-09-01 | Central
844L (Brazeau 358S to West Pembina 477S) 138 KV | 119/146 | AltaLink Management Ltd. | 2019-09-01 | Central
166L Harmattan 256S to 166AL Tap, 138 KV | 78/120 | AltaLink Management Ltd. | 2019-09-01 | Central
166L Johnson 281S to 166AL Tap, 138 KV | 81/122 | AltaLink Management Ltd. | 2019-09-01 | Central
704L (Wainwright 51S to Tucuman 478S) 138 KV | 75/79 | AltaLink Management Ltd. | 2019-09-01 | Central
703L (Hughenden 213S to Hardisty 377S) 138 KV | 96/96 | AltaLink Management Ltd. | 2019-09-01 | Central
749L (Metiskow 648S to Killarney tap) 138 KV | 121/149 | AltaLink Management Ltd. | 2019-09-01 | Central
7L129 (Vermilion 710S to Bauer tap) 138 KV | 109/139 | ATCO Electric Ltd. | 2019-09-01 | Central
7L130 (Vermilion 710S to Kitscoty 705S) 144 KV | 72/86 | ATCO Electric Ltd. | 2019-09-01 | Central
7L14 (Kitscoty 705S to Hill 751S) 144 KV | 72/86 | ATCO Electric Ltd. | 2019-09-01 | Central
7L50 (Battle River 757S to Buffalo Creek 526S) 144 KV | 109/139 | ATCO Electric Ltd. | 2019-09-01 | Central
7L65 (Vegreville 709S to Vermilion 710S) 144 KV | 95/95 | ATCO Electric Ltd. | 2019-09-01 | Central
677L (Acheson 305S to Spruce Grove 595S) 138 KV | 108/114 | AltaLink Management Ltd. | 2019-09-01 | Edmonton
207L (North Lethbridge 370S – Coalbanks 111S) 138 KV | 120/148 | AltaLink Management Ltd. | 2019-09-01 | South
691L (Janet 74S – Chestermere 419S) 138 KV | 85/90 | AltaLink Management Ltd. | 2019-09-01 | South
765L (Chestermere 419S – Strathmore 151S) 138 KV | 85/90 | AltaLink Management Ltd. | 2019-09-01 | South
3.82L (ENMAX SS-3 to ENMAX SS-8) 138 KV | 156/191 | ENMAX | 2019-09-01 | Calgary
7L23 Mitsue 732S to 7L23 tap to Nipisi 796S 144kV | 94.9/94.9 | ATCO Electric Ltd. | 2018-07-01 | NW
7L91 Margurite Lake 826S to Leming Lake715S 144kV | 139/ 109.3 | ATCO Electric Ltd. | 2018-07-01 | Central
7L89 Margurite Lake 826S to Bonnyville 700S 144kV | 139/ 109.3 | ATCO Electric Ltd. | 2018-07-01 | Central
7L70 Bonnyville 700S to St. Paul 707S 144kV | 109/139 | ATCO Electric Ltd. | 2018-07-01 | Central
706L Ft. Saskatchewan 54S to Josephburg 410S 138kV | 119/146 | AltaLink Management Ltd. | 2018-07-01 | NE
707L Ft. Saskatchewan 54S to Dow Chemical 166S 138kV | 119/146 | AltaLink Management Ltd. | 2018-07-01 | NE
708L Lamoureux 71S to 708L Tap 138kV | 121/148 | AltaLink Management Ltd. | 2018-07-01 | NE
781L Lamoureux 71S to Sherritt 172S 138kV | 143/172 | AltaLink Management Ltd. | 2018-07-01 | NE
797L Whitecourt Industrial 364S to Whitecourt 268S 138 kV | 112/135 | AltaLink Management Ltd. | 2018-07-01 | NW
798L Sagitawah 77S to Whitecourt Industrial 364S 138 kV | 119/146 | AltaLink Management Ltd. | 2018-07-01 | NW
616L Peigan 59S to Goose Lake 103S 138kV | 119/146 | AltaLink Management Ltd.and TransAlta Generation Partnership | 2018-07-01 | South
725AL Riverbend 618S to 725AL tap 138kV | 96/96 | AltaLink Management Ltd. | 2018-07-01 | South
658L Chappice Lake 649S to Cypress 562S 138kV | 81/100 | AltaLink Management Ltd. | 2018-07-01 | South
674L Bowmanton 244S to Chappice Lake 649S 138kV | 121/149 | AltaLink Management Ltd. | 2018-07-01 | South
892L Bowmanton 244S to Suffield 895S 138kV | 67/114 | AltaLink Management Ltd. | 2018-07-01 | South
795L Brooks 121S to Hays 421S 138kV | 119/146 | AltaLink Management Ltd. | 2018-07-01 | South
821L Vauxall 158S to Hays 421S 138kV | 85/90 | AltaLink Management Ltd. | 2018-07-01 | South
897L East Edmonton 38S to Bretona 45S | 85/90 | AltaLink Management Ltd. | 2018-07-01 | Edmonton
723L North Barrhead 69S to Westlock 438S | 86/91 | AltaLink Management Ltd. | 2018-07-01 | NE
723L Westlock 438S to Clyde 150S | 72/72 | AltaLink Management Ltd. | 2018-07-01 | NE
799L Sagitawah 77S to South Mayerthorpe 443S | 85/90 | AltaLink Management Ltd. | 2018-07-01 | NW
799L South Mayerthorpe 443S to Entwistle 235S | 85/90 | AltaLink Management Ltd. | 2018-07-01 | Edmonton
13.82L SS-13 to SS-22 138kV | 161/204 | ENMAX Power Corporation | 2018-07-01 | Calgary
24.81L SS-24 to SS-31 138kV | 287 | ENMAX Power Corporation | 2018-07-01 | Calgary
2.83L SS-2 to SS-5 to SS-13 138 kV | 287 | ENMAX Power Corporation | 2018-07-01 | Calgary
7L33 Big Mountain 845S to Flyingshot Lake 749S 144 KV | 139.8/179.3 | ATCO Electric Ltd. | 2017-07-01 | NW
7L44 Big Mountain 845S - Flyingshot Lake 749S 144 KV | 139.8/142.7 | ATCO Electric Ltd. | 2017-07-01 | NW
7L56 Little Smoky 813S to Louise Creek 809S 144KV | 109/140 | ATCO Electric Ltd. | 2017-07-01 | NW
7L90 Little Smoky 813S to Muir Tap to Fox Creek 741S 144KV | 109/139 | ATCO Electric Ltd. | 2017-07-01 | NW
7L230 North Barrhead to Sarah Lake | 92/92 | ATCO Electric Ltd./ AltaLink Management Ltd. | 2017-07-01 | NW
7L749/749L Lloydminster 716S - Edgerton 899S 144 kV | 88/96 | ATCO Electric Ltd./ AltaLink Management Ltd. | 2017-07-01 | Central
896L Wabamun 19S - Carvel 432S | 120.9/148.9 | AltaLink Management Ltd. | 2017-07-01 | Edmonton
739L Devon 14S - Blackmud 155S | 120/148 | AltaLink Management Ltd. | 2017-07-01 | Edmonton
747L North Calder 37S - North St. Albert 99S | 114/127 | AltaLink Management Ltd. | 2017-07-01 | Edmonton
749L Edgerton 899S - Killarney Lake Tap 138 kV | 88/96 | AltaLink Management Ltd. | 2017-07-01 | Central
876L Blackie 253S to Gleichen 179S 138KV | 85/90 | AltaLink Management Ltd. and TransAlta Generation Partnership | 2017-07-01 | South
7L121 7L02 McMillan 885S - Crow Lake 860S 144 kV | 109.25 | ATCO Electric Ltd. | 2016-05-01 | NE
7L117 Vermilion 710S - Irish Creek 706S 144 kV | 109/140 | ATCO Electric Ltd. | 2016-05-01 | Central
7L121 Mariana 833S - Horse River 917S 144 kV | 109.25 | ATCO Electric Ltd. | 2016-05-01 | NE
7L129 Buffalo Creek 526S - Bauer TAP 144kV | 109/140 | ATCO Electric Ltd./ AltaLink Management Ltd. | 2016-05-01 | Central
7L135 Salt Creek 977S - Hanging Stone 820S 144kV | 142.8 | ATCO Electric Ltd. | 2016-05-01 | NE
7L165 Parsons Creek 718S - Tower Road 933S 144kV | 109 | ATCO Electric Ltd. | 2016-05-01 | NE
7L170 Dawes 2011S - Algar 875S 144kV | 109 | ATCO Electric Ltd. | 2016-05-01 | NE
7L194 Dawes 2011S - Willow Lake 2009S 144kV | 94.9 | ATCO Electric Ltd. | 2016-05-01 | NE
7L27 Wesley Creek 834S - West Peace River A793S 144 kV | 109/139 | ATCO Electric Ltd. | 2016-05-01 | NW
7L36 Hangingstone 820S - Willow Lake 2009S 144 kV | 109 | ATCO Electric Ltd. | 2016-05-01 | NE
7L38 Algar 875S - Horse River 917S 144kV | 95 | ATCO Electric Ltd. | 2016-05-01 | NE
7L47 Ruth Lake 848S - Parsons Creek 718S 144 kV | 94.875 | ATCO Electric Ltd. | 2016-05-01 | NE
7L53 Bonnyville 700S - Lindbergh 969S - Irish Creek 706S 144 kV | 109/140 | ATCO Electric Ltd. | 2016-05-01 | Central
7L71 Ruth Lake 848S - Dog Rib 2082S - Parsons Creek 718S 144 kV | 95 | ATCO Electric Ltd. | 2016-05-01 | NE
7L75 Friedenstal 800S - W. Peace A793S 144 kV | 95/95 | ATCO Electric Ltd. | 2016-05-01 | NW
7L77 North Holden 395S - Vegreville 709S 144kV | 109/140 | ATCO Electric Ltd. | 2016-05-01 | Central
7L92 Whitby Lake 819S - Vilna 777S - Watt Lake 956S - Vegreville 709S 144kV | 94.875 | ATCO Electric Ltd. | 2016-05-01 | Central
7L97 Hanging Stone 820S - Halfway 2014S 144 kV | 95 | ATCO Electric Ltd. | 2016-05-01 | NE
7L97 Tower Road 933S - Halfway 2014S 144 kV | 109.25 | ATCO Electric Ltd. | 2016-05-01 | NE
172L/172EL Taber 83S to Hillridge 139S to Coaldale 254S 138 KV | 119/146, 121/149 | AltaLink Management Ltd. | 2016-05-01 | South
174L Bardo 197S - North Holden 395S 138 KV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | Central
180L Fort Macleod 15S to East Stavely 928S 138 KV | 112/135 | AltaLink Management Ltd. | 2016-05-01 | South
199L Whitecourt 268S - 199AL tap - Fox Creek 347S 138 kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | NW
202L Edson 58S to Cynthia 178S 138 KV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | Central
223L Colinton 159S - Clyde 150S 138kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | NE
507L TABER 83S to HULL 257S 138 kV | 120/148 | AltaLink Management Ltd. | 2016-05-01 | South
604L Nisku 149S to Blackmud 155S 138 kV | 120/148 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
632L Leduc 325S to Buford 538S 138 kV | 121/148 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
633L Waupisso 405S - Boyle 56S 138kV | 86/91 | AltaLink Management Ltd. | 2016-05-01 | NE
636L Sherwood Park 746S to Broadmoor 420S 138 kV | 119/146 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
694L Fort Saskatchewan 54S to Westwood 422S 138kV | 119/146 | AltaLink Management Ltd. | 2016-05-01 | NE
700L Westwood 422S to 746L JNC to Sherwood Park 746S 138 kV | 119/146 | AltaLink Management Ltd. | 2016-05-01 | NE
701L North Holden 395S – Strome 223S 138 kV | 119/146 | AltaLink Management Ltd. | 2016-05-01 | Central
7L701/7LA701/701L Strome 223S – Battle River 757S – Heisler 764S 138 kV | 158/169 | ATCO Electric Ltd. / AltaLink Management Ltd. | 2016-05-01 | Central
708L Riverside Tap - Beamer 233S 138kV | 121/148 | AltaLink Management Ltd. | 2016-05-01 | NE
710L Boyle 56S - Colinton 159S 138kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | NE
720L Benbow 397S - Fox Creek 347S 138kV | 86/91 | AltaLink Management Ltd. | 2016-05-01 | NW
728L Lac la Biche 157S - Plamondon 353S 138kV | 72 | AltaLink Management Ltd. | 2016-05-01 | NE
728L Plamondon 353S - Waupisso 405S 138kV | 72 | AltaLink Management Ltd. | 2016-05-01 | NE
731L Broadmoor 420S - 746L JCT 138 KV | 119/146 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
735L Redwater 171S - Beamer 233S 138 kV | 94 | AltaLink Management Ltd. | 2016-05-01 | NE
761L 38S East Edmonton to Lamoureux 71S 138 kV | 98/132 | AltaLink Management Ltd. | 2016-05-01 | NE
763L VAUXHALL 158S - HULL 257S | 120/148 | AltaLink Management Ltd. | 2016-05-01 | South
773L Bruderheim 127S - AlbChem 308S 138 kV | 121/127 | AltaLink Management Ltd. | 2016-05-01 | NE
776L Josephburg 410S - AlbChem 308S 138 kV | 140 | AltaLink Management Ltd. | 2016-05-01 | NE
792L NW Cardiff 191S - Clyde 150S 138 kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | NE
792L Viscount 92S - NW Cardiff 191S 138kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
805L Pigeon Lake 964S - Bigstone 86S 138 kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
807L Section of Beamer 233S - Shell Tap 138kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | NE
808L Deerland 13S - Weasel Creek Tap 138kV | 98/114 | AltaLink Management Ltd. | 2016-05-01 | NE
808L Redwater 171S - Weasel Creek Tap 138kV | 98/114 | AltaLink Management Ltd. | 2016-05-01 | NE
815L Bruderheim 127S - Deerland 13S 138 kV | 141/163 | AltaLink Management Ltd. | 2016-05-01 | NE
836L Lodgepole 61S - Violet Grove 283S 138 kV | 119/146 | AltaLink Management Ltd. | 2016-05-01 | Central
837L Pigeon Lake 964S - Buford 538S 138 kV | 119/146 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
898L N Calder 37S - Viscount 92S 138kV | 85/90 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
794L/7L794 Lac la Biche 157S - Whitby Lake 819S 138kV | 85/90 AE @ 95 | AltaLink Management Ltd. /ATCO Electric Ltd. | 2016-05-01 | NE
7L199 Fox Creek 741S - Fox Creek 347S 138 kV | 119/146 | AltaLink Management Ltd. /ATCO Electric Ltd. | 2016-05-01 | NW
WECC Path 1: 887L Pocaterra 48S - Fordling Coal Tap 138 kV | 72/72 | AltaLink Management Ltd. | 2016-05-01 | South
WECC Path 1: 786L Colemon 799S - Natal 138 kV | 99/132 | AltaLink Management Ltd. | 2016-05-01 | South

## Table 2
Transformers | Rating (MVA) | Legal Owner | Effective Date | Planning Region (For AESO Use Only)
29EDD-34 260/144 kV 29PT-112 | 125/125 (Seasonal Emergency Rating) | Suncor | 2026-11-01
Bickerdike 39S 240/138 kV T1 | 269/269 (Seasonal Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
Bickerdike 39S 240/138 kV T2 | 269/269 (Seasonal Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
Brazeau 62S 240/138 kV T5 | 200/200 (Seasonal Emergency Rating) | AltaLink Management Ltd. | 2024-11-01 | Central
Anderson 801S 240/144 kV 901T | 125/125 (Seasonal Emergency Rating) | ATCO Electric Ltd. | 2023-09-01 | Central
Pemukan A932S 240/144 kV 901T | 321/392 (Seasonal Emergency Rating) | ATCO Electric Ltd. | 2023-09-01 | Central
Battle River A757S 240/144 kV 912T | 299/299 (Seasonal Emergency Rating) | ATCO Electric Ltd. | 2023-09-01 | Central
Red Deer 63S 240/138kV 63ST1 | 200/200 (Seasonal Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | Central
Red Deer 63S 240/138kV 63ST2 | 200/200 (Seasonal Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | Central
Bowmanton 244S 240/138 kV Transformer (244ST1) | 220/224 (Seasonal Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
Bowmanton 244S 240/138 kV Transformer (244ST2) | 220/224 (Seasonal Emergency Rating) | AltaLink Management Ltd. | 2023-09-01 | South
SS-65 65.1TR | 400/400 | ENMAX Power Corporation | 2020-09-01 | Calgary
SS-65 65.2TR | 400/400 | ENMAX Power Corporation | 2020-09-01 | Calgary
Little Smoky 240/138KV 813S901T | 200/200 | ATCO Electric Ltd. | 2019-09-01 | NW
Little Smoky 240/138KV 813S902T | 200/200 | ATCO Electric Ltd. | 2019-09-01 | NW
Gaetz 87S 240/138 kV Transformer T1 | 200/200 | AltaLink Management Ltd. | 2019-09-01 | Central
Benalto 17S 240/138 kV transformer T3 | 200/200 | AltaLink Management Ltd. | 2019-09-01 | Central
Benalto 17S 240/138 kV transformer T2 | 200/200 | AltaLink Management Ltd. | 2019-09-01 | Central
North Lethbridge 370S 240/138 kV Transformer (370ST3) | 193/224 | AltaLink Management Ltd. | 2019-09-01 | South
North Lethbridge 370S 240/138 kV Transformer (370ST5) | 200/200 | AltaLink Management Ltd. | 2019-09-01 | South
North Lethbridge 370S 240/138 kV Transformer (370ST6) | 200/200 | AltaLink Management Ltd. | 2019-09-01 | South
Nevis 766S 901T | 100/128 | ATCO Electric Ltd. | 2019-09-01 | Central
Marguerite Lake 826S 901T | 200/250 | ATCO Electric Ltd. | 2019-09-01 | Central
Marguerite Lake 826S 902T | 200/250 | ATCO Electric Ltd. | 2019-09-01 | Central
Peigan 240/138kV 59ST1 | 179/179 | TransAlta Generation Partnership | 2018-07-01 | South
Ruth Lake 240/72 kV 848S901T | 100 | ATCO Electric Ltd. | 2016-05-01 | NE
Ruth Lake 240/72 kV 848S902T | 107.1 | ATCO Electric Ltd. | 2016-05-01 | NE
Ruth Lake 72/144 kV 848S703T | 75 | ATCO Electric Ltd. | 2016-05-01 | NE
Ruth Lake 72/144 kV 848S704T | 72 | ATCO Electric Ltd. | 2016-05-01 | NE
Salt Creek 240/144kV 977S901T | 300 | ATCO Electric Ltd. | 2016-05-01 | NE
Deerland 240/138kV 13ST2 | 286.8/286.8 | AltaLink Management Ltd. | 2016-05-01 | NE
Keephills 144/245kV 320PT1 | 150 | AltaLink Management Ltd. | 2016-05-01 | Edmonton
Pincher Creek 138/69 kV 396ST1a | 50 | AltaLink Management Ltd. | 2016-05-01 | South