## Contents
Alberta Electric System Operator 2013 Annual Market Statistics
This workbook contains information presented in the 2013 Annual Market Statistics
Table of Contents:
Pool Price, Heat Rate, and Natural Gas Price
Generation Revenue by Fuel Type
System Marginal Price (SMP)
Alberta Internal Load (AIL)
Peak Demand and Temperature
Additions and Capacity
Monthly Outages
Market Participation
Supply Cushion and Pool Price
Reserve Margin
Interties
Wind Generation
Operating Reserve
Dispatch Down Service (DDS)
Payments to Suppliers on the Margin
Definitions
For further clarification, or comments please contact market.analysis@aeso.ca

## Pool Price-Heat Rate-Gas Price
Back
Description: Pool price, market heat rate and natural gas price statistics. Market heat rate is calculated by dividing the hourly pool price by the natural gas price. The natural gas price presented is the AECO-C daily weighted average price.
Annual Price Statistics
Year | Pool Price ($/MWh) |  |  |  |  | Market Heat Rate (GJ/MWh) |  |  | Gas Price ($/GJ)
| Average hourly pool price | On-peak average pool price | Off-peak average pool price | Maximum hourly pool price | Minimum hourly pool price | Average hourly market heat rate | On-peak average market heat rate | Off-peak average market heat rate | Average daily gas price
2004 | 54.59 | 64.03 | 35.72 | 998.01 | 0 | 8.79 | 10.33 | 5.72 | 6.19
2005 | 70.36 | 85.35 | 40.37 | 999.99 | 4.66 | 8.23 | 9.93 | 4.83 | 8.27
2006 | 80.79 | 101.41 | 39.54 | 999.99 | 5.42 | 13.99 | 17.61 | 6.74 | 6.17
2007 | 66.95 | 84.37 | 32.11 | 999.99 | 0 | 11.45 | 14.51 | 5.34 | 6.1
2008 | 89.95 | 112.97 | 43.92 | 999.99 | 0 | 12.16 | 15.29 | 5.91 | 7.73
2009 | 47.81 | 58.04 | 27.36 | 999.99 | 0.1 | 13.15 | 16.17 | 7.09 | 3.76
2010 | 50.88 | 62.99 | 26.67 | 999.99 | 0 | 13.63 | 16.9 | 7.09 | 3.79
2011 | 76.2176 | 102.2181 | 24.2164 | 999.99 | 0 | 22.3947 | 30.0212 | 7.1418 | 3.4385
2012 | 64.32 | 84.72 | 23.51 | 1000 | 0 | 28.1 | 36.98 | 10.34 | 2.27
2013 | 80.19 | 106.13 | 28.29 | 1000 | 0 | 27.49 | 36.53 | 9.41 | 3.01
Monthly Price Statistics
Month | Pool Price ($/MWh) |  |  |  |  | Market Heat Rate (GJ/MWh) |  |  | Gas Price ($/GJ)
| Average hourly pool price | On-peak average pool price | Off-peak average pool price | Maximum hourly pool price | Minimum hourly pool price | Average hourly market heat rate | On-peak average market heat rate | Off-peak average market heat rate | Average daily gas price
2004-01-01 | 56.51 | 67.67 | 34.2 | 707.25 | 8.99 | 8.56 | 10.24 | 5.21 | 6.55
2004-02-01 | 47.38 | 53.91 | 34.31 | 656.48 | 7.67 | 8.11 | 9.22 | 5.89 | 5.8
2004-03-01 | 42.46 | 49.37 | 28.65 | 458.83 | 8.5 | 7.24 | 8.43 | 4.87 | 5.87
2004-04-01 | 51.98 | 60.78 | 34.3 | 348.29 | 7.34 | 8.31 | 9.71 | 5.48 | 6.26
2004-05-01 | 67.13 | 79.75 | 41.9 | 998.01 | 9.17 | 9.63 | 11.44 | 6.01 | 6.98
2004-06-01 | 61.11 | 69.11 | 45.1 | 492.04 | 7.03 | 9.2 | 10.42 | 6.77 | 6.64
2004-07-01 | 56.55 | 63.65 | 42.35 | 488.42 | 3.7 | 8.73 | 9.83 | 6.55 | 6.48
2004-08-01 | 50.17 | 60.02 | 30.46 | 511 | 10.35 | 8.49 | 10.18 | 5.11 | 5.88
2004-09-01 | 56.33 | 67.59 | 33.81 | 419.81 | 8.75 | 10.56 | 12.69 | 6.29 | 5.3
2004-10-01 | 57.84 | 66.72 | 40.15 | 558.38 | 7.09 | 9.22 | 10.73 | 6.21 | 6.18
2004-11-01 | 44.13 | 52.66 | 27.07 | 754.12 | 5.32 | 7.53 | 9 | 4.58 | 5.9
2004-12-01 | 62.87 | 76.24 | 36.14 | 805.87 | 0 | 9.9 | 12.01 | 5.68 | 6.4
2005-01-01 | 50.24 | 57.36 | 36.01 | 997 | 7.74 | 7.97 | 9.13 | 5.67 | 6.26
2005-02-01 | 42.67 | 46.93 | 34.15 | 285.5 | 7.9 | 6.81 | 7.48 | 5.45 | 6.28
2005-03-01 | 44.78 | 49.71 | 34.92 | 302.03 | 8.26 | 6.33 | 7.03 | 4.93 | 7.06
2005-04-01 | 50.08 | 58.24 | 33.68 | 399.1 | 7.73 | 6.79 | 7.89 | 4.57 | 7.37
2005-05-01 | 49.16 | 59.88 | 27.74 | 497.58 | 7.44 | 7.41 | 9.02 | 4.18 | 6.6
2005-06-01 | 55.14 | 68.81 | 27.81 | 797.17 | 4.66 | 7.88 | 9.82 | 3.98 | 6.96
2005-07-01 | 37.75 | 46.39 | 20.46 | 268.97 | 7.43 | 5.29 | 6.5 | 2.87 | 7.09
2005-08-01 | 88.33 | 105 | 54.98 | 694.3 | 9.57 | 9.94 | 11.81 | 6.18 | 8.85
2005-09-01 | 74.3 | 96.06 | 30.77 | 464.42 | 7.34 | 7.11 | 9.18 | 2.96 | 10.49
2005-10-01 | 121.95 | 143.94 | 78.16 | 819.5 | 9.51 | 10.46 | 12.33 | 6.71 | 11.79
2005-11-01 | 124.8 | 158.24 | 57.91 | 999.99 | 10.92 | 14.11 | 17.88 | 6.56 | 8.73
2005-12-01 | 103.03 | 131.22 | 46.66 | 776.9 | 9.64 | 8.63 | 10.99 | 3.92 | 11.65
2006-01-01 | 72.12 | 88.27 | 39.82 | 623.56 | 6.22 | 8.86 | 10.86 | 4.87 | 8.16
2006-02-01 | 54.07 | 63.91 | 34.39 | 341.85 | 7.3 | 7.79 | 9.2 | 4.96 | 6.96
2006-03-01 | 44.08 | 52.32 | 27.58 | 328.74 | 6.22 | 7.02 | 8.35 | 4.37 | 6.26
2006-04-01 | 42.87 | 52.55 | 23.42 | 477.3 | 6.1 | 6.83 | 8.36 | 3.75 | 6.25
2006-05-01 | 56.26 | 71.96 | 24.86 | 897.58 | 6.22 | 10.66 | 13.63 | 4.72 | 5.3
2006-06-01 | 61.64 | 80.66 | 23.6 | 998.78 | 5.42 | 11.02 | 14.39 | 4.28 | 5.54
2006-07-01 | 128.23 | 168.77 | 47.15 | 999.99 | 5.47 | 23.18 | 30.5 | 8.55 | 5.42
2006-08-01 | 73.46 | 90.29 | 39.82 | 999.99 | 7.81 | 12.18 | 14.99 | 6.58 | 6.11
2006-09-01 | 82.53 | 104.29 | 39.01 | 999.98 | 11.33 | 18.54 | 23.24 | 9.15 | 4.45
2006-10-01 | 174.09 | 221.36 | 79.93 | 999.99 | 15.46 | 36.31 | 46.42 | 16.16 | 5.59
2006-11-01 | 105.47 | 130.94 | 54.53 | 999.98 | 10.06 | 14.32 | 17.78 | 7.42 | 7.34
2006-12-01 | 70.88 | 86.8 | 39.03 | 892.78 | 9.58 | 10.3 | 12.56 | 5.77 | 6.7
2007-01-01 | 60.75 | 72.33 | 37.58 | 674.37 | 6.77 | 9.28 | 11.05 | 5.75 | 6.56
2007-02-01 | 73.38 | 81.99 | 56.15 | 516.06 | 6.79 | 9.78 | 10.93 | 7.48 | 7.49
2007-03-01 | 56.72 | 68.68 | 32.71 | 638.84 | 6.26 | 8.09 | 9.79 | 4.67 | 7.01
2007-04-01 | 51.67 | 65.88 | 23.24 | 717.89 | 5.25 | 7.24 | 9.24 | 3.25 | 7.16
2007-05-01 | 48.37 | 63.66 | 17.78 | 738.6 | 0 | 7.18 | 9.45 | 2.63 | 6.77
2007-06-01 | 49.87 | 64.46 | 20.67 | 505.47 | 5.25 | 8.07 | 10.43 | 3.37 | 6.17
2007-07-01 | 155.73 | 215.16 | 36.89 | 999.99 | 6.95 | 30.69 | 42.44 | 7.18 | 5.12
2007-08-01 | 71.1 | 91.38 | 30.52 | 998.46 | 9.3 | 14.37 | 18.43 | 6.24 | 4.81
2007-09-01 | 49.17 | 59.35 | 28.83 | 667.76 | 7 | 10.48 | 12.65 | 6.12 | 4.7
2007-10-01 | 64.74 | 80.13 | 33.97 | 787.73 | 6.95 | 11.56 | 14.31 | 6.05 | 5.62
2007-11-01 | 54.24 | 66.54 | 29.74 | 531.32 | 11.23 | 9.39 | 11.52 | 5.16 | 5.74
2007-12-01 | 66.28 | 80.07 | 38.7 | 946.66 | 6.95 | 10.81 | 13.06 | 6.31 | 6.14
2008-01-01 | 80.3 | 95.68 | 49.55 | 999.99 | 12.12 | 11.44 | 13.65 | 7.02 | 6.98
2008-02-01 | 64.89 | 75.22 | 44.23 | 398.61 | 14.55 | 8.7 | 10.07 | 5.96 | 7.48
2008-03-01 | 84.89 | 100.09 | 54.39 | 999.36 | 15.2 | 10.25 | 12.08 | 6.57 | 8.21
2008-04-01 | 135.95 | 164.32 | 79.22 | 999.97 | 16.23 | 15.47 | 18.74 | 8.93 | 8.92
2008-05-01 | 103.73 | 130.71 | 49.76 | 800.6 | 7.6 | 10.94 | 13.78 | 5.26 | 9.5
2008-06-01 | 83 | 116.4 | 16.21 | 999.99 | 0 | 7.82 | 10.96 | 1.53 | 10.6
2008-07-01 | 64.51 | 82.46 | 28.61 | 931.69 | 7.6 | 7.3 | 9.3 | 3.3 | 9.1
2008-08-01 | 82.72 | 105.69 | 36.77 | 999.98 | 7.6 | 11.64 | 14.85 | 5.22 | 7.04
2008-09-01 | 93.86 | 125.91 | 29.75 | 999.99 | 7.6 | 16.13 | 21.62 | 5.14 | 5.85
2008-10-01 | 100.51 | 128.49 | 44.55 | 999.99 | 7.6 | 15.84 | 20.28 | 6.96 | 6.37
2008-11-01 | 96.66 | 121.65 | 46.9 | 999.99 | 13.99 | 16.4 | 20.87 | 7.49 | 6.43
2008-12-01 | 88.36 | 109.01 | 47.04 | 999.99 | 9.5 | 14 | 17.24 | 7.52 | 6.25
2009-01-01 | 92.97 | 109.93 | 59.06 | 999.99 | 7.85 | 17.18 | 20.32 | 10.88 | 5.5
2009-02-01 | 52.84 | 55.76 | 47 | 436.8 | 10.12 | 11.75 | 12.41 | 10.43 | 4.52
2009-03-01 | 43.21 | 49.42 | 30.72 | 749.67 | 12.85 | 10.96 | 12.55 | 7.76 | 3.96
2009-04-01 | 31.53 | 37.14 | 20.31 | 774.13 | 7.85 | 9.31 | 10.96 | 6.01 | 3.35
2009-05-01 | 31.91 | 38.22 | 19.31 | 337.19 | 6.34 | 9.15 | 10.99 | 5.49 | 3.47
2009-06-01 | 33.48 | 43.01 | 14.43 | 732 | 0.1 | 11.51 | 14.8 | 4.92 | 2.98
2009-07-01 | 41.39 | 51.61 | 20.94 | 599.88 | 2.93 | 14.41 | 17.97 | 7.3 | 2.88
2009-08-01 | 34.6 | 43.25 | 17.3 | 473.95 | 7.85 | 13.92 | 17.47 | 6.81 | 2.61
2009-09-01 | 73.25 | 101.36 | 17.02 | 999.99 | 7.56 | 26.54 | 36.89 | 5.82 | 2.97
2009-10-01 | 34.93 | 40.74 | 23.32 | 79.63 | 7.85 | 8.64 | 10.08 | 5.76 | 4.1
2009-11-01 | 50.16 | 61.37 | 27.82 | 717.01 | 11.62 | 13.92 | 16.98 | 7.83 | 3.63
2009-12-01 | 53.86 | 64.76 | 32.04 | 873.57 | 12.97 | 10.6 | 12.75 | 6.3 | 5.19
2010-01-01 | 43.43 | 49.28 | 31.73 | 177.05 | 12.39 | 8.23 | 9.33 | 6.01 | 5.29
2010-02-01 | 43.9 | 48.39 | 34.91 | 264.81 | 8.09 | 8.85 | 9.76 | 7.03 | 4.96
2010-03-01 | 35.31 | 41.64 | 22.62 | 376.37 | 8.09 | 9.07 | 10.69 | 5.82 | 3.85
2010-04-01 | 49.71 | 58.69 | 31.75 | 646.19 | 8.2 | 14.03 | 16.58 | 8.94 | 3.55
2010-05-01 | 134.69 | 183.7 | 36.66 | 999.99 | 6.82 | 36.65 | 49.9 | 10.14 | 3.63
2010-06-01 | 57.27 | 74.78 | 22.25 | 969.3 | 2.4 | 14.89 | 19.47 | 5.72 | 3.89
2010-07-01 | 40.01 | 49.35 | 21.33 | 653.36 | 0 | 11.61 | 14.33 | 6.18 | 3.46
2010-08-01 | 38.64 | 46.35 | 23.22 | 494.73 | 11.4 | 12.06 | 14.49 | 7.21 | 3.22
2010-09-01 | 28.42 | 32.59 | 20.1 | 296 | 8.09 | 8.44 | 9.68 | 5.95 | 3.37
2010-10-01 | 30.92 | 34.7 | 23.36 | 208.86 | 13.18 | 9.89 | 11.1 | 7.46 | 3.13
2010-11-01 | 48.09 | 59.77 | 24.81 | 823.61 | 10.72 | 13.45 | 16.64 | 7.08 | 3.48
2010-12-01 | 58.89 | 74.4 | 27.86 | 974.07 | 13.15 | 15.82 | 19.96 | 7.54 | 3.7
2011-01-01 | 79.0499 | 103.0187 | 31.1123 | 994.45 | 8.09 | 20.498 | 26.6174 | 8.2591 | 3.7845
2011-02-01 | 122.4478 | 165.1547 | 37.034 | 999.99 | 8.09 | 35.8808 | 48.3817 | 10.8789 | 3.4132
2011-03-01 | 48.5221 | 59.3418 | 26.7952 | 983.51 | 6.57 | 13.711 | 16.7373 | 7.6338 | 3.526
2011-04-01 | 52.2347 | 65.9418 | 24.8205 | 625.46 | 8.34 | 14.8847 | 18.8156 | 7.0229 | 3.5414
2011-05-01 | 32.2744 | 40.7953 | 15.2327 | 449.74 | 0 | 8.8437 | 11.2026 | 4.1258 | 3.7006
2011-06-01 | 71.8487 | 99.7197 | 16.1068 | 999.99 | 10.34 | 19.4183 | 26.9908 | 4.2733 | 3.7944
2011-07-01 | 61.2117 | 82.7469 | 18.1413 | 999.99 | 11.75 | 17.3752 | 23.4754 | 5.175 | 3.5108
2011-08-01 | 126.3597 | 177.4435 | 24.1922 | 996.56 | 12.03 | 36.595 | 51.3904 | 7.0042 | 3.4509
2011-09-01 | 96.5725 | 133.6524 | 22.4127 | 999.99 | 14.1 | 28.0043 | 38.7488 | 6.5152 | 3.442
2011-10-01 | 69.7548 | 93.0845 | 23.0955 | 943.64 | 12.2 | 21.9356 | 29.2914 | 7.2239 | 3.2019
2011-11-01 | 108.2436 | 149.1517 | 26.7667 | 999.92 | 12.33 | 35.0213 | 48.2493 | 8.6752 | 3.0873
2011-12-01 | 51.2594 | 63.9343 | 25.9095 | 999.99 | 12.35 | 18.0953 | 22.5405 | 9.2051 | 2.8112
2012-01-01 | 84.54 | 111.22 | 31.18 | 999.99 | 12.28 | 35.31 | 46.52 | 12.9 | 2.42
2012-02-01 | 43.67 | 50.91 | 29.19 | 784.47 | 12.61 | 21.47 | 25.02 | 14.38 | 2.05
2012-03-01 | 51.08 | 62.05 | 29.06 | 919.06 | 10.89 | 29.04 | 35.24 | 16.59 | 1.7
2012-04-01 | 41.69 | 53.18 | 18.73 | 902 | 6.47 | 26.08 | 33.26 | 11.73 | 1.59
2012-05-01 | 29.46 | 38.87 | 10.65 | 861.25 | 0 | 15.15 | 19.98 | 5.5 | 1.95
2012-06-01 | 49.3 | 69.47 | 8.96 | 895.95 | 0 | 26.39 | 37.18 | 4.82 | 1.86
2012-07-01 | 68.39 | 96.7 | 11.78 | 1000 | 0 | 30.34 | 42.87 | 5.29 | 2.22
2012-08-01 | 56.54 | 76.86 | 15.89 | 974.12 | 0.3 | 27.94 | 38.05 | 7.73 | 2.08
2012-09-01 | 110.39 | 149.39 | 32.38 | 999.99 | 7.67 | 49.74 | 67.27 | 14.67 | 2.18
2012-10-01 | 91.36 | 121.53 | 31.02 | 896 | 10.59 | 29.85 | 39.56 | 10.43 | 2.92
2012-11-01 | 87.41 | 113.87 | 34.71 | 999.99 | 10.9 | 26.92 | 35.03 | 10.77 | 3.22
2012-12-01 | 57.62 | 71.96 | 28.96 | 815.6 | 10.01 | 19.06 | 23.78 | 9.63 | 3.01
2013-01-01 | 58.02 | 70.04 | 33.96 | 936.33 | 10.31 | 19.42 | 23.4 | 11.46 | 2.91
2013-02-01 | 28.71 | 32.37 | 21.4 | 162.02 | 10.24 | 9.86 | 11.11 | 7.35 | 2.91
2013-03-01 | 105.63 | 135.67 | 45.3 | 895.48 | 10.35 | 32.53 | 41.83 | 13.86 | 3.26
2013-04-01 | 137.66 | 182.32 | 48.34 | 986.59 | 10.87 | 38.93 | 51.56 | 13.66 | 3.52
2013-05-01 | 127.66 | 176.92 | 29.14 | 999.99 | 9.34 | 38.22 | 53 | 8.66 | 3.41
2013-06-01 | 104.77 | 143.45 | 27.41 | 999.99 | 9.02 | 34.04 | 46.64 | 8.84 | 3.14
2013-07-01 | 56.14 | 75.31 | 17.8 | 1000 | 0 | 20.62 | 27.56 | 6.74 | 2.67
2013-08-01 | 83.64 | 113.8 | 23.31 | 999.99 | 9.95 | 36.93 | 50.19 | 10.41 | 2.25
2013-09-01 | 111.98 | 157.3 | 21.33 | 999.99 | 9.96 | 55.09 | 77.35 | 10.58 | 2.05
2013-10-01 | 64.56 | 84.04 | 25.59 | 935.94 | 9.96 | 20.56 | 26.73 | 8.23 | 3.08
2013-11-01 | 28.34 | 32.86 | 19.32 | 570.25 | 7.09 | 8.71 | 10.1 | 5.94 | 3.24
2013-12-01 | 52.26 | 65.31 | 26.17 | 769.57 | 10.32 | 14.18 | 17.74 | 7.05 | 3.69

## Generation Revenue by FT
Back
Description: Generation revenue by fuel type in varying pool price ranges. The percentages represent the per cent of total revenue that came from pool prices in the price range.
Average Revenue by Asset Type
Pool Price Range | Contribution to Annual Average Pool Price | Coal | Cogen | Gas | Peaker | Hydro | Wind | Other | SK Imports | BC Imports | MT Imports
$0 to $99.99/MWh | 27.59 | 36% | 34% | 26% | 13% | 28% | 47% | 29% | 23% | 30% | 55%
$100 to $149.99/MWh | 3.43 | 4% | 4% | 4% | 4% | 4% | 4% | 4% | 5% | 6% | 2%
$150 to $249.99/MWh | 4.76 | 6% | 6% | 6% | 6% | 5% | 6% | 6% | 6% | 8% | 8%
$250 to $499.99/MWh | 10.26 | 13% | 13% | 15% | 16% | 12% | 11% | 14% | 15% | 16% | 14%
$500 to $899.99/MWh | 18.66 | 23% | 24% | 25% | 32% | 24% | 21% | 26% | 27% | 27% | 21%
$900 to $1000/MWh | 15.49 | 19% | 19% | 23% | 29% | 27% | 11% | 22% | 24% | 14% | 0%
Average Revenue ($/MWh) | 80.19 | 77.25 | 83.13 | 112.18 | 213.59 | 98.02 | 54.97 | 95.85 | 126.17 | 100.34 | 52.8

## System Marginal Price
Back
Description: Number of hours system marginal price (SMP) exceeded $990/MWh, and number of hours SMP settled below $5.00/MWh for the past 10 years.
Total Time where SMP Exceeded $990/MWh
Year | SMP Range
| $990 - $998.99/MWh | $999 - $999.98/MWh | 999.99 - $1,000.00/MWh
2004 | 4 | 0 | 0
2005 | 4 | 0 | 6
2006 | 19 | 6 | 34
2007 | 10 | 15 | 33
2008 | 12 | 19 | 32
2009 | 1 | 3 | 12
2010 | 2 | 2 | 15
2011 | 22 | 9 | 26
2012 | 2 | 1 | 19
2013 | 4 | 4 | 45
Total Time where SMP Settled Below $5.00/MWh
Year | SMP Range
| $0.00/MWh | $0.01 to $0.50/MWh | $0.51 to $5.00/MWh
2004 | 12 | 0 | 0
2005 | 0 | 0 | 0
2006 | 0 | 0 | 0
2007 | 2 | 1 | 6
2008 | 3 | 0 | 0
2009 | 0 | 4 | 0
2010 | 2 | 1 | 0
2011 | 8 | 0 | 0
2012 | 58 | 0 | 1
2013 | 4 | 0 | 0

## Alberta Internal Load
Back
Description: Alberta Internal Load (AIL) statistics. The load factor is the average hourly load divided by the peak load.
Annual AIL Statistics
Year | Total energy (GWh) | Average hourly load (MW) | Maximum hourly load (MW) | Minimum hourly load (MW) | Year-over-year total load growth (%) | Year-over-year average load growth (%) | Load factor (%)
2004 | 65260 | 7429 | 9236 | 6017 | 4.1% | 3.8% | 80.4%
2005 | 66267 | 7565 | 9580 | 6104 | 1.5% | 1.8% | 79%
2006 | 69371 | 7919 | 9661 | 6351 | 4.7% | 4.7% | 82%
2007 | 69661 | 7952 | 9701 | 6440 | 0.4% | 0.4% | 82%
2008 | 69947 | 7963 | 9806 | 6411 | 0.4% | 0.1% | 81.2%
2009 | 69914 | 7981 | 10236 | 6454 | -0.1% | 0.2% | 78%
2010 | 71723 | 8188 | 10196 | 6641 | 2.6% | 2.6% | 80.3%
2011 | 73600 | 8402 | 10226 | 6459 | 2.6% | 2.6% | 82.2%
2012 | 75574.375 | 8603.6401 | 10609 | 6828 | 2.682% | 2.402% | 81.1%
2013 | 77451 | 8841 | 11139 | 6991 | 2.483% | 2.759% | 79.37%
Monthly AIL Statistics
Month | Total energy (GWh) | Average hourly load (MW) | Maximum hourly load (MW) | Minimum hourly load (MW) | Year-over-year total load growth (%) | Year-over-year average load growth (%) | Load factor (%)
2004-01-01 | 5802 | 7798 | 8967 | 6698 | 5.606% | 5.592% | 87%
2004-02-01 | 5264 | 7563 | 8530 | 6668 | 6.451% | 2.786% | 88.7%
2004-03-01 | 5526 | 7427 | 8358 | 6492 | 3.328% | 3.311% | 88.9%
2004-04-01 | 5072 | 7055 | 7861 | 6130 | 1.827% | 1.848% | 89.7%
2004-05-01 | 5224 | 7022 | 7895 | 6094 | 3.2% | 3.204% | 88.9%
2004-06-01 | 5201 | 7223 | 8495 | 6017 | 7.083% | 7.087% | 85%
2004-07-01 | 5546 | 7455 | 8578 | 6334 | 5.078% | 5.074% | 86.9%
2004-08-01 | 5505 | 7399 | 8458 | 6408 | 3.167% | 3.165% | 87.5%
2004-09-01 | 5285 | 7341 | 8243 | 6367 | 4.612% | 4.632% | 89.1%
2004-10-01 | 5514 | 7402 | 8256 | 6403 | 3.861% | 3.859% | 89.7%
2004-11-01 | 5447 | 7565 | 8700 | 6401 | 1.377% | 1.38% | 87%
2004-12-01 | 5873 | 7894 | 9236 | 6704 | 3.416% | 3.419% | 85.5%
2005-01-01 | 5927 | 7966 | 9172 | 6770 | 2.154% | 2.154% | 86.9%
2005-02-01 | 5195 | 7730 | 8821 | 6675 | -1.311% | 2.208% | 87.6%
2005-03-01 | 5576 | 7495 | 8406 | 6615 | 0.9048% | 0.9156% | 89.2%
2005-04-01 | 5227 | 7270 | 8139 | 6417 | 3.056% | 3.047% | 89.3%
2005-05-01 | 5426 | 7292 | 8205 | 6240 | 3.867% | 3.845% | 88.9%
2005-06-01 | 5178 | 7191 | 8201 | 6166 | -0.4422% | -0.443% | 87.7%
2005-07-01 | 5522 | 7422 | 8566 | 6104 | -0.4327% | -0.4427% | 86.7%
2005-08-01 | 5544 | 7452 | 8434 | 6455 | 0.7084% | 0.7163% | 88.4%
2005-09-01 | 5299 | 7360 | 8296 | 6250 | 0.2649% | 0.2588% | 88.7%
2005-10-01 | 5610 | 7530 | 8385 | 6575 | 1.741% | 1.729% | 89.8%
2005-11-01 | 5658 | 7859 | 9235 | 6724 | 3.874% | 3.886% | 85.1%
2005-12-01 | 6105 | 8205 | 9580 | 6938 | 3.95% | 3.94% | 85.7%
2006-01-01 | 6082 | 8174 | 9238 | 7112 | 2.615% | 2.611% | 88.5%
2006-02-01 | 5484 | 8160 | 9306 | 7059 | 5.563% | 5.563% | 87.7%
2006-03-01 | 5956 | 8006 | 8938 | 7022 | 6.815% | 6.818% | 89.6%
2006-04-01 | 5428 | 7549 | 8325 | 6648 | 3.845% | 3.838% | 90.7%
2006-05-01 | 5545 | 7453 | 8718 | 6351 | 2.193% | 2.208% | 85.5%
2006-06-01 | 5448 | 7567 | 8906 | 6357 | 5.214% | 5.229% | 85%
2006-07-01 | 5893 | 7920 | 8966 | 6627 | 6.719% | 6.71% | 88.3%
2006-08-01 | 5902 | 7933 | 9050 | 6797 | 6.457% | 6.455% | 87.7%
2006-09-01 | 5608 | 7788 | 8793 | 6754 | 5.831% | 5.815% | 88.6%
2006-10-01 | 5915 | 7939 | 8966 | 6889 | 5.437% | 5.432% | 88.6%
2006-11-01 | 5966 | 8286 | 9661 | 7070 | 5.444% | 5.433% | 85.8%
2006-12-01 | 6146 | 8260 | 9534 | 7102 | 0.6716% | 0.6703% | 86.6%
2007-01-01 | 6164 | 8284 | 9466 | 7029 | 1.348% | 1.346% | 87.5%
2007-02-01 | 5622 | 8367 | 9478 | 7201 | 2.516% | 2.537% | 88.3%
2007-03-01 | 5990 | 8062 | 9080 | 6991 | 0.5709% | 0.6995% | 88.8%
2007-04-01 | 5591 | 7766 | 8729 | 6658 | 3.003% | 2.875% | 89%
2007-05-01 | 5540 | 7446 | 8374 | 6440 | -0.09017% | -0.09392% | 88.9%
2007-06-01 | 5473 | 7601 | 8729 | 6510 | 0.4589% | 0.4493% | 87.1%
2007-07-01 | 5988 | 8048 | 9321 | 6635 | 1.612% | 1.616% | 86.3%
2007-08-01 | 5774 | 7761 | 9083 | 6716 | -2.169% | -2.168% | 85.4%
2007-09-01 | 5482 | 7614 | 8697 | 6653 | -2.247% | -2.234% | 87.5%
2007-10-01 | 5867 | 7885 | 9077 | 6748 | -0.8115% | -0.6802% | 86.9%
2007-11-01 | 5928 | 8222 | 9525 | 7048 | -0.6369% | -0.7724% | 86.3%
2007-12-01 | 6243 | 8391 | 9701 | 7154 | 1.578% | 1.586% | 86.5%
2008-01-01 | 6317 | 8490 | 9710 | 7382 | 2.482% | 2.487% | 87.4%
2008-02-01 | 5812 | 8351 | 9443 | 7357 | 3.38% | -0.1912% | 88.4%
2008-03-01 | 5989 | 8061 | 9000 | 7153 | -0.01669% | -0.0124% | 89.6%
2008-04-01 | 5596 | 7772 | 8549 | 6731 | 0.08943% | 0.07726% | 90.9%
2008-05-01 | 5565 | 7480 | 8494 | 6486 | 0.4513% | 0.4566% | 88.1%
2008-06-01 | 5464 | 7590 | 8789 | 6411 | -0.1644% | -0.1447% | 86.4%
2008-07-01 | 5886 | 7912 | 9104 | 6703 | -1.703% | -1.69% | 86.9%
2008-08-01 | 5931 | 7972 | 9541 | 6788 | 2.719% | 2.719% | 83.6%
2008-09-01 | 5523 | 7671 | 8817 | 6576 | 0.7479% | 0.7486% | 87%
2008-10-01 | 5759 | 7741 | 8738 | 6625 | -1.841% | -1.826% | 88.6%
2008-11-01 | 5763 | 7992 | 9254 | 6900 | -2.783% | -2.797% | 86.4%
2008-12-01 | 6341 | 8523 | 9806 | 7052 | 1.57% | 1.573% | 86.9%
2009-01-01 | 6281 | 8442 | 9753 | 7221 | -0.5699% | -0.5654% | 86.6%
2009-02-01 | 5627 | 8373 | 9465 | 7321 | -3.183% | 0.2634% | 88.5%
2009-03-01 | 6074 | 8175 | 9307 | 6952 | 1.419% | 1.414% | 87.8%
2009-04-01 | 5491 | 7626 | 8507 | 6690 | -1.876% | -1.879% | 89.7%
2009-05-01 | 5519 | 7418 | 8375 | 6454 | -0.8266% | -0.8289% | 88.6%
2009-06-01 | 5560 | 7722 | 8863 | 6580 | 1.757% | 1.739% | 87.1%
2009-07-01 | 5808 | 7806 | 9070 | 6463 | -1.325% | -1.34% | 86.1%
2009-08-01 | 5762 | 7745 | 9062 | 6640 | -2.849% | -2.847% | 85.5%
2009-09-01 | 5514 | 7659 | 9108 | 6489 | -0.163% | -0.1564% | 84.1%
2009-10-01 | 5928 | 7967 | 8942 | 6689 | 2.935% | 2.92% | 89.1%
2009-11-01 | 5858 | 8125 | 9561 | 7076 | 1.648% | 1.664% | 85%
2009-12-01 | 6493 | 8727 | 10236 | 7423 | 2.397% | 2.394% | 85.3%
2010-01-01 | 6360 | 8549 | 9806 | 7289 | 1.258% | 1.267% | 87.2%
2010-02-01 | 5735 | 8535 | 9552 | 7490 | 1.919% | 1.935% | 89.4%
2010-03-01 | 6062 | 8158 | 9004 | 7131 | -0.1976% | -0.208% | 90.6%
2010-04-01 | 5594 | 7769 | 8665 | 6706 | 1.876% | 1.875% | 89.7%
2010-05-01 | 5736 | 7709 | 8716 | 6766 | 3.932% | 3.923% | 88.5%
2010-06-01 | 5673 | 7879 | 9160 | 6728 | 2.032% | 2.033% | 86%
2010-07-01 | 5971 | 8025 | 9343 | 6641 | 2.806% | 2.806% | 85.9%
2010-08-01 | 5984 | 8043 | 9214 | 6947 | 3.853% | 3.848% | 87.3%
2010-09-01 | 5660 | 7861 | 8733 | 6851 | 2.648% | 2.637% | 90%
2010-10-01 | 6000 | 8064 | 9090 | 6894 | 1.215% | 1.218% | 88.7%
2010-11-01 | 6238 | 8652 | 10146 | 7254 | 6.487% | 6.486% | 85.3%
2010-12-01 | 6710 | 9018 | 10196 | 7596 | 3.342% | 3.334% | 88.5%
2011-01-01 | 6652 | 8940 | 10226 | 7682 | 4.591% | 4.574% | 87.4%
2011-02-01 | 5976 | 8893 | 9978 | 7642 | 4.202% | 4.194% | 89.1%
2011-03-01 | 6478 | 8719 | 9990 | 7493 | 6.862% | 6.877% | 87.3%
2011-04-01 | 5827 | 8092 | 8796 | 7138 | 4.165% | 4.158% | 92%
2011-05-01 | 5659 | 7606 | 8567 | 6459 | -1.342% | -1.336% | 88.8%
2011-06-01 | 5669 | 7873 | 9063 | 6575 | -0.07051% | -0.07615% | 86.9%
2011-07-01 | 6157 | 8276 | 9552 | 7020 | 3.115% | 3.128% | 86.6%
2011-08-01 | 6215 | 8354 | 9455 | 7186 | 3.86% | 3.867% | 88.4%
2011-09-01 | 5900 | 8195 | 9376 | 7120 | 4.24% | 4.249% | 87.4%
2011-10-01 | 6102 | 8202 | 9112 | 7137 | 1.7% | 1.711% | 90%
2011-11-01 | 6324 | 8772 | 10064 | 7564 | 1.379% | 1.387% | 87.2%
2011-12-01 | 6641 | 8926 | 10186 | 7679 | -1.028% | -1.02% | 87.6%
2012-01-01 | 6767 | 9096 | 10609 | 7840 | 1.729% | 1.745% | 85.7%
2012-02-01 | 6219 | 8935 | 9877 | 7863 | 4.066% | 0.4723% | 90.5%
2012-03-01 | 6412 | 8630 | 9611 | 7629 | -1.019% | -1.021% | 89.8%
2012-04-01 | 5982 | 8308 | 9050 | 7275 | 2.66% | 2.669% | 91.8%
2012-05-01 | 5947 | 7993 | 9018 | 6951 | 5.089% | 5.088% | 88.6%
2012-06-01 | 5735 | 7965 | 9185 | 6828 | 1.164% | 1.169% | 86.7%
2012-07-01 | 6375 | 8568 | 9885 | 7154 | 3.541% | 3.528% | 86.7%
2012-08-01 | 6341 | 8523 | 9878 | 7272 | 2.027% | 2.023% | 86.3%
2012-09-01 | 5862 | 8142 | 9098 | 6990 | -0.6441% | -0.6467% | 89.5%
2012-10-01 | 6357 | 8544 | 9541 | 7249 | 4.179% | 4.17% | 89.6%
2012-11-01 | 6544 | 9076 | 10353 | 7646 | 3.479% | 3.466% | 87.7%
2012-12-01 | 7033 | 9453 | 10599 | 8335 | 5.903% | 5.904% | 89.2%
2013-01-01 | 6988.969 | 9394 | 10586 | 8144 | 3.28% | 3.276% | 88.74%
2013-02-01 | 6159.864 | 9166 | 10122 | 8106 | -0.9509% | 2.585% | 90.56%
2013-03-01 | 6705.447 | 9025 | 9941 | 7919 | 4.577% | 4.577% | 90.79%
2013-04-01 | 6214.966 | 8632 | 9408 | 7439 | 3.894% | 3.9% | 91.75%
2013-05-01 | 6045.662 | 8126 | 9167 | 7046 | 1.659% | 1.664% | 88.64%
2013-06-01 | 5907.074 | 8204 | 9236 | 6991 | 3% | 3.001% | 88.83%
2013-07-01 | 6401.832 | 8605 | 10063 | 7330 | 0.4209% | 0.4318% | 85.51%
2013-08-01 | 6441.803 | 8658 | 9835 | 7480 | 1.59% | 1.584% | 88.03%
2013-09-01 | 6109.574 | 8486 | 9909 | 7220 | 4.223% | 4.225% | 85.64%
2013-10-01 | 6427.129 | 8639 | 9854 | 7353 | 1.103% | 1.112% | 87.67%
2013-11-01 | 6741.263 | 9350 | 10677 | 8001 | 3.014% | 3.019% | 87.57%
2013-12-01 | 7306.961 | 9821 | 11139 | 8460 | 3.895% | 3.893% | 88.17%

## Peak Demand and Temperature
Back
Description: Peak annual Alberta Internal Load (AIL) statistics for the summer and winter periods, and peak daily weekday AIL with Alberta temperature during the peak. Summer season starts in May, and ends in October. Winter season starts in November, and ends in April of the next year.
Seasonal Peak Load
Year | Summer | Winter
2004 | 8578 | 9236
2005 | 8566 | 9580
2006 | 9050 | 9661
2007 | 9321 | 9710
2008 | 9541 | 9806
2009 | 9108 | 10236
2010 | 9343 | 10226
2011 | 9552 | 10609
2012 | 9885 | 10599
2013 | 10063 | 11139
Note: Winter 2013 is limited to November and December 2013
Summer and Winter Peak Demand (MW) and Temperature (°C)
Summer | [5 empty] | Winter
2011 |  | 2012 |  | 2013 |  | 2011 |  | 2012 |  | 2013
Peak | AB Temperature | Peak | AB Temperature | Peak | AB Temperature | Peak | AB Temperature | Peak | AB Temperature | Peak | AB Temperature
8055 | 18.3 | 8801 | 23.8 | 9116 | 28.4 | 9207 | 2.55 | 9617 | -3.1 | 9511 | 3.69
9189 | 20.9 | 9075 | 17.55 | 10063 | 32.28 | 9242 | 5.53 | 9389 | -3.25 | 10201 | -6.1
9278 | 23.45 | 8860 | 16.88 | 9603 | 23.1 | 9196 | 4.4 | 9746 | 6.83 | 10162 | -3
9409 | 25.9 | 9091 | 21.88 | 9517 | 25.05 | 9296 | -6.25 | 9697 | 3.78 | 9998 | 1.85
9461 | 24.03 | 9249 | 20.13 | 9334 | 17.85 | 9503 | 1.9 | 9800 | -2.33 | 10132 | -0.73
8971 | 17.7 | 9885 | 29.43 | 9261 | 18 | 9458 | 1.18 | 10002 | -8.58 | 10128 | -2.4
9184 | 19.5 | 9801 | 27.43 | 9622 | 25.68 | 9584 | 1.53 | 10060 | -12.38 | 10160 | -2.75
9076 | 19.75 | 9822 | 27.18 | 9792 | 26.7 | 9535 | 7.03 | 9985 | -1.15 | 10179 | 4.23
9123 | 20.83 | 9849 | 26.55 | 9444 | 21.4 | 9357 | 3.05 | 10039 | -0.7 | 10187 | 2.93
9227 | 20.95 | 9740 | 24.13 | 9303 | 18.43 | 9826 | -4.58 | 9972 | -3.43 | 10142 | 3.23
8992 | 20.6 | 9420 | 21.18 | 9300 | 15.7 | 9840 | -8.65 | 9861 | 0.63 | 10176 | -0.88
9552 | 27.43 | 9681 | 25.5 | 9448 | 20.4 | 9775 | -7.1 | 9827 | -0.9 | 10587 | -14.08
9376 | 24 | 9641 | 23.1 | 9610 | 24.83 | 9907 | -8.28 | 10336 | -0.9 | 10610 | -17.25
9054 | 18.65 | 9736 | 23.75 | 9654 | 25.33 | 9942 | -19.15 | 10188 | -10.9 | 10677 | -18.98
9264 | 20.58 | 9468 | 21.35 | 9723 | 22.53 | 9910 | -4.7 | 10311 | -12.88 | 10419 | -10.85
8987 | 13.4 | 9583 | 24.28 | 9576 | 21.15 | 9765 | 1.53 | 10249 | -13.2 | 10376 | -14.1
9355 | 23.68 | 9161 | 20.23 | 9564 | 21.85 | 9808 | 0.6 | 10026 | -3.65 | 10486 | -3.73
9129 | 20.35 | 9369 | 21.83 | 9502 | 21.35 | 9614 | -2.98 | 10276 | -8.85 | 10487 | 1.78
9077 | 18.68 | 9547 | 23.9 | 9355 | 20.68 | 9750 | -0.35 | 10312 | -7.17 | 10611 | -4.65
9289 | 22.18 | 9614 | 25.55 | 9425 | 24.05 | 9912 | -1.6 | 10286 | -15.18 | 10435 | 1.3
9109 | 20.9 | 9784 | 28.33 | 9116 | 13.38 | 9882 | 0.65 | 10353 | -12.5 | 10220 | -0.35
8811 | 21.98 | 9634 | 24.33 | 9180 | 18.2 | 10064 | -6.65 | 10100 | -12.7 | 11139 | -12.93
9291 | 23.8 | 9587 | 22.9 | 9591 | 23.88 | 9890 | 4.1 | 10436 | -6.5 | 10851 | -15.25
9091 | 19.38 | 9173 | 15 | 9527 | 20.88 | 9982 | -4.08 | 10366 | -3 | 11020 | -20.75
9275 | 22 | 9133 | 16.35 | 9266 | 18.7 | 10096 | 2.6 | 10343 | -6.3 | 11134 | -24.93
9320 | 21.98 | 9340 | 28.45 | 8885 | 21.27 | 9900 | -1.6 | 10411 | -9.98 | 10984 | -27.95
9123 | 22.88 | 9878 | 26.45 | 9384 | 21.28 | 10186 | -10.73 | 10419 | -11.95 | 10852 | -8.45
9326 | 25.15 | 9774 | 29.1 | 9293 | 18.3 | 10186 | -11.68 | 10599 | -7.75 | 10935 | -18.38
9276 | 23.2 | 9525 | 24.1 | 9201 | 17.95 | 9927 | -0.23 | 10524 | -5.33 | 10758 | -9.73
9171 | 20.38 | 9712 | 24.58 | 9314 | 20.2 | 10131 | -9.08 | 10507 | -13.33 | 10950 | -15.05
9309 | 23.55 | 9616 | 25.28 | 9530 | 23.88 | 10151 | -3.43 | 10509 | -3.78 | 10859 | -17.4
8883 | 16 | 9335 | 18.5 | 9583 | 24.93 | 9966 | -6.43 | 10312 | -4.33 | 10623 | -7.45
8951 | 21.6 | 9084 | 17.45 | 9835 | 28.08 | 9974 | -8.2 | 10533 | -9.2 | 10610 | -1.9
8898 | 20.78 | 9341 | 23.75 | 9802 | 26.85 | 9982 | 0.18 | 10572 | -11.48 | 10848 | -19.03
8752 | 11.95 | 9581 | 25.68 | 9781 | 25.5 | 10143 | 3.53 | 10594 | -10.3 | 11045 | -16.65
8716 | 13.68 | 9710 | 29.05 | 9721 | 23.95 | 10105 | 0.43 | 10446 | -7.85 | 10796 | -17.25
9342 | 27.58 | 9762 | 24.95 | 9444 | 22 | 10050 | -7.1 | 10444 | -16.48 | 10482 | -0.45
9315 | 22.8 | 9465 | 23.2 | 9452 | 21.6 | 10022 | 0.15 | 10214 | -22.78 | 10202 | -3.75
9455 | 27.25 | 9415 | 23.9 | 9645 | 26.75 | 9820 | 3.45 | 9846 | -22.38 | 9828 | -0.1
9151 | 21.68 | 8933 | 13.78 | 9584 | 24.48 | 9209 | -2.8 | 9983 | -21.4 | 9961 | 0.97
9046 | 22.28 | 9367 | 28.55 | 9563 | 23.4 | 9600 | 2.08 | 10295 | -20.7 | 10542 | -6.78
9341 | 23.8 | 9478 | 28.98 | 9616 | 25.15 | 9719 | 0.28 | 10216 | -6.73 | 10844 | -19.35
8976 | 16.3 | 9242 | 21.5 | 9635 | 25.65 | 9561 | 2.08 | 9915 | -4.55 | 10527 | -16.98
8928 | 11.95 | 9237 | 20.25 | 9825 | 26.73 | 9584 | -1.63 | 9745 | -2.78
8863 | 18.1 | 9085 | 21.33 | 9585 | 22.48 | 9774 | 2.03 | 10411 | -1.95
8739 | 10.08 | 8565 | 17.33 | 9248 | 25.43 | 9971 | 3.43 | 10277 | -1.08
8787 | 26.28 | 8819 | 17.93 | 9725 | 22.55 | 9808 | 7.73 | 10212 | -3.33
9249 | 27.15 | 8838 | 15.43 | 9909 | 29.9 | 9963 | -0.08 | 10454 | -2.73
9300 | 29.18 | 8764 | 19.85 | 9884 | 26.78 | 9865 | -2.78 | 10377 | -3.55
9376 | 29.03 | 8898 | 22.83 | 9437 | 21.28 | 9978 | 6.48 | 10423 | -3.58
9334 | 29.5 | 8953 | 16.65 | 9601 | 24.13 | 10223 | -9.33 | 10567 | -15.23
8798 | 14.45 | 8640 | 12.93 | 9419 | 22.9 | 10174 | -7.28 | 10488 | -16.18
8646 | 11.48 | 8687 | 13.05 | 9440 | 24.53 | 10126 | -0.28 | 10484 | -3.03
8631 | 13.48 | 8812 | 22.88 | 9669 | 28.7 | 9893 | -0.58 | 10243 | -0.25
8879 | 21.73 | 8999 | 26.13 | 9509 | 26.3 | 10609 | -27.65 | 10241 | -4.95
8709 | 16.83 | 8940 | 22.78 | 9716 | 26.13 | 10494 | -28.58 | 10251 | 0.3
8746 | 14.4 | 8931 | 21.78 | 9284 | 17.85 | 10481 | -22.98 | 10105 | -1.48
8746 | 14.88 | 8958 | 21.93 | 9087 | 12.2 | 10269 | -19.3 | 10296 | -11.4
8763 | 10.93 | 9026 | 23.8 | 9174 | 20.9 | 10112 | -17.68 | 10184 | -13.48
8928 | 24.55 | 9046 | 23 | 8899 | 16.15 | 9904 | -1.53 | 10444 | -13.15
8910 | 17.63 | 9034 | 24.08 | 8909 | 15.13 | 9747 | 0.08 | 10253 | -7.68
9017 | 23.05 | 8843 | 14.65 | 8791 | 10.28 | 9653 | 0.15 | 9998 | -4.18
8955 | 19.4 | 8877 | 16.55 |  |  | 9803 | -3.43 | 10483 | -13
8972 | 20.2 | 9040 | 22.68 |  |  | 9888 | -3.15 | 10586 | -24.28
8996 | 13.53 | 9098 | 24.68 |  |  | 9855 | 1.53 | 10565 | -22.1
8958 | 17.83 |  |  |  |  | 9825 | -0.53 | 10151 | -6.65
9034 | 22.18
Note: Daily data is restricted to weekdays. Winter data includes November, December and January. Summer data includes July, August and September. Summer data excludes observations where temperature did not exceed 10°C.

## Additions and Capacity
Back
Description: Annual generation additions and retirements by fuel type and annual installed capacity. Includes new additions as well as any changes to the maximum capability of a generating asset.
Installed Generation Capacity
Fuel Type | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Coal | 5509 | 5840 | 5840 | 5893 | 5893 | 5946 | 5782 | 6244 | 6286 | 6271
Cogen | 2917 | 2952 | 3117 | 3197 | 3499 | 3606 | 3793 | 3793 | 4175 | 4245
Gas | 1772 | 1140 | 1140 | 1140 | 1120 | 926 | 920 | 919 | 945 | 965
Peaker | 125 | 125 | 125 | 125 | 327 | 649 | 658 | 681 | 682 | 682
Hydro | 869 | 869 | 869 | 869 | 869 | 869 | 879 | 879 | 894 | 894
Wind | 251 | 251 | 362 | 497 | 497 | 563 | 777 | 865 | 1087 | 1088
Other | 203 | 203 | 203 | 203 | 203 | 203 | 203 | 303 | 335 | 423
Installed Capacity | 11646 | 11380 | 11656 | 11924 | 12408 | 12762 | 13012 | 13684 | 14404 | 14568
Average hourly load | 7429.4416 | 7564.6966 | 7919.1182 | 7952.1548 | 7962.9457 | 7981.0838 | 8187.5364 | 8401.8329 | 8603.6401 | 8841
Peak hourly load | 9236 | 9580 | 9661 | 9701 | 9806 | 10236 | 10196 | 10226 | 10609 | 11139
Generation Additions and Retirements
Year | Coal | Cogen | Gas | Peaker | Hydro | Wind | Other | Total Additions | Retirements | Net Change | Pool Price
2004 | 0 | 0 | 0 | 0 | 7 | 98 | 0 | 105 | 0 | 105 | 54.59
2005 | 450 | 0 | 10 | 0 | 0 | 0 | 25 | 485 | -751 | -266 | 70.36
2006 | 0 | 165 | 0 | 0 | 0 | 111 | 0 | 276 | 0 | 276 | 80.79
2007 | 53 | 80 | 0 | 0 | 0 | 135 | 0 | 268 | 0 | 268 | 66.95
2008 | 0 | 302 | 0 | 202 | 0 | 0 | 0 | 504 | -20 | 484 | 89.95
2009 | 53 | 107 | 15 | 322 | 0 | 66 | 0 | 563 | -209 | 354 | 47.81
2010 | 115 | 184 | 7 | 9 | 10 | 214 | 2 | 541 | -291 | 250 | 50.8849
2011 | 476 | 0 | 52 | 24 | 0 | 88 | 48 | 688 | -16 | 672 | 76.22
2012 | 42 | 382 | 26 | 1 | 15 | 229 | 32 | 727 | -7 | 720 | 64.32
2013 | 13 | 139 | 20 | 0 | 0 | 1 | 19 | 192 | -28 | 164 | 80.19

## Monthly Outages
Back
Description: Average amount of generation outages by asset type.
Annual Average Generation Outages (MW)
Year | Coal Outage (Excludes SD1 and SD2 Outage) | Force Majeure Outage at SD1 and SD2 | Cogen Outage | Gas Outage | Peaker Outage | Hydro Outage | Other Outage | Pool Price
2009 | 941.0332 |  | 1021.6855 | 214.8135 | 132.3248 | 156.0154 | 9.1235 | 47.8111
2010 | 986.8525 |  | 1059.647 | 161.7588 | 165.9185 | 154.3652 | 4.2749 | 50.8849
2011 | 1074.1521 | 576 | 1070.6245 | 183.009 | 135.3409 | 247.4616 | 0.18219 | 76.2176
2012 | 872 | 576 | 1173.4674 | 181.1888 | 81.4304 | 185.8484 | 23.231 | 64.32
2013 | 889 | 427 | 1170 | 207 | 84 | 179 | 75 | 80.19

## Market Participation
Back
Description: Energy production by asset type, and marginal asset type. Note that metered volumes data exclude on-site generation serving behind-the-fence load.
Energy Production by Asset Type (Percentage of Metered Volumes)
Year | Coal | Cogen | Gas | Peaker | Hydro | Wind | Other | Imports
2004 | 74.5% | 12.4% | 3.5% | 0.1% | 3.4% | 0.9% | 0.6% | 2.6%
2005 | 76.1% | 11.4% | 1.9% | 0.1% | 4% | 1.2% | 0.6% | 2.7%
2006 | 76.5% | 10.9% | 3.5% | 0.2% | 3.2% | 1.4% | 0.7% | 2.6%
2007 | 74.2% | 12.6% | 2.5% | 0.1% | 3.4% | 2.3% | 0.7% | 2.5%
2008 | 71.8% | 13.5% | 3% | 0.2% | 3.4% | 2.5% | 0.7% | 3.8%
2009 | 71.9% | 13.5% | 3.7% | 0.3% | 2.9% | 2.6% | 0.7% | 3.5%
2010 | 70.6% | 13.8% | 3.6% | 1.1% | 2.7% | 2.6% | 0.8% | 3.8%
2011 | 66.9% | 13.1% | 4.1% | 1.5% | 3.4% | 3.9% | 0.8% | 6.1%
2012 | 63.8% | 14.9% | 4.6% | 1.6% | 3.9% | 4.1% | 0.8% | 6.1%
2013 | 63.73% | 16.47% | 4.43% | 1.59% | 3.34% | 5.06% | 1.18% | 4.21%
Marginal Asset Type (Percentage of Time Setting System Marginal Price)
Year | Coal | Cogen | Gas | Peaker | Hydro | Import | Other | Annual average pool price
2004 | 45.8% | 17.2% | 35.9% | 0.2% | 0.9% | 0% | 0% | 54.59
2005 | 57.3% | 24.1% | 16.6% | 0.1% | 1.8% | 0% | 0% | 70.36
2006 | 59.1% | 21.6% | 18% | 0.2% | 1% | 0% | 0% | 80.79
2007 | 67.9% | 17.7% | 13.6% | 0.1% | 0.7% | 0.02% | 0% | 66.95
2008 | 50.1% | 26.9% | 20.3% | 2.1% | 0.6% | 0% | 0% | 89.95
2009 | 59.9% | 16.7% | 20.7% | 2.4% | 0.2% | 0% | 0.1% | 47.81
2010 | 49.9% | 19.9% | 16% | 13.3% | 0.8% | 0% | 0.1% | 50.88
2011 | 51.8% | 18.9% | 18% | 9.3% | 1.5% | 0% | 0.4% | 76.22
2012 | 56.3% | 17.3% | 13.5% | 10.7% | 0.8% | 0% | 1.4% | 64.32
2013 | 53.08% | 19.62% | 15.23% | 8.23% | 1.16% | 0% | 2.67% | 80.19

## Supply Cushion and Pool Price
Back
Description: Supply cushion measures the undispatched energy in the energy market merit order.
Monthly Average Supply Cushion
Month | Average Pool Price ($/MWh) | Average Hourly Supply Cushion (MW)
2009-01-01 | 92.97 | 1068
2009-02-01 | 52.84 | 1206
2009-03-01 | 43.15 | 1306
2009-04-01 | 31.53 | 1341
2009-05-01 | 31.91 | 1240
2009-06-01 | 33.48 | 1747
2009-07-01 | 41.39 | 1348
2009-08-01 | 34.6 | 1594
2009-09-01 | 73.25 | 1477
2009-10-01 | 34.93 | 1712
2009-11-01 | 50.18 | 1505
2009-12-01 | 53.86 | 1453
2010-01-01 | 43.43 | 1442
2010-02-01 | 43.9 | 1392
2010-03-01 | 35.27 | 1659
2010-04-01 | 49.71 | 1227
2010-05-01 | 134.69 | 951
2010-06-01 | 57.27 | 1335
2010-07-01 | 40.01 | 1474
2010-08-01 | 38.64 | 1389
2010-09-01 | 28.42 | 1606
2010-10-01 | 30.92 | 1629
2010-11-01 | 48.13 | 1590
2010-12-01 | 58.89 | 1556
2011-01-01 | 79.05 | 1098.1247
2011-02-01 | 122.45 | 1185.7808
2011-03-01 | 48.52 | 1277.2788
2011-04-01 | 52.23 | 1453.3219
2011-05-01 | 32.27 | 1534.1939
2011-06-01 | 71.85 | 1479.0527
2011-07-01 | 61.21 | 1539.6427
2011-08-01 | 126.36 | 1233.4725
2011-09-01 | 96.57 | 1301.0395
2011-10-01 | 69.75 | 1383.1486
2011-11-01 | 108.24 | 1099.9571
2011-12-01 | 51.26 | 1385.3875
2012-01-01 | 84.54 | 1436
2012-02-01 | 43.67 | 1408
2012-03-01 | 51.08 | 1513
2012-04-01 | 41.69 | 1559
2012-05-01 | 29.46 | 1795
2012-06-01 | 49.3 | 1966
2012-07-01 | 68.39 | 2043
2012-08-01 | 56.54 | 1506
2012-09-01 | 110.39 | 1373
2012-10-01 | 91.36 | 1413
2012-11-01 | 87.41 | 1170
2012-12-01 | 57.62 | 1670
2013-01-01 | 58.02 | 1650.8
2013-02-01 | 28.71 | 1966.8
2013-03-01 | 105.63 | 1340.3
2013-04-01 | 137.66 | 1181.9
2013-05-01 | 127.66 | 1373.5
2013-06-01 | 104.77 | 1272.3
2013-07-01 | 56.14 | 1321.8
2013-08-01 | 83.64 | 1356.1
2013-09-01 | 111.98 | 1360.9
2013-10-01 | 64.56 | 1663.3
2013-11-01 | 28.34 | 1788.2
2013-12-01 | 52.26 | 1668.8

## Reserve Margin
Back
Description: The reserve margin is a calculation of the firm generation capacity at the time of a system peak that is in excess of the system annual peak demand, expressed as a percentage of the system peak. Firm generation is defined as installed generation capacity and excludes wind capacity.
Annual Reserve Margin
Year | With Intertie Capacity | Without Intertie Capacity | Maximum Hourly AIL (MWh)
2004 | 34% | 23% | 9236
2005 | 27% | 16% | 9580
2006 | 25% | 15% | 9661
2007 | 24% | 14% | 9701
2008 | 29% | 18% | 9806
2009 | 28% | 18% | 10236
2010 | 31% | 20% | 10196
2011 | 31% | 20% | 10226
2012 | 31% | 21% | 10609
2013 | 32% | 22% | 11139
Note: SD1 and SD2 are not included in total capacity for 2011 and 2012 for the reserve margin calculation, as capacity from these units was not available during those years.

## Interties
Back
Description: Imports and exports on the interties to the WECC region and Saskatchewan. Intertie utilization is calculated as hourly import or export volume divided by the import or export available transfer capability (ATC).
Annual Intertie Statistics
Intertie statistics | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Total Scheduled Imports
Imports on BC intertie (GWh) | 1073.471 | 1070.848 | 1101.207 | 927.108 | 1574.37 | 1344.024 | 1846.487 | 3047.327 | 3064.463 | 1902
Imports on SK intertie (GWh) | 418.267 | 463.726 | 415.828 | 540.113 | 673.748 | 674.583 | 358.352 | 544.16 | 514.773 | 518
Imports on MT intertie (GWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126
Total imports (GWh) | 1491.738 | 1534.574 | 1517.035 | 1467.221 | 2248.118 | 2018.607 | 2204.839 | 3591.487 | 3579.236 | 2546
Total imports as a percentage of total AIL | 2.286% | 2.316% | 2.187% | 2.106% | 3.214% | 2.887% | 3.074% | 4.88% | 4.736% | 3.287%
Total Scheduled Exports
Exports on BC intertie (GWh) | 968.434 | 987.581 | 460.05 | 885.551 | 518.453 | 487.793 | 410.989 | 70.96 | 58.839 | 223
Exports on SK intertie (GWh) | 92.94 | 50.493 | 29.415 | 87.666 | 40.306 | 25.369 | 48.392 | 47.898 | 22.959 | 32
Exports on MT intertie (GWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Total exports (GWh) | 1061.374 | 1038.074 | 489.465 | 973.217 | 558.759 | 513.162 | 459.381 | 118.858 | 81.798 | 257
Total exports as a percentage of total AIL | 1.626% | 1.567% | 0.7056% | 1.397% | 0.7988% | 0.734% | 0.6405% | 0.1615% | 0.1082% | 0.3318%
Net Imports (Imports minus Exports)
Net BC Imports (GWh) | 105.037 | 83.267 | 641.157 | 41.557 | 1055.917 | 856.231 | 1435.498 | 2976.367 | 3005.624 | 1679
Net SK Imports (GWh) | 325.327 | 413.233 | 386.413 | 452.447 | 633.442 | 649.214 | 309.96 | 496.262 | 491.814 | 486
Net MT Imports (GWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 124
Total net imports (GWh) | 430.364 | 496.5 | 1027.57 | 494.004 | 1689.359 | 1505.445 | 1745.458 | 3472.629 | 3497.438 | 2289
Total net imports as a percentage of total AIL | 0.6595% | 0.7492% | 1.481% | 0.7092% | 2.415% | 2.153% | 2.434% | 4.718% | 4.628% | 2.955%
Market Size (Total Demand)
Alberta Internal Load (GWh) | 65260.215 | 66266.742 | 69371.475 | 69660.876 | 69946.515 | 69914.294 | 71722.819 | 73600.056 | 75574 | 77451
Annual Intertie Transfer Capability Statistics
Year | WECC Export ATC (MW) |  | WECC Import ATC (MW) |  | SK Export ATC (MW) |  | SK Import ATC (MW)
| Maximum | Average | Maximum | Average | Maximum | Average | Maximum | Average
2009 | 735 | 322.0697 | 600 | 449.3664 | 61 | 36.9664 | 153 | 145.715
2010 | 735 | 388.8645 | 650 | 507.4804 | 153 | 88.1006 | 153 | 113.6707
2011 | 735 | 421.0032 | 625 | 524.5728 | 153 | 133.6339 | 153 | 136.8814
2012 | 735 | 312.5564 | 700 | 527.9855 | 153 | 145.2655 | 153 | 142.7779
2013 | 735 | 253 | 700 | 509 | 153 | 146 | 153 | 146

## Wind Generation
Back
Description: Wind capacity factor equals the wind generation divided by the total wind maximum continuous rating (MCR).
Annual Wind Generation Statistics
Year | Annual Capacity Factor | Max Capacity Factor | Installed Wind Capacity (at year end) | Total Wind Generation (GWh) | Wind Generation as a Percentage of Total AIL | Wind Capacity Factor during Annual Peak Demand
2009 | 32.9% | 95.1% | 563 | 1503 | 2.2% | 2.7%
2010 | 27.9% | 97.3% | 777 | 1552 | 2.2% | 0%
2011 | 33% | 87.6% | 865 | 2323 | 3.2% | 13.4%
2012 | 31.2% | 91.2% | 1087 | 2574 | 3.4% | 4.8%
2013 | 31.6% | 88.1% | 1088 | 3013 | 3.89% | 53.3%
Monthly Wind Generation Statistics
Month | Average Capacity Factor | Instantaneous Maximum Wind Generation | Maximum Hourly Average Wind Generation | Installed Wind Capacity
2009-01-01 | 49.8% | 478 | 472 | 497
2009-02-01 | 31.3% | 460 | 454 | 497
2009-03-01 | 42.8% | 477 | 472 | 497
2009-04-01 | 36% | 477 | 471 | 497
2009-05-01 | 31.8% | 479 | 468 | 497
2009-06-01 | 22.9% | 457 | 436 | 497
2009-07-01 | 14.8% | 416 | 392 | 497
2009-08-01 | 16.5% | 420 | 366 | 497
2009-09-01 | 25.5% | 458 | 441 | 563
2009-10-01 | 29.6% | 524 | 510 | 563
2009-11-01 | 63.6% | 548 | 535 | 563
2009-12-01 | 30.4% | 519 | 508 | 563
2010-01-01 | 30.5% | 536 | 530 | 563
2010-02-01 | 25.9% | 577 | 559 | 629
2010-03-01 | 44.7% | 608 | 601 | 629
2010-04-01 | 32.5% | 617 | 612 | 629
2010-05-01 | 20.5% | 516 | 502 | 629
2010-06-01 | 23.2% | 527 | 518 | 629
2010-07-01 | 21.8% | 557 | 549 | 629
2010-08-01 | 17.7% | 537 | 517 | 629
2010-09-01 | 21.3% | 533 | 512 | 629
2010-10-01 | 31.2% | 562 | 544 | 629
2010-11-01 | 33.4% | 634 | 624 | 695
2010-12-01 | 32.4% | 654 | 638 | 777
2011-01-01 | 35.6% | 681 | 666 | 777
2011-02-01 | 37.4% | 711 | 672 | 777
2011-03-01 | 25% | 681 | 656 | 777
2011-04-01 | 35.9% | 707 | 681 | 777
2011-05-01 | 27.6% | 681 | 641 | 777
2011-06-01 | 31.1% | 642 | 629 | 777
2011-07-01 | 24.9% | 592 | 581 | 777
2011-08-01 | 18.9% | 618 | 577 | 777
2011-09-01 | 31% | 653 | 632 | 865
2011-10-01 | 33.8% | 647 | 633 | 865
2011-11-01 | 45.1% | 717 | 699 | 865
2011-12-01 | 51% | 770 | 743 | 865
2012-01-01 | 50.8% | 796 | 789 | 865
2012-02-01 | 36.5% | 768 | 752 | 865
2012-03-01 | 41.8% | 779 | 744 | 865
2012-04-01 | 29.8% | 786 | 776 | 865
2012-05-01 | 29.5% | 740 | 724 | 965
2012-06-01 | 31.4% | 793 | 788 | 965
2012-07-01 | 18.2% | 814 | 793 | 965
2012-08-01 | 17.7% | 759 | 730 | 965
2012-09-01 | 25.1% | 818 | 787 | 965
2012-10-01 | 26.5% | 844 | 821 | 1089
2012-11-01 | 31.2% | 910 | 878 | 1087
2012-12-01 | 35.5% | 910 | 891 | 1087
2013-01-01 | 46.9% | 966 | 943 | 1087
2013-02-01 | 47.1% | 969 | 939 | 1087
2013-03-01 | 27.3% | 983 | 958 | 1087
2013-04-01 | 33.3% | 981 | 952 | 1087
2013-05-01 | 28% | 927 | 914 | 1088
2013-06-01 | 23.9% | 901 | 859 | 1088
2013-07-01 | 14.5% | 799 | 753 | 1088
2013-08-01 | 15.2% | 821 | 795 | 1088
2013-09-01 | 28.4% | 948 | 907 | 1088
2013-10-01 | 33.9% | 951 | 937 | 1088
2013-11-01 | 41% | 967 | 947 | 1088
2013-12-01 | 41.5% | 968 | 950 | 1088

## Operating Reserve
Back
Description: Operating reserve statistics.
Annual Operating Reserve Statistics
Year | Volume (GWh) |  |  | Cost ($ millions)
| Active Procured | Standby Procured | Standby Activated | Active Procured | Standby Procured | Standby Activated | Total
2009 | 5660 | 2398 | 59 | 89 | 10 | 5 | 104
2010 | 5673 | 2412 | 68 | 117 | 13 | 7 | 137
2011 | 5705 | 2311 | 51 | 307 | 16 | 6 | 329
2012 | 5901 | 2133 | 58 | 296 | 26 | 5 | 326
2013 | 6019 | 2144 | 77 | 341 | 19 | 10 | 369
Active Operating Reserve Procurements by Asset Type
Reserve Type | Year | Coal | Cogen | Gas | Peaker | Hydro | Tie | Load
Regulating Reserve | 2009 | 4.8% | 6.5% | 23.5% | 0.1% | 65.1%
| 2010 | 3.1% | 13.3% | 20.3% | 0% | 63.3%
| 2011 | 4.1% | 20.5% | 9.6% | 0% | 65.8%
| 2012 | 4.5% | 17.4% | 9.8% | 0.1% | 68.2%
| 2013 | 13.5% | 11.3% | 17.3% | 0% | 57.9%
Spinning Reserve | 2009 | 0.9% | 12.4% | 26.6% | 0.1% | 42.1% | 17.9%
| 2010 | 0.5% | 21.7% | 17.4% | 0% | 42.5% | 17.8%
| 2011 | 0.8% | 31.2% | 10% | 0.4% | 32.5% | 25.1%
| 2012 | 4.2% | 30.7% | 9.5% | 1.8% | 42.5% | 11.3%
| 2013 | 10.2% | 21.7% | 10.6% | 1.8% | 52.4% | 3.4%
Supplemental Reserve | 2009 | 0% | 6.3% | 23.7% | 6.7% | 54.2% | 1.7% | 7.4%
| 2010 | 0.1% | 6.6% | 13.1% | 14.1% | 57% | 1.5% | 7.6%
| 2011 | 0.3% | 6.5% | 6.9% | 29.4% | 44.9% | 2.1% | 9.9%
| 2012 | 2.2% | 6.9% | 7.4% | 29.8% | 42.4% | 0.9% | 10.3%
| 2013 | 4.5% | 9.2% | 11.2% | 20.8% | 40.8% | 0.9% | 12.6%

## Dispatch Down Service (DDS)
Back
Description: Dispatch Down Service (DDS) statistics including transmission must-run information.
Annual DDS Statistics
Year | TMR Dispatched (GWh) | DDS Dispatched (GWh) | Average DDS Charge per MWh ($/MWh) | Total DDS Payments ($ millions)
2009 | 1018 | 810 | 0.23 | 13.29
2010 | 792 | 538 | 0.13 | 7.71
2011 | 801 | 537 | 0.11 | 6.48
2012 | 260 | 137 | 0.03 | 1.7489
2013 | 71 | 32 | 0.01 | 0.57454
Monthly DDS Statistics
Month Date | TMR Dispatched | DDS Dispatched | DDS Offered | Percentage of TMR Offset by DDS | Percentage of Time DDS Eligible
2009-01-01 | 77180 | 65503 | 233930 | 84.9% | 87.5%
2009-02-01 | 71061 | 56345 | 190987 | 79.3% | 89.8%
2009-03-01 | 79102 | 67991 | 253002 | 86% | 92.5%
2009-04-01 | 69739 | 64441 | 202492 | 92.4% | 97.3%
2009-05-01 | 58649 | 34080 | 182361 | 58.1% | 88.3%
2009-06-01 | 122894 | 101810 | 272790 | 82.8% | 82.8%
2009-07-01 | 57631 | 34539 | 220479 | 59.9% | 63.6%
2009-08-01 | 60879 | 43001 | 215569 | 70.6% | 79.5%
2009-09-01 | 113453 | 71080 | 235014 | 62.7% | 59.5%
2009-10-01 | 124567 | 109655 | 304850 | 88% | 91.7%
2009-11-01 | 104784 | 97051 | 320470 | 92.6% | 89.4%
2009-12-01 | 78262 | 64938 | 211947 | 83% | 88.3%
2010-01-01 | 78058 | 76417 | 240610 | 97.9% | 98.6%
2010-02-01 | 69816 | 56375 | 238478 | 80.7% | 99%
2010-03-01 | 59628 | 46385 | 219003 | 77.8% | 96.8%
2010-04-01 | 60965 | 18665 | 171564 | 30.6% | 79.1%
2010-05-01 | 48280 | 3041 | 88939 | 6.3% | 58.4%
2010-06-01 | 59511 | 33364 | 144908 | 56.1% | 73.3%
2010-07-01 | 55214 | 36823 | 163494 | 66.7% | 83.9%
2010-08-01 | 62687 | 32190 | 157149 | 51.4% | 84.3%
2010-09-01 | 65935 | 53849 | 176638 | 81.7% | 95.8%
2010-10-01 | 62059 | 40171 | 192608 | 64.7% | 93.2%
2010-11-01 | 88508 | 77063 | 239371 | 87.1% | 89.9%
2010-12-01 | 80938 | 63771 | 213313 | 78.8% | 85.2%
2011-01-01 | 67097 | 40417 | 197929 | 60.2% | 76.3%
2011-02-01 | 62005 | 31225 | 135270 | 50.4% | 71.8%
2011-03-01 | 88177 | 61450 | 195264 | 69.7% | 78.4%
2011-04-01 | 68772 | 32456 | 100708 | 47.2% | 84.8%
2011-05-01 | 52462 | 46179 | 144039 | 88% | 93.4%
2011-06-01 | 53017 | 42344 | 190785 | 79.9% | 85.8%
2011-07-01 | 58089 | 50896 | 179451 | 87.6% | 90.1%
2011-08-01 | 57168 | 35051 | 153589 | 61.3% | 66.3%
2011-09-01 | 68694 | 40296 | 146307 | 58.7% | 71.7%
2011-10-01 | 70891 | 56925 | 201834 | 80.3% | 83.9%
2011-11-01 | 82424 | 42971 | 147680 | 52.1% | 70%
2011-12-01 | 71715 | 57102 | 176201 | 79.6% | 83.3%
2012-01-01 | 80276 | 61802 | 181280 | 77% | 80.6%
2012-02-01 | 60986 | 37456 | 173828 | 61% | 68.8%
2012-03-01 | 19511 | 7707 | 97660 | 39% | 57.4%
2012-04-01 | 2100 | 1003 | 96109 | 48% | 69.1%
2012-05-01 | 2932 | 1753 | 76689 | 60% | 71.4%
2012-06-01 | 891 | 399 | 37416 | 45% | 71.8%
2012-07-01 | 3228 | 1755 | 60849 | 54% | 82.6%
2012-08-01 | 35795 | 2661 | 70193 | 7% | 85.7%
2012-09-01 | 7354 | 1449 | 83422 | 20% | 56.7%
2012-10-01 | 5390 | 2746 | 88575 | 51% | 54.2%
2012-11-01 | 24430 | 4497 | 108913 | 18% | 60.2%
2012-12-01 | 16843 | 13612 | 233268 | 81% | 72.9%
2013-01-01 | 7140 | 5563 | 217587 | 77.9% | 69.9%
2013-02-01 | 10402 | 4503 | 183715 | 43.3% | 86.2%
2013-03-01 | 14662 | 3123 | 254452 | 21.3% | 48.6%
2013-04-01 | 5756 | 2579 | 147606 | 44.8% | 54.4%
2013-05-01 | 1502 | 821 | 106801 | 54.7% | 69.1%
2013-06-01 | 578 | 174 | 113256 | 30.1% | 68.9%
2013-07-01 | 431 | 355 | 54576 | 82.4% | 78.4%
2013-08-01 | 1253 | 175 | 66311 | 14% | 51.3%
2013-09-01 | 18522 | 7594 | 82827 | 41% | 67.8%
2013-10-01 | 3102 | 1042 | 82577 | 33.6% | 62.3%
2013-11-01 | 3008 | 2746 | 83259 | 91.3% | 88.7%
2013-12-01 | 4305 | 3357 | 95655 | 78% | 77.6%

## Payments to Suppliers on Margin
Back
Description: Statistics on payments to suppliers on the margin.
Annual Statistics on Payments to Suppliers on the Margin
Year | Total Payment ($ millions) | Average Range between Maximum SMP and Pool Price ($/MWh) | Average Charge ($) | Market Value ($ millions) | Percentage of Market Value
2009 | 1.243 | 10.29 | 0.02 | 2734 | 0.05%
2010 | 1.452 | 10.6 | 0.03 | 2884 | 0.05%
2011 | 2.6 | 18.72 | 0.04 | 4583.0745 | 0.06%
2012 | 2.243 | 17.11 | 0.037492 | 3902.9463 | 0.06%
2013 | 2.597 | 18.7 | 0.04 | 4861.6772 | 0.05%
Note: Market value is determined by the pool price multiplied by the AIES load in the hour
Monthly Statistics on Payments to Suppliers on the Margin
Month Date | Total Payment ($ thousands) | Average Range ($/MWh) | Average Charge ($) | Market Value ($ millions) | Percentage of Market Value
2009-01-01 | 239.6 | 23.21 | 0.05 | 476 | 0.05%
2009-02-01 | 48.6 | 9.22 | 0.01 | 235 | 0.02%
2009-03-01 | 82.2 | 8.27 | 0.02 | 208 | 0.04%
2009-04-01 | 46.9 | 6.05 | 0.01 | 138 | 0.03%
2009-05-01 | 86.6 | 6.68 | 0.02 | 142 | 0.06%
2009-06-01 | 40.4 | 3.39 | 0.01 | 152 | 0.03%
2009-07-01 | 104.5 | 8.19 | 0.02 | 193 | 0.05%
2009-08-01 | 56.9 | 6.61 | 0.01 | 161 | 0.04%
2009-09-01 | 204.1 | 18.95 | 0.04 | 348 | 0.06%
2009-10-01 | 24.4 | 2.16 | 0.01 | 165 | 0.01%
2009-11-01 | 130.5 | 16.2 | 0.03 | 237 | 0.06%
2009-12-01 | 178.5 | 14.59 | 0.03 | 279 | 0.06%
2010-01-01 | 38.5 | 4.76 | 0.01 | 219 | 0.02%
2010-02-01 | 28.2 | 3.88 | 0.01 | 196 | 0.01%
2010-03-01 | 46.5 | 7.86 | 0.01 | 168 | 0.03%
2010-04-01 | 159.1 | 18.6 | 0.04 | 222 | 0.07%
2010-05-01 | 311 | 32 | 0.07 | 625 | 0.05%
2010-06-01 | 172.2 | 12.63 | 0.04 | 261 | 0.07%
2010-07-01 | 76.5 | 6.81 | 0.02 | 192 | 0.04%
2010-08-01 | 42.1 | 4.61 | 0.01 | 183 | 0.02%
2010-09-01 | 21.2 | 2.4 | 0 | 127 | 0.02%
2010-10-01 | 42.9 | 2.61 | 0.01 | 145 | 0.03%
2010-11-01 | 184.9 | 14.58 | 0.04 | 243 | 0.08%
2010-12-01 | 301.1 | 15.94 | 0.06 | 316 | 0.1%
2011-01-01 | 271.6 | 23.56 | 0.05 | 423 | 0.06%
2011-02-01 | 383.1 | 28.82 | 0.08 | 591 | 0.06%
2011-03-01 | 94.7 | 11.04 | 0.02 | 252 | 0.04%
2011-04-01 | 164.7 | 11.18 | 0.04 | 239 | 0.07%
2011-05-01 | 46.4 | 4.05 | 0.01 | 148 | 0.03%
2011-06-01 | 122 | 12.83 | 0.03 | 343 | 0.04%
2011-07-01 | 91.5 | 9.35 | 0.02 | 312 | 0.03%
2011-08-01 | 436.9 | 36.33 | 0.09 | 640 | 0.07%
2011-09-01 | 234.8 | 16.62 | 0.05 | 473 | 0.05%
2011-10-01 | 198.7 | 16.96 | 0.04 | 337 | 0.06%
2011-11-01 | 407.9 | 39.11 | 0.08 | 559 | 0.07%
2011-12-01 | 168.8 | 15.89 | 0.03 | 267 | 0.06%
2012-01-01 | 256.831 | 17.01 | 0.05 | 465 | 0.06%
2012-02-01 | 174.931 | 12.8 | 0.04 | 211 | 0.08%
2012-03-01 | 120.449 | 12.12 | 0.02 | 262 | 0.05%
2012-04-01 | 93.725 | 8.71 | 0.02 | 194 | 0.05%
2012-05-01 | 40.194 | 3.6 | 0.01 | 141 | 0.03%
2012-06-01 | 104.727 | 11.54 | 0.02 | 230 | 0.05%
2012-07-01 | 156.413 | 8.35 | 0.03 | 368 | 0.04%
2012-08-01 | 109.735 | 16.71 | 0.02 | 296 | 0.04%
2012-09-01 | 378.543 | 34.62 | 0.08 | 512 | 0.07%
2012-10-01 | 255.289 | 25.5 | 0.05 | 462 | 0.06%
2012-11-01 | 352.875 | 36.97 | 0.07 | 452 | 0.08%
2012-12-01 | 199.577 | 17.85 | 0.04 | 310 | 0.06%
2013-01-01 | 146 | 13.97 | 0.03 | 317.1 | 0.05%
2013-02-01 | 31 | 2.98 | 0.01 | 135.53 | 0.02%
2013-03-01 | 461 | 40 | 0.09 | 547.55 | 0.08%
2013-04-01 | 347 | 27.31 | 0.07 | 671.43 | 0.05%
2013-05-01 | 283 | 26.89 | 0.06 | 628.97 | 0.05%
2013-06-01 | 146 | 19.94 | 0.03 | 495.89 | 0.03%
2013-07-01 | 119 | 8.25 | 0.02 | 293.15 | 0.04%
2013-08-01 | 206 | 19.62 | 0.04 | 432.87 | 0.05%
2013-09-01 | 191 | 19.23 | 0.04 | 564.68 | 0.03%
2013-10-01 | 359 | 23.64 | 0.07 | 322.82 | 0.11%
2013-11-01 | 57 | 4.81 | 0.01 | 147.62 | 0.04%
2013-12-01 | 252 | 16.2 | 0.04 | 304.07 | 0.08%

## Definitions
Back
Definitions
Commercial 7x16 On/Off Peak:
On-peak is defined as HE 8 to HE 23 inclusive, Monday through Sunday. Off-peak hours are all other times.
NERC On/Off Peak:
On-peak is defined as Hour Ending (HE) 8 to HE 23 inclusive, Monday through Saturday except holidays (defined by NERC). Off-peak hours are all other times.
Market Heat Rate:
The hourly pool price ($/MWh) divided by the daily average AECO natural gas price ($/GJ).
Load Factor:
Calculated as the peak hourly AIL load in a year divided by the average hourly AIL load in a year.
Export Utilization:
The export amount net of any imports divided by the export ATC.
Import Utilization:
The import amount net of any exports for each hour plus any reserves being provided over the intertie, divided by the available transfer capability (ATC).
Outages:
Defined as the maximum capability (MC) minus the hourly available capability (AC).
Reserve Margin:
Estimates the amount of firm generation capacity at the time of system peak that is in excess of annual peak demand, expressed as a percentage of the system peak. Firm generation is defined as installed generation capacity, adjusting for seasonal hydro capacity and behind-the-fence demand and generation, and excludes wind capacity.
Wind Capacity Factor:
Calculated based on the maximum continuous rating (MCR) determined from the Current Supply and Demand report.
Supply Cushion:
Measures the undispatched energy in the energy market merit order using merit order snapshots at the midpoint of the hour.
Market Value:
The sum of the AIES (metered volumes) load multiplied by the pool price.
Forecast Delta:
The percentage difference between the forecast average (based on the 2012 Long Term Outlook), Alberta Internal Load (AIL) and the actual average AIL for each month in 2012.