CIP-002-AB-5.1

Cyber Security - BES Cyber System Categorization

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

4.1. For the purpose of the requirements contained herein, the following list of entities will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly.

4.1.1. [Intentionally left blank.]

4.1.2. a legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system:

4.1.2.1. each underfrequency load shedding or under voltage load shed system that:

4.1.2.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.1.2.1.2. performs automatic load shedding under a common control system owned by the entity in subsection 4.1.2., without human operator initiation, of 300 MW or more;

4.1.2.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.1.2.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and

4.1.2.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.1.3. the operator of a generating unit and the operator of an aggregated generating facility;

4.1.4. the legal owner of a generating unit and the legal owner of an aggregated generating facility;

4.1.5. [Intentionally left blank.]

4.1.6. [Intentionally left blank.]

4.1.7. the operator of a transmission facility;

4.1.8. the legal owner of a transmission facility; and

4.1.9. the ISO.

4.2. For the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity in subsection 4.1 above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly.

4.2.1. One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system:

4.2.1.1. each underfrequency load shedding or under voltage load shed system that:

4.2.1.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.2.1.1.2. performs automatic load shedding under a common control system owned by one or more of the entities in subsection 4.2.1, without human operator initiation, of 300 MW or more;

4.2.1.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.2.1.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard;

4.2.1.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.2.2. Responsible Entities listed in subsection 4.1 other than a legal owner of an electric distribution system are responsible for:

4.2.2.1. each transmission facility that is part of the bulk electric system except each transmission facility that:

4.2.2.1.1. is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource;

4.2.2.1.2. radially connects only to load;

4.2.2.1.3. radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or

4.2.2.1.4. radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource;

4.2.2.2. a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use;

4.2.2.3. a generating unit that is:

4.2.2.3.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex;

4.2.2.3.2. within a power plant which:

4.2.2.3.2.1. is not part of an aggregated generating facility;

4.2.2.3.2.2. is directly connected to the bulk electric system; and

4.2.2.3.2.3. has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex;

4.2.2.3.3. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.3.4. a contracted blackstart resource;

4.2.2.4. an aggregated generating facility that is:

4.2.2.4.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex;

4.2.2.4.2. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.4.3. a contracted blackstart resource;

and

4.2.2.5. control centres and backup control centres.

4.2.3. The following are exempt from this reliability standard:

4.2.3.1. [Intentionally left blank.]

4.2.3.2. cyber assets associated with communication networks and data communication links between discrete electronic security perimeters.

4.2.3.3. [Intentionally left blank.]

4.2.3.4. for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection 4.2.1 above.

# Compliance Assessment

## R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each Responsible Entity shall implement a process that considers each of the following assets for purposes of parts 1.1 through 1.3: (i) control centres and backup control centres; (ii) transmission stations and substations; (iii) generating units and aggregated generating facilities; (iv) systems and facilities critical to system restoration, including contracted blackstart resources and cranking paths and initial switching requirements; (v) remedial action schemes that support the reliable operation of the bulk electric system; and (vi) for the legal owner of an electric distribution system or legal owner of a transmission facility, protection systems specified in Applicability subsection 4.2.1 above. - Identify each of the high impact BES cyber systems according to Attachment 1, Section 1, if any, at each asset; - Identify each of the medium impact BES cyber systems according to Attachment 1, Section 2, if any, at each asset; and - Identify each asset that contains a low impact BES cyber system according to Attachment 1, Section 3, if any (a discrete list of low impact BES cyber systems is not required). MR1 Acceptable evidence includes, but is not limited to, dated electronic or physical lists required by requirement R1, and Parts 1.1 and 1.2. | AR1 Please provide: - A documented process pertaining to R1. - A list of all assets pertaining to R1 (i) through R1 (vi). The list should include, but is not limited to, the following information: - Asset name, - Description, - Energization date, if the first energization occurred during the audit period, - Decommission date, if the asset was decommissioned during the audit period. | [Click and edit to enter description for AR1(i) and AR1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the Responsible Entity has a documented process to identify each high impact BES cyber system, each medium BES cyber system, and each asset that contains a low impact BES cyber system. Verify the documented process in AR1(i) considers all of the following: (i) control centres and backup control centres; (ii) transmission stations and substations; (iii) generating units and aggregated generating facilities; (iv) systems and facilities critical to system restoration, including contracted blackstart resources and cranking paths and initial switching requirements; (v) remedial action schemes that support the reliable operation of the bulk electric system; and (vi) for the legal owner of an electric distribution system or legal owner of a transmission facility, protection systems specified in Applicability subsection 4.2.1 above. | [For AESO use only] |
|  | - A list of all high impact BES cyber systems according to Attachment 1, Section 1, if any, for each asset. Note: “CIP Version 5 (Revised) Evidence Request User Guide Version 2.0” found in the NERC website at https://www.nerc.com/pa/CI/Pages/Transition-Program.aspx could be used as a template. - Network diagrams of control centres and backup control centres that contain high impact BES cyber systems, if any. | [Click and edit to enter description for AR1(iii) and AR1(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has identified all high impact BES cyber systems according to Attachment 1, Section 1, if any, at each asset. | [For AESO use only] |
|  | - A list of all medium impact BES cyber systems according to Attachment 1, Section 2, if any, at each asset. Note: “CIP Version 5 (Revised) Evidence Request User Guide Version 2.0” found in the NERC website at https://www.nerc.com/pa/CI/Pages/Transition-Program.aspx could be used as a template. - Transmission system switching map(s), if any. - Protection and control diagram(s) of each transmission station, substation or generating unit and/or aggregated generating facility that contains medium impact BES cyber systems, if any. | [Click and edit to enter description for AR1(v), AR1(vi) and AR1(vii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the Responsible Entity has identified all medium impact BES cyber systems according to Attachment 1, Section 2, if any, at each asset. | [For AESO use only] |
|  | - A list of assets that contains low impact BES cyber systems. | [Click and edit to enter description for AR1(viii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the Responsible Entity has identified each asset that contains a low impact BES cyber system according to Attachment 1, Section 3, if any. | [For AESO use only] |

Findings

[For AESO use only]

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 The Responsible Entity shall: 2.1 review the identifications in requirement R1 and its parts (and update them if there are changes identified) at least once every 15 months, even if it has no identified items in requirement R1, and 2.2 have its CIP senior manager or delegate approve the identifications required by requirement R1 at least once every 15 months, even if it has no identified items in requirement R1. MR2 Acceptable evidence includes, but is not limited to, electronic or physical dated records to demonstrate that the Responsible Entity has reviewed and updated, where necessary, the identifications required in requirement R1 and its parts, and has had its CIP senior manager or delegate approve the identifications required in requirement R1 and its parts at least once every 15 months, even if it has none identified in requirement R1 and its parts, as required by requirement R2. | - AR2 Please provide: - Evidence pertaining to R2.1, including references to the changes identified and the updates made to both process and assets, as applicable. | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the reviews of the identifications in R1 have occurred at least once every 15 months. - Verify update has been made if there are changes identified. | [For AESO use only] |
|  | - Evidence pertaining to R2.2. | [Click and edit to enter description for AR2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the approvals by the CIP senior manager or delegate of the identifications in R1 have occurred at least once every 15 months. | [For AESO use only] |
| Findings |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | December 1, 2015 | Initial version of the document |
| 2.0 | April 4, 2019 | Additional guidance provided on Evidence Submission and Assessment Approach. |