CIP-004-AB-5.1

Cyber Security – Personnel & Training

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |
| R3 | [Summary of Findings] |
| R4 | [Summary of Findings] |
| R5 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

4.1. For the purpose of the requirements contained herein, the following list of entities will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly.

4.1.1. [Intentionally left blank.]

4.1.2. a legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system:

4.1.2.1. each underfrequency load shedding or under voltage load shed system that:

4.1.2.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.1.2.1.2. performs automatic load shedding under a common control system owned by the entity in subsection 4.1.2., without human operator initiation, of 300 MW or more;

4.1.2.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.1.2.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and

4.1.2.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.1.3. the operator of a generating unit and the operator of an aggregated generating facility;

4.1.4. the legal owner of a generating unit and the legal owner of an aggregated generating facility;

4.1.5. [Intentionally left blank.]

4.1.6. [Intentionally left blank.]

4.1.7. the operator of a transmission facility;

4.1.8. the legal owner of a transmission facility; and

4.1.9. the ISO.

4.2. For the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity in subsection 4.1 above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly.

4.2.1. One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system:

4.2.1.1. each underfrequency load shedding or under voltage load shed system that:

4.2.1.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.2.1.1.2. performs automatic load shedding under a common control system owned by one or more of the entities in subsection 4.2.1, without human operator initiation, of 300 MW or more;

4.2.1.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.2.1.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard;

4.2.1.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.2.2. Responsible Entities listed in subsection 4.1 other than a legal owner of an electric distribution system are responsible for:

4.2.2.1. each transmission facility that is part of the bulk electric system except each transmission facility that:

4.2.2.1.1. is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource;

4.2.2.1.2. radially connects only to load;

4.2.2.1.3. radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or

4.2.2.1.4. radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource;

4.2.2.2. a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use;

4.2.2.3. a generating unit that is:

4.2.2.3.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex;

4.2.2.3.2. within a power plant which:

4.2.2.3.2.1. is not part of an aggregated generating facility;

4.2.2.3.2.2. is directly connected to the bulk electric system; and

4.2.2.3.2.3. has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex;

4.2.2.3.3. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.3.4. a contracted blackstart resource;

4.2.2.4. an aggregated generating facility that is:

4.2.2.4.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex;

4.2.2.4.2. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.4.3. a contracted blackstart resource;

and

4.2.2.5. control centres and backup control centres.

4.2.3. The following are exempt from this reliability standard:

4.2.3.1. [Intentionally left blank.]

4.2.3.2. cyber assets associated with communication networks and data communication links between discrete electronic security perimeters.

4.2.3.3. [Intentionally left blank.]

4.2.3.4. for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection 4.2.1 above.

4.2.3.5 Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP-002-AB-5.1 identification and categorization processes.

# Compliance Assessment

## R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |  |
| --- | --- | --- | --- | --- | --- | --- |
| R1. Each Responsible Entity shall implement one or more documented processes that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R1 – Security Awareness Program. M1. Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R1 – Security Awareness Program and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |  |
| Part 1.1 in Table R1 – Security Awareness Program Applicable Systems High Impact BES cyber systems Medium Impact BES cyber systems Requirements Security awareness that, at least once each calendar quarter, reinforces cyber security practices (which may include associated physical security practices) for the Responsible Entity’s personnel who have authorized electronic or authorized unescorted physical access to BES cyber systems. Measures An example of evidence may include, but is not limited to, documentation that the quarterly reinforcement has been provided. Examples of evidence of reinforcement may include, but are not limited to, dated copies of information used to reinforce security awareness, as well as evidence of distribution, such as: - direct communications (for example, e‐mails, memos, computer‐based training); or - indirect communications (for example, posters, intranet, or brochures); or - management support and reinforcement (for example, presentations or meetings). | AR1 Part 1.1 Please provide: - One or more documented processes pertaining to R1 Part 1.1. | [Click and edit to enter description for AR1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more processes that include R1 Part 1.1. | [For AESO use only] |  |
|  | - Evidence that the processes pertaining to R1 Part 1.1 have been implemented in each calendar quarter of the audit period for the Responsible Entity’s personnel who had authorized electronic or authorized unescorted physical access to BES cyber systems. Refer to Section 3 of ID #2017-003RS, CIP-004 Clarification of Terms for guidance on who are considered Responsible Entity’s personnel. | [Click and edit to enter description for AR1 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has reinforced security awareness at least once each calendar quarter. Verify that the security awareness reinforcement included: - reinforcement of cyber security practices, or - reinforcement of physical security practices associated with cyber security. Verify that security awareness was reinforced for the Responsible Entity’s personnel who have authorized electronic or authorized unescorted physical access to BES cyber systems. | [For AESO use only] |  |
| Findings |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, a cyber security training program(s) appropriate to individual roles, functions, or responsibilities that collectively includes each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R2 – Cyber Security Training Program. M2. Evidence must include the training program that includes each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R2 – Cyber Security Training Program and additional evidence to demonstrate implementation of the program(s). |  |  |  |  |  |
| Part 2.1 in Table R2 – Cyber Security Training Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Training content on: 2.1.1. cyber security policies; 2.1.2. physical access controls; 2.1.3. electronic access controls; 2.1.4. the visitor control program; 2.1.5. handling of BES cyber system information and its storage; 2.1.6. identification of a cyber security incident and initial notifications in accordance with the entity’s incident response plan; 2.1.7. recovery plans for BES cyber systems; 2.1.8. response to cyber security incidents; and 2.1.9. cyber security risks associated with a BES cyber system’s electronic interconnectivity and interoperability with other cyber assets. Measures Examples of evidence may include, but are not limited to, training material such as power point presentations, instructor notes, student notes, handouts, or other training materials. | AR2 Part 2.1 Please provide: - Cyber security training program(s) pertaining to R2 Part 2.1, including specific references to the training content addressing topics 2.1.1 through 2.1.9. | [Click and edit to enter description for AR2 Part 2.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity’s training program(s) collectively include content on topics 2.1.1 through 2.1.9. Verify that the Responsible Entity’s training program’s content is appropriate to individual roles, functions, or responsibilities. | [For AESO use only] |
| Part 2.2 in Table R2 – Cyber Security Training Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Require completion of the training specified in part 2.1 prior to granting authorized electronic access and authorized unescorted physical access to applicable cyber assets, except during CIP exceptional circumstances. Measures Examples of evidence may include, but are not limited to, training records and documentation of when CIP exceptional circumstances were invoked. | AR2 Part 2.2 Please provide: - A list of all personnel who were granted authorized electronic access and/or authorized unescorted physical access to applicable cyber assets per R2 Part 2.2. | [Click and edit to enter description for AR2 Part 2.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the list for completeness. | [For AESO use only] |
|  | - Evidence pertaining to R2 Part 2.2 for each personnel, including: - Dated evidence of completion of the training specified in R2 Part 2.1; - Dated evidence of access grant as per R2 Part 2.2; and - Documentation of when CIP exceptional circumstances were invoked, if any. | [Click and edit to enter description for AR2 Part 2.2 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that each personnel completed the training specified in Part 2.1 prior to being granted authorized electronic access and authorized unescorted physical access to applicable cyber assets, except during CIP exceptional circumstances. | [For AESO use only] |
|  | - If an exception is claimed under CIP exceptional circumstance policy, documentation to show that the situation is deemed as a CIP exceptional circumstance. | [Click and edit to enter description for AR2 Part 2.2 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | If the Responsible Entity has declared and responded to CIP exceptional circumstances, verify that the Responsible Entity has adhered to the applicable cyber security policies. | [For AESO use only] |
| Part 2.3 in Table R2 – Cyber Security Training Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Require completion of the training specified in Part 2.1 at least once every 15 months. Measures Examples of evidence may include, but are not limited to, dated individual training records. | AR2 Part 2.3 Please provide: - List of all personnel who had authorized electronic access and/or authorized unescorted physical access to applicable cyber assets per R2 Part 2.3. | [Click and edit to enter description for AR2 Part 2.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the list for completeness. | [For AESO use only] |
|  | - Evidence pertaining to R2 Part 2.3 for each personnel, including: - Dated evidence of completion of the training specified in R2 Part 2.1 prior to the audit period start date; and Dated evidence of completion of the training specified in R2 Part 2.1 during the audit period. | [Click and edit to enter description for AR2 Part 2.3 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify each personnel with authorized electronic access or authorized unescorted physical access to applicable cyber assets completed the training specified in Part 2.1 at least once every 15 months. | [For AESO use only] |
| Findings |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |

## R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented personnel risk assessment programs to attain and retain authorized electronic or authorized unescorted physical access to BES Cyber Systems that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R3 – Personnel Risk Assessment Program. M3. Evidence must include the documented personnel risk assessment programs that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R3 – Personnel Risk Assessment Program and additional evidence to demonstrate implementation of the program(s). |  |  |  |  |  |
| Part 3.1 in Table R3 – Personnel Risk Assessment Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Process to confirm identity. Measures An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process to confirm identity. | AR3 Part 3.1 Please provide: - One or more documented personnel risk assessment programs pertaining to R3 Part 3.1. | [Click and edit to enter description for AR3 Part 3.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence][Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more personnel risk assessment programs to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include a process pertaining to R3 Part 3.1. | [For AESO use only] |
|  | - List of all personnel (employees) who had authorized electronic and/or authorized unescorted physical access to BES cyber systems per R3 Parts 3.1 through 3.3. - Dated evidence that the processes pertaining to R3 Part 3.1 have been implemented for each personnel listed per AR3 Part 3.1 (ii). | [Click and edit to enter description for AR3 Part 3.1 (ii) and AR3 Part 3.1 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that a process to confirm identity was implemented for each personnel with authorized electronic access and/or authorized unescorted physical access to Applicable Systems. | [For AESO use only] |
| Part 3.2 in Table R3 – Personnel Risk Assessment Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Process to perform a seven year criminal history records check as part of each personnel risk assessment that includes: 3.2.1. current residence, regardless of duration; and 3.2.2. other locations where, during the seven years immediately prior to the date of the criminal history records check, the subject has resided for six consecutive months or more. If it is not possible to perform a full seven year criminal history records check, conduct as much of the seven year criminal history records check as possible and document the reason the full seven year criminal history records check could not be performed. Measures An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process to perform a seven year criminal history records check. | AR3 Part 3.2 Please provide: - One or more documented personnel risk assessment programs pertaining to R3 Part 3.2 | [Click and edit to enter description for AR3 Part 3.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more personnel risk assessment programs to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include a process pertaining to R3 Part 3.2. | [For AESO use only] |
|  | - Evidence that that the processes pertaining to R3 Part 3.2 have been implemented for each personnel listed per AR3 Part 3.1 (ii) including: - Dated evidence that a full year criminal history records check was performed in accordance with R3 Part 3.2; or - Dated evidence that as much of the seven year criminal history records check as possible was conducted in accordance with R3 Part 3.2, including the documented reason the full seven year criminal history records check could not be performed; and - References to the evidence pertaining to 3.2.1 and 3.2.2 for each personnel. | [Click and edit to enter description for AR3 Part 3.2 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the process to perform a seven year criminal history records check was implemented for each personnel with authorized electronic access and/or authorized unescorted physical access to Applicable Systems and: - A full seven year criminal history records check was completed; or - A full seven year criminal history records check was not completed, the Responsible Entity completed as much of the seven year criminal history records check as possible, and documented the reason the full seven year criminal history records check was not completed. - The personnel risk assessment includes 3.2.1 and 3.2.2. | [For AESO use only] |
| Part 3.3 in Table R3 – Personnel Risk Assessment Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Criteria or process to evaluate criminal history records checks for authorizing access. Measures An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process to evaluate criminal history records checks. | AR3 Part 3.3 Please provide: - One or more documented personnel risk assessment programs pertaining to R3 Part 3.3. | [Click and edit to enter description AR3 Part 3.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more personnel risk assessment programs to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include criteria or a process pertaining to R3 Part 3.3. | [For AESO use only] |
|  | - Evidence that a criteria or process pertaining to R3 Part 3.3 has been implemented for each personnel listed per AR3 Part 3.1 (ii). | [Click and edit to enter description for AR3 Part 3.2 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the applicable criteria or process to evaluate criminal history records checks for authorizing access was implemented for each personnel with authorized electronic access and/or authorized unescorted physical access to Applicable Systems. | [For AESO use only] |
| Part 3.4 in Table R3 – Personnel Risk Assessment Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Criteria or process for verifying that personnel risk assessments performed for contractors or service vendors are conducted according to parts 3.1 through 3.3. Measures An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s criteria or process for verifying contractors or service vendors personnel risk assessments. | AR3 Part 3.4 Please provide: (i) One or more documented personnel risk assessment programs pertaining to R3 Part 3.4. | [Click and edit to enter description for AR3 Part 3.4 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more personnel risk assessment programs to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include criteria or a process pertaining to R3 Part 3.4. | [For AESO use only] |
|  | - A list of contractors and/or service vendors who had authorized electronic and/or authorized unescorted physical access to BES cyber systems per R3 Part 3.4. - Evidence that that the criteria or process pertaining to R3 Part 3.2 has been implemented for each contractor or service vendor, including: - Dated evidence that the process to confirm identity has been conducted or verified to have been conducted in accordance with R3 Part 3.1; - Dated evidence that the process to perform a seven year criminal history records check was conducted or verified to have been conducted in accordance with R3 Part 3.2; and - Dated evidence that the criteria or process to evaluate criminal history records check has been conducted or verified to have been conducted in accordance with R3 Part 3.3, as applicable. | [Click and edit to enter description for AR3 Part 3.4 (ii), and AR3 Part 3.4 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the criteria or process for verifying that personnel risk assessments performed for contractors or service vendors conducted according to parts 3.1 through 3.3 was implemented for contractors and/or service vendors. | [For AESO use only] |
| Part 3.5 in Table R3 – Personnel Risk Assessment Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Process to ensure that individuals with authorized electronic or authorized unescorted physical access have had a personnel risk assessment completed according to parts 3.1 to 3.4 within the last seven years. Measures An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process for ensuring that individuals with authorized electronic or authorized unescorted physical access have had a personnel risk assessment completed within the last seven years. | AR3 Part 3.5 Please provide: - One or more documented process(es) pertaining to R3 Part 3.5. | [Click and edit to enter description AR3 Part 3.5 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more personnel risk assessment programs to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include a process pertaining to R3 Part 3.5. | [For AESO use only] |
|  | - Dated evidence that the process pertaining to R3 Part 3.5 has been implemented for each personnel listed per AR3 Part 3.1 (ii) and AR3 Part 3.4 (ii). | [Click and edit to enter description for AR3 Part 3.5 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | For personnel with authorized electronic access and/or authorized unescorted physical access to Applicable Systems, verify the applicable personnel risk assessment process was implemented at least once every seven years. | [For AESO use only] |
| Findings |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |

## R4

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R4. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented access management programs that collectively include each of the applicable requirement parts in CIP‐004-AB-5.1 Table R4 – Access Management Program. M4. Evidence must include the documented processes that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R4 – Access Management Program and additional evidence to demonstrate that the access management program was implemented as described in the Measures column of the table. |  |  |  |  |  |
| Part 4.1 in Table R4 – Access Management Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Process to authorize based on need, as determined by the Responsible Entity, except for CIP exceptional circumstances: 4.1.1. electronic access; 4.1.2. unescorted physical access into a physical security perimeter; and 4.1.3. access to designated storage locations, whether physical or electronic, for BES cyber system information. Measures An example of evidence may include, but is not limited to, dated documentation of the process to authorize electronic access, unescorted physical access in a physical security perimeter, and access to designated storage locations, whether physical or electronic, for BES cyber system information. | AR4 Part 4.1 Please provide: - One or more documented access management programs pertaining to R4 Part 4.1 including the ones addressing “based on need” (e.g. criteria or process used; how the approver determines that business justification is acceptable, etc.). | [Click and edit to enter description for AR4 Part 4.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access management programs which include a process pertaining to R4 Part 4.1. | [For AESO use only] |
|  | - A list of all personnel who had access per R4 Part 4.1, including: - Type(s) of access granted (i.e. 4.1.1; 4.1.2; 4.1.3); - Dates each type of access were granted; and - Type of personnel (i.e. employee; third party; contractor; service vendor). - Evidence that the program pertaining to R4 Part 4.1 has been implemented for each personnel, including: - Dated evidence of implementation of the process to authorize based on need; - Dated evidence of access granted as per R4 Part 4.1 (4.1.1; 4.1.2 and 4.1.3); and - Documentation of when CIP exceptional circumstances were invoked, if any. | [Click and edit to enter description for AR4 Part 4.1 (ii) and AR4 Part 4.1 (iii)submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that access was authorized based on need in accordance with R4 Part 4.1. | [For AESO use only] |
|  | - If an exception is claimed under CIP exceptional circumstance policy, documentation to show that the situation is deemed as a CIP exceptional circumstance. | [Click and edit to enter description for AR4 Part 4.1 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | If the Responsible Entity has declared and responded to CIP exceptional circumstances, verify that the Responsible Entity has adhered to the applicable cyber security policies. | [For AESO use only] |
| Part 4.2 in Table R4 – Access Management Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Verify at least once each calendar quarter that individuals with active electronic access or unescorted physical access have authorization records. Measures Examples of evidence may include, but are not limited to: - dated documentation of the verification between the system generated list of individuals who have been authorized for access (i.e., workflow database) and a system generated list of personnel who have access (i.e., user account listing), or - dated documentation of the verification between a list of individuals who have been authorized for access (i.e., authorization forms) and a list of individuals provisioned for access (i.e., provisioning forms or shared account listing). | AR4 Part 4.2 Please provide: (i) One or more documented access management programs pertaining to R4 Part 4.2. | [Click and edit to enter description for AR4 Part 4.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access management programs which include a process pertaining to requirement R4 Part 4.2. | [For AESO use only] |
|  | (ii) Dated records of completion of the verification process as specified in R4 Part 4.2 for each calendar quarter. | [Click and edit to enter description for AR4 Part 4.2 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has verified at least once each calendar quarter that individuals with active electronic access or unescorted physical access have authorization records. | [For AESO use only] |
| Part 4.3 in Table R4 – Access Management Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements For electronic access, verify at least once every 15 months that all user accounts, user account groups, or user role categories, and their specific, associated privileges are correct and are those that the Responsible Entity determines are necessary. Measures An example of evidence may include, but is not limited to, documentation of the review that includes all of the following: 1. a dated listing of all accounts/account groups or roles within the system; 2. a summary description of privileges associated with each group or role; 3. accounts assigned to the group or role; and 4. dated evidence showing verification of the privileges for the group are authorized and appropriate to the work function performed by people assigned to each account. | AR4 Part 4.3 Please provide: - One or more documented access management programs pertaining to R4 Part 4.3. | [Click and edit to enter description for AR4 Part 4.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access management programs which include a process pertaining to R4 Part 4.3. | [For AESO use only] |
|  | - List of all user accounts, user groups, and user roles per R4 Part 4.3. - Dated records of completion of the verification process as specified in R4 Part 4.3, including evidence demonstrating how correctness and necessity as per R4 Part 4.3 were verified. Evidence should cover all user accounts, user groups, and user roles listed per AR4 Part 4.3 (ii) and include verifications that occurred: - On or prior to the audit period start date, as deemed necessary to demonstrate verification within 15 months; and - During the audit period. | [Click and edit to enter description for AR4 Part 4.3 (ii) and AR4 Part 4.3 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has verified, at least once every 15 months, that user accounts, user account groups, or user role categories and their specific, associated privileges are correct. Verify that the Responsible Entity has verified, at least once every 15 months, that user accounts, user account groups, or user role categories and their specific, associated privileges are those that the Responsible Entity determines are necessary. | [For AESO use only] |
| Part 4.4 in Table R4 – Access Management Program Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements Verify at least once every 15 months that access to the designated storage locations for BES cyber system information, whether physical or electronic, are correct and are those that the Responsible Entity determines are necessary for performing assigned work functions. Measures An example of evidence may include, but is not limited to, the documentation of the review that includes all of the following: 1. a dated listing of authorizations for BES cyber system information; 2. any privileges associated with the authorizations; and 3. dated evidence showing a verification of the authorizations and any privileges were confirmed correct and the minimum necessary for performing assigned work functions. | AR4 Part 4.4 Please provide: - One or more documented access management programs pertaining to R4 Part 4.4. | [Click and edit to enter description for AR4 Part 4.4 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access management programs which include a process pertaining to R4 Part 4.4. | [For AESO use only] |
|  | - List of all designated storage locations per R4 Part 4.4 - Dated records of completion of the verification process as specified per R4 Part 4.4, including specific references to the evidence demonstrating how correctness and necessity as per R4 Part 4.4 were verified. Evidence should cover all designated storage locations listed per AR4 Part 4.4 (ii) and include verifications that occurred: - On or prior to the audit period start date, as deemed necessary to demonstrate verification within 15 months; and - During the audit period. | [Click and edit to enter description for AR4 Part 4.4 (ii) and AR4 Part 4.4 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has verified, at least once every 15 months, that access to the designated storage locations for BES cyber system information, whether physical or electronic, are correct. Verify that the Responsible Entity has verified, at least once every 15 months, that access to the designated storage locations for BES cyber system information, whether physical or electronic, are those that the Responsible Entity determines are necessary for performing assigned work functions. | [For AESO use only] |
| Findings |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R5. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented access revocation programs that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R5 – Access Revocation. M5. Evidence must include each of the applicable documented programs that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R5 – Access Revocation and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 5.1 in Table R5 – Access Revocation Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements A process to initiate removal of an individual’s ability for unescorted physical access and interactive remote access upon a termination action, and complete the removals within 24 hours of the termination action (Removal of the ability for access may be different than deletion, disabling, revocation, or removal of all access rights). Measures An example of evidence may include, but is not limited to, documentation of all of the following: 1. dated workflow or sign‐off form verifying access removal associated with the termination action; and 2. logs or other demonstration showing such persons no longer have access. | AR5 Part 5.1 Please provide: - One or more documented access revocation programs pertaining to R5 Part 5.1. | [Click and edit to enter description for AR5 Part 5.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access revocation programs that include a process pertaining to R5 Part 5.1. | [For AESO use only] |
|  | - A list of all personnel who were terminated and had unescorted physical access and/or interactive remote access prior to termination. The list should include the type(s) of access that each personnel had (i.e. unescorted physical access; interactive remote access). - Evidence that the program pertaining to R5 Part 5.1 has been implemented for each personnel, including: - Dated evidence of implementation of the process to initiate removal of ability for access as per R5 Part 5.1; - Records indicating the effective date and time of the termination action; and - Records indicating the date and time of the removal of ability for each type of access per R5 Part 5.1. | [Click and edit to enter description for AR5 Part 5.1 (ii) and AR5 Part 5.1 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has: - initiated removal of an individual’s ability for unescorted physical access interactive remote access upon a termination action; and - completed the removals within 24 hours of the termination action (Removal of the ability for access may be different than deletion, disabling, revocation, or removal of all access rights). | [For AESO use only] |
| Part 5.2 in Table R5 – Access Revocation Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements For reassignments or transfers, revoke the individual’s authorized electronic access to individual accounts and authorized unescorted physical access that the Responsible Entity determines are not necessary by the end of the next day following the date that the Responsible Entity determines that the individual no longer requires retention of that access. Measures An example of evidence may include, but is not limited to, documentation of all of the following: 1. dated workflow or sign‐off form showing a review of logical and physical access; and 2. logs or other demonstration showing such persons no longer have access that the Responsible Entity determines is not necessary. | AR5 Part 5.2 Please provide: (i) One or more documented access revocation programs pertaining to R5 Part 5.2 | [Click and edit to enter description for AR5 Part 5.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access revocation programs that include process pertaining to R5 Part 5.2. | [For AESO use only] |
|  | - A list of all personnel who were reassigned or transferred and had authorized electronic access to individual accounts and authorized unescorted physical access prior to the reassignment or transfer. The list should include the type(s) of access that each personnel had (i.e. authorized electronic access to individual accounts; authorized unescorted physical access). - Evidence that the program pertaining to R5 Part 5.2 has been implemented for each personnel, including: - Records indicating the date each type of access per R5 Part 5.2 were no longer required as determined by the Responsible Entity; and - Dated records of revocation of each type of access per R5 Part 5.2. | [Click and edit to enter description for AR5 Part 5.2 (ii) and AR5 Part 5.2 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has, for reassignments or transfers, revoked the individual’s authorized electronic access to individual accounts and authorized unescorted physical access that the Responsible Entity determines are not necessary by the end of the next day following the date that the Responsible Entity determines that the individual no longer requires retention of that access. | [For AESO use only] |
| Part 5.3 in Table R5 – Access Revocation Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Requirements For termination actions, revoke the individual’s access to the designated storage locations for BES cyber system information, whether physical or electronic (unless already revoked according to requirement R5.1), by the end of the next day following the effective date of the termination action. Measures An example of evidence may include, but is not limited to, workflow or signoff form verifying access removal to designated physical areas or cyber systems containing BES cyber system information associated with the terminations and dated within the next day of the termination action. | AR5 Part 5.3 Please provide: (i) One or more documented access revocation programs pertaining to R5 Part 5.3. | [Click and edit to enter description for AR5 Part 5.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access revocation programs that include process pertaining to R5 Part 5.3. | [For AESO use only] |
|  | - A list of all personnel that were terminated during the audit period who had access to designated storage locations (DSL) for BES cyber system information per R5 Part 5.3 prior to termination. The list should include the specific DSL(s) that each personnel had access to. - Evidence that the program pertaining to R5 Part 5.3 has been implemented for each personnel, including: - Records indicating the effective date of the termination action; and - Dated records of revocation of access to each DSL for BES cyber system information per R5 Part 5.3. | [Click and edit to enter description for AR5 Part 5.3 (ii) and R5 Part 5.3 (iii)submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has, for termination actions, revoked the individual’s access to the designated storage locations for BES cyber system information, whether physical or electronic (unless already revoked according to R5.1), by the end of the next day following the effective date of the termination action. | [For AESO use only] |
| Part 5.4 in Table R5 – Access Revocation Applicable Systems High Impact BES cyber systems and their associated: - electronic access control and monitoring systems. Requirements For termination actions, revoke the individual’s non‐shared user accounts (unless already revoked according to parts 5.1 or 5.3) within 30 days of the effective date of the termination action. Measures An example of evidence may include, but is not limited to, workflow or signoff form showing access removal for any individual BES cyber assets and software applications as determined necessary to completing the revocation of access and dated within thirty calendar days of the termination actions. | AR5 Part 5.4 Please provide: - One or more documented access revocation programs pertaining to R5 Part 5.4. | [Click and edit to enter description for AR5 Part 5.4 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access revocation programs that include process pertaining to R5 Part 5.4. | [For AESO use only] |
|  | (ii) A list of all personnel that were terminated who had non-shared user accounts prior to being terminated. - Evidence that the program pertaining to R5 Part 5.4 has been implemented for each personnel, including: - Records indicating the effective date of the termination action; and - Dated records of revocation of non-shared user accounts per R5 Part 5.4. | [Click and edit to enter description for AR5 Part 5.4 (ii) and AR5 Part 5.4 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity, for termination actions, has revoked the individual’s non-shared user accounts (unless already revoked according to Parts 5.1 or 5.3) within 30 days of the effective date of the termination action. | [For AESO use only] |
| Part 5.5 in Table R5 – Access Revocation Applicable Systems High Impact BES cyber systems and their associated: - electronic access control and monitoring systems. Requirements For termination actions, change passwords for shared account(s) known to the user within 30 days of the termination action. For reassignments or transfers, change passwords for shared account(s) known to the user within 30 days following the date that the Responsible Entity determines that the individual no longer requires retention of that access. If the Responsible Entity determines and documents that extenuating operating circumstances require a longer time period, change the password(s) within 10 days following the end of the operating circumstances. Measures Examples of evidence may include, but are not limited to: - workflow or sign‐off form showing password reset within 30 days of the termination; - workflow or sign‐off form showing password reset within 30 days of the reassignments or transfers; or - documentation of the extenuating operating circumstance and workflow or sign‐off form showing password reset within 10 days following the end of the operating circumstance. | AR5 Part 5.5 Please provide: - One or more documented access revocation programs pertaining to R5 Part 5.5. | [Click and edit to enter description for AR5 Part 5.5(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has documented one or more access revocation programs that include process pertaining to R5 Part 5.5. | [For AESO use only] |
|  | - A list of all personnel who were terminated, reassigned or transferred and had knowledge of shared accounts prior to termination, reassignment or transfer. - Evidence that the program pertaining to R5 Part 5.5 has been implemented for each terminated personnel, including: - Records indicating the effective date of the termination action; and - Dated records of changes to passwords for shared accounts known to user per R5 Part 5.5; and - Documentation of extenuating operating circumstances invoked, if any, which includes the end date of the operating circumstance(s). | [Click and edit to enter description for AR5 Part 5.5(ii) and AR5 Part 5.5(iii)submitted evidence] | [Click and edit to embed file or link to evidence] | For termination actions that do not invoke extenuating operating circumstances, verify the passwords to shared accounts known to the user have been changed within 30 days of the termination action. For termination actions that invoke extenuating operating circumstances, verify the passwords to shared accounts known to the user have been changed within 10 days following the end of the extenuating operating circumstances. | [For AESO use only] |
|  | - Evidence that the program pertaining to R5 Part 5.5 has been implemented for each reassigned or transferred personnel, including: - Records indicating the date access to shared accounts per R5 Part 5.5 were no longer required as determined by the Responsible Entity; - Dated records of changes to passwords for shared accounts known to user per R5 Part 5.5. - Documentation of extenuating operating circumstances invoked, if any, which includes the end date of the operating circumstance(s). | [Click and edit to enter description for AR5 Part 5.5(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | For reassignments or transfers that do not invoke extenuating operating circumstances, verify the passwords to shared accounts known to the user have been changed within 30 days of the date that the Responsible Entity determines the individual no longer requires retention of the access. For reassignments or transfers that invoke extenuating operating circumstances, verify the passwords to shared accounts known to the user have been changed within 10 days following the end of the extenuating operating circumstances. | [For AESO use only] |
| Findings |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | December 1, 2015 | Initial version of Worksheet |
| 2.0 | April 4, 2019 | Additional guidance provided on Evidence Submission and Assessment Approach. |

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.