CIP-005-AB-5

Cyber Security – Electronic Security Perimeter(s)

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

4.1. For the purpose of the requirements contained herein, the following list of entities will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly.

4.1.1. [Intentionally left blank.]

4.1.2. a legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system:

4.1.2.1. each underfrequency load shedding or under voltage load shed system that:

4.1.2.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.1.2.1.2. performs automatic load shedding under a common control system owned by the entity in subsection 4.1.2., without human operator initiation, of 300 MW or more;

4.1.2.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.1.2.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and

4.1.2.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.1.3. the operator of a generating unit and the operator of an aggregated generating facility;

4.1.4. the legal owner of a generating unit and the legal owner of an aggregated generating facility;

4.1.5. [Intentionally left blank.]

4.1.6. [Intentionally left blank.]

4.1.7. the operator of a transmission facility;

4.1.8. the legal owner of a transmission facility; and

4.1.9. the ISO.

4.2. For the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity in subsection 4.1 above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly.

4.2.1. One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system:

4.2.1.1. each underfrequency load shedding or under voltage load shed system that:

4.2.1.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.2.1.1.2. performs automatic load shedding under a common control system owned by one or more of the entities in subsection 4.2.1, without human operator initiation, of 300 MW or more;

4.2.1.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.2.1.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and

4.2.1.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.2.2. Responsible Entities listed in subsection 4.1 other than a legal owner of an electric distribution system are responsible for:

4.2.2.1. each transmission facility that is part of the bulk electric system except each transmission facility that:

4.2.2.1.1. is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource;

4.2.2.1.2. radially connects only to load;

4.2.2.1.3. radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or

4.2.2.1.4. radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource;

4.2.2.2. a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use;

4.2.2.3. a generating unit that is:

4.2.2.3.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex;

4.2.2.3.2. within a power plant which:

4.2.2.3.2.1. is not part of an aggregated generating facility;

4.2.2.3.2.2. is directly connected to the bulk electric system; and

4.2.2.3.2.3. has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex;

4.2.2.3.3. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.3.4. a contracted blackstart resource;

4.2.2.4. an aggregated generating facility that is:

4.2.2.4.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex;

4.2.2.4.2. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.4.3. a contracted blackstart resource;

and

4.2.2.5. control centres and backup control centres.

4.2.3. The following are exempt from this reliability standard:

4.2.3.1. [Intentionally left blank.]

4.2.3.2. cyber assets associated with communication networks and data communication links between discrete electronic security perimeters.

4.2.3.3. [Intentionally left blank.]

4.2.3.4. for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection 4.2.1 above.

4.2.3.5. Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP‐002-AB‐5.1 identification and categorization processes.

# Compliance Assessment

## R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1. Each Responsible Entity shall implement one or more documented processes that collectively include each of the applicable requirement parts in CIP‐005-AB‐5 Table R1 – Electronic Security Perimeter. M1. Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP‐005-AB‐5 Table R1 – Electronic Security Perimeter and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 1.1 in Table R1 – Electronic Security Perimeter Applicable Systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems and their associated: - protected cyber assets Requirements All applicable cyber assets connected to a network via a routable protocol shall reside within a defined electronic security perimeter. Measures An example of evidence may include, but is not limited to, a list of all electronic security perimeters with all uniquely identifiable applicable cyber assets connected via a routable protocol within each electronic security perimeter. | AR1 Part 1.1 Please provide: - One or more documented processes pertaining to R1 Part 1.1. | [Click and edit to enter description for AR1 Part 1.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes which include that all applicable cyber assets connected to a network via a routable protocol shall reside within a defined electronic security perimeter. | [For AESO use only] |
|  | - A list of Applicable Systems subject to R1 Part 1.1. - A list of defined electronic security perimeters and the applicable cyber assets that reside therein. - The network diagram(s) for each defined electronic security perimeter. - Evidence that one or more documented processes pertaining to R1 Part 1.1 have been implemented for each applicable cyber asset which may include, but is not limited to, screenshots generated by system utility or network scanning tools. | [Click and edit to enter description for AR1 Part 1.1 (ii), AR1 Part 1.1 (iii), AR1 Part 1.1 (iv), AR1 Part 1.1 (v) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify all applicable cyber assets connected to a network via a routable protocol resides within a defined electronic security perimeter. | [For AESO use only] |
| Part 1.2 in Table R1 – Electronic Security Perimeter Applicable Systems High Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements All external routable connectivity must be through an identified electronic access point. Measures An example of evidence may include, but is not limited to, network diagrams showing all external routable communication paths and the identified electronic access points. | AR1 Part 1.2 Please provide: - One or more documented processes pertaining to R1 Part 1.2. | [Click and edit to enter description for AR1 Part 1.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes which include all external routable connectivity must be through an identified electronic access point. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R1 Part 1.2. - A list of all applicable electronic access points. - Evidence that one or more documented processes pertaining to R1 Part 1.2 have been implemented. | [Click and edit to enter description for AR1 Part 1.2 (ii), AR1 Part 1.2 (iii), and AR1 Part 1.2 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify all external routable connectivity must be through an identified electronic access point. | [For AESO use only] |
| Part 1.3 in Table R1 – Electronic Security Perimeter Applicable systems Electronic access points for High Impact BES cyber systems Electronic access points for Medium Impact BES cyber systems Requirements Require inbound and outbound access permissions, including the reason for granting access, and deny all other access by default. Measures An example of evidence may include, but is not limited to, a list of rules (firewall, access control lists, etc.) that demonstrate that only permitted access is allowed and that each access rule has a documented reason. | AR1 Part 1.3 Please provide: - One or more dated documented processes pertaining to R1 Part 1.3. | [Click and edit to enter description for AR1 Part 1.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes which require inbound and outbound access permissions, including the reason for granting access, and deny all other access by default. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R1 Part 1.3. - A list of inbound and outbound access permissions rules for each electronic access point, preferably in a spreadsheet format. - Evidence that one or more documented processes pertaining to R1 Part 1.3 have been implemented at each electronic access point which may include, but is not limited to, configuration files of electronic access points or screenshots generated by system utility or port scanning tools. | [Click and edit to enter description for AR1 Part 1.3 (ii), AR1 Part 1.3 (iii),and AR1 Part 1.3 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | - For each electronic access point, verify: - rules of inbound and outbound access permission have been implemented. - the reason of granting access. - all other access are denied by default. | [For AESO use only] |
| Part 1.4 in Table R1 – Electronic Security Perimeter Applicable Systems High Impact BES cyber systems with dial‐up connectivity and their associated: - protected cyber assets Medium Impact BES cyber systems with dial‐up connectivity and their associated: - protected cyber assets Requirements Where technically feasible, perform authentication when establishing dial‐up connectivity with applicable cyber assets. Measures An example of evidence may include, but is not limited to, a documented process that describes how the Responsible Entity is providing authenticated access through each dial‐up connection. | AR1 Part 1.4 Please provide: - One or more documented processes pertaining to R1 Part 1.4. | [Click and edit to enter description for AR1 Part 1.4 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to perform authentication when establishing dial-up connectivity with applicable cyber assets, where technically feasible. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R1 Part 1.4. - A list of all applicable cyber assets that are accessed through dial-up connectivity. - Evidence that one or more documented processes pertaining to R1 Part 1.4 have been implemented for each applicable cyber assets that are accessed through dial-up connectivity. - If dial-up connectivity is not allowed to access applicable cyber assets in all Applicable System, an attestation letter to this effect. | [Click and edit to enter description for AR1 Part 1.4 (ii), AR1 Part 1.4 (iii), AR1 Part 1.4 (iv), AR1 Part 1.4 (v) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify that authentication is performed when establishing dial‐up connectivity with applicable cyber assets. If dial-up connectivity is not allowed to access applicable cyber assets in all Applicable System, verify the attestation letter. | [For AESO use only] |
|  | - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR1 Part 1.4 (vi) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Part 1.5 in Table R1 – Electronic Security Perimeter Applicable Systems Electronic access points for High Impact BES cyber systems Electronic access points for Medium Impact BES cyber systems at control centres Requirements Have one or more methods for detecting known or suspected malicious communications for both inbound and outbound communications. Measures An example of evidence may include, but is not limited to, documentation that malicious communications detection methods (e.g. intrusion detection system, application layer firewall, etc.) are implemented. | AR1 Part 1.5 Please provide: - One or more documented processes pertaining to R1 Part 1.5. | [Click and edit to enter description for AR1 Part 1.5 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes which include having one or more methods for detecting known or suspected malicious communications for both inbound and outbound communications of each electronic access point. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R1 Part 1.5. - A list of all methods for detecting known or suspected malicious communications for both inbound and outbound communications. - Evidence that one or more processes pertaining to R1 Part 1.5 have been implemented for each method which may include, but is not limited to, the configuration files or logs of detection of malicious communications. | [Click and edit to enter description for AR1 Part 1.5 (ii), AR1 Part 1.5 (iii) and AR1 Part 1.5 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the Responsible Entity has deployed one or more methods for detecting known or suspected malicious communications for both inbound and outbound communications. | [For AESO use only] |
| Findings |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description |  | Evidence | Assessment Approach | Auditor Notes |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R2. Each Responsible Entity allowing Interactive Remote Access to BES cyber systems shall implement one or more documented processes that collectively include the applicable requirement parts, where technically feasible, in CIP‐005-AB ‐5 Table R2 – Interactive Remote Access Management. M2. Evidence must include the documented processes that collectively address each of the applicable requirement parts in CIP‐005-AB ‐5 Table R2 – Interactive Remote Access Management and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |  |
| Part 2.1 in Table R2 – Interactive Remote Access Management Applicable Systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements Utilize an intermediate system such that the cyber asset initiating interactive remote access does not directly access an applicable cyber asset. Measures Examples of evidence may include, but are not limited to, network diagrams or architecture documents. | AR2 Part 2.1 Please provide: - One or more documented processes pertaining to R2 Part 2.1. | [Click and edit to enter description for AR2 Part 2.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] |  | - Verify the Responsible Entity has documented one or more processes which include the utilization of an intermediate system such that the cyber asset initiating interactive remote access does not directly access an applicable cyber asset. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R2 Part 2.1. - A list of all intermediate systems that are utilized for interactive remote access pursuant to R2 Part 2.1. - Evidence that one or more processes pertaining to R2 Part 2.1 have been implemented. | [Click and edit to enter description for AR2 Part 2.1 (ii), AR2 Part 2.1 (iii), and AR2 Part 2.1 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] |  | - Verify the Responsible Entity has utilized an intermediate system for interactive remote access such that the cyber asset initiating interactive remote access does not directly access an applicable cyber asset. | [For AESO use only] |
|  | - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR2 Part 2.1 (v) submitted evidence] | [Click and edit to embed file or link to evidence] |  | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Part 2.2 in Table R2 – Interactive Remote Access Management Applicable Systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements For all interactive remote access sessions, utilize encryption that terminates at an intermediate system. Measures An example of evidence may include, but is not limited to, architecture documents detailing where encryption initiates and terminates. | AR2 Part 2.2 Please provide: - One or more documented processes pertaining to R2 Part 2.2. | [Click and edit to enter description for AR2 Part 2.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] |  | - Verify the Responsible Entity has documented one or more processes which include utilizing encryption that terminates at an intermediate system for all interactive remote access sessions. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R2 Part 2.2. - Evidence that the processes pertaining to R2 Part 2.2 have been implemented which may include, but is not limited to, configuration files of intermediate systems and encryption settings. | [Click and edit to enter description for AR2 Part 2.2 (ii) and AR2 Part 2.2 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | - Verify all interactive remote access utilize encryption that terminates at an intermediate system. | [For AESO use only] |
|  | - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR2 Part 2.2 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] |  | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Part 2.3 in Table R2 – Interactive Remote Access Management Applicable systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements Require multi‐factor authentication for all interactive remote access sessions. Measures An example of evidence may include, but is not limited to, architecture documents detailing the authentication factors used. Examples of authenticators may include, but are not limited to, - something the individual knows such as passwords or PINs. This does not include User ID; - something the individual has such as tokens, digital certificates, or smart cards; or - something the individual is such as fingerprints, iris scans, or other biometric characteristics. | AR2 Part 2.3 Please provide: - One or more documented processes pertaining to R2 Part 2.3. | [Click and edit to enter description for AR2 Part 2.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] |  | - Verify the Responsible Entity has documented one or more processes which require multi-factor authentication for all interactive remote access sessions. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R2 Part 2.3. - Evidence that one or more processes pertaining to R2 Part 2.3 have been implemented which may include, but is not limited, to configuration files of authentication servers or multi-factor authentication settings. | [Click and edit to enter description for AR2 Part 2.3 (ii) and AR2 Part 2.3 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | - Verify multi-factor authentication is required for all interactive remote access sessions. | [For AESO use only] |
|  | - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR2 Part 2.3 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] |  | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Findings |  |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |  |

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | December 1, 2015 | Initial version of Worksheet |
| 1.1 | May 15, 2018 | Wording changes to Part 1.3 Measures |
| 2.0 | April 4, 2019 | Additional guidance provided on Evidence Submission and Assessment Approach. |

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.