# CIP-005-AB-7

# Cyber Security – Electronic Security Perimeter(s)

# Standard Effective Date: October 1, 2024

## Audit Summary

| Registered Entity | [Registered Entity name as it appears in the AESO ARS Registry] |
| --- | --- |
| Functional Entity | [Functional entities for which the Registered Entity above was registered during the audit period] |
| Audit Period | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] Note: Submitted evidence must demonstrate compliance for the entire audit period. |
| Audit | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) |
| Suspected Non-Compliance to the standard? | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5]. |
| Date of Completion | [Use YYYY-MM-DD format] |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | Suspected Contraventions | AESO Use Only |
| --- | --- | --- |
|  | Areas of Concern and Observations | AESO Use Only |
| R2 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R3 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |

## Contact Information

| Audited Entity |  |
| --- | --- |
| Compliance Primary | Name: Title: Phone: Email: |
| Subject Matter Expert | Name: Title: Phone: Email: |

| AESO Team |  |
| --- | --- |
| Lead Auditor | Name: Title: Phone: Email: |
| Auditor | Name: Title: Phone: Email: |
| Compliance Manager | Name: Title: Phone: Email: |
| Standard Owner | Name: Title: Phone: Email: |

## Applicability

4.1. Functional Entities: For the purpose of the requirements contained herein, the following list of functional entities will be collectively referred to as “Responsible Entities.” For requirements in this standard where a specific functional entity or subset of functional entities are the applicable entity or entities, the functional entity or entities are specified explicitly.

4.1.1. [Intentionally left blank.]

4.1.2. a legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system:

4.1.2.1. Each underfrequency load shedding or under voltage load shed system that:

4.1.2.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.1.2.1.2. performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more;

4.1.2.2. Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.1.2.3. Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to any electric distribution system where the protection system is subject to one or more requirements in a reliability standard; and

4.1.2.4. Each cranking path and group of elements meeting the initial switching requirements from a blackstart resource up to and including the first point of connection of the starting station service of the next generating unit(s) or aggregated generating facility(ies)  to be started.

4.1.3. the operator of a generating unit that is part of the bulk electric system and the operator of an aggregated generating facility that is part of the bulk electric system;

4.1.4. the legal owner of a generating unit that is part of the bulk electric system and the legal owner of an aggregated generating facility that is part of the bulk electric system;

4.1.5. [Intentionally left blank.]

4.1.6. the operator of a transmission facility;

4.1.7. the legal owner of a transmission facility; and

4.1.8. the ISO.

4.2. Facilities: For the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity in Section 4.1 above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly.

4.2.1. Legal owner of an electric distribution system and legal owner of a transmission facility: One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system:

4.2.1.1. Each underfrequency load shedding or under voltage load shed system that:

4.2.1.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.2.1.1.2. performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more.

4.2.1.2. Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard.

4.2.1.3. Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to any transmission facility or electric distribution system where the protection system is subject to one or more requirements in a reliability standard.

4.2.1.4. Each cranking path and group of elements meeting the initial switching requirements from a blackstart resource up to and including the first point of connection of the starting station service of the next generating unit(s) or aggregated generating facility(ies)) to be started.

4.2.2. Responsible Entities listed in 4.1 other than a legal owner of an electric distribution system:

all bulk electric system facilities.

4.2.3. Exemptions: The following are exempt from CIP-005-AB-7:

4.2.3.1. Cyber assets at facilities regulated by the Canadian Nuclear Safety Commission.

4.2.3.2. Cyber assets associated with communication networks and data communication links between discrete electronic security perimeters.

4.2.3.3. [Intentionally left blank.].

4.2.3.4. For the legal owner of an electric distribution system, the systems and equipment that are not included in section 4.2.1 above.

4.2.3.5. Responsible Entities that identify that they have no BES cyber systems categorized as high impact or medium impact according to the CIP‐002 identification and categorization processes.

## Notes on Applicability

- Applicability varies between CIP standards. Be sure to review the applicability for each CIP standard. Differences include but may not be limited to:

  - CIP-005, CIP-010 and CIP-013 include exemption 4.2.3.5, CIP-003 does not.

  - CIP-013 does not include criterion 4.1.2.4 which is present in all other CIP standards.

## Compliance Assessment

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R1 Each Responsible Entity shall implement one or more documented processes that collectively include each of the applicable requirement parts in CIP‐005-AB‐5 Table R1 – Electronic Security Perimeter. |  |  | - M1 Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP‐005-AB‐5 Table R1 – Electronic Security Perimeter and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |
| Part 1.1 in Table R1 – Electronic Security Perimeter - Applicable Systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems and their associated: - protected cyber assets Requirements All applicable cyber assets connected to a network via a routable protocol shall reside within a defined electronic security perimeter |  |  | - M1.1 An example of evidence may include, but is not limited to, a list of all electronic security perimeters with all uniquely identifiable applicable cyber assets connected via a routable protocol within each electronic security perimeter. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR1.1 Please provide: - One or more documented processes pertaining to R1 Part 1.1. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period which require that all applicable cyber assets connected to a network via a routable protocol reside within a defined electronic security perimeter. | For AESO use only |  |
| - A list of BES cyber systems subject to R1 Part 1.1, their BES cyber assets and associated protected cyber assets, and the defined electronic security perimeters in which the cyber assets reside. - The network diagram(s) for each defined electronic security perimeter. If there are more than 9 electronic security perimeters at a particular impact level in the list in item (ii), an example network diagram at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. - Evidence that one or more documented processes pertaining to R1 Part 1.1 have been implemented and that each applicable cyber asset resides within a defined electronic security perimeter. If there are more than 9 electronic security perimeters at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify all applicable cyber assets connected to a network via a routable protocol reside within a defined electronic security perimeter throughout the entire audit period. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R1.1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 1.2 in Table R1 – Electronic Security Perimeter Applicable Systems High Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements All external routable connectivity must be through an identified electronic access point. |  |  | - M1.2 An An example of evidence may include, but is not limited to, network diagrams showing all external routable communication paths and the identified electronic access points. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR1.2 Please provide: - One or more documented processes pertaining to R1 Part 1.2. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period which ensure that all external routable connectivity passes through an identified electronic access point. | For AESO use only |  |
| - A list of BES cyber systems subject to R1 Part 1.2, their BES cyber assets and associated protected cyber assets, the defined electronic security perimeters in which the cyber assets reside and all electronic access points for each electronic security perimeter. - Evidence that one or more documented processes pertaining to R1 Part 1.2 have been implemented and all external routable connectivity passes through an identified electronic access point. If there are more than 9 electronic security perimeters at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify all external routable connectivity is through an identified electronic access point and that this has been the case throughout the entire audit period. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R1.2. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 1.3 in Table R1 – Electronic Security Perimeter Applicable systems - Electronic access points for High Impact BES cyber systems - Electronic access points for Medium Impact BES cyber systems Requirements Require inbound and outbound access permissions, including the reason for granting access, and deny all other access by default. |  |  | - M1.3 An example of evidence may include, but is not limited to, a list of rules (firewall, access control lists, etc.) that demonstrate that only permitted access is allowed and that each access rule has a documented reason. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR1.3 Please provide: - One or more dated documented processes pertaining to R1 Part 1.3. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period which require inbound and outbound access permissions, including identifying and documenting the reason for granting access, and deny all other access by default. | For AESO use only |  |
| - A list of all electronic access points subject to R1 Part 1.3. - A list of inbound and outbound access permission rules for each electronic access point, including the reason each rule is required, preferably in a spreadsheet format. If there are more than 9 electronic access points at a particular impact level in the list in item (ii), an example list at each impact level may be provided instead, and the auditor will sample for additional lists. - Evidence that one or more documented processes pertaining to R1 Part 1.3 have been implemented at each electronic access point which may include, but is not limited to, configuration files for electronic access points. If there are more than 9 electronic access points at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | - For each electronic access point, verify: - rules for inbound and outbound access permission have been implemented, - the reason(s) for granting access have been identified and documented, and - all other access is denied by default - throughout the entire audit period. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R1.3. | Provide descriptions for other submitted evidence: | Relative link to evidence: | - Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 1.4 in Table R1 – Electronic Security Perimeter Applicable Systems High Impact BES cyber systems with dial‐up connectivity and their associated: - protected cyber assets Medium Impact BES cyber systems with dial‐up connectivity and their associated: - protected cyber assets Requirements Where technically feasible, perform authentication when establishing dial‐up connectivity with applicable cyber assets. |  |  | An example of evidence may include, but is not limited to, a documented process that describes how the Responsible Entity is providing authenticated access through each dial‐up connection. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR1.4 Please provide: - One or more documented processes pertaining to R1 Part 1.4. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period to perform authentication when establishing dial-up connectivity with applicable cyber assets, where technically feasible. | For AESO use only |  |
| - A list of all BES cyber systems subject to R1 Part 1.4, and the associated BES cyber assets and protected cyber assets that are accessible through dial-up connectivity. - Evidence that one or more documented processes pertaining to R1 Part 1.4 have been implemented for each applicable cyber asset that is accessible through dial-up connectivity. If there are more than 9 applicable cyber assets at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. - If the Responsible Entity does not allow dial-up connectivity for access to any applicable cyber assets at particular impact level, an attestation letter to this effect. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify that authentication is performed when establishing dial‐up connectivity with applicable cyber assets, and that this has been the case throughout the entire audit period. If the Responsible Entity does not allow dial-up connectivity for access to any applicable cyber assets at a particular impact level, verify the attestation letter covers all of the applicable cyber assets and the entire audit period. | For AESO use only |  |
| - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the terms and conditions of each approved Technical Feasibility Exception have been implemented. |  |  |
| or any other evidence to demonstrate compliance with R1.4. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 1.5 in Table R1 – Electronic Security Perimeter Applicable Systems - Electronic access points for High Impact BES cyber systems - Electronic access points for Medium Impact BES cyber systems at control centres Requirements Have one or more methods for detecting known or suspected malicious communications for both inbound and outbound communications. |  |  | An example of evidence may include, but is not limited to, documentation that malicious communications detection methods (e.g., intrusion detection system, application layer firewall, etc.) are implemented. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| - AR1.5 Please provide: - One or more documented processes pertaining to R1 Part 1.5. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period which include one or more methods for detecting known or suspected malicious communications for both inbound and outbound communications on each electronic access point. | For AESO use only |  |
| - A list of all electronic access points subject to R1 Part 1.5 and the methods used for detecting known or suspected malicious communications for both inbound and outbound communications on each electronic access point. - Evidence that one or more processes pertaining to R1 Part 1.5 have been implemented which may include, but is not limited to, configuration files or logs of detection of malicious communications. If there are more than 9 electronic access points at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify the Responsible Entity has implemented one or more methods for detecting known or suspected malicious communications for both inbound and outbound communications on each electronic access point throughout the entire audit period. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R1.5. | Provide descriptions for other submitted evidence: | Relative link to evidence: | - Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R2. Each Responsible Entity allowing Interactive Remote Access to BES cyber systems shall implement one or more documented processes that collectively include the applicable requirement parts, where technically feasible, in CIP‐005-AB ‐5 Table R2 – Interactive Remote Access Management. |  |  | M2. Evidence must include the documented processes that collectively address each of the applicable requirement parts in CIP‐005-AB ‐5 Table R2 – Interactive Remote Access Management and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |
| Part 2.1 in Table R2 – Interactive Remote Access Management Applicable Systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements Utilize an intermediate system such that the cyber asset initiating interactive remote access does not directly access an applicable cyber asset. |  |  | M2.1 Examples of evidence may include, but are not limited to, network diagrams or architecture documents. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR2.1 Please provide: - One or more documented processes pertaining to R2 Part 2.1. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify the Responsible Entity has documented one or more processes throughout the entire audit period which require the utilization of an intermediate system such that the cyber asset initiating interactive remote access does not directly access an applicable cyber asset. | For AESO use only |  |
| - A list of all BES cyber systems and their associated protected cyber assets subject to R2 Part 2.1 and the intermediate systems that are utilized for interactive remote access to each BES cyber system or protected cyber asset pursuant to R2 Part 2.1. - Evidence that one or more processes pertaining to R2 Part 2.1 have been implemented, which may include but is not limited to network diagrams, configuration files, and electronic access point rules enforcing the use of intermediate systems. If there are more than 9 BES cyber systems at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity all interactive remote access utilizes an intermediate system throughout the entire audit period such that the cyber asset initiating interactive remote access does not directly access an applicable cyber asset. | For AESO use only |  |
| - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the terms and conditions of each approved Technical Feasibility Exception have been implemented. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R2.1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 2.2 in Table R2 – Interactive Remote Access Management Applicable Systems High Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements For all interactive remote access sessions, utilize encryption that terminates at an intermediate system. |  |  | - M2.2 An example of evidence may include, but is not limited to, architecture documents detailing where encryption initiates and terminates. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR2.2 Please provide: - One or more documented processes pertaining to R2 Part 2.2. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period which utilize encryption that terminates at an intermediate system for all interactive remote access sessions. | For AESO use only |  |
| - A list of all BES cyber systems and their associated protected cyber assets subject to R2 Part 2.2 and the intermediate systems that are utilized to encrypt interactive remote access sessions to each BES cyber system or protected cyber asset pursuant to R2 Part 2.2. - Evidence that the processes pertaining to R2 Part 2.2 have been implemented which may include, but is not limited to, configuration files of intermediate systems and encryption settings. If there are more than 9 intermediate systems at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify all interactive remote access utilizes encryption that terminates at an intermediate system and that this has been the case throughout the entire audit period. | For AESO use only |  |
| - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the terms and conditions of each approved Technical Feasibility Exception have been implemented. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R2.2. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 2.3 in Table R2 – Interactive Remote Access Management Applicable systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements Require multi‐factor authentication for all interactive remote access sessions. |  |  | M2.3 An example of evidence may include, but is not limited to, a list of rules (firewall, access control lists, etc.) that d An example of evidence may include, but is not limited to, architecture documents detailing the authentication factors used. Examples of authenticators may include, but are not limited to, - something the individual knows such as passwords or PINs. This does not include User ID; - something the individual has such as tokens, digital certificates, or smart cards; or - something the individual is such as fingerprints, iris scans, or other biometric characteristics. demonstrate that only permitted access is allowed and that each access rule has a documented reason. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR2.3 Please provide: - One or more documented processes pertaining to R2 Part 2.3. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify the Responsible Entity has documented one or more processes throughout the entire audit period which require multi-factor authentication for all interactive remote access sessions. | For AESO use only |  |
| - A list of all BES cyber systems and their associated protected cyber assets subject to R2 Part 2.3 and the intermediate systems that are utilized to implement multi-factor authentication for interactive remote access to each BES cyber system or protected cyber asset pursuant to R2 Part 2.3. - Evidence that the processes pertaining to R2 Part 2.3 have been implemented which may include, but is not limited to, configuration files of authentication servers or multi-factor authentication settings. If there are more than 9 intermediate systems at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify all interactive remote access sessions require multi-factor authentication and that this has been the case throughout the entire audit period. | For AESO use only |  |
| - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the terms and conditions of each approved Technical Feasibility Exception have been implemented. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R2.3. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 2.4 in Table R2 – Interactive Remote Access Management Applicable systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements Have one or more methods for determining active vendor remote access sessions (including Interactive Remote Access and system-to-system remote access) |  |  | Examples of evidence may include, but are not limited to, documentation of the methods used to determine active vendor remote access (including Interactive Remote Access and system-to-system remote access), such as: - Methods for accessing logged or monitoring information to determine active vendor remote access sessions; - Methods for monitoring activity (e.g., connection tables or rule hit counters in a firewall, or user activity monitoring) or open ports (e.g., netstat or related commands to display currently active ports) to determine active system to system remote access sessions; or - Methods that control vendor initiation of remote access such as vendors calling and requesting a second factor in order to initiate remote access. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR2.4 Please provide: - One or more documented processes pertaining to R2 Part 2.4. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period, which have one or more methods for determining active vendor remote access sessions (including interactive remote access and system-to-system remote access). | For AESO use only |  |
| - A list of all BES cyber systems and their associated BES cyber assets and protected cyber assets subject to Part 2.4 to which the Responsible Entity allows vendor remote access including the following information: - BES cyber system and cyber asset identification - Vendor Name (company name) - Remote access type (i.e., interactive remote access or system-to-system remote access) - Remote access method (i.e., protocol or technology used) - Method(s) for implementing Part 2.4 for this vendor/remote access method - Date remote access was enabled and disabled, if applicable - Evidence that one or more processes pertaining to R2 Part 2.4 have been implemented. If there are more than 9 BES cyber systems at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity has implemented one or more methods for determining all active vendor remote access sessions (including interactive remote access and system-to-system remote access) for each Applicable System and that these methods have been in place throughout the entire audit period or the time period during which the access was enabled. | For AESO use only |  |
| - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the terms and conditions of each approved Technical Feasibility Exception have been implemented. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R2.4. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 2.5 in Table R2 – Interactive Remote Access Management Applicable systems High Impact BES cyber systems and their associated: - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - protected cyber assets Requirements Have one or more method(s) to disable active vendor remote access (including Interactive Remote Access and system-to-system remote access). |  |  | Examples of evidence may include, but are not limited to, documentation of the methods(s) used to disable active vendor remote access (including Interactive Remote Access and system-to-system remote access), such as: - Methods to disable vendor remote access at the applicable Electronic Access Point for system-to-system remote access; or - Methods to disable vendor Interactive Remote Access at the applicable Intermediate System. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| - AR2.5 Please provide: - One or more documented processes pertaining to R2 Part 2.5. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify the Responsible Entity has documented one or more processes throughout the entire audit period which have one or more methods to disable active vendor remote access (including interactive remote access and system-to-system remote access). | For AESO use only |  |
| - A list of all BES cyber systems and their associated BES cyber assets and protected cyber assets subject to Part 2.5 to which the Responsible Entity allows vendor remote access including the following information: - BES cyber system and cyber asset identification - Vendor Name (company name) - Remote access type (i.e., interactive remote access or system-to-system remote access) - Remote access method (i.e., protocol or technology used) - Method(s) for implementing Part 2.5 for this vendor/remote access method - Date remote access was enabled and disabled, if applicable - Evidence that one or more processes pertaining to R2 Part 2.5 have been implemented. If there are more than 9 BES cyber systems at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has implemented one or more methods to disable active vendor remote access (including interactive remote access and system-to-system remote access) for each Applicable System and that these methods have been in place throughout the entire audit period or the time period during which the access was enabled. | For AESO use only |  |
| - A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the terms and conditions of each approved Technical Feasibility Exception have been implemented. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R2.5. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R3. Each Responsible Entity shall implement one or more documented processes that collectively include the applicable requirement parts in CIP-005-7 Table R3 –Vendor Remote Access Management for electronic access control or monitoring systems and physical access control systems. |  |  | M3. Evidence must include the documented processes that collectively address each of the applicable requirement parts in CIP-005-7 Table R3 – Vendor Remote Access Management and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |
| Part 3.1 in Table R3 – Vendor Remote Access Management for electronic access control or monitoring systems and physical access control systems Applicable Systems Electronic access control or monitoring systems and physical access control systems associated with High Impact BES Cyber Systems Electronic access control or monitoring systems and physical access control systems associated with Medium Impact BES Cyber Systems with External Routable Connectivity Requirements Have one or more method(s) to determine authenticated vendor-initiated remote connections. |  |  | M3.1 Examples of evidence may include, but are not limited to, documentation of the methods used to determine authenticated vendor-initiated remote connections, such as: - Methods for accessing logged or monitoring information to determine authenticated vendor-initiated remote connections. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR3.1 Please provide: - One or more documented processes pertaining to R3 Part 3.1. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify the Responsible Entity has documented one or more processes throughout the entire audit period which have one or more methods to determine authenticated vendor-initiated remote connections. | For AESO use only |  |
| - A list of all Applicable Systems subject to Part 3.1 to which the Responsible Entity allows authenticated vendor-initiated remote access including the following information: - Applicable System Identifier - Vendor Name (company name) - Remote access method (i.e., protocol or technology used) - Method(s) for implementing Part 3.1 for this vendor/remote access method - Date remote access was enabled and disabled, if applicable - Evidence that one or more processes pertaining to R3 Part 3.1 have been implemented. If there are more than 9 Applicable Systems at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | - Verify the Responsible Entity has implemented one or more methods to determine authenticated vendor-initiated remote connections for each Applicable System and that these methods have been in place throughout the entire audit period or the time period during which the access was enabled. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R3.1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | - Review any other evidence provided. | For AESO use only |  |
| ### Requirement |  |  | ### Measure |  |  |
| Part 3.2 in Table R3 – Vendor Remote Access Management for EACMS and physical access control systems Applicable Systems Electronic access control or monitoring systems and physical access control systems associated with High Impact BES Cyber Systems Electronic access control or monitoring systems and physical access control systems associated with Medium Impact BES Cyber Systems with External Routable Connectivity Requirements Have one or more method(s) to terminate authenticated vendor-initiated remote connections and control the ability to reconnect. |  |  | M3.2 Examples of evidence may include, but are not limited to, documentation of the methods(s) used to terminate authenticated vendor-initiated remote connections to applicable systems. Examples include terminating an active vendor-initiated shell/process/session or dropping an active vendor-initiated connection in a firewall. Methods to control the ability to reconnect, if necessary, could be: disabling an Active Directory account; disabling a security token; restricting IP addresses from vendor sources in a firewall; or physically disconnecting a network cable to prevent a reconnection. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR3.2 Please provide: - One or more documented processes pertaining to R3 Part 3.2. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has documented one or more processes throughout the entire audit period which have one or more methods to: - terminate authenticated vendor-initiated remote connections; and - control the ability to reconnect authenticated vendor-initiated remote connections. |  |  |
| - A list of all Applicable Systems subject to Part 3.2 to which the Responsible Entity allows vendor remote access including the following information: - Applicable System Identifier - Vendor Name (company name) - Remote access method (i.e., protocol or technology used) - Method(s) for implementing Part 3.2 for this vendor/remote access method - Date remote access was enabled and disabled, if applicable - Evidence that one or more processes pertaining to R3 Part 3.2 have been implemented. If there are more than 9 Applicable Systems at a particular impact level in the list in item (ii), an example of the implementation at each impact level may be provided instead, and the auditor will sample for additional implementation evidence. | Provide descriptions for submitted evidence: | Relative link to evidence: | Verify the Responsible Entity has implemented one or more methods to: - terminate authenticated vendor-initiated remote connections; and - control the ability to reconnect authenticated vendor-initiated remote connections for each Applicablte System and that these methods have been in place throughout the entire audit period or the time period during which the access was enabled. |  |  |
| or any other evidence to demonstrate compliance with R3.2. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

## General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

## Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

## Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2023-02-23 | Initial version |
| 1.1 | 2023-04-26 | Added clarification to vendor name; re-aligned language with NERC |
| 1.2 | 2023-09-25 | Minor formatting changes to match latest CIP/COM RSAWs |