CIP-007-AB-5

Cyber Security - System Security Management

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |
| R3 | [Summary of Findings] |
| R4 | [Summary of Findings] |
| R5 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

4.1. For the purpose of the requirements contained herein, the following list of entities will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly.

4.1.1. [Intentionally left blank.]

4.1.2. a legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system:

4.1.2.1. each underfrequency load shedding or under voltage load shed system that:

4.1.2.1.1. is Part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.1.2.1.2. performs automatic load shedding under a common control system owned by the entity in subsection 4.1.2., without human operator initiation, of 300 MW or more;

4.1.2.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.1.2.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and

4.1.2.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.1.3. the operator of a generating unit and the operator of an aggregated generating facility;

4.1.4. the legal owner of a generating unit and the legal owner of an aggregated generating facility;

4.1.5. [Intentionally left blank.]

4.1.6. [Intentionally left blank.]

4.1.7. the operator of a transmission facility;

4.1.8. the legal owner of a transmission facility; and

4.1.9. the ISO.

4.2. For the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity in subsection 4.1 above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly.

4.2.1. One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system:

4.2.1.1. each underfrequency load shedding or under voltage load shed system that:

4.2.1.1.1. is Part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.2.1.1.2. performs automatic load shedding under a common control system owned by one or more of the entities in subsection 4.2.1, without human operator initiation, of 300 MW or more;

4.2.1.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.2.1.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard;

4.2.1.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.2.2. Responsible Entities listed in subsection 4.1 other than a legal owner of an electric distribution system are responsible for:

4.2.2.1. each transmission facility that is Part of the bulk electric system except each transmission facility that:

4.2.2.1.1. is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource;

4.2.2.1.2. radially connects only to load;

4.2.2.1.3. radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or

4.2.2.1.4. radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource;

4.2.2.2. a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use;

4.2.2.3. a generating unit that is:

4.2.2.3.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is Part of an industrial complex;

4.2.2.3.2. within a power plant which:

4.2.2.3.2.1. is not Part of an aggregated generating facility;

4.2.2.3.2.2. is directly connected to the bulk electric system; and

4.2.2.3.2.3. has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is Part of an industrial complex;

4.2.2.3.3. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.3.4. a contracted blackstart resource;

4.2.2.4. an aggregated generating facility that is:

4.2.2.4.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is Part of an industrial complex;

4.2.2.4.2. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.4.3. a contracted blackstart resource;

and

4.2.2.5. control centres and backup control centres.

4.2.3. The following are exempt from this reliability standard:

4.2.3.1. [Intentionally left blank.]

4.2.3.2. cyber assets associated with communication networks and data communication links between discrete electronic security perimeters.

4.2.3.3. [Intentionally left blank.]

4.2.3.4. for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection 4.2.1 above.

4.2.3.5 Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP-002-AB-5.1 identification and categorization processes.

# Compliance Assessment1

## R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R1 – Ports and Services. M1. Evidence must include the documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R1 – Ports and Services and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 1.1 in Table R1 – Ports and Services Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements Where technically feasible, enable only logical network accessible ports that have been determined to be needed by the Responsible Entity, including port ranges or services where needed to handle dynamic ports. If a device has no provision for disabling or restricting logical ports on the device then those ports that are open are deemed needed. Measures Examples of evidence may include, but are not limited to: - documentation of the need for all enabled ports on all applicable cyber assets and electronic access points, individually or by group. - listings of the listening ports on the cyber assets, individually or by group, from either the device configuration files, command output (such as netstat), or network scans of open ports; or - configuration files of host-based firewalls or other device level mechanisms that only allow needed ports and deny all others. | R1 Part 1.1 Please provide: One or more documented processes pertaining to R1 Part 1.1. | [Click and edit to enter description for AR1 Part 1.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes that include enabling only logical network accessible ports that have been determined to be needed by the Responsible Entity, including port ranges or services where needed to handle dynamic ports. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R1 Part 1.1. A list of all applicable cyber assets that have no provision for disabling or restricting logical ports with attestation letters to the effect. Evidence that one or more processes pertaining to R1 Part 1.1 have been implemented for each applicable cyber asset. | [Click and edit to enter description for AR1 Part 1.1 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has enabled only logical network accessible ports based on a business need as determined by the Responsible Entity, including port ranges or services where needed to handle dynamic ports. If the cyber asset that has no provision for disabling or restricting logical ports, verify the attestation letter of no provision. | [For AESO use only] |
|  | A list of all approved Technical Feasibility Exceptions applicable to this Part , if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR1 Part 1.1 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Part 1.2 in Table R1 – Ports and Services Applicable Systems High Impact BES cyber systems Medium Impact BES cyber systems at control centres Requirements Protect against the use of unnecessary physical input/output ports used for network connectivity, console commands, or removable media. Measures An example of evidence may include, but is not limited to, documentation showing types of protection of physical input/output ports, either logically through system configuration or physically using a port lock or signage. | AR1. Part 1.2 Please provide: - One or more documented processes pertaining to R1 Part 1.2. | [Click and edit to enter description for AR1 Part 1.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes that include protecting against the use of unnecessary physical input/output ports used for network connectivity, console commands, or removable media. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R1 Part 1.2. Evidence that one or more processes pertaining to R1 Part 1.2 have been implemented for each applicable cyber asset. | [Click and edit to enter description for AR1 Part 1.2 (ii) and AR1 Part 1.2 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the unnecessary physical input/output ports used for network connectivity, console commands, or removable media are protected against use. | [For AESO use only] |

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R2 – Security Patch Management. M2. Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R2 – Security Patch Management and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 2.1 in Table R2 – Security Patch Management Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements A patch management process for tracking, evaluating, and installing cyber security patches for applicable cyber assets. The tracking portion shall include the identification of a source or sources that the Responsible Entity tracks for the release of cyber security patches for applicable cyber assets that are updateable and for which a patching source exists. Measures An example of evidence may include, but is not limited to, documentation of a patch management process and documentation or lists of sources that are monitored, whether on an individual BES cyber system or cyber asset basis. | AR2. Part 2.1 Please provide: - One or more documented processes pertaining to R2 Part 2.1. | [Click and edit to enter description for AR2 Part 2.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more patch management processes for tracking, evaluating, and installing cyber security patches for cyber assets of each Applicable Systems. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R2 Part 2.1. A list of a source or sources that the Responsible Entity tracks for the release of cyber security patches for applicable cyber assets that are updateable and for which a patching source exists. A list of cyber assets that are not updateable and for which no patching source exists including documentation such as technical specifications or manuals to support non-updateability. Evidence that one or more processes pertaining to R2 Part 2.1 have been implemented for each release of cyber security patches for each applicable cyber asset. | [Click and edit to enter description for AR2 Part 2.1 (ii), AR2 Part 2.1 (iii), AR2 Part 2.1 (iv) and AR2 Part 2.1 (v) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that the Responsible Entity has implemented one or more patch management process for tracking, evaluating, and installing cyber security patches for applicable cyber assets. Verify the tracking portion of each patch management process includes the identification of a source or sources that the Responsible Entity tracks for the release of cyber security patches for cyber assets of Applicable Systems that are updateable and for which a patching source exists. - For applicable cyber assets that are not updateable and for which no patching source exists, verify the documentation such as technical specifications or manuals to support non-updateability. | [For AESO use only] |
| Part 2.2 in Table R2 – Security Patch Management Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements At least once every 35 days, evaluate security patches for applicability that have been released since the last evaluation from the source or sources identified in Part 2.1. Measures An example of evidence may include, but is not limited to, an evaluation conducted by, referenced by, or on behalf of a Responsible Entity of security‐related patches released by the documented sources at least once every 35 days. | AR2 Part 2.2 Please provide: - One or more documented processes pertaining to R2 Part 2.2. | [Click and edit to enter description for AR2 Part 2.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to evaluate security patches for applicability that have been released since the last evaluation from the source or sources identified in Part 2.1, at least once every 35 days. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R2 Part 2.2. Evidence that one or more processes pertaining to R2 Part 2.2 have been implemented for each source or sources identified in Part 2.1. | [Click and edit to enter description for AR2 Part 2.2 (ii) and AR2 Part 2.2 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | - For each identified patch source, verify that security patches have been evaluated for applicability at least once every 35 days. | [For AESO use only] |
| Part 2.3 in Table R2 – Security Patch Management Applicable systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements For applicable patches identified in Part 2.2, within 35 days of the evaluation completion, take one of the following actions: - apply the applicable patches; or - create a dated mitigation plan; or - revise an existing mitigation plan. Mitigation plans shall include the Responsible Entity’s planned actions to mitigate the vulnerabilities addressed by each security patch and a timeframe to complete these mitigations. Measures Examples of evidence may include, but are not limited to: - records of the installation of the patch (e.g., exports from automated patch management tools that provide installation date, verification of BES cyber system component software revision, or registry exports that show software has been installed); or - a dated plan showing when and how the vulnerability will be addressed, to include documentation of the actions to be taken by the Responsible Entity to mitigate the vulnerabilities addressed by the security patch and a timeframe for the completion of these mitigations. | AR2 Part 2.3 Please provide: - One or more documented processes pertaining to R2 Part 2.3. | [Click and edit to enter description for AR2 Part 2.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes, for applicable patches identified in Part 2.2, to take one of the following actions within 35 days of the evaluation completion: - Apply the applicable patches; - Create a dated mitigation plan; or - Revise an existing mitigation plan. - Verify the Responsible Entity has documented one or more processes for its mitigation plans that requires the inclusion of planned actions to mitigate the vulnerabilities addressed by each security patch and a timeframe to complete these mitigations. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R2 Part 2.3. Evidence that one or more processes pertaining to R2 Part 2.3 have been implemented for each applicable patch identified in Part 2.2. | [Click and edit to enter description for AR2 Part 2.3 (ii) and AR2 Part 2.3 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | For each applicable security patch, verify that one of the following actions was taken within 35 days of the completion of the evaluation for applicability: - The patch was applied to all devices for which it is applicable; - A mitigation plan was created; or - A mitigation plan was revised. - In the case where a mitigation plan was created or revised, verify the mitigation plan includes planned actions to mitigate the vulnerabilities addressed by each security patch, and that the mitigation plan includes a timeframe for completion. | [For AESO use only] |
| Part 2.4 in Table R2 – Security Patch Management Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements For each mitigation plan created or revised in Part 2.3, implement the plan within the timeframe specified in the plan, unless a revision to the plan or an extension to the timeframe specified in Part 2.3 is approved by the CIP senior manager or delegate. Measures An example of evidence may include, but is not limited to, records of implementation of mitigations. | AR2 Part 2.4 Please provide: - One or more documented processes pertaining to R2 Part 2.4. | [Click and edit to enter description for AR2 Part 2.4 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes that, for each mitigation plan created or revised in Part 2.3, require implementation of the plan within the timeframe specified in the plan, unless a revision to the plan or an extension to the timeframe specified in Part 2.3 is approved by the CIP senior manager or delegate. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R2 Part 2.4. Evidence that one or more processes pertaining to R2 Part 2.4 have been implemented for each mitigation plan created or revised in Part 2.3. | [Click and edit to enter description for AR2 Part 2.4 (ii) and AR2 Part 2.4 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | For each completed mitigation plan: - Verify the mitigation plan was completed by implementing all provisions of the mitigation plan; - Verify the mitigation plan was completed within the specified timeframe; and - If a revision or an extension was made to a mitigation plan, verify the revision or extension was approved by the CIP senior manager or delegate. For each active mitigation plan: - Verify the mitigation plan has not exceeded its implementation timeframe, or its approved extension, if any; - If a revision or an extension was made to a mitigation plan, verify the revision or extension was approved by the CIP senior manager or delegate. | [For AESO use only] |
| Findings |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |

## R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R3 – Malicious Code Prevention. M3. Evidence must include each of the documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R3 – Malicious Code Prevention and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 3.1 in Table R3 – Malicious Code Prevention Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Requirements Deploy method(s) to deter, detect, or prevent malicious code. Measures An example of evidence may include, but is not limited to, records of the Responsible Entity’s performance of these processes (e.g., through traditional antivirus, system hardening, policies, etc.). | AR3 Part 3.1 Please provide: - One or more documented processes pertaining to R3 Part 3.1. | [Click and edit to enter description for AR3 Part 3.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to deploy method(s) to deter, detect, or prevent malicious code. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R3 Part 3.1. Lists of method(s) to deter, detect, or prevent malicious code. Evidence that one or more processes pertaining to R3 Part 3.1 have been implemented for each method to deter, detect or prevent malicious code which may include, but is not limited to, screenshots of configuration files or logs. | [Click and edit to enter description for AR3 Part 3.1 (ii), AR3 Part 3.1 (iii), and AR3 Part 3.1 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify that each Applicable System has one or more documented methods deployed to deter, detect, or prevent malicious code. | [For AESO use only] |
| Part 3.2 in Table R3 – Malicious Code Prevention Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements Mitigate the threat of detected malicious code. Measures Examples of evidence may include, but are not limited to: - records of response processes for malicious code detection - records of the performance of these processes when malicious code is detected. | AR3 Part 3.2 Please provide: - One or more documented processes pertaining to R3 Part 3.2. | [Click and edit to enter description for AR3 Part 3.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes that mitigate the threat of detected malicious code. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R3 Part 3.2. A list of instances of detection of malicious code. Evidence that the processes pertaining to R3 Part 3.2 have been implemented for each instance of detection of malicious code. | [Click and edit to enter description for AR3 Part 3.2 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | For each instance of detected malicious code, verify the threat of the malicious code has been mitigated. | [For AESO use only] |
| Part 3.3 in Table R3 – Malicious Code Prevention Applicable systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements For those methods identified in Part 3.1 that use signatures or patterns, have a process for the update of the signatures or patterns. The process must address testing and installing the signatures or patterns. Measures An example of evidence may include, but is not limited to, documentation showing the process used for the update of signatures or patterns. | AR3 Part 3.3 Please provide: - One or more processes for the update of the signatures or patterns for those methods identified in Part 3.1 that use signatures or patterns including testing and installing the signatures or patterns. | [Click and edit to enter description for AR3 Part 3.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | For those methods identified in Part 3.1 that use signatures or patterns, verify the Responsible Entity has documented one or more processes to update the signatures or patterns. The process must address testing and installing the signatures or patterns. For each method identified in Part 3.1 that uses signatures or patterns, verify the above one or more processes address testing and installing updates to signatures or patterns. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R3 Part 3.3. A list of methods identified in Part 3.1 that use signatures or patterns. A list of instances that the signatures or patterns are updated. Evidence that one or more processes pertaining to R3 Part 3.3 have been implemented for each instance that the signatures or patterns are updated. | [Click and edit to enter description for AR3 Part 3.3 (ii), AR3 Part 3.3 (iii), AR3 Part 3.3 (iv), and AR3 Part 3.3 (v) submitted evidence] | [Click and edit to embed file or link to evidence] | For each method identified in Part 3.1 that uses signatures or patterns, verify the one or more processes have been implemented. | [For AESO use only] |
| Findings |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |

## R4

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R4. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R4 – Security Event Monitoring. M4. Evidence must include each of the documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R4 – Security Event Monitoring and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 4.1 in Table R4 – Security Event Monitoring Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements Log events at the BES cyber system level (per BES cyber system capability) or at the cyber asset level (per cyber asset capability) for identification of, and after‐the‐fact investigations of, cyber security incidents that includes, as a minimum, each of the following types of events: 4.1.1. detected successful login attempts; 4.1.2. detected failed access attempts and failed login attempts; 4.1.3. detected malicious code. Measures Examples of evidence may include, but are not limited to, a paper or system generated listing of event types for which the BES cyber system is capable of detecting and, for generated events, is configured to log. This listing must include the required types of events. | AR4 Part 4.1 Please provide: - One or more documented processes pertaining to R4 Part 4.1. | [Click and edit to enter description for AR4 Part 4.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to log events at the BES cyber system level (per BES cyber system capability) or at the cyber asset level (per cyber asset capability) for identification of, and after-the-fact investigations of, cyber security incidents that includes, as a minimum, each of the following types of events: 4.1.1. detected successful login attempts; 4.1.2. detected failed access attempts and failed login attempts; 4.1.3. detected malicious code. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R4 Part 4.1. - Evidence that one or more processes pertaining to R4 Part 4.1 have been implemented for each applicable cyber asset which may include, but is not limited to, screenshots of log configuration or settings. | [Click and edit to enter description for AR4 Part 4.1 (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | For each event type required for identification of or after the fact investigation of cyber security incidents: - If logging of the event type is performed at the BES cyber system level, for each Applicable System, verify: - The BES cyber system is capable of, and configured for, logging the event type; - The BES cyber system is generating logs of the event type; or - The BES cyber system is not capable of logging the event type. - If logging of the event type is performed at the cyber asset level, for each cyber asset of an Applicable System, verify: - The cyber asset is capable of, and configured for, logging the event type; - The cyber asset is generating logs of the event type; or - The cyber asset is not capable of logging the event type. | [For AESO use only] |
| Part 4.2 in Table R4 – Security Event Monitoring Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements Generate alerts for security events that the Responsible Entity determines necessitates an alert, that includes, as a minimum, each of the following types of events (per cyber asset or BES cyber system capability): 4.2.1. detected malicious code from part 4.1; and 4.2.2. detected failure of part 4.1 event logging. Measures Examples of evidence may include, but are not limited to, paper or system generated listing of security events that the Responsible Entity determined necessitate alerts, including paper or system generated list showing how alerts are configured. | AR4 Part 4.2 Please provide: - One or more documented processes pertaining to R4 Part 4.2. | [Click and edit to enter description for AR4 Part 4.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to generate alerts for security events that the Responsible Entity determines necessitates an alert, that includes, as a minimum, each of the following types of events (per cyber asset or BES cyber system capability): - Detected malicious code from Part 4.1; and - Detected failure of Part 4.1 event logging. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R4 Part 4.2. A list of alerts generated for security events that the Responsible Entity determines necessitates an alert. Evidence that one or more processes pertaining to R4 Part 4.2 have been implemented for each applicable cyber asset which may include, but is not limited to, screenshots of alerts configuration. | [Click and edit to enter description for AR4 Part 4.2 (ii), AR4 Part 4.2 (iii) and AR4 Part 4.2 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the Responsible Entity has determined the security events that necessitate an alert. Verify the security events determined to necessitate an alert include, at a minimum: - Detected malicious code; and - Detected failure of logging. For each of the security events determined to necessitate an alert: - If alerting is performed on a per cyber asset basis, is the cyber asset capable of alerting on the event type? - If yes, verify either: - Alerting is configured for the cyber asset for the event type; or - An actual alert has been generated. - If no, verify the inability of the cyber asset to generate an alert for the event type. - If alerting is performed on a per BES cyber system basis, is the BES cyber system capable of alerting on the event type? - If yes, verify either: - Alerting is configured for the BES cyber system for the event type; or - An actual alert has been generated. - If no, verify the inability of the BES cyber system to generate an alert for the event type. | [For AESO use only] |
| Part 4.3 in Table R4 – Security Event Monitoring Applicable systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems at control centres and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements Where technically feasible, retain applicable event logs identified in Part 4.1 for at least the last 90 consecutive days except under CIP exceptional circumstances. Measures Examples of evidence may include, but are not limited to, documentation of the event log retention process and paper or system generated reports showing log retention configuration set at 90 days or greater. | AR4 Part 4.3 Please provide: - One or more documented processes pertaining to R4 Part 4.3. | [Click and edit to enter description for AR4 Part 4.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to retain applicable event logs identified in Part 4.1 for at least the last 90 consecutive days, where technically feasible, except under CIP exceptional circumstances. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R4 Part 4.1. Evidence that one or more processes pertaining to R4 Part 4.3 have been implemented for each applicable event log identified in Part 4.1. | [Click and edit to enter description for AR4 Part 4.3 (ii) and AR4 Part 4.3 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | For each cyber asset, verify logs are retained for at least 90 consecutive days unless: - An approved Technical Feasibility Exception covers the Applicable System; or - A documented CIP exceptional circumstance exists. | [For AESO use only] |
|  | A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR4 Part 4.3 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
|  | If an exception is claimed under CIP exceptional circumstance policy, the analysis and/or documentation based on which the event was deemed as a CIP exceptional circumstance. | [Click and edit to enter description for AR4 Part 4.3 (v) submitted evidence] | [Click and edit to embed file or link to evidence] | If the Responsible Entity has experienced an exception for CIP exceptional circumstances, verify the Responsible Entity has adhered to any applicable cyber security policies. | [For AESO use only] |
| Part 4.4 in Table R4 – Security Event Monitoring Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; and - protected cyber assets Requirements Review a summarization or sampling of logged events as determined by the Responsible Entity at intervals no greater than 15 days to identify undetected cyber security incidents. Measures Examples of evidence may include, but are not limited to, documentation describing the review, any findings from the review (if any), and dated documentation showing the review occurred. | AR4 Part 4.4 Please provide: - One or more documented processes pertaining to R4 Part 4.4. | [Click and edit to enter description for AR4 Part 4.4 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to review a summarization or sampling of logged events as determined by the Responsible Entity at intervals no greater than 15 days to identify undetected cyber security incidents. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R4 Part 4.4. Evidence that one or more processes pertaining to R4 Part 4.4 have been implemented for each review of the summarization or sampling of logged events. | [Click and edit to enter description for AR4 Part 4.4 (ii) and AR4 Part 4.4 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has reviewed a summary or sampling of logged events at least every 15 days to identify otherwise undetected cyber security incidents with respect to each sampled cyber asset. | [For AESO use only] |
| Findings |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |

## R5

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R5. Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table R5 – System Access Controls. M5. Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement Parts in CIP‐007-AB‐5 Table 5 – System Access Controls and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 5.1 in Table R5 – System Access Controls Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems at control centres and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements Have a method(s) to enforce authentication of interactive user access, where technically feasible. Measures An example of evidence may include, but is not limited to, documentation describing how access is authenticated. | AR5 Part 5.1 Please provide: - One or more documented processes pertaining to R5 Part 5.1. | [Click and edit to enter description for AR5 Part 5.1 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to have a method(s) to enforce authentication of interactive user access. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R5 Part 5. A list of method(s) to enforce authentication of interactive user access. Evidence that one or more processes pertaining to R5 Part 5.1 have been implemented for each method to enforce authentication of interactive user access which may include but is not limited to, authentication settings. | [Click and edit to enter description for AR5 Part 5.1 (ii), AR5 Part 5.1 (iii), AR5 Part 5.1 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has implemented method(s) to enforce authentication of interactive user access. | [For AESO use only] |
|  | A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR5 Part 5.1 (v) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Part 5.2 in Table R5 – System Access Controls Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; - physical access control systems; and - protected cyber assets Requirements Identify and inventory all known enabled default or other generic account types, either by system, by groups of systems, by location, or by system type(s). Measures An example of evidence may include, but is not limited to, a listing of accounts by account types showing the enabled or generic account types in use for the BES cyber system. | AR 5 Part 5.2 Please provide: - One or more documented processes pertaining to R5 Part 5.2. | [Click and edit to enter description for AR5 Part 5.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to identify and inventory all known enabled default or other generic account types, either by system, by groups of systems, by location, or by system type(s). | [For AESO use only] |
|  | A list of all Applicable Systems subject to R5 Part 5.2. Evidence that one or more processes pertaining to R5 Part 5.2 have been implemented. | [Click and edit to enter description for AR5 Part 5.2 (ii) and AR5 Part 5.2 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | For each cyber asset of an Applicable System, verify the Responsible Entity has identified and inventoried all known enabled default or other generic account types. These account types may be identified by system, by groups of systems, by location, or by system type. | [For AESO use only] |
| Part 5.3 in Table R5 – System Access Controls Applicable systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Requirements Identify individuals who have authorized access to shared accounts. Measures An example of evidence may include, but is not limited to, listing of shared accounts and the individuals who have authorized access to each shared account. | R5 Part 5.3 Please provide: - One or more processes pertaining to R5 Part 5.3 | [Click and edit to enter description for AR5 Part 5.3 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to identify individuals who have authorized access to shared accounts. | [For AESO use only] |
|  | - A list of all Applicable Systems subject to R5 Part 5.3. - A list of shared accounts that are provisioned in the Applicable Systems. - A list of the individuals who have authorized access to each shared account. - Evidence that one or more processes pertaining to R5 Part 5.3 have been implemented for each individual which may include, but is not limited to, records of authorization. | [Click and edit to enter description for AR5 Part 5.3 (ii), AR5 Part 5.3 (iii), AR5 Part 5.3 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has identified individuals with authorized access to shared accounts. Verify the records of authorization for accessing shared accounts. | [For AESO use only] |
| Part 5.4 in Table R5 – System Access Controls Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Requirements Change known default passwords, per cyber asset capability. Measures Examples of evidence may include, but are not limited to: - records of a procedure that passwords are changed when new devices are in production; or - documentation in system manuals or other vendor documents showing default vendor passwords were generated pseudo‐randomly and are thereby unique to the device. | R5 Part 5.4 Please provide: - One or more processes pertaining to R5 Part 5.4. | [Click and edit to enter description for AR5 Part 5.4 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to change known default passwords, per cyber asset capability. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R5 Part 5.4. Evidence that one or more processes pertaining to R5 Part 5.4 have been implemented. If the applicable cyber asset has pseudo-randomly password, evidence of the generation of pseudo-randomly passwords. | [Click and edit to enter description for AR5 Part 5.4 (ii), AR5 Part 5.4 (iii), and AR5 Part 5.4 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | For cyber assets of Applicable Systems with the capability to change default passwords, verify the Responsible Entity has changed the known default passwords. If the cyber asset has pseudo-randomly generated passwords, review the evidence to confirm that passwords were generated pseudo-randomly. | [For AESO use only] |
| Part 5.5 in Table R5 – System Access Controls Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Requirements For password‐only authentication for interactive user access, either technically or procedurally enforce the following password parameters: 5.5.1. password length that is, at least, the lesser of eight characters or the maximum length supported by the cyber asset; and 5.5.2. minimum password complexity that is the lesser of three or more different types of characters (e.g., uppercase alphabetic, lowercase alphabetic, numeric, nonalphanumeric) or the maximum complexity supported by the cyber asset Measures Examples of evidence may include, but are not limited to: - system‐generated reports or screen‐shots of the system enforced password parameters, including length and complexity; or - attestations that include a reference to the documented procedures that were followed. | AR5 Part 5.5 Please provide: - One or more documented processes pertaining to R5 Part 5.5. | [Click and edit to enter description for AR5 Part 5.5 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | For password-only authentication for interactive user access, verify the Responsible Entity has documented one or more processes to either technically or procedurally enforce the following password parameters: - password length that is, at least, the lesser of eight characters or the maximum length supported by the cyber asset; and - minimum password complexity that is the lesser of three or more different types of characters (e.g., uppercase alphabetic, lowercase alphabetic, numeric, non-alphanumeric) or the maximum complexity supported by the cyber asset. | [For AESO use only] |
|  | A list of all Applicable Systems subject to Part 5.5. Evidence that one or more processes pertaining to R5 Part 5.5 have been implemented. | [Click and edit to enter description for AR5 Part 5.5 (ii) and AR5 Part 5.5 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | For each cyber asset of Applicable Systems, for password-only authentication for interactive user access, verify password length is enforced by either technical or procedural methods, per 5.5.1. For each cyber asset of Applicable Systems, for password-only authentication for interactive user access, verify password complexity is enforced by either technical or procedural methods, per 5.5.2. | [For AESO use only] |
| Part 5.6 in Table R5 – System Access Controls Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Requirements Where technically feasible, for password‐only authentication for interactive user access, either technically or procedurally enforce password changes or an obligation to change the password at least once every 15 months. Measures Examples of evidence may include, but are not limited to: - system‐generated reports or screen‐shots of the system enforced periodicity of changing passwords; or - attestations that include a reference to the documented procedures that were followed. | AR5 Part 5.6 Please provide: - One or more documented processes pertaining to R5 Part 5.6. | [Click and edit to enter description for AR5 Part 5.6 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | For password-only authentication for interactive user access, verify the Responsible Entity has documented one or more processes to either technically or procedurally enforce password changes or an obligation to change the password at least once every 15 months, where technically feasible. | [For AESO use only] |
|  | A list of all Applicable systems subject to R5 Part 5.6. Evidence that one or more processes pertaining to R5 Part 5.6 have been implemented. | [Click and edit to enter description for AR5 Part 5.6 (ii) and AR5 Part 5.6 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | For cyber assets of Applicable Systems, if a password for password-only authentication for interactive user access cannot be changed, verify an approved Technical Feasibility Exception covers this circumstance. For cyber assets of Applicable Systems, if a password for password-only authentication for interactive user access can be changed, verify a password change, at least every 15 months, is enforced by either technical or procedural methods. | [For AESO use only] |
|  | A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR5 Part 5.6 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Part 5.7 in Table R5 – System Access Controls Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems at control centres and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Requirements Where technically feasible, either: - limit the number of unsuccessful authentication attempts; or - generate alerts after a threshold of unsuccessful authentication attempts. Measures Examples of evidence may include, but are not limited to: - documentation of the account-lockout parameters; or - rules in the alerting configuration showing how the system notified individuals after a determined number of unsuccessful login attempts. | AR5 Part 5.7 Please provide: - One or more documented processes pertaining to R5 Part 5.7. | [Click and edit to enter description for AR5 Part 5.7 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more processes to either: - Limit the number of unsuccessful authentication attempts, where technically feasible; or - Generate alerts after a threshold of unsuccessful authentication attempts, where technically feasible. | [For AESO use only] |
|  | A list of all Applicable Systems subject to R5 Part 5.7. Evidence that one or more processes pertaining to R5 Part 5.7 have been implemented. | [Click and edit to enter description for AR5 Part 5.7 (ii) and AR5 Part 5.7 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | If the number of unsuccessful authentication attempts is limited, verify the configuration. If alerts are generated after a threshold of unsuccessful authentication attempts, verify the evidence of configuration supports this method. | [For AESO use only] |
|  | A list of all approved Technical Feasibility Exceptions applicable to this Part, if any, and evidence of implementation of all their terms and conditions. | [Click and edit to enter description for AR5 Part 5.7 (iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the terms and conditions of the approved Technical Feasibility Exception have been implemented. | [For AESO use only] |
| Findings |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market Participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market Participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market Participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | December 1, 2015 | Initial version of the document |
| 2.0 | April 4, 2019 | Additional guidance provided on Evidence Submission and Assessment Approach. |

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Findings

[For AESO use only]

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.

Evidence may be provided for the entire population in the initial evidence submission at the Responsible Entity’s discretion. Otherwise, the AESO will request specific samples.