CIP-011-AB-1

Cyber Security - Information Protection

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

4.1. For the purpose of the requirements contained herein, the following list of entities will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly.

4.1.1. [Intentionally left blank.]

4.1.2. a legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system:

4.1.2.1. each underfrequency load shedding or under voltage load shed system that:

4.1.2.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.1.2.1.2. performs automatic load shedding under a common control system owned by the entity in subsection 4.1.2., without human operator initiation, of 300 MW or more;

4.1.2.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.1.2.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and

4.1.2.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.1.3. the operator of a generating unit and the operator of an aggregated generating facility;

4.1.4. the legal owner of a generating unit and the legal owner of an aggregated generating facility;

4.1.5. [Intentionally left blank.]

4.1.6. [Intentionally left blank.]

4.1.7. the operator of a transmission facility;

4.1.8. the legal owner of a transmission facility; and

4.1.9. the ISO.

4.2. For the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity in subsection 4.1 above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly.

4.2.1. One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system:

4.2.1.1. each underfrequency load shedding or under voltage load shed system that:

4.2.1.1.1. is part of a load shedding program that is subject to one or more requirements in a reliability standard; and

4.2.1.1.2. performs automatic load shedding under a common control system owned by one or more of the entities in subsection 4.2.1, without human operator initiation, of 300 MW or more;

4.2.1.2. each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard;

4.2.1.3. each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and

4.2.1.4. each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started;

4.2.2. Responsible Entities listed in subsection 4.1 other than a legal owner of an electric distribution system are responsible for:

4.2.2.1. each transmission facility that is part of the bulk electric system except each transmission facility that:

4.2.2.1.1. is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource;

4.2.2.1.2. radially connects only to load;

4.2.2.1.3. radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or

4.2.2.1.4. radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource;

4.2.2.2. a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use;

4.2.2.3. a generating unit that is:

4.2.2.3.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex;

4.2.2.3.2. within a power plant which:

4.2.2.3.2.1. is not part of an aggregated generating facility;

4.2.2.3.2.2. is directly connected to the bulk electric system; and

4.2.2.3.2.3. has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex;

4.2.2.3.3. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.3.4. a contracted blackstart resource;

4.2.2.4. an aggregated generating facility that is:

4.2.2.4.1. directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex;

4.2.2.4.2. within an industrial complex with supply transmission service greater than 67.5 MW; or

4.2.2.4.3. a contracted blackstart resource;

and

4.2.2.5. control centres and backup control centres.

4.2.3. The following are exempt from this reliability standard:

4.2.3.1. [Intentionally left blank.]

4.2.3.2. cyber assets associated with communication networks and data communication links between discrete electronic security perimeters.

4.2.3.3. [Intentionally left blank.]

4.2.3.4. for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection 4.2.1 above.

4.2.3.5. Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP‐002-AB‐5.1 identification and categorization processes.

# Compliance Assessment

## R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented information protection program(s) that collectively includes each of the applicable requirement parts in CIP‐011-AB‐1 Table R1 – Information Protection. MR1 Evidence for the information protection program must include the applicable requirement parts in CIP‐011-AB‐1 Table R1 – Information Protection and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 1.1 in Table R1 – Information Protection Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; and - physical access control systems Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; and - physical access control systems Requirements Method(s) to identify information that meets the definition of BES cyber system information. Measures Examples of acceptable evidence include, but are not limited to: - documented method to identify BES cyber system information from entity’s information protection program; or - indications on information (e.g., labels or classification) that identify BES cyber system information as designated in the entity’s information protection program; or - training materials that provide personnel with sufficient knowledge to recognize BES cyber system information; or - repository or electronic and physical location designated for housing BES cyber system information in the entity’s information protection program. | AR1 Part 1.1 Please provide: - One or more documented information protection programs pertaining to R1 Part 1.1, and specific references to the document content indicating how key elements of the BES cyber system information definition are addressed (e.g. criteria or process used). | [Click and edit to enter description for AR1 Part 1.1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more information protection programs that have method(s) to identify information that meets the definition of BES cyber system information. Verify that the documented methods provide sufficient information to allow a Responsible Entity’s personnel to properly identify and recognize BES cyber system information as defined. | [For AESO use only] |
|  | - Evidence that the information protection program(s) pertaining to R1 Part 1.1 has been implemented. Evidence may include, but is not limited to, the following: - Training materials or - Communications to personnel to properly identify and recognize BCSI as defined. | [Click and edit to enter description for AR1 Part 1.1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has implemented the method(s) to identify information that meets the definition of BES cyber system information. Assess the content of the implementation tools used (e.g. training; communication). | [For AESO use only] |
| Part 1.2 in Table R1 – Information Protection Applicable Systems High Impact BES cyber systems and their associated: - electronic access control or monitoring systems; and - physical access control systems Medium Impact BES cyber systems and their associated: - electronic access control or monitoring systems; and - physical access control systems Requirements Procedure(s) for protecting and securely handling BES cyber system information, including storage, transit, and use. Measures Examples of acceptable evidence include, but are not limited to: - procedures for protecting and securely handling, which include topics such as storage, security during transit, and use of BES cyber system information; or - records indicating that BES cyber system information is handled in a manner consistent with the entity’s documented procedure(s). | AR1 Part 1.2 Please provide: - One or more documented information protection programs pertaining to R1 Part 1.2, and specific references to procedures addressing each of the following: - Storage (e.g. specific locations to be used, access controls, encryption, etc.); - Transit (e.g. encryption, specific protocols used, etc.); - Use (e.g. clean desk policy, destruction once no longer needed, third party use, secure printing, etc.). | [Click and edit to enter description for AR1 Part 1.2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has documented one or more information protection programs that include procedure(s) for protecting and securely handling BES cyber system information, including storage, transit, and use. | [For AESO use only] |
|  | - Evidence that the information protection program(s) pertaining to R1 Part 1.2 has been implemented. Evidence may include, but is not limited to, the following: - A list of BCSI designated storage locations and related controls; - Access control lists; - Evidence of protocols and policies being followed; or - Non-disclosure agreement(s) with third party. | [Click and edit to enter description for AR1.2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify the Responsible Entity has implemented the procedure(s) for protecting and securely handling BES cyber system information, including storage, transit, and use. | [For AESO use only] |
| Findings |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2. Each Responsible Entity shall implement one or more documented processes that collectively include the applicable requirement parts in CIP‐011-AB‐1 Table R2 – BES Cyber Asset Reuse and Disposal. M2. Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP‐011-AB‐1 Table R2 – BES Cyber Asset Reuse and Disposal and additional evidence to demonstrate implementation as described in the Measures column of the table. |  |  |  |  |  |
| Part 2.1 in Table R2 – BES Cyber Asset Reuse and Disposal Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets Requirements Prior to the release for reuse of applicable cyber assets that contain BES cyber system information (except for reuse within other systems identified in the “Applicable Systems” column), the Responsible Entity shall take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset data storage media. Measures Examples of acceptable evidence include, but are not limited to: - records tracking sanitization actions taken to prevent unauthorized retrieval of BES cyber system information such as clearing, purging, or destroying; or - records tracking actions such as encrypting, retaining in the physical security perimeter or other methods used to prevent unauthorized retrieval of BES cyber system information. | AR2 Part 2.1 Please provide: - One or more documented processes pertaining to R2 Part 2.1. | [Click and edit to enter description for AR2 Part 2.1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the Responsible Entity has documented one or more processes to take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset data storage media, prior to the release for reuse of applicable cyber assets that contain BES cyber system information (except for reuse within other systems identified in the “Applicable Systems” column). | [For AESO use only] |
|  | - A list of release(s) for reuse of applicable cyber assets as specified in R2 Part 2.1. If there were no releases for reuse as specified in R2 Part 2.1 that occurred during the audit period, provide an attestation letter to this effect. | [Click and edit to enter description for AR2 Part 2.1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the list including the dates that the release(s) occurred. - Review the attestation letter for completeness and correctness. | [For AESO use only] |
|  | - Dated evidence that the process (es) pertaining to R2 Part 2.1 have been implemented for each release for reuse. | [Click and edit to enter description for AR2 Part 2.1(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify that prior to the release for reuse of cyber assets of Applicable Systems that contain BES cyber system information (except for reuse within other systems identified in the “Applicable Systems” column), the Responsible Entity has taken action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset data storage media. | [For AESO use only] |
| Part 2.2 in Table R2 – BES cyber asset Reuse and Disposal Applicable Systems High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets Requirements Prior to the disposal of applicable cyber assets that contain BES cyber system information, the Responsible Entity shall take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset or destroy the data storage media. Measures Examples of acceptable evidence include, but are not limited to: - records that indicate that data storage media was destroyed prior to the disposal of an applicable cyber asset; or - records of actions taken to prevent unauthorized retrieval of BES cyber system information prior to the disposal of an applicable cyber asset. | AR2 Part 2.2 Please provide: - One or more documented processes pertaining to R2 Part 2.2. | [Click and edit to enter description for AR2 Part 2.2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Verify the Responsible Entity has documented one or more processes to take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset or destroy the data storage media, prior to the disposal of applicable cyber assets that contain BES cyber system information. | [For AESO use only] |
|  | - A list of disposal(s) of applicable cyber assets as specified in R2 Part 2.2. If there were no disposals as specified in R2 Part 2.2 that occurred during the audit period, provide an attestation letter to this effect. | [Click and edit to enter description for AR2 Part 2.2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the list for completeness/correctness including the dates that the disposal(s) occurred. - If no releases for reuse occurred review the attestation letter for completeness and correctness. | [For AESO use only] |
|  | - Dated evidence that the process (es) pertaining to R2 Part 2.2 have been implemented for each disposal. | [Click and edit to enter description for AR2 Part 2.2 (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Verify that, prior to the disposal of cyber assets of Applicable Systems that contain BES cyber system information, the Responsible Entity has taken action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset or destroyed the data storage media. | [For AESO use only] |
| Findings |  |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |  |

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | December 1, 2015 | Initial version of Worksheet |
| 2.0 | April 4, 2019 | Additional guidance provided on evidence submission and assessment approach. |

Evidence may be provided for the entire population in the initial evidence submission at a Responsible Entity’s discretion.  Otherwise, the AESO will send an IR requesting specific samples.

Evidence may be provided for the entire population in the initial evidence submission at Responsible Entity’s discretion. Otherwise, the AESO will send an IR requesting specific samples.