# COM-001-AB-3

# Communications

# Standard Effective Date: 2024-04-01

## Audit Summary

| Registered Entity | [Registered Entity name as it appears in the AESO ARS Registry] |
| --- | --- |
| Functional Entity | [Functional entities for which the Registered Entity above was registered during the audit period] |
| Audit Period | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] Note: Submitted evidence must demonstrate compliance for the entire audit period. |
| Audit | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) |
| Suspected Non-Compliance to the standard? | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5]. |
| Date of Completion | [Use YYYY-MM-DD format] |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R3 | Suspected Contraventions | AESO Use Only |
| --- | --- | --- |
|  | Areas of Concern and Observations | AESO Use Only |
| R3.A1 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R4 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R4.A1 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R7 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R7.A1 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R7.A2 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R8 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R8.A1 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R8.A2 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R9 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R10 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R11 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R12 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R13 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R14.A1 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |
| R15.A1 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern and Observations | AESO Use Only |

## Contact Information

| Audited Entity |  |
| --- | --- |
| Compliance Primary | Name: Title: Phone: Email: |
| Subject Matter Expert | Name: Title: Phone: Email: |

| AESO Team |  |
| --- | --- |
| Lead Auditor | Name: Title: Phone: Email: |
| Auditor | Name: Title: Phone: Email: |
| Compliance Manager | Name: Title: Phone: Email: |
| Standard Owner | Name: Title: Phone: Email: |

## Applicability

This reliability standard applies to:

- the operator of a transmission facility;

- the operator of an electric distribution system that is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat;

- the operator of a generating unit that is part of the bulk electric system;

- the operator of an aggregated generating facility that is part of the bulk electric system; and

- the ISO.

For the purpose of the requirements contained herein, the above list of entities will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly.

## Notes on Applicability

N/A

## Compliance Assessment

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R3 Each operator of a transmission facility shall have primary voice communication capability with the following entities, unless the operator of a transmission facility detects a failure of its primary voice communication capability in which case requirement R10 shall apply: - the ISO; - each adjacent operator of a transmission facility that is directly connected to its transmission facility; - each operator of an electric distribution system that is directly connected to its transmission facility; - each operator of a generating unit that is part of the bulk electric system and is directly connected to its transmission facility and ; - each operator of an aggregated generating facility that is part of the bulk electric system and is directly connected to its transmission facility ; and - each adjacent interconnected transmission operator that is directly connected to its transmission facility. |  |  | MR3 Evidence of having primary voice communication capability as required in requirement R3 exists. Evidence may include physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR3 Please provide: - A list of the entities identified by items (b) – (f) in R3 (i.e., entities directly connected to the Responsible Entity’s transmission facility). - A switching map or similar evidence showing the entities directly connected to the Responsible Entity’s transmission facility. - Dated evidence of primary voice communication capability with the ISO and each entity in the list provided in AR3(i). | Provide descriptions for AR3 submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity has identified all entities with which it is required to have primary voice communication capability. Verify that the Responsible Entity has primary voice communication capability with each identified entity. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R3. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R3.A1 Each operator of a transmission facility shall have a primary voice communication capability that is: (a) a direct access telephone on the public telephone network; (b) not degraded by any other communication functionality or any other data transfer activities if there is any shared equipment; and (c) located in each control room. |  |  | MR3.A1 Evidence of having a primary voice communication capability as required in requirement R3.A1 exists. Evidence may include voice communication system design or configuration documentation, physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR3.A1 For each primary voice capability identified under AR3 please provide: - Dated evidence that the primary voice capability is a direct access telephone on the public telephone network. - Dated evidence that the primary voice communications capability is not degraded by any other communication functionality or any other data transfer activities if there is any shared equipment OR evidence that there is no shared equipment. - A list of the Responsible Entity’s control rooms, an indication of the transmission facilities controlled by each control room, and dated evidence that the primary voice communication capability is located in each control room. | Provide descriptions for AR3.A1 submitted evidence: | Relative link to evidence: | - Verify that the primary voice capability is a direct access telephone on the public telephone network (i.e., it does not go through an automated switchboard or reception desk). - Verify that the primary voice capability does not share equipment with other communication or data transfer activities OR if it does, that provisions are in place to prevent the primary voice communication capability being degraded by other communication or data transfer activities which share equipment with the primary communication capability. - Verify that the Responsible Entity has identified all control rooms and that the primary voice communication capability is located in each control room. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R3.A1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R4 Each operator of a transmission facility shall designate a backup voice communication capability with the following entities: - (a) the ISO; - (b) each adjacent operator of a transmission facility that is directly connected to its transmission facility; - (c) each operator of an electric distribution system that is directly connected to its transmission facility; - (d) each operator of a generating unit that is part of the bulk electric system and is directly connected to its transmission facility; - (e) each operator of an aggregated generating facility that is part of the bulk electric system and is directly connected to its transmission facility; and - (f) each adjacent interconnected transmission operator that is directly connected to its transmission facility. |  |  | MR4 Evidence of designating a backup voice communication capability as required in requirement R4 exists. Evidence may include physical assets, or dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR4 Please provide: - A list of the entities identified by items (b) – (f) in R4 (i.e., entities directly connected to the Responsible Entity’s transmission facility). - A switching map or similar evidence showing the entities directly connected to the Responsible Entity’s transmission facility. - Dated evidence of having designated backup voice communication capability with the ISO and each entity in the list provided in AR4(i). | Provide descriptions for AR4 submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity has identified all entities with which it is required to have backup voice communication capability. Verify that the Responsible Entity has designated backup voice communication capability with each identified entity. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R4. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R4.A1 Each operator of a transmission facility shall have the type of backup voice communication capability, in each control room, as identified in: - (a) Appendix 1 for communicating with the ISO; and - (b) Appendix 2 for communicating with each entity specified in requirement R4. |  |  | MR4.A 1 Evidence of having a backup voice communication capability as required in requirement R4.A1 exists. Evidence may include physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR4.A1 Please provide: - A list of the Responsible Entity’s control rooms and an indication of the transmission facilities controlled by each control room. - Dated evidence demonstrating which Responsible Entity subcategory in Appendix 1 applies and evidence that the backup voice communication capability for communicating with the ISO in each control room meets the associated requirements in Appendix 1. - Dated evidence demonstrating which Responsible Entity subcategory in Appendix 2 applies and evidence that the backup voice communication capability for communicating with each entity identified in AR4(i) in each control room meets the requirements in Appendix 2. | Provide descriptions for AR4.A1 submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity identified all of its control rooms and has selected the correct subcategory in Appendix 1 for its backup voice communication capability with the ISO in each control room. Verify that the backup voice communication with the ISO in each control room meets the relevant requirements in Appendix 1. Verify that the Responsible Entity has selected the correct subcategory in Appendix 2 for its backup voice communication capability with entities other than the ISO in each control room. Verify that the backup voice communication with entities other than the ISO in each control room meets the relevant requirements in Appendix 2. If the selected backup voice capability is utility orderwire service, verify that it meets the definition of utility orderwire service on page 4 of the standard. If the selected backup voice capability is a satellite telephone service, verify that it uses an AESO approved satellite provider as per ID #2012-001RS. If the selected backup voice capability is direct access telephone service, verify that it is direct access (i.e., it does not go through an automated switchboard or reception desk). | For AESO use only |  |
| or any other evidence to demonstrate compliance with R4.A1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R7 Each operator of an electric distribution system shall have primary voice communication capability with the following entities, unless the operator of an electric distribution system detects a failure of its primary voice communication capability in which case requirement R11 shall apply: - (a) the ISO; and - (b) its operator of a transmission facility |  |  | MR7 Evidence of having primary voice communication capability as required in requirement R7 exists. Evidence may include physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR7 Please provide: - A list of operators of a transmission facility to which the Responsible Entity is connected. - Dated evidence of having primary voice communication capability with the ISO and each operator of a transmission facility in the list provided in AR7(i). | Provide descriptions for AR7 submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity has identified all of the operators of a transmission facility with which it is required to have primary voice communication capability. Verify that the Responsible Entity has primary voice communication capability with the ISO and each identified operator of a transmission facility. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R7. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R7.A1 Each operator of an electric distribution system shall have a primary voice communication capability that is: (a) a direct access telephone on the public telephone network; - (b) not degraded by any other communication functionality or any other data transfer activities if there is any shared equipment; and - (c) located in each control room. |  |  | MR7.A1 Evidence of having a primary voice communication capability as required in requirement R7.A1 exists. Evidence may include voice communication system design or configuration documentation, physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR7.A1 For each primary voice capability identified under AR7 please provide: - Dated evidence that the primary voice capability is a direct access telephone on the public telephone network. - Dated evidence that the primary voice communications capability is not degraded by any other communication functionality or any other data transfer activities if there is any shared equipment OR evidence that there is no shared equipment. - A list of the Responsible Entity’s control rooms and evidence that the primary voice communication capability is located in each control room. | Provide descriptions for AR7.A1 submitted evidence: | Relative link to evidence: | - Verify that the primary voice communication capability is a direct access telephone on the public telephone network (i.e., it does not go through an automated switchboard or reception desk). - Verify that the primary voice communication capability does not share equipment with other communication or data transfer activities OR if it does, that provisions are in place to prevent the primary voice communication capability being degraded by other communication or data transfer activities which share equipment with the primary communication capability. - Verify that the Responsible Entity has identified all control rooms and that the primary voice communication capability is located in each control room. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R7.A1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R7.A2 Each operator of an electric distribution system shall have the type of backup voice communication capability, in each control room, as identified in: - (a) Appendix 1 for communicating with the ISO; and (b) Appendix 3 for communicating with its operator of a transmission facility. |  |  | MR7.A2 Evidence of having a backup voice communication capability as required in requirement R7.A2 exists. Evidence may include physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR7.A2 Please provide: - Dated evidence that the backup voice communication capability for communicating with the ISO in each control room meets the requirements in Appendix 1. - Dated evidence that the backup voice communication capability for communicating with each entity identified in AR7(i) in each control room meets the requirements in Appendix 3. | Provide descriptions for AR7.A2 submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity has identified all control rooms and that the backup voice communication capability with the ISO in each control room meets the relevant requirements in Appendix 1. Verify that the backup voice communication with each operator of a transmission facility in each control room meets the relevant requirements in Appendix 3. If the selected backup voice capability is utility orderwire service, verify that it meets the definition of utility orderwire service on page 4 of the standard. If the selected backup voice capability is a satellite telephone service, verify that it uses an AESO approved satellite provider as per ID #2012-001RS. If the selected backup voice capability is direct access telephone service, verify that: - the entity is connected to a radial circuit or is connected to a transmission facility identified in a list the ISO publishes on the AESO website. - The telephone service is direct access (i.e., it does not go through an automated switchboard or reception desk). | For AESO use only |  |
| or any other evidence to demonstrate compliance with R7.A2. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R8 Each operator of a generating unit and operator of an aggregated generating facility shall have primary voice communication capability with the following entities, unless the operator of a generating unit or operator of an aggregated generating facility detects a failure of its primary voice communication capability in which case requirement R11 shall apply: - (a) the ISO; and (b) its operator of a transmission facility. |  |  | MR8 Evidence of having primary voice communication capability as required in requirement R8 exists. Evidence may include physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR8 Please provide: - A list of operators of transmission facilities to which the Responsible Entity is connected. - Dated evidence of having primary voice communication capability with the ISO and each operator of a transmission facility in the list provided in AR8(i). | Provide descriptions for AR8 submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity has identified all of the operators of a transmission facility with which it is required to have primary voice communication capability. Verify that the Responsible Entity has primary voice communication capability with the ISO and each identified operator of a transmission facility. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R8. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R8.A1 Each operator of a generating unit and operator of an aggregated generating facility shall have a primary voice communication capability that is: (a) a direct access telephone on the public telephone network; (b) not degraded by any other communication functionality or any other data transfer activities if there is any shared equipment; and - (c) located in each control room. |  |  | MR8.A1 Evidence of having a primary voice communication capability as required in requirement R8.A1 exists. Evidence may include voice communication system design or configuration documentation, physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR8.A1 For each primary voice communication capability identified under AR8 please provide: - Dated evidence that the primary voice communication capability is a direct access telephone on the public telephone network. - Dated evidence that the primary voice communications capability is not degraded by any other communication functionality or any other data transfer activities if there is any shared equipment OR evidence that there is no shared equipment. - Dated evidence that the primary voice communication capability is located in each control room. | Provide descriptions for AR8.A1 submitted evidence: | Relative link to evidence: | - Verify that the primary voice communication capability is a direct access telephone on the public telephone network (i.e., it does not go through an automated switchboard or reception desk). - Verify that the primary voice communication capability does not share equipment with other communication or data transfer activities OR if it does, that provisions are in place to prevent the primary communication capability being degraded by other communication or data transfer activities which share equipment with the primary communication capability. - Verify that the Responsible Entity has identified all control rooms and that the primary voice communication capability is located in each control room. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R8.A1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R8.A2 Each operator of a generating unit and operator of an aggregated generating facility shall have the type of backup voice communication capability, in each control room, as identified in: - (a) Appendix 1 for communicating with the ISO; and (b) Appendix 3 for communicating with its operator of a transmission facility. |  |  | MR8.A2 Evidence of having a backup voice communication capability as required in requirement R8.A2 exists. Evidence may include physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR8.A2 Please provide: - A list of the Responsible Entity’s control rooms and an indication of the generating units and aggregated generating facilities controlled by each control room. - Dated evidence demonstrating which Responsible Entity subcategory in Appendix 1 applies and evidence that the backup voice communication capability for communicating with the ISO in each control room meets the requirements in Appendix 1. - Dated evidence demonstrating which Responsible Entity subcategory in Appendix 3 applies and evidence that the backup voice communication capability for communicating with each entity identified in AR7(i) in each control room meets the requirements in Appendix 3. | Provide descriptions for AR8.A2 submitted evidence: | Relative link to evidence: | Verify that the Responsible Entity has identified all of its control rooms and has selected the correct subcategory in Appendix 1 for its backup voice communication capability with the ISO in each control room. Verify that the backup voice communication with the ISO in each control room meets the relevant requirements in Appendix 1. Verify that the Responsible Entity has selected the correct subcategory in Appendix 3 for its backup voice communication capability with each applicable operator of a transmission facility in each control room. Verify that the backup voice communication with each applicable operator of a transmission facility in each control room meets the relevant requirements in Appendix 3. If the selected backup voice capability is utility orderwire service, verify that it meets the definition of utility orderwire service on page 4 of the standard. If the selected backup voice capability is a satellite telephone service, verify that it uses an AESO approved satellite provider as per ID #2012-001RS. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R8.A2. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R9 Each Responsible Entity shall test its backup voice communication capability, as specified in Appendix 1, Appendix 2, and Appendix 3, at least once each month. If the test is unsuccessful, the Responsible Entity shall initiate action to repair or designate a temporary replacement backup voice communication capability within 2 hours of the unsuccessful test. |  |  | MR9 Evidence of testing backup voice communication capability as required in requirement R9 exists. Evidence may include dated and time-stamped test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. Evidence of initiating action to repair or designate a replacement of backup voice communication capability, which does not utilize the same infrastructure as voice communication used for day-to-day operation, as required in requirement R9 exists. Evidence may include dated and time-stamped test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR9 Please provide: - A list of all monthly tests of the Responsible Entity’s backup voice communication capability, as specified in Appendices 1 – 3, including the date of the test, the names of the other parties, and the outcome of the test (i.e., successful/unsuccessful). - Dated evidence of the completion of all or a subset of the monthly tests – see MR9 for examples of evidence. If evidence is provided for a subset of the monthly tests, the auditor may sample for evidence of the completion of additional monthly tests. - For unsuccessful backup voice communication capability tests, provide dated and time-stamped evidence that action was initiated to repair or designate a temporary replacement backup voice communication capability within 2 hours of the unsuccessful test. If there are more than 9 unsuccessful tests, evidence for a subset of unsuccessful tests may be provided and the auditor may sample for evidence for additional unsuccessful tests. | Provide descriptions for AR9 submitted evidence: | Relative link to evidence: | Verify the Responsible Entity tested each of its backup voice communication capabilities at least once each calendar month. Verify that, for any unsuccessful backup voice communication capability tests, the Responsible entity initiated action to repair or designated a temporary replacement backup voice communication capability within 2 hours of the unsuccessful test. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R9 | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R10 The ISO and each operator of a transmission facility shall notify entities as identified in requirements R1 and R3, respectively within 60 minutes of the detection of a failure of its primary voice communication capability that lasts 30 minutes or longer. |  |  | MR10 Evidence of notifying entities, within the minimum timeframe, after a detection of a failure of its primary voice communication capability as required in requirement R10 exists. Evidence may include dated and time-stamped test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR10 Please provide: - Dated and time-stamped evidence that the Responsible Entity notified entities as identified in requirements R1 and R3, respectively within 60 minutes of the detection of a failure of its primary voice communication capability that lasted 30 minutes or longer. | Provide descriptions for AR10 submitted evidence: | Relative link to evidence: | - Verify that the Responsible Entity notified entities as identified in requirements R1 and R3, respectively within 60 minutes of the detection of a failure of its primary voice communication capability that lasted 30 minutes or longer. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R10. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R11 Each operator of an electric distribution system, operator of a generating unit, and operator of an aggregated generating facility that detects a failure of its primary voice communication capability shall consult each entity affected by the failure, as identified in requirement R7 for an operator of an electric distribution system or requirement R8 for an operator of a generating unit or operator of an aggregated generating facility, to determine a mutually agreeable action for the restoration of its primary voice communication capability. |  |  | MR11 Evidence of consulting with each entity affected by the failure of its primary voice communication capability as required in requirement R11 exists. Evidence may include dated operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR11 Please provide: - For all R7 and R8 primary voice communications capability failures, dated evidence that demonstrates that: - the Responsible Entity consulted with each appropriate entity affected by the failure, and - a mutually agreeable action to restore the primary voice communication capability was determined. | Provide descriptions for AR11 submitted evidence: | Relative link to evidence: | For all R7 and R8 primary voice communication capability failures, verify the Responsible Entity consulted the appropriate entities affected by the failure. For all R7 and R8 primary voice communication capability failures, verify the Responsible Entity determined a mutually agreeable action, through consultation with affected entities, to restore its primary voice communication capability with the affected entities. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R11. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R12 The ISO and each operator of a transmission facility, operator of a generating unit, and operator of an aggregated generating facility shall have internal voice communication capabilities for the exchange of information necessary for the reliable operation of the interconnected electric system. This includes voice communication capabilities between control rooms within the same functional entity, and/or between a control room and field personnel. |  |  | MR12 Evidence of having internal voice communication capability as required in requirement R12 exists. Evidence may include physical assets, or dated evidence, such as, equipment specifications and installation documentation, operating procedures, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR12 Please provide: - A list of the Responsible Entity’s control rooms within the each functional entity. - Dated evidence of the Responsible Entity’s internal voice communication capability for the exchange of information necessary for the reliable operation of the interconnected electric system, including communication capabilities between control rooms within the same functional entity, and/or between each control room and field personnel. | Provide descriptions for AR12 submitted evidence: | Relative link to evidence: | If the Responsible Entity has multiple control rooms within the same functional entity, verify that the entity has internal voice communication capabilities between its control rooms for the exchange of information necessary for the reliable operation of the interconnected electric system. Verify the Responsible Entity has internal voice communication capability to exchange information necessary for the reliable operation of the interconnected electric system, between each control renter and field personnel. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R12. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R13 Each operator of an electric distribution system shall have internal voice communication capabilities for the exchange of information necessary for the reliable operation of the interconnected electric system. This includes communication capabilities between control rooms within the same functional entity, and/or between a control room and field personnel. |  |  | MR13 Evidence of having internal voice communication capability as required in requirement R13 exists. Evidence may include physical assets, or dated evidence, such as, equipment specifications and installation documentation, operating procedures, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR13 Please provide: - A list of the Responsible Entity’s control rooms within the same functional entity. - Dated evidence of the Responsible Entity’s internal voice communication capability for the exchange of information necessary for the reliable operation of the interconnected electric system, including communication capabilities between control rooms within the same functional entity, and/or between each control room and field personnel. | Provide descriptions for AR13 submitted evidence: | Relative link to evidence: | If the Responsible Entity has multiple control rooms within the same functional entity, verify that the entity has internal voice communication capabilities between its control rooms for the exchange of information necessary for the reliable operation of the interconnected electric system. Verify the Responsible Entity has internal voice communication capability to exchange information necessary for the reliable operation of the interconnected electric system, between each control room and field personnel. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R13. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R14.A1 Each Responsible Entity shall, where its backup voice communication capability is a satellite telephone service, use a satellite network system, that is approved by the ISO. |  |  | MR14.A1 Evidence of using a satellite network system as a backup voice communication capability as required in requirement R14.A1 exists. Evidence may include physical assets, dated evidence, such as, equipment specifications and installation documentation, test records, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR14.A1 Please provide: - An indication whether any of the Responsible Entity’s backup voice communication capabilities are a satellite network system. - If any of the Responsible Entity’s backup voice communication capabilities are satellite network systems, evidence that they use a satellite network system that is approved by the ISO. | Provide descriptions for AR14.A1 submitted evidence: | Relative link to evidence: | Verify that any of the Responsible Entity’s backup voice communication capabilities that are satellite network systems, use a satellite network system that is approved by the ISO. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R14.A1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R15.A1 Each Responsible Entity shall, where its backup voice communication capability is a satellite telephone service or utility orderwire service have sufficient backup power supply to ensure that its backup voice communication capability, in its control room site, is capable of remaining operational for a minimum of 8 hours in the event of an extended power outage of its main power supply for its backup voice communication capability. |  |  | MR15.A1 Evidence of having sufficient backup power supply that ensures its backup voice communication capability in its control room site is capable of remaining operational in the event of an extended power outage of its main power supply for its backup voice communication capability as required in requirement R15.A1 exists. Evidence may include backup power supply size and load calculations, and, if an extended power outage occurred, dated and time-stamped records of operations during the extended power outage, such as, operator logs, voice recordings, transcripts of voice recordings, or electronic communications or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR15.A1 Please provide: - A list of the Responsible Entity’s backup voice communication capabilities that are a satellite telephone service or utility orderwire service. - Evidence that each backup voice capability in the list in AR15.A1 (i) has sufficient backup power supply to ensure that the backup voice communication capability, in its control room site, is capable of remaining operational for a minimum of 8 hours in the event of an extended power outage of its main power supply for the backup voice communication capability. | Provide descriptions for AR15.A1 submitted evidence: | Relative link to evidence: | Verify that each of the Responsible Entity’s backup voice communication capabilities where the backup voice communication capability is a satellite telephone service or utility orderwire service have sufficient backup power supply to ensure that the backup voice communication capability, in its control room site, is capable of remaining operational for a minimum of 8 hours in the event of an extended power outage of its main power supply for the backup voice communication capability. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R15.A1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern and Observations

AESO Use Only

## General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

## Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

## Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2023-05-26 | Initial version |
| 2.0 | 2023-09-18 | Fixed typos, changed “Areas of Concern or Observations” Areas of Concern and Observations” |