COM-001-AB1-1.1
Telecommunications

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R2 | [Summary of Findings] |
| --- | --- |
| R3 | [Summary of Findings] |
| R5 | [Summary of Findings] |
| R6 | [Summary of Findings] |
| R7 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to the following:

(a) the operator of a transmission facility that is:

(i)	part of the bulk electric system; or

(ii)	not part of the bulk electric system but which the ISO:

(A)	determines is necessary for the reliable operation of either the interconnected electric system or the City of Medicine Hat electric system; and

(B)	publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1; and

(b) the ISO.

# Compliance Assessment

## R2

| ## Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each operator of a transmission facility must, as necessary to maintain reliability, provide adequate, reliable, and, where applicable, diversely routed and redundant voice and message telecommunication facilities for the exchange of interconnection and Alberta operating information with the following: (a) each adjacent operator of a transmission facility; (b) each adjacent interconnected transmission operator that is directly connected to Alberta; and (c) the ISO. MR2 Evidence of providing voice and message telecommunication facilities as required in requirement R2 exists. Evidence may include: (a) a list identifying each telecommunication facility for the exchange of interconnection and Alberta operating information; and (b) documentation demonstrating the implementation of diverse routing and redundancy capability, if applicable. | - AR2 Please provide: | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2(i) evidence to determine whether voice and message telecommunication facilities with each relevant entity (per R2) existed throughout the audit period. | [For AESO use only] |
|  | (i) the list of voice and message telecommunication facilities that were in place throughout the audit period for the exchange of interconnection and Alberta operating information; this list should identify for each identified telecommunication facility - (a) the entity(ies) for which it enables communication - (b) the date when they were put in place; - and - (c) a brief description of how these facilities are used for voice telecommunications and message telecommunications; |  |  |  |  |
|  | (ii) evidence that each of the voice and message telecommunication at AR2(i) facilities are adequate; | [Click and edit to enter description for AR2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2(ii) evidence to determine whether adequate voice and message telecommunication facilities were provided. | [For AESO use only] |
|  | (iii) evidence that each of the voice and message telecommunication at AR2(i) facilities are reliable; and | [Click and edit to enter description for AR2(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2(iii) evidence to determine whether reliable voice and message telecommunication facilities were provided. | [For AESO use only] |
|  | (iv) evidence that voice and message telecommunication facilities are, where applicable, diversely routed and redundant; - Note: To determine where applicable, review the Table 1 in subsection 7 of section 502.4 of the ISO rules, Automated Dispatch and Messaging System and Voice Communication System Requirements. | [Click and edit to enter description for AR2(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2(iv) evidence to determine whether the audited entity provided, where appropriate, diversely routed and redundant voice and message telecommunication facilities. | [For AESO use only] |
|  | - or - any other evidence to demonstrate compliance with the requirement R2. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] | - Review any other provided evidence to determine whether the audited entity provided voice and message telecommunication facilities in accordance with the requirement R2 throughout the audit period. | [For AESO use only] |

Findings

[For AESO use only]

## R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 The ISO and each operator of a transmission facility must manage and test its alternate voice and message telecommunication facilities. MR3 Evidence of managing and testing its alternate voice and message telecommunication facilities as required in requirement R3 exists. Evidence may include: (a) a list identifying each telecommunication facility as determined to be alternate; (b) documented procedures describing how to manage and test its alternate telecommunication facilities; and (c) records of testing. | - AR3 Please provide: | [Click and edit to enter description for AR3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR3 evidence to determine whether the audited entity managed and tested its alternate voice and message telecommunication facilities during the audit period. | [For AESO use only] |
|  | (i) identification of each alternate voice and message telecommunication facility on the AR2(i) provided list; |  |  |  |  |
|  | (ii) procedures or any other evidence describing how the entity manages and tests its alternate telecommunication facilities; and | [Click and edit to enter description for AR3(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | (iii) records of managing and testing of the alternate voice and message telecommunication facilities; | [Click and edit to enter description for AR3(iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | - or any other evidence to demonstrate compliance with the requirement R3. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |

Findings

[For AESO use only]

## R5

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R5 Each operator of a transmission facility must provide a means to coordinate voice and message telecommunications with the ISO and adjacent interconnected transmission operators, which coordination must include the ability to investigate and recommend solutions to voice and message telecommunications problems within Alberta. MR5 Evidence of providing a means to coordinate voice and message telecommunications as required in requirement R5 exists. Evidence may include a documented procedure in place which identifies a process for coordinating telecommunications and a process for investigating and recommending solutions to telecommunications problems. | - AR5 Please provide: | [Click and edit to enter description for submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR5 evidence to determine whether: - (a) means to coordinate voice and message telecommunications with relevant entities (per R5) exist, - and - (b) the ability to investigate and recommend solutions to voice and message telecommunications problems was included. | [For AESO use only] |
|  | documented procedures which identify a process for coordinating telecommunications and a process for investigating and recommending solutions to telecommunications problems; |  |  |  |  |
|  | or any other evidence demonstrating that the audited entity provided a means to coordinate voice and message telecommunications as required in requirement R5. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |

Findings

[For AESO use only]

## R6

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R6 The ISO and each operator of a transmission facility must use the English language for all communications between their respective operating personnel responsible for the real-time generation control and operation of the interconnected electric system. MR6 Evidence of using the English language as required in requirement R6 exists. Evidence may include operator logs, voice recordings, electronic communications or e-tag records. | - AR6 Please provide: | [Click and edit to enter description for AR6(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR6 evidence to determine whether the English language was used for communications (oral and written) between their respective operating personnel responsible for the real-time generation control and operation of the interconnected electric system. | [For AESO use only] |
|  | (i) operator logs; |  |  |  |  |
|  | (ii) voice recordings; | [Click and edit to enter description for AR6(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | (iii) electronic communications; | [Click and edit to enter description for AR6(iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | - (iv) e-tag records; | [Click and edit to enter description for AR6(iv) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | - or - any other evidence to demonstrate compliance with the requirement R6. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |

Findings

[For AESO use only]

## R7

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R7 The ISO and each operator of a transmission facility must have written operating instructions and procedures to enable continued operation of the interconnected electric system during the loss of voice and message telecommunication facilities. MR7 Evidence of having written operating instructions and procedures as required in requirement R7 exists. Evidence may include electronic or hard copy of the operating instructions and procedures. | - AR7 Please provide: | [Click and edit to enter description for submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR7 submitted evidence to determine whether written operating instructions and procedures to enable continued operation of the interconnected electric system during the loss (partial and complete) of voice and message telecommunication facilities were in place during the audit period. - Review the actions in the provided operating instructions and/or procedure for feasibility with respect to the goal of enabling continued operation of the interconnected electric system in absence of voice and message telecommunication facilities. | [For AESO use only] |
|  | operating instructions and procedures as required in R7 that were in place during the audit period |  |  |  |  |
|  | or any other evidence demonstrating compliance with the requirement R7. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | December 17, 2015 | Initial version of the audit worksheet |