COM-002-AB1-2a
Communications and Coordination

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R2 | [Summary of Findings] |
| --- | --- |
| R3 | [Summary of Findings] |
| R4 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

(a)	the operator of a generating unit that is:

(i)	directly connected to the transmission system or to transmission facilities within the City of Medicine Hat; and

(ii)	not part of an aggregated generating facility;

(b)	the operator of an aggregated generating facility that is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat;

(c)	the operator of a transmission facility; and

(d)	the ISO.

# Compliance Assessment

# R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 The operator of a transmission facility must have voice and data communication facilities with: (a) each adjacent operator of a transmission facility; (b) each adjacent interconnected transmission operator directly connected to Alberta; and (c) the ISO. MR2 Evidence of having voice and data communications as required in requirement R2 exists. Evidence may include a list of communication facilities or other equivalent evidence that confirms that the communications have been provided. | - AR2 Please provide: | [Click and edit to enter description for submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR2 submitted evidence to determine whether voice and data communication facilities with each relevant entity (as specified in the requirement R2) existed throughout the audit period. | [For AESO use only] |
|  | the list of voice and data communication facilities that were in place throughout the audit period; this list should identify for each facility: - (a) the entity(ies) for which it enables communication, - (b) the date when they were put in place, - and - (c) a brief description of how these facilities are used for voice communications and/or data communications; |  |  |  |  |
|  | or any other evidence to demonstrate compliance to the requirement R2. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

# R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 Each operator of a generating unit and each operator of an aggregated generating facility must have voice and data communication facilities with: (a) each operator of a transmission facility to which it is directly connected; and (b) the ISO. MR3 Evidence of having voice and data communications as required in requirement R3 exists. Evidence may include a list of communication facilities or other equivalent evidence that confirms that the communications have been provided. | - AR3 Please provide: | [Click and edit to enter description for submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR3 submitted evidence to determine whether voice and data communication facilities with each relevant entity (as specified in the requirement R3) existed throughout the audit period. | [For AESO use only] |
|  | the list of voice and data communication facilities that were in place throughout the audit period. This list should identify for each facility - (a) the entity(ies) for which it enables communication, - (b) the date when they were put in place, - and - (c) a brief description of how these facilities are used for voice and/or data communications; |  |  |  |  |
|  | or any other evidence to demonstrate compliance to the requirement R3. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

# R4

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R4 The ISO, each operator of a transmission facility, each operator of an aggregated generating facility and each operator of a generating unit must have personnel available for all hours of the day, seven (7) days a week, to receive and respond to any voice or data communication regarding a real-time system emergency condition via the communication facilities as identified in requirements R1 through R3. MR4 Evidence of having personnel available as required in requirement R4 exists. Evidence may include operator logs, timesheets, on-call lists or shift schedules. | - AR4 Please provide: | [Click and edit to enter description for AR4 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR4 submitted evidence to determine whether personnel were available for all hours of the day, seven (7) days a week to receive and respond to any voice or data communication regarding a real-time system emergency condition via the communication facilities as identified in requirements R2* and/or R3*. - * Note: the requirement R4 references the communication facilities identified in R1 through R3; however, since the requirement R1 is only applicable to the ISO and this document is intended for the Alberta market participants except ISO, the requirement R1 is not in scope of this compliance monitoring audit. | [For AESO use only] |
|  | (i) operator logs; (ii) timesheets; (iii) on-call lists; (iv) shift schedules; |  |  |  |  |
|  | or any other evidence to demonstrate compliance to the requirement R4. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | February 27, 2014 | Initial version of audit worksheet |
| 2.0 | December 17, 2015 | Revised template and content |