EOP-001-AB1-2.1b
Emergency Operations Planning

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R3 | [Summary of Findings] |
| --- | --- |
| R4 | [Summary of Findings] |
| R5 | [Summary of Findings] |
| R8 | [Summary of Findings] |
| R10 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

(a)	the operator of a transmission facility that is part of the bulk electric system; and
(b)	the ISO.

This reliability standard does not apply to the operator of a transmission facility whose transmission facility is a radial connection from a generating unit or an aggregated generating facility to either the transmission system or to transmission facilities within the city of Medicine Hat.

# Compliance Assessment

# R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 Each of the ISO and the operator of a transmission facility must develop, maintain and implement plans to mitigate operating emergencies on the transmission system. MR3 Evidence of developing, maintaining and implementing plans to mitigate operating emergencies on the transmission system as required in requirement R3 exists. Evidence may include dated, current plans to mitigate operating emergencies on the transmission system and communications or training to the operating personnel. | - AR3 Please provide: | [Click and edit to enter description for AR3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review submitted plans for appropriateness. Review submitted plans to determine whether a plan was in place throughout the audit period. | [For AESO use only] |
|  | (i) the plans to mitigate operating emergencies on the transmission system that were in place throughout the audit period; |  |  |  |  |
|  | (ii) evidence that the plans were maintained; | [Click and edit to enter description for AR3(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the plans’ revision histories to determine whether the plans were maintained, i.e. updated to reflect changes, if any. Potential changes may include changes in communication protocol, controlling actions to resolve operating emergencies, the tasks to be coordinating with appropriate entities, staff level for the emergency, etc. | [For AESO use only] |
|  | (iii) the list of operating personnel designated to receive communications (that may include briefing, bulletin, email or alike) or training with respect to each plan identified in the AR3(i) above; and | [Click and edit to enter description for AR3(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR3(iii) and AR3(iv) provided evidence to determine whether the plans identified at AR3(i) were communicated or training provided to designated operating personnel (provided at AR3(iii)) before becoming effective. | [For AESO use only] |
|  | (iv) evidence that the plans were implemented. | [Click and edit to enter description for AR3(iv) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

# R4

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R4 Each of the ISO and the operator of a transmission facility must develop, maintain and implement plans for load shedding. MR4 Evidence of developing, maintaining and implementing load shedding plans as required in requirement R4 exists. Evidence may include dated, current plans for load shedding and communications or training to the operating personnel. | - AR4 Please provide: | [Click and edit to enter description for AR4(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review submitted plans for appropriateness. Review submitted plans to determine whether a plan was in place throughout the audit period. | [For AESO use only] |
|  | (i) the plans for load shedding that were in place throughout the audit period; |  |  |  |  |
|  | (ii) evidence that the plans were maintained; | [Click and edit to enter description for AR4(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review each submitted plan and its revision history, then verify whether each plan was maintained (kept updated/current) to reflect each potential change, if any. Potential changes may include changes in communication protocol, controlling actions to resolve operating emergencies, the tasks to be coordinating with appropriate entities, staff level for the emergency, etc. | [For AESO use only] |
|  | (iii) the list of operating personnel designated to receive communications (that may include briefing, bulletin, email or alike) or training with respect to each plan identified in the AR4(i) above; and | [Click and edit to enter description for AR4(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR4(iii) and AR4(iv) provided evidence to determine whether the plans identified at AR4(i) were communicated or training provided to designated operating personnel (provided at AR4(iii)) before becoming effective. | [For AESO use only] |
|  | (iv) evidence that the plans were implemented. | [Click and edit to enter description for AR4(iv) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

# R5

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R5 Each of the ISO and the operator of a transmission facility must include, at a minimum, when developing emergency plans as identified in requirements R2, R3 and R4, the following: (a) communication protocols to be used during operating emergencies; (b) a list of controlling actions to resolve the operating emergency within NERC established timelines, including, where appropriate, a controlling action to reduce load; (c) the tasks to be coordinated with and among any affected operator of a transmission facility, adjacent interconnected transmission operator and adjacent balancing authority, as appropriate; and (d) a procedure for adjusting staffing levels for the emergency, where appropriate. MR5 Evidence of including the items in emergency plans as required in requirement R5 exists. Evidence may include emergency plans that contain items listed in requirement R5. | - AR5 Please provide: | [Click and edit to enter description for AR5(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the contents of each submitted operating emergencies mitigation plan identified in AR3 and AR4 to determine whether it included communication protocols to be used during operating emergencies. | [For AESO use only] |
|  | (i) references to the plans submitted at AR3 and AR4 indicating where in these respective plans the item (a) as listed in requirement R5 is included; |  |  |  |  |
|  | (ii) references to the plans submitted at AR3 and AR4 indicating where in these respective plans the item (b) as listed in requirement R5 is included; | [Click and edit to enter description for AR5(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the contents of each submitted operating emergencies mitigation plan identified in AR3 and AR4 to determine whether it included a list of controlling actions to resolve the operating emergency within NERC established timelines, including, where appropriate, a controlling action to reduce load. | [For AESO use only] |
|  | (iii) references to the plans submitted at AR3 and AR4 indicating where in these respective plans the item (c) as listed in requirement R5 is included; and | [Click and edit to enter description for AR5(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the contents of each submitted operating emergencies mitigation plan identified in AR3 and AR4 to determine whether it included the tasks to be coordinated with and among any affected operator of a transmission facility, adjacent interconnected transmission operator and adjacent balancing authority, as appropriate. | [For AESO use only] |
|  | (iv) references to the plans submitted at AR3 and AR4 indicating where in these respective plans the item (d) as listed in requirement R5 is included. | [Click and edit to enter description for AR5(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the contents of each submitted operating emergencies mitigation plan identified in AR3 and AR4 to determine whether it included a procedure for adjusting staffing levels for the emergency, where appropriate. | [For AESO use only] |

Findings

[For AESO use only]

# R8

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R8 Each operator of a transmission facility must review its plans for load shedding once every calendar year and update as required. MR8 Evidence of reviewing and updating plans as required in requirement R8 exists. Evidence may include documentation confirming each plan was reviewed once every calendar year and updated as required. | - AR8 Please provide: | [Click and edit to enter description for AR8(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the submitted documentation to determine whether a) each plan for load shedding was reviewed once every calendar year, and b) the plans for load shedding were updated in accordance with the outcome of the annual review. | [For AESO use only] |
|  | documentation of the plans review(s) identifying the date of the review, the name and title of personnel who conducted the review; this documentation should include the outcome of each review, i.e. whether any update is required or not. |  |  |  |  |

Findings

[For AESO use only]

# R10

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R10 Each operator of a transmission facility must provide a copy of its updated plans to mitigate operating emergencies on the transmission system and plans for load shedding to any affected adjacent operator of a transmission facility and the ISO. MR10 Evidence of providing updated plan as required in requirement R10 exists. Evidence may include email or mail to appropriate recipients that identifies contents submitted. | - AR10 Please provide: | [Click and edit to enter description for AR10(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR10(i) and AR10(ii) evidence to determine whether a copy of each updated plan was provided to all relevant parties, i.e. all affected adjacent operator of a transmission facility and the ISO, for each update. | [For AESO use only] |
|  | (i) evidence that each updated plan to mitigate operating emergencies was provided to any affected adjacent operator of a transmission facility and the ISO; If deemed that the plans do not need to be provided to all adjacent operator of a transmission facility, provide an explanation why these are not affected by the plans. and |  |  |  |  |
|  | (ii) evidence that each updated plans for load shedding were provided to any affected adjacent operator of a transmission facility and the ISO. If deemed that the plans do not need to be provided to all adjacent operator of a transmission facility, provide an explanation why these are not affected by the plans. | [Click and edit to enter description for AR10(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | May 1, 2015 | Initial version of the audit worksheet |
| 2.0 | December 17, 2015 | Revised template and content |