EOP-003-AB1-1
Load Shedding Plans

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R11 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to the entities listed below:

(a)	the operator of a transmission facility that is part of the bulk electric system;

(b)	a market participant receiving service under Rate DTS of the ISO tariff, unless such service is used solely for supplying station service to a generating unit or an aggregated generating facility;

(c)	the operator of an electric distribution system who is a counterparty to an agreement with a market participant receiving service under Rate DTS of the ISO tariff, for the provision of load shedding services; and

(d)	the ISO.

This reliability standard does not apply to the operator of a transmission facility whose transmission facility is a radial connection from a generating unit or an aggregated generating facility to either the transmission system or to transmission facilities within the city of Medicine Hat.

# Compliance Assessment

## R1

| # Requirement & Measure # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1.1 Each market participant and operator of an electric distribution system must shed load or reduce MW inflow as directed by the ISO. MR1.1 Electronic logs, metering or electronic data exists to confirm the market participant or operator of an electric distribution system shed load. | - AR1.1 Please provide: | [Click and edit to enter description for AR1.1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1.1(i) provided list of load shed events for completeness. If an attestation letter was provided, review it for completeness and accuracy. | [For AESO use only] |
|  | (i) the list of load shed events during the audit period where the ISO issued directives to shed load or reduce MW inflow due to AIES operating with insufficient generation or transmission capacity; - If no directives to shed load or reduce MW inflow were received from the ISO during the audit period, attestation letter to this effect. - and |  |  |  |  |
|  | - (ii) for each ISO directive, electronic logs, metering or electronic data to demonstrate that the entity shed load or reduced the MW inflow as per the ISO directive; | [Click and edit to enter description for AR1.1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the provided evidence to determine whether the entity shed load or reduced the MW inflow as directed by the ISO. | [For AESO use only] |
|  | or any other evidence to demonstrate compliance to the requirement R1.1. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
| R1.2 When coordination with the ISO is not possible or practicable, and after considering all remedial steps, the operator of a transmission facility, when operating with insufficient generation or transmission capacity, must shed load rather than risk an uncontrolled failure of components or cascading of the Interconnection. MR1.2 Electronic logs and/or electronic data exist to confirm the operator of a transmission facility shed load. | - AR1.2 Please provide: | [Click and edit to enter description for AR1.2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1.2(i) provided list of load shed events for completeness. If an attestation letter was provided, review it for completeness. | [For AESO use only] |
|  | - (i) the list of load shed events during the audit period where insufficient generation or transmission capacity occurred and coordination with the ISO was not possible or practical; - If no such events occurred during the audit period, attestation letter to this effect. |  |  |  |  |
|  | - (ii) for each event, evidence that the coordination with the ISO was either not possible, or not practicable; and | [Click and edit to enter description for AR1.2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1.2(ii) evidence to confirm whether the coordination with the ISO was possible or practicable. | [For AESO use only] |
|  | (iii) for each event, electronic logs, metering or electronic data to demonstrate that load was shed; | [Click and edit to enter description for AR1.2(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the provided evidence to determine whether the entity shed load rather than risk an uncontrolled failure of components or cascading of the Interconnection. | [For AESO use only] |
|  | or any other evidence to demonstrate compliance to the requirement R1.2. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

## R11

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R11 Each market participant and operator of an electric distribution system must be capable of implementing manual load shedding in a time frame adequate for responding to the emergency. MR11 Electronic logs, metering or electronic data exists to confirm the manual load shedding. Manual load shedding is performed in a time frame adequate to respond to the emergency as defined in operating procedures or equipment ratings. | - AR11 Please provide: | [Click and edit to enter description for AR11(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided to determine whether: (a) manual load shedding directive(s) were implemented; (b) the manual load shedding was performed in a time frame adequate to respond to the emergency as defined in operating procedures or equipment ratings; (c) the manual load shedding procedures include time frames that are adequate with respect to equipment ratings or other identified emergency timelines. | [For AESO use only] |
|  | (i) evidence demonstrating that the entity is capable of implementing manual load shedding in a time frame adequate for responding to the emergency (e.g. manual load shedding procedure identifying the time frame); |  |  |  |  |
|  | - (ii) for the manual load shedding events occurred during the audit period, if any, evidence, such as electronic logs, and/or voice recordings, metering or electronic data, that load was shed in a time frame adequate for responding to the emergency; | [Click and edit to enter description for AR11(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | or any other evidence to demonstrate compliance to the requirement R11. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | November 13, 2012 | Initial version of audit worksheet. |
| 1.1 | May 30, 2013 | Removal of requirements applicable to the ISO. |
| 2.0 | December 17, 2015 | Revised template and content. |