# EOP-005-AB-3

# System Restoration from Blackstart Resources

# Standard Effective Date: October 1, 2023

## Audit Summary

| Registered Entity | [Registered Entity name as it appears in the AESO ARS Registry] |
| --- | --- |
| Functional Entity | [Functional entities for which the Registered Entity above was registered during the audit period] |
| Audit Period | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] Note: Submitted evidence must demonstrate compliance for the entire audit period. |
| Audit | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) |
| Suspected Non-Compliance to the standard? | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5]. |
| Date of Completion | [Use YYYY-MM-DD format] |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | Suspected Contraventions | AESO Use Only |
| --- | --- | --- |
|  | Areas of Concern or Observations | AESO Use Only |
| R2 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern or Observations | AESO Use Only |
| R3 | Suspected Contraventions | AESO Use Only |
|  | Areas of Concern or Observations | AESO Use Only |

## Contact Information

| Audited Entity |  |
| --- | --- |
| Compliance Primary | Name: Title: Phone: Email: |
| Subject Matter Expert | Name: Title: Phone: Email: |

| AESO Team |  |
| --- | --- |
| Lead Auditor | Name: Title: Phone: Email: |
| Auditor | Name: Title: Phone: Email: |
| Compliance Manager | Name: Title: Phone: Email: |
| Standard Owner | Name: Title: Phone: Email: |

## Applicability

This reliability standard applies to:

- the ISO;

- the operator of a transmission facility that the ISO includes in its restoration plan and in a list published on the AESO website that the ISO may amend from time to time in accordance with the process set out in Appendix 1;

- the operator of a generating unit that:

  - is not part of an aggregated generating facility;

  - has a maximum authorized real power rating greater than 18 MW; and

  - is directly connected to either the transmission system or to transmission facilities within the City of Medicine Hat; and

- the operator of an electric distribution system that is identified in the restoration plan of an operator of a transmission facility.

## Compliance Assessment

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R1 Each operator of a transmission facility must develop a restoration plan approved by the ISO and implement it to restore the transmission facilities that it operates, regardless of where the blackstart resource is located, following a disturbance in which: (a) one or more areas of the interconnected electric system shuts down; and (b) the use of blackstart resources is required to restore the shut-down area(s). The restoration plan must include: R1.1 strategies for system restoration that are coordinated with the ISO’s restoration plan; R1.2 intentionally left blank; R1.3 procedures for restoring; (a) connections with other operators of transmission facilities; and (b) interconnections with any adjacent interconnected transmission operators under the direction of the ISO. R1.4 the characteristics of each blackstart resource that is connected to the transmission facilities of the operator of a transmission facility, including but not limited to the: (a) name; (b) location; (c) megawatt and megavar capacity; and (d) type of generating unit; R1.5 the identification of the initial switching requirements for any facilities, operated by the operator of a transmission facility, that are a part of the cranking paths identified in the ISO’s restoration plan; R1.6 acceptable operating voltage and frequency limits during restoration; R1.7 operating processes to re-establish connections between the transmission facilities of the operator of a transmission facility for areas that have been restored and are prepared for reconnection; R1.8 operating processes to restore loads required to restore the interconnected electric system, such as: (a) station service for substations; (b) generating units to be restarted or stabilized; and (c) load needed to stabilize generation and frequency, and to provide voltage control; and R1.9 operating processes for accepting operations from and transferring operations back to the ISO in accordance with the ISO’s restoration plan. |  |  | MR1 Evidence of developing a restoration plan approved by the ISO and implementing it as required in requirement R1 exists. Evidence of developing a restoration plan approved by the ISO may include: (a) email, mail or other equivalent evidence demonstrating approval of the restoration plan by the ISO; and (b) a documented restoration plan including the elements identified in requirement R1. Evidence of implementing a restoration plan may include operator logs, voice recordings, other operating or communication documentation, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR1 Please provide: - the dated, documented restoration plans in effect throughout the audit period; | Provide descriptions for AR1 (i) submitted evidence: | Relative link to evidence: | Review the AR1(i) provided restoration plans to determine whether, when the use of blackstart resources is required to restore shut-down area(s) to service, the restoration plan allows for restoring the entity’s transmission facilities to a state whereby the choice of the next load to be restored is not driven by the need to control frequency or voltage, regardless of where the blackstart resource is located. | For AESO use only |  |
| - evidence of restoration plan being approved by the ISO; | Provide descriptions for AR1.1 submitted evidence: | Relative link to evidence: | Review the AR1(i) provided restoration plans and the AR1(ii) evidence to determine whether all versions of the restoration plan were approved by the ISO. | For AESO use only |  |
| - specific references to the AR1(i) provided restoration plans indicating the sections corresponding to each of the R1.1 through R1.9 part of requirement R1; Section / Paragraph; Page(s). R1.1. R1.3(a). R1.3(b). R1.4(a). R1.4(b). R1.4(c). R1.4(d). R1.5. R1.6. R1.7. R1.8. R1.9. |  | Relative link to evidence: | Review the AR1(i) provided restoration plans and the AR1(iii) evidences to determine whether all components corresponding to each of the R1.1 through R1.9 parts of the requirement R1 are included in the restoration plan. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R1 |  | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R2 In the event of changes to the roles and specific tasks of entities identified in a restoration plan: (a) the ISO must provide the affected entities identified in its restoration plan with a description of any changes to their roles and specific tasks prior to the effective date of the plan; and (b) each operator of a transmission facility must provide the affected entities identified in its approved restoration plan with a description of their roles and any changes to their roles and specific tasks prior to the effective date of the plan. |  |  | MR2 Evidence of providing a description of any changes to the roles and specific tasks of affected entities identified in the restoration plan as required in requirement R2 exists. Evidence may include a documented restoration plan showing the effective date and dated emails with receipts or registered mail with receipts, including a description of any changes to roles and specific tasks, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR2 Please provide: - evidence of changes to roles and specific tasks of entities identified in the restoration plan throughout the audit period, or, if no changes occurred, an attestation letter to this effect; |  | Relative link to evidence: | Review the AR2(i) evidence in conjunction with the AR1(i) restoration plans to determine whether any changes to the roles and specific tasks of entities identified in a restoration plan have occurred during the audit period. | For AESO use only |  |
| - evidence, such as a dated written or electronic correspondence, of provision of the affected entities identified in the restoration plan with a description of any changes to the roles and specific tasks; |  | Relative link to evidence: | Review the AR1(ii) provided evidence to determine whether the changes to the roles and specific tasks of entities identified in a restoration plan were provided to the affected entities prior to the effective date of the restoration plan. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R2. |  |  | Review any additional evidence provided. |  |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R3 Each operator of a transmission facility must within sixty (60) days, or another time period agreed to by the ISO, after receiving a copy of the ISO’s restoration plan updated in accordance with requirement R3 of EOP-006-AB-3 or any subsequent version of that reliability standard: (a) review its restoration plan; (b) align its restoration plan, as necessary, with the ISO’s restoration plan; and (c) submit its plan to the ISO for approval. R3.1 The operator of a transmission facility must, where the ISO disapproves a restoration plan submitted pursuant to requirement R3(c), resolve the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO. |  |  | MR3 Evidence of reviewing, aligning and submitting the restoration plan as required in requirement R3 exists. Evidence may include a documented restoration plan, including a review or revision history, and emails with receipts or registered mail with receipts, or other equivalent evidence. MR3.1 Evidence of resolving the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO as required in requirement R3.1 exists. Evidence may include emails with receipts or registered mail with receipts, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR3 Please provide: - evidence of reviewing the restoration plan after receiving an updated copy of the ISO’s restoration plan. This evidence should include the date when the ISO‘s updated restoration plan was received, the agreed timeframe by the ISO if different than 60 days, and the date when the entity’s restoration plan review was completed; | Provide descriptions for AR3 submitted evidence: | Relative link to evidence: | Review the AR3(i) evidence to determine whether the entity reviewed and, if necessary, aligned their restoration plan within 60 days or another time period agreed to by the ISO after receiving each updated copy of the ISO restoration plan. | For AESO use only |  |
| (ii) evidence of submitting their reviewed and/or revised restoration plan to the ISO, including the submission date; or, if no instance of receiving an updated copy of the ISO’s restoration plan, an attestation letter to this effect; | Provide descriptions for other submitted evidence | Relative link to evidence: | Review the AR3(ii) evidence to determine whether the entity submitted their reviewed / revised restoration plan to the ISO for approval within 60 days or another time period agreed to by the ISO after receiving each updated copy of the ISO restoration plan. | For AESO use only |  |
| AR3.1 Please provide: - list of occurrences where the ISO disapproved a restoration plan submitted by the entity; - evidence that the entity resolved the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO; or, if no instance where the ISO disapproved a submitted restoration plan, an attestation letter to this effect; | Provide descriptions for other submitted evidence | Relative link to evidence: | Review the AR3.1(i) and AR3.1(ii) evidence to determine whether any occurrences where the ISO disapproved a submitted plan are identified, review the AR3.1(ii) evidence to determine whether the issues identified by the ISO were resolved within a timeframe agreed by the ISO. |  |  |
| or any other equivalent evidence to demonstrate compliance with requirement R3. |  |  | Review any additional evidence provided. |  |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R4 Each operator of a transmission facility must update and submit its revised restoration plan to the ISO for approval, when the revision would change its ability to implement its restoration plan, as follows: (a) within ninety (90) days after identifying an unplanned permanent interconnected electric system modification; and (b) not less than thirty (30) days prior to implementing a planned permanent interconnected electric system modification. R4.1 The operator of a transmission facility must, where the ISO disapproves a revised restoration plan submitted pursuant to requirement R4, resolve the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO. |  |  | MR4 Evidence of updating and submitting the revised restoration plan as required in requirement R4 exists. Evidence may include: (a) for the date of identifying any unplanned permanent modifications: logs, a dated report, emails, or other equivalent evidence; (b) for the date of implementing planned modifications: logs, a dated report, emails, or other equivalent evidence; (c) for updating the restoration plan: a dated documented restoration plan and revision histories, or other equivalent evidence; and (d) for submitting the revised restoration plan: emails with receipts or registered mail receipts including submission date, or other equivalent evidence. MR4.1 Evidence of resolving the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO as required in requirement R4.1 exists. Evidence may include emails with receipts or registered mail with receipts, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR4 Please provide: - the list of planned interconnected electric system modification that required changes to the implementation of its restoration plan and dated revised restoration plan submitted to the ISO for approval throughout the audit period; or, if no instance of planned interconnected electric system modification, an attestation letter to this effect.. | Provide descriptions for AR4 submitted evidence: | Relative link to evidence: | Review the AR4(i) provided evidence to determine whether the restoration plan was updated and submitted to the ISO no less than thirty (30) calendar days prior to implementing a planned bulk electric system modification that would change the implementation of the restoration plan. | For AESO use only |  |
| - the list of an unplanned permanent interconnected electric system modification that required changes to the implementation of its restoration plan and dated revised restoration plan submitted to the ISO for approval throughout the audit period; or, if no instance of unplanned permanent interconnected electric system modification, an attestation letter to this effect. | Provide descriptions for other submitted evidence | Relative link to evidence: | Review the AR4(ii) provided evidence to determine whether the restoration plan was updated and submitted to the ISO within ninety (90) days after identifying an unplanned permanent interconnected electric system modification that would change the implementation of the restoration plan. | For AESO use only |  |
| AR4.1 Please provide: - a list of the ISO disapprovals from the revised restoration plan throughout the audit period; - evidence that the entity resolved the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO; or, if no instances where the ISO disapproved the revised restoration plan, an attestation letter to this effect. - evidence that the entity resolved the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO; or, if no instance where the ISO disapproved a submitted restoration plan, an attestation letter to this effect; | Provide descriptions for other submitted evidence | Relative link to evidence: | Review the AR4.1(i) and AR4.1(ii) provided evidences to determine whether resolving the issues described in the reasons provided by the ISO within a timeframe agreed to by the ISO as required in requirement R4.1 exists. |  |  |
| or any other equivalent evidence to demonstrate compliance with requirement R4. |  |  | Review any additional evidence provided. |  |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R5 Each operator of a transmission facility must have a copy of its latest ISO-approved restoration plan within its primary and backup control rooms prior to its effective date, for the purpose of ensuring it is available to its real-time operating personnel. R5.1 Each operator of a transmission facility must provide a copy of its latest ISO-approved restoration plan, prior to its effective date, to each operator of an electric distribution system identified in that plan |  |  | MR5 Evidence of having a copy of its latest ISO-approved restoration plan within the primary and backup control rooms and of making it available to its real-time operating personnel prior to its effective date, as required in requirement R5 exists. Evidence may include dated records to show that the latest ISO-approved copy of the restoration plan was made available as required in requirement R5, or other equivalent evidence. MR5.1 Evidence of providing a copy of the latest ISO-approved restoration plan to each operator of an electric distribution system prior to its effective date as required in requirement R5.1 exists. Evidence may include dated emails with receipts or registered mail receipts, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR5 Please provide: - evidence of having a copy of the ISO approved current restoration plan within the primary and backup (if available) control rooms. This evidence should identify the date when the restoration plans were made available to control rooms throughout the audit period; | Provide descriptions for AR5 submitted evidence: | Relative link to evidence: | Review the AR5(i) provided evidence to determine whether the current ISO approved restoration plan was available to its real time operating personnel within the primary control room and the backup control room. | For AESO use only |  |
| AR5.1 Please provide: - evidence that a copy of its current ISO approved restoration plan was provided to each operator of an electric distribution system identified in that plan; | Provide descriptions for other submitted evidence | Relative link to evidence: | Review the AR5.1(i) provided evidence to determine if a copy of its current ISO approved restoration plan was provided to each operator of an electric distribution system identified in that plan. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R5. |  |  | Review any additional evidence provided. |  |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R8 Each operator of a transmission facility must include system restoration training for its real-time operating personnel once each calendar year in its operations training program. This training program must include training on the following: (a) the operator of a transmission facility’s restoration plan including coordination with the ISO and each operator of a generating unit and operator of an aggregated generating facility included in its restoration plan; (b) restoration priorities; (c) the building of cranking paths as included in its restoration plan (d) synchronizing re-energized sections of the interconnected electric system; and (e) transition of demand and resource balance to the ISO |  |  | MR8 Evidence of including system restoration training within the operations training program as required in requirement R8 exists. Evidence may include a documented operations training program including system restoration training for real-time operating personnel, or other equivalent evidence |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR8 Please provide: - the list of operating personnel throughout the audit period, including the date they became or ceased to be an operating personnel; - evidence that system restoration training for operating personnel was included within the operating training program throughout the audit period. This evidence should include the frequency of the training delivery; - evidence of providing system restoration training to operating personnel. This evidence should include the dates of each training session; - evidence that the training program included items (a), (b), (c), (d) and (e);. | Provide descriptions for AR8 submitted evidence: | Relative link to evidence: | Review the AR8(ii) evidence to determine whether operations training program included system restoration training for its operating personnel. Review the AR8(i) and (iii) evidence to determine whether system restoration training was provided to its operating personnel once each calendar year. Review the AR8(iv) evidence to determine whether operations training program included (a), (b), (c), (d) and (e). | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R8. |  |  | Review any additional evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R9 Each operator of a transmission facility and operator of an electric distribution system must provide a minimum of two (2) hours of system restoration training every two (2) calendar years to its field switching personnel identified as performing unique tasks associated with the operator of a transmission facility’s restoration plan that are outside of their normal tasks. |  |  | MR9 Evidence of providing a minimum of two (2) hours of system restoration training every two (2) calendar years as required in requirement R9 exists. Evidence may include training records, training documentation including dates and duration, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR9 Please provide: - the list of field switching personnel identified as performing unique tasks, which are - associated with the restoration plan and - outside their normal tasks throughout the audit period; - evidence of providing system restoration training to the AR9(i) personnel; this evidence should include the dates and times (beginning and end) of each training session; or, if no such personnel were identified, an attestation letter to this effect. | Provide descriptions for AR9 submitted evidence: | Relative link to evidence: | Review the AR9(i) and AR9(ii) evidence to determine whether the a minimum of two (2) hours of system restoration training was provided every two (2) calendar years to the AR9(i) personnel. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R9. |  |  | Review any additional evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R10 Each operator of a transmission facility must participate in the ISO’s restoration drills, exercises, or simulations if requested by the ISO. |  |  | MR10 Evidence of participating in the ISO’s restoration drills, exercises, or simulations as required in requirement R12 exists. Evidence may include: (a) documentation of the ISO’s request; and (b) training records, participation records, training documentation, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR10 Please provide: - the list of the ISO requests to participate in the ISO’s restoration drills, exercises or simulations throughout the audit period; - documentation of the ISO requests to participate in the ISO’s restoration drills, exercises or simulations; - evidence that the entity participated in the restoration drills, exercises or simulations where an ISO request to participate was received; or, if no ISO requests were received, an attestation letter to this effect. | Provide descriptions for AR10 submitted evidence: | Relative link to evidence: | Review the submitted evidence and assess whether the entity participated in the ISO restoration drills, exercises or simulations the ISO requested the entity to participate in. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R10. |  |  | Review any additional evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R12 Each operator of a generating unit with a blackstart resource must have documented procedures for starting each blackstart resource and energizing a bus. |  |  | MR12 Evidence of having documented procedures for starting each blackstart resource and energizing a bus as required in requirement R12 exists. Evidence may include, dated documented procedures, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR12 Please provide: - a list of the blackstart resources; - documented procedures for starting each blackstart resource and energizing a bus; | Provide descriptions for AR12 submitted evidence: | Relative link to evidence: | Review the AR12(i) and (ii) evidence to determine whether the entity had documented procedures for starting their blackstart resource(s) and energizing a bus. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R12. |  |  | Review any additional evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R13 Each operator of a generating unit with a blackstart resource must notify the ISO of any known changes to the capabilities of that blackstart resource affecting the ability of the operator of a generating unit to fulfill the requirements of the ISO’s restoration plan within twenty-four (24) hours of becoming aware of such change. |  |  | MR13 Evidence of notifying the ISO of any known changes to the capabilities of the blackstart resource as required in requirement R13 exists. Evidence may include emails with receipts, registered mail receipts, time stamped voice recordings or operator logs, showing when the operator of a generating unit with a blackstart resource became aware of changes to the blackstart resource capabilities and that it notified the ISO within twenty-four (24) hours of becoming aware of such changes as required in requirement R15, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR13 Please provide: - the list of changes to the capabilities of that blackstart resource affecting the ability to meet the ISO’s restoration plan and evidence of the date and time of becoming aware of each of these changes throughout the audit period; - evidence that the entity notified the ISO, including the date and time of the notification; | Provide descriptions for AR13 submitted evidence: | Relative link to evidence: | Review the AR13(i) and the AR13(ii) evidence to determine whether the entity notified the ISO within 24 hours of becoming aware of each change affecting their ability to fulfill the requirements of the ISO’s restoration plan. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R13. |  |  | Review any additional evidence provided. | For AESO use only |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R14 Each operator of a generating unit with a blackstart resource must perform blackstart resource tests, and maintain records of such testing, in accordance with the testing requirements set by the ISO as referenced in the blackstart resource agreements or mutually agreed upon procedures or protocols. R14.1 Testing records must include at a minimum: (a) name of the blackstart resource; (b) generating unit tested; (c) date of the test; (d) duration of the test; (e) time required to start the generating unit; and (f) an indication of any testing requirements not met under requirement R7. R14.2 Each operator of a generating unit with a blackstart resource must provide the blackstart resource test results within thirty (30) days after receiving a request from the ISO. |  |  | MR14 Evidence of performing blackstart resource tests, maintaining records of such testing, and providing the blackstart resource test results as required in requirement R16 exists. Evidence may include test records, test results, and emails with receipts or registered mail receipts that show that it provided these records to the ISO when requested, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR14 Please provide: - testing requirements set by the ISO as referenced in the blackstart resource agreements or mutually agreed upon procedures or protocols; - evidence of testing in accordance with the testing requirements set by the ISO as referenced in the blackstart resource agreements or mutually agreed upon procedures or protocols throughout the audit period; | Provide descriptions for AR14 submitted evidence: | Relative link to evidence: | Review the AR14(i) and AR14(ii) evidence to determine whether the entity performed blackstart resource tests in accordance with the testing requirements set by the ISO as referenced in the blackstart resource agreements or mutually agreed upon procedures or protocols. | For AESO use only |  |
| AR14.1 Please provide: - blackstart resource testing records; | Provide descriptions for other submitted evidence | Relative link to evidence: | Review the AR14.1(i) evidence to determine whether the entity maintains testing records that include at a minimum the items listed in the requirement R14.1. | For AESO use only |  |
| AR14.2 Please provide: - a list of ISO requests for blackstart resource test results, including the date of each request; - evidence of providing blackstart resource test results to the blackstart resource test result to the ISO, including the date of provision; or, if no testing results were requested by the ISO, an attestation letter to this effect. |  |  | Review the AR14.2(i) and AR14.2(ii) evidence to determine whether the entity provided the blackstart resource test results within thirty (30) days after receiving a request from the ISO. |  |  |
| or any other equivalent evidence to demonstrate compliance with requirement R14. |  |  | Review any additional evidence provided. |  |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R15 Each operator of a generating unit with a blackstart resource must provide a minimum of two (2) hours of training every two (2) calendar years to each of its operating personnel responsible for: (a) the startup of its blackstart resource; and (b) energizing a bus. R15.1 The training program must include training on the following: (a) those elements of the ISO’s restoration plan that are applicable to the blackstart resource, including coordination with the ISO and the adjacent operator of a transmission facility; and (b) the procedures documented in requirement R12. |  |  | MR15 Evidence of providing a minimum of two (2) hours of training every two (2) calendar years as required in requirement R15 exists. Evidence may include training records, including training dates and durations, or other equivalent evidence. MR15.1 Evidence of including training within the training program that training as required in requirement R15.1 exists. Evidence may include training materials, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR15 Please provide: - the list of operating personnel responsible for startup of generating units that are a blackstart resource and energizing a bus throughout the audit period; - evidence of providing training to each of its operating personnel identified at AR15(i). This evidence should include the dates and times (beginning and end) of each training session; | Provide descriptions for AR15 submitted evidence: | Relative link to evidence: | Review the AR15(i) and AR15(ii) evidence to determine whether the entity provided a minimum of two (2) hours of training every two (2) calendar years to each of its operating personnel. | For AESO use only |  |
| AR15.1 Please provide: - the training program for the operating personnel responsible for startup of generating units that are a blackstart resource and energizing a bus; | Provide descriptions for other submitted evidence | Relative link to evidence: | Review the AR15.1(i) evidence to determine whether the training program included training on (a) those elements of the ISO’s restoration plan that are applicable to the blackstart resource including coordination with the ISO and the adjacent operator of a transmission facility; and (b) the procedures documented in requirement R12. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R15. |  |  | Review any additional evidence provided. |  |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R16 Each operator of a generating unit must participate in the ISO’s restoration drills, exercises, or simulations as requested by the ISO. |  |  | MR16 Evidence of participating in the ISO’s restoration drills, exercises, or simulations as required in requirement R16 exists. Evidence may include training records, participation records, training documentation, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR16 Please provide: - the list of the ISO requests to participate in the ISO’s restoration drills, exercises or simulations throughout the audit period; or, if no ISO requests were received, an attestation letter to this effect. - documentation of the ISO requests to participate in the ISO’s restoration drills, exercises or simulations; - evidence that the entity participated to the restoration drills, exercises or simulations it received an ISO request to participate for; | Provide descriptions for AR16 submitted evidence: | Relative link to evidence: | Review the AR16(i) (ii) and (iii) evidences to determine whether the entity participated in each restoration drill, exercise, or simulation that the ISO requested them to participate in. | For AESO use only |  |
| or any other equivalent evidence to demonstrate compliance with requirement R16. |  |  | Review any additional evidence provided. |  |  |

Suspected Contraventions

AESO Use Only

Areas of Concern or Observations

AESO Use Only

## General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

## Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

## Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2023-10-01 | Initial version of Worksheet |