# EOP-008-AB-1

# Loss of Control Centre Functionality

# Standard Effective Date: July 1, 2019

## Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |
| --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered during the audit period] |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |
| Suspected Non-Compliance to the standard? | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5]. |
| Date of Completion | [Use YYYY-MM-DD format] |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | Suspected Contravention | AESO Use Only |
| --- | --- | --- |
|  | Area of Concern or Observation | AESO Use Only |
| R2 | Suspected Contravention | AESO Use Only |
|  | Area of Concern or Observation | AESO Use Only |
| R4 | Suspected Contravention | AESO Use Only |
|  | Area of Concern or Observation | AESO Use Only |
| R5 | Suspected Contravention | AESO Use Only |
|  | Area of Concern or Observation | AESO Use Only |
| R6 | Suspected Contravention | AESO Use Only |
|  | Area of Concern or Observation | AESO Use Only |
| R7 | Suspected Contravention | AESO Use Only |
|  | Area of Concern or Observation | AESO Use Only |
| R8 | Suspected Contravention | AESO Use Only |
|  | Area of Concern or Observation | AESO Use Only |

## Contact Information

| Audited Entity |  |
| --- | --- |
| Compliance Primary | Name: Title: Phone: Email: |
| Subject Matter Expert | Name: Title: Phone: Email: |

| AESO Team |  |
| --- | --- |
| Lead Auditor | Name: Title: Phone: Email: |
| Auditor | Name: Title: Phone: Email: |
| Compliance Manager | Name: Title: Phone: Email: |
| Standard Owner | Name: Title: Phone: Email: |

## Applicability

This reliability standard applies to:

(a)	the ISO; and

(b)	the operator of a transmission facility who operates a control centre that controls transmission facilities that are part of the bulk electric system.

This reliability standard does not apply to the operator of a transmission facility whose transmission facilities are only:

- radial transmission facilities connecting to:

- load;

- one or more generating units; and / or

- one or more aggregated generating facilities; or

- either part of an industrial complex or connected to an industrial complex and cannot interrupt power flow on the interconnected electric system, other than power flow on its own transmission facilities.

## Compliance Assessment

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R1 The ISO and each operator of a transmission facility must have a current operating plan describing the manner in which it continues to meet its functional obligations with regard to the reliable operations of the bulk electric system in the event that its primary control centre functionality is lost. This operating plan for backup functionality must include the following, at a minimum: (a) the location and method of implementation for providing backup functionality; (b) a summary description of the items required to support the backup functionality. These items must include, at a minimum: (i) tools and applications to ensure that system operators have situational awareness of the bulk electric system; (ii) data communications; (iii) voice communications; (iv) power source(s); and (v) physical and cyber security; (c) an operating process for keeping the backup functionality consistent with the primary control centre; (d) operating procedures, including decision authority, for use in determining when to implement the operating plan for backup functionality; (e) a transition period between the decision to transfer functionality to the back up control centre following the loss of primary control centre functionality and the time to fully implement the backup functionality that is less than or equal to two (2) hours; and (f) an operating process describing the actions to be taken during the transition period between the loss of primary control centre functionality and the time to fully implement the backup functionality items identified in requirement R1, part (b). The operating process must include at a minimum: (i) a list of all entities to notify when there is a change in operating locations; (ii) actions to manage the risk to the bulk electric system during the transition from primary to backup functionality, as well as during outages of the primary or backup functionality; and (iii) identification of the roles for personnel involved during the initiation and implementation of the operating plan for backup functionality. |  |  | MR1 Evidence of having a current operating plan for backup functionality as required in requirement R1 exists. Evidence may include, but is not limited to, a dated, current operating plan with specified elements or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR1 Please provide: - the operating plan pertaining to the requirement R1; and | Provide descriptions for AR1 (i) submitted evidence: | Embed or relative link to evidence: | Review the AR1(i) provided operating plan to determine whether it is current and it describes the manner in which the entity continues to meet its functional obligations with regard to the reliable operations of the bulk electric system in the event that its primary control centre functionality is lost. | For AESO use only |  |
| - specific references to the AR1(i) provided operating plan indicating the sections corresponding to each of the R1(a) through R1(f) parts of the requirement R1; Section/Paragraph; Page(s). R1(a). R1(b)(i). R1(b)(ii). R1(b)(iii). R1(b)(iv). R1(b)(v). R1(c). R1(d). R1(e). R1(f)(i). R1(f)(ii). R1(f)(iii). | Provide descriptions for AR1 (ii) submitted evidence: | Embed or relative link to evidence: | Review the AR1(ii) provided operating plan to determine whether it included the R1(a) through R1(f) specified information. Y/N; Comments. R1(a). R1(b)(i). R1(b)(ii). R1(b)(iii). R1(b)(iv). R1(b)(v). R1(c). R1(d). R1(e). R1(f)(i). R1(f)(ii). R1(f)(iii). | For AESO use only |  |
| or any other evidence to demonstrate compliance with R1. | Provide descriptions for other submitted evidence | Embed or relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contravention

AESO Use Only

Area of Concern or Observation

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R2 The ISO and each operator of a transmission facility must have a copy of its current operating plan for backup functionality available at its primary control centre and at the location providing backup functionality. |  |  | MR2 Evidence of having an electronic or paper copy of the current operating plan for backup functionality available at its primary control centre and at the location providing backup functionality as required in requirement R2 exists. Evidence may include, but is not limited to, a current electronic or paper copy of the operating plan, operator log identifying when the plan was put into the control centre, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR2 Please provide: evidence that a copy of the current operating plan for backup functionality has been available at its primary control centre and the location providing backup functionality throughout the audit period. | Provide descriptions for AR2 submitted evidence: | Embed or relative link to evidence: | Review the AR2 evidence to determine whether the current operating plan was available at both the primary control centre and at the location providing backup functionality throughout the audit period. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R2. | Provide descriptions for other submitted evidence | Embed or relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contravention

AESO Use Only

Area of Concern or Observation

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R4 Each operator of a transmission facility must, when control has been transferred to the backup functionality location, have backup functionality provided either through: - a facility staffed by operators that are certified in accordance with any applicable reliability standards; or - contracted services staffed by operators that are certified in accordance with any applicable reliability standards that includes monitoring, control, logging, and alarming sufficient for maintaining compliance with all reliability standards that depend on the operator of a transmission facility’s primary control centre functionality. To avoid requiring tertiary functionality, backup functionality is not required during: - planned outages of the primary or backup functionality of two (2) weeks or less; or - unplanned outages of the primary or backup functionality. |  |  | MR4 Evidence of having backup functionality provided either through a facility or contracted services staffed as required in requirement R4 exists. Evidence may include, but is not limited to, documentation identifying that the backup functionality includes monitoring, control, logging, and alarming sufficient for maintaining compliance with all reliability standards that depend on the primary control centre functionality, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR4 Please provide: - the list of events when the control had been transferred to backup functionality location; If there were no events when control had been transferred to the backup functionality location, provide an attestation letter to this effect and a description of how the individual attesting to the non-event determined that there were no events in scope of R4. This may include a description of reviews made, due diligence procedures conducted, resources used, etc. | Provide descriptions for AR4 (i) submitted evidence: | Embed or relative link to evidence: | Review the AR4(i) and AR4(ii) evidence to determine whether the entity was required to provide the backup functionality by certified operators. If applicable, determine whether for each AR4(i) events, the backup functionality was provided by certified operators. | For AESO use only |  |
| - evidence that the backup functionality was provided by operators that were certified, if required and in accordance with any applicable reliability standards; and | Provide descriptions for AR4 (ii) submitted evidence: | Embed or relative link to evidence: |  | For AESO use only |  |
| - evidence that the backup functionality includes: - monitoring, - control, - logging, and - alarming sufficient for maintaining compliance with all reliability standards that depend on the entity’s primary control centre’s functionality; | Provide descriptions for AR4 (iii) submitted evidence: | Embed or relative link to evidence: | Review the AR4(iii) evidence to determine whether the backup functionality includes monitoring, control, logging, and alarming sufficient for maintaining compliance with all reliability standards that depend on primary control centre functionality. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R4. | Provide descriptions for other submitted evidence | Embed or relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contravention

AESO Use Only

Area of Concern or Observation

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R5 The ISO and each operator of a transmission facility must annually review and approve its operating plan for backup functionality. R5.1 An update and approval of the operating plan for backup functionality must take place within sixty (60) days of identifying any necessary changes to any part of the operating plan described in requirement R1. |  |  | MR5 Evidence of reviewing and approving annually the operating plan for backup functionality as required in requirement R5 exists. Evidence may include, but is not limited to, a dated, current, operating plan for backup functionality, including a revision and approval history, or other equivalent evidence. MR5.1 Evidence of updating and approving the operating plan for backup functionality as required in requirement R5.1 exits. Evidence may include, but is not limited to, an updated and approved operating plan for backup functionality within sixty (60) days of any changes to any part of the operating plan described in requirement R1, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR5 Please provide: - evidence that the operating plan for backup functionality was reviewed and approved, including each date when the plan was reviewed and each date when the plan was approved; | Provide descriptions for AR5 (i) submitted evidence: | Embed or relative link to evidence: | Review the AR5(i) evidence to determine whether the plan was reviewed and approved annually. | For AESO use only |  |
| - the list of necessary changes identified during the audit period, including the date of identification; and | Provide descriptions for AR5 (ii) submitted evidence: | Embed or relative link to evidence: | Review the AR5(ii) and AR5(iii) evidence to determine whether operating plan was updated and approved within 60 days of each identification of a necessary change to any of its parts as described in requirement R1. | For AESO use only |  |
| - evidence that the operating plan was updated to include each identified necessary change; | Provide descriptions for AR5 (iii) submitted evidence: | Embed or relative link to evidence: |  | For AESO use only |  |
| or any other evidence to demonstrate compliance with R5. | Provide descriptions for other submitted evidence | Embed or relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contravention

AESO Use Only

Area of Concern or Observation

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R6 The ISO and each operator of a transmission facility must have primary and backup functionality that do not depend on each other for the control centre functionality required to maintain compliance with reliability standards. |  |  | MR6 Evidence of having primary and backup functionality that do not depend on each other for the control centre functionality required to maintain compliance with reliability standards as required in requirement R6 exists. Evidence may include, but is not limited to, documentation or drawings that show the independence of the two (2) control centres, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR6 Please provide: evidence, such as documentation or drawings, of having primary and backup functionality that do not depend on each other for the control centre functionality required to maintain compliance with reliability standards; | Provide descriptions for AR6 submitted evidence: | Embed or relative link to evidence: | Review the AR6 evidence to determine whether the entity has independent primary and backup control centre functionality required to maintain compliance with reliability standards. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R6. | Provide descriptions for other submitted evidence | Embed or relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contravention

AESO Use Only

Area of Concern or Observation

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R7 The ISO and each operator of a transmission facility must conduct and document results of an annual test of its operating plan that demonstrates: R7.1 The transition time between the decision to transfer functionality to the backup control centre following the simulated loss of primary control centre functionality and the time to fully implement the backup functionality; and R7.2 The backup functionality for a minimum of two (2) continuous hours. |  |  | MR7 Evidence of conducting an annual test for backup functionality and documenting the results of the operating plan as required in requirement R7 exists. Evidence may include, but is not limited to, testing documentation or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR7 Please provide: - evidence, including the date and time of tests, that the entity conducted tests of the operating plan; and | Provide descriptions for AR7 (i) submitted evidence: | Embed or relative link to evidence: | Review the AR7(i) evidence to determine whether the annual tests were conducted. | For AESO use only |  |
| - evidence that the entity documented results of the tests of the operating plan, including the R7.1 (i.e. the transition time) and R7.2 (functionality for two continuous hours) specifications; | Provide descriptions for AR7 (ii) submitted evidence: | Embed or relative link to evidence: | Review the AR7(i) and AR7(ii) evidence to determine whether the annual tests were documented. Review the AR7(ii) evidence to determine whether the transition time between the decision to transfer functionality to the backup control centre following the simulated loss of primary control centre functionality and the time to fully implement the backup functionality was demonstrated. Review the AR7(ii) evidence to determine whether the backup functionality was demonstrated for a minimum of two (2) continuous hours. | For AESO use only |  |
| or any other evidence to demonstrate compliance with R7. | Provide descriptions for other submitted evidence | Embed or relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contravention

AESO Use Only

Area of Concern or Observation

AESO Use Only

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R8 The following requirements apply in the event of a loss of primary or backup functionality that it is anticipated to last for more than six (6) months: R8.1 Where the operator of a transmission facility loses primary or backup functionality as described in requirement R8, it must provide a plan to the ISO within six (6) months of the date when the functionality is lost, showing how it will re-establish primary or backup functionality; |  |  | MR8 Evidence for requirement R8 is included in the following measures: MR8.1 Evidence of providing a plan to the ISO as required in requirement R8.1 exists. Evidence may include, but is not limited to, a dated email or letter providing the plan to the ISO, or other equivalent evidence. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR8 Please provide: - the list of events of the loss of either the primary or the backup functionality anticipated to last more than six (6) months, including the date of each event; or if no such events occurred during the audit period, an attestation letter to this effect; | Provide descriptions for AR8 (i) submitted evidence: | Embed or relative link to evidence: | Review the AR8(i) and AR8(ii) evidence to determine whether a plan was provided to the ISO within six (6) months of each date when the functionality was lost. Review the AR8(ii) evidence to determine whether the plan provided to the ISO shows how the entity will re-establish the lost functionality. | For AESO use only |  |
| - evidence, including the date of provision, that the operator of a transmission facility provided to the ISO the plan to re-establish the primary or backup functionality; | Provide descriptions for AR8 (i) submitted evidence: | Embed or relative link to evidence: |  | For AESO use only |  |
| or any other evidence to demonstrate compliance with R8. | Provide descriptions for other submitted evidence | Embed or relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

Suspected Contravention

AESO Use Only

Area of Concern or Observation

AESO Use Only

## General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

## Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

## Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2017-01-06 | Initial version |
| 2.0 | 2023-07-20 | Use of new template; Additional guidance on Evidence Submission for R4 non-events |