FAC-003-AB1-1
Transmission Vegetation Management Program

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |
| R3 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

- the legal owner of a transmission facility with transmission facilities operated at 200 kV and above and any lower voltage transmission facilities designated by the ISO as critical to the reliability of the AIES as identified in Appendix A; provided that transmission facilities on ROWs that are assessed and identified on an annual basis not to have vegetation capable of growing higher than 2 meters are excluded; and

- the ISO.

# Compliance Assessment

# R1 & R1.1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each legal owner of a transmission facility must prepare a TVMP. This program is to be updated at least annually. The TVMP must include the objectives, practices, approved procedures, and work specifications of the legal owner of a transmission facility. ## MR1 A revision history of the TVMP is provided annually to the ISO. A TVMP exists and is provided in the format specified in the ISO TVMP template. The TVMP is provided within 30 days of request. The TVMP is complete and includes the required component sections specified in the template. | - AR1 Please provide: | [Click and edit to enter description for AR1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR1(i) provided TVMP versions to determine whether the TVMP was updated at least annually. Review the TVMP to determine whether it includes objectives, practices, approved procedures, and work specifications; and it is consistent with the ISO TVMP template. | [For AESO use only] |
|  | (i) the Transmission Vegetation Management Progarm (TVMP) in effect during the audit period; |  |  |  |  |
|  | (ii) evidence that the revision history of the TVMP has been provided to the ISO, including the dates when the revision history has been provided; | [Click and edit to enter description for AR1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(ii) provided evidence to determine whether the revision history of the TVMP has been provided to the ISO annually. | [For AESO use only] |
|  | (iii) a list of the ISO requests for the TVMP received during the audit period, including the dates of the ISO requests; | [Click and edit to enter description for AR1(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the list of ISO requests for TVMP for completeness. | [For AESO use only] |
|  | (iv) evidence to demonstrate that the TVMP has been provided to the ISO, including the dates when the TVMP has been provided. | [Click and edit to enter description for AR1(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(iv) provided evidence to determine whether the TVMP was provided within 30 days of request. | [For AESO use only] |
| R1.1 The TVMP must define a schedule for and the type (aerial or ground) of ROW vegetation inspections. This schedule must be flexible enough to adjust for changing conditions. The inspection schedule must be based on the anticipated growth of vegetation and any other environmental or operational factors that could impact the relationship of vegetation to the transmission facilities of the legal owner of a transmission facility. The legal owner of a transmission facility must perform vegetation inspections as identified in the schedule. MR1.1 A vegetation inspection schedule exists in the TVMP. The schedule is completed in accordance with the ISO TVMP template. The schedule includes all applicable transmission lines. Documentation exists to show that the vegetation inspections have been performed. | - AR1.1 Please provide | [Click and edit to enter description for AR1.1 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the TVMP to determine whether it contains a schedule for vegetation inspections in accordance to the ISO TVMP template for each ROW in the TVMP. - Review the TVMP to determine whether it identifies the type (aerial or ground) of ROW vegetation inspections. - Review the TVMP to verify whether any changing conditions have been considered and how these are reflected in the vegetation inspection schedule. - Review the TVMP to verify whether the inspection schedule is based on the anticipated growth of vegetation (inspection schedules should tie into the growth rates) and any other environmental or operational factors that could impact the relationship of vegetation to the transmission facilities. - Review the TVMP to determine whether it contains all applicable transmission lines, including any lower transmission lines designated as critical to the reliability of the AIES, which are identified in the Appendix A of the FAC-003-AB1-1 reliability standard. Verify whether the vegetation inspections have been performed for each scheduled ROW. Review work orders and verify timelines, methods, and actions taken. Determine whether work orders have been completed as per the inspection schedule. | [For AESO use only] |
|  | documentation, i.e. inspection records showing that the vegetation inspections have been performed, e.g. executed work orders. |  |  |  |  |

## R1.2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1.2 The TVMP must identify and document clearances between vegetation and any overhead ungrounded supply conductors, taking into consideration transmission line voltage, the effects of ambient temperature on conductor sag under maximum design loading, and the effects of wind velocities on conductor sway. Specifically, the legal owner of a transmission facility must establish clearances to be achieved at the time of vegetation management work identified herein as Clearance 1, and must also establish and maintain a set of clearance requirements identified herein as Clearance 2 to prevent flashover between vegetation and overhead ungrounded supply conductors. MR1.2 Clearance 1 and Clearance 2 values exist in the TVMP | AR1.2 Intentionally left blank. | [Click and edit to enter description for any AR1.2 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the TVMP to determine whether both Clearance 1 and Clearance 2 are specified in accordance to the requirement R1.2 for each transmission line. | [For AESO use only] |
| R1.2.1 Clearance 1 — Each legal owner of a transmission facility must determine and document appropriate clearance distances to be achieved at the time of vegetation management work based upon local conditions and the expected time frame in which the legal owner of a transmission facility plans to return for future vegetation management work. Local conditions may include, but are not limited to: operating voltage, appropriate vegetation management techniques, fire risk, reasonably anticipated tree and conductor movement, species types and growth rates, species failure characteristics, local climate and rainfall patterns, line terrain and elevation, location of the vegetation within the span, and worker approach distance requirements. Clearance 1 distances must be greater than those defined in Clearance 2. MR1.2.1 Clearance 1 values exist for every transmission line. Clearance 1 values specified are greater than those of Clearance 2. |  |  |  | - Review the TVMP to determine whether the clearance distances to be achieved at the time of vegetation management work are based upon local conditions and the expected time frame in which the legal owner of a transmission facility plans to return for future vegetation management work. - Verify that Clearance 1 is greater than Clearance 2 for each line. | [For AESO use only] |
| R1.2.2 Clearance 2 — Each legal owner of a transmission facility must determine and document specific minimum radial clearance distances to be maintained between vegetation and conductors under all rated electrical operating conditions. These minimum radial clearance distances are necessary to prevent flashover between vegetation and conductors and will vary due to such factors as altitude and operating voltage. Subject to R1.2.2.1 and R1.2.2.2, the documented specific minimum radial clearance distances must be no less than those set forth in the Institute of Electrical and Electronics Engineers (IEEE) Standard 516-2003 (Guide for Maintenance Methods on Energized Power Lines) and as specified in its Section 4.2.2.3, Minimum Air Insulation Distances without Tools in the Air Gap. R1.2.2.1 Where transmission system transient overvoltage factors are not known, clearances must be derived from Table 5, IEEE 516-2003, phase-to-ground distances, with appropriate altitude correction factors applied. R1.2.2.2 Where transmission system transient overvoltage factors are known, clearances must be derived from Table 7, IEEE 516-2003, phase-to-phase voltages, with appropriate altitude correction factors applied. MR1.2.2 Clearance 2 values exist for every transmission line. Clearance 2 values specified are greater than the minimum clearances set in IEEE standards for the applicable scenarios. |  |  |  | - Review the TVMP to determine whether Clearance 2 values exist and are greater than the minimum clearances set in IEEE standard 516-2003. | [For AESO use only] |

## R1.3 & R1.4 & R1.5

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1.3 All personnel directly involved in the design and implementation of the TVMP must hold appropriate qualifications and must have taken appropriate training, as defined by the legal owner of a transmission facility, to perform their duties. MR1.3 Requirements, training, and qualifications for positions responsible for preparing and implementing the TVMP exist. Documentation exists to confirm that personnel meet the requirements, training, and qualifications of the position. Acceptable documentation includes training records, licenses, certificates, and resumes. | - AR1.3 Please provide: | [Click and edit to enter description for AR1.3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR1.3 (i) and AR1.3(ii) submitted evidence to determine whether the personnel directly involved in the design and implementation of the legal owner of a transmission facility’s TVMP hold the appropriate qualifications and have taken training as identified by the legal owner of a transmission facility. | [For AESO use only] |
|  | (i) a list of all personnel directly involved in the design and implementation of TVMP during the audit period; |  |  |  |  |
|  | (ii) evidence to demonstrate that the personnel identified at AR1.3(i) above hold the qualifications identified by the legal owner of a transmission facility in their TVMP and have taken appropriate training, as defined by the legal owner of a transmission facility. | [Click and edit to enter description for AR1.3(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
| R1.4 Each legal owner of a transmission facility must develop mitigation measures to achieve sufficient clearances for the protection of its transmission facilities when it identifies locations on the ROW where it is restricted from attaining Clearance 1 distances. MR1.4 A list exists and specifies locations on the ROW where Clearance 1 is not attainable. Mitigation measures exist where there are restrictions. Mitigating measures are appropriate and meet the intent of this reliability standard. | - AR1.4 Please provide: | [Click and edit to enter description for AR1.4(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1.4(i) list of locations where Clearance 1 is not attainable for appropriateness. | [For AESO use only] |
|  | (i) the list of locations where Clearance 1 is not attainable, if any; |  |  |  |  |
|  | (ii) documentation (e.g. mitigation plans) showing the mitigation measures and/or procedures necessary to achieve sufficient clearances during the audit period. | [Click and edit to enter description for AR1.4(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the documentation provided at AR1.4(ii) to determine whether for each deficiency an appropriate mitigation plan exists. | [For AESO use only] |
| R1.5 Each legal owner of a transmission facility must establish and document a process for the immediate communication of vegetation conditions that present an imminent threat of a transmission line outage. This is so that action (temporary reduction in line rating, switching line out of service, etc.) may be taken until the threat is relieved. MR1.5 A documented process or procedure for communication exists. The process is appropriate and of sufficient detail to meet the intent of the requirement. | - AR1.5 Please provide | [Click and edit to enter description for AR1.5 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the TVMP and any other evidence provided to verify whether the legal owner of a transmission facility has a documented process for the immediate communication of imminent vegetation threats. - Review the documented process to determine whether it is appropriate and includes sufficient details such as: (a) requirements for communication with the decision making authority; (b) identified decision making authority and other key personnel to receive the imminent threat communication; (c) documented timelines for communication are specified, etc. | [For AESO use only] |
|  | any evidence showing that a documented process or procedure for the immediate communication of vegetation conditions that present an imminent threat of a transmission line outage exists. |  |  |  |  |

Findings

[For AESO use only]

# R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 The legal owner of a transmission facility must create and implement an annual plan for vegetation management work to ensure the reliability of its transmission facilities. The plan must describe the methods used, such as manual clearing, mechanical clearing, herbicide treatment, or other actions. The plan must be flexible enough to adjust to changing conditions, taking into consideration anticipated growth of vegetation and all other environmental factors that may have an impact on the reliability of the AIES. Adjustments to the plan must be documented as they occur. The plan must include the time required to obtain permissions or permits from landowners or regulatory authorities. Each legal owner of a transmission facility must have systems and procedures for documenting and tracking the planned vegetation management work and ensuring that the vegetation management work was completed according to its work specifications. MR2 A work plan exists in the form of the ISO vegetation management work plan template. The work plan is complete. The work plan is submitted annually and within 30 days of being requested. Evidence exists to show that the work plan is implemented. Evidence may include status and inspection reports, work orders, and/or contracts. The work plan is being followed in accordance to the schedule. The work is completed in accordance with the work plan. Revision documentation exists where the plan has been revised. Evidence is provided to the ISO within 30 days of a request. | - AR2 Please provide: | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the annual plans for vegetation management work to determine whether each plan: (a) describes methods used, such as manual clearing, mechanical clearing, herbicide treatment, or other actions; (b) provides flexibility for changing conditions, taking into consideration anticipated growth of vegetation and all other environmental factors that may have an impact on the reliability of the transmission systems; (c) documents any adjustments as they occurred; and (d) considers the time required to obtain permission or permits from landowners or regulatory authorities. Review the annual plans for vegetation management work to determine whether it is in the form specified in the ISO template. | [For AESO use only] |
|  | (i) the annual plans for vegetation management work during the audit period; |  |  |  |  |
|  | (ii) a list of the ISO requests for the annual plans for vegetation management work, including the date of each request; | [Click and edit to enter description for AR2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence submitted at AR2(ii) for completeness. | [For AESO use only] |
|  | (iii) evidence of submission of the annual vegetation management work plan for each ISO request, including the date when the work plan has been submitted; | [Click and edit to enter description for AR2(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR2(iii) to determine whether the work plan was provided within 30 days of each ISO request. | [For AESO use only] |
|  | (iv) evidence demonstrating either that the work plan has been implemented as planned, or revisions documentation – if any revisions of the plan were made. | [Click and edit to enter description for AR2(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Determine whether the legal owner of a transmission facility has systems and procedures for documenting and tracking planned vegetation management work and has ensured the work was completed according to work specifications. | [For AESO use only] |
|  | or any other evidence to demonstrate compliance with the requirement R2. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence submitted to determine whether it meets the intent of requirement R2. | [For AESO use only] |

Findings

[For AESO use only]

# R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 Each legal owner of a transmission facility must report quarterly to the ISO, sustained outages to its transmission lines determined by the legal owner of a transmission facility to have been caused by vegetation. R3.1 Multiple sustained outages on an individual transmission line, if caused by the same vegetation, must be reported as one outage regardless of the actual number of outages within a 24-hour period. R3.2 The legal owner of a transmission facility is not required to report to the ISO, sustained outages to its transmission lines caused by either: - vegetation falling onto a transmission line from outside the ROW caused by a natural disasters are not considered reportable (examples of disasters include, but are not limited to, earthquakes, fires, tornados, hurricanes, landslides, wind shear, ice storms, floods, major storms as defined either by the legal owner of a transmission facility or an applicable regulatory body); or - vegetation falling onto a transmission line caused by human or animal activity are not considered reportable (examples of human or animal activity include, but are not limited to, logging, animal severing tree, vehicle contact with tree, arboricultural, horticultural or agricultural activities, or removal/digging of vegetation). R3.3 The outage information provided by the legal owner of a transmission facility to the ISO must include at a minimum: - number or name of the transmission line(s) forced out of service; - date and time; - duration of the outage; - description of the cause of the outage; - other pertinent comments; and - remedial action taken by the legal owner of a transmission facility. R3.4 An outage must be categorized by the legal owner of a transmission facility as one of the following: R3.4.1 Category 1 — Grow-ins: Outages caused by vegetation growing into transmission lines from vegetation inside and/or outside of the ROW; R3.4.2 Category 2 — Fall-ins: Outages caused by vegetation falling into transmission lines from inside the ROW; or R3.4.3 Category 3 — Fall-ins: Outages caused by vegetation falling into transmission lines from outside the ROW. MR3 to 3.4.3 Quarterly reports are submitted to the ISO by the dates specified by the ISO. Quarterly reports contain all sustained outages caused by vegetation for that reporting period. Quarterly reports contain the specific information in the requirement. | - AR3 Please provide: | [Click and edit to enter description for AR3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review evidence submitted to determine whether submissions have occurred by the dates specified, i.e. by the 10th of the following month for each quarter (Q1 – April 10, Q2 – July 10, Q3 – October 10, Q4 – January 10). | [For AESO use only] |
|  | (i) evidence demonstrating that quarterly reporting to the ISO occurred in accordance with requirement R3; |  |  |  |  |
|  | (ii) any evidence, such as processes and procedures to determine if a particular outage is a reportable vegetation outage to the ISO in accordance with requirements R3.1 through R3.4. | [Click and edit to enter description for AR3(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review AR3(ii) submitted evidence to determine whether the legal owner of a transmission facility reported sustained transmission line outages caused by vegetation to the ISO in accordance with R3.1 through R3.4. |  |
|  |  |  |  | Review the vegetation outage reports, if any, to determine whether they contain the R3.3 required information. |  |
|  | or any other evidence to demonstrate compliance with the requirement R3. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence submitted to determine whether it meets the intent of requirement R3. |  |

Findings

[For AESO use only]

# General Notes

The AESO developed this Alberta Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with the Alberta Reliability Standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the applicable Alberta Reliability Standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | November 13, 2012 | Initial version of Worksheet |
| 1.1 | May 30, 2013 | Removal of requirements applicable to the ISO. |
| 2.0 | December 17, 2015 | Revised content and template |

ANSI A300, Tree Care Operations – Tree, Shrub, and Other Woody Plant Maintenance – Standard Practices, while not a requirement of this reliability standard, is considered by NERC to be an industry best practice.