FAC-008-AB-3

Facility Ratings

Effective: 2019-01-01 for new facilities; and

Effective: 2020-01-01 for existing facilities

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |
| R3 | [Summary of Findings] |
| R6 | [Summary of Findings] |

## Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

(a) the legal owner of a transmission facility:

(i) that is part of the bulk electric system, except for transformers that do not have a primary terminal and at least one (1) secondary terminal energized at 100 kV or higher;

(ii) that the ISO:

(A) determines is necessary for the reliable operation of either the interconnected electric system or the City of Medicine Hat electric system; and

(B) publishes on the AESO website and may amend from time to time on notice to market participants in accordance with the process set out in Appendix 1;

(iii) who owns a generating unit step-up transformer for those generating units listed in subsection (b); or

(iv) who owns a transformer connected to a blackstart resource;

(b) the legal owner of a generating unit that is:

(i) directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW, unless the generating unit is part of an industrial complex;

(ii) within a power plant that:

(A) is not part of an aggregated generating facility;

(B) is directly connected to the bulk electric system; and

(C) has a combined maximum authorized real power rating greater than 67.5 MW,

unless the power plant is part of an industrial complex;

(iii) a blackstart resource;

(iv) directly connected to the bulk electric system and within an industrial complex with supply transmission service greater than 67.5 MW; or

(v) material to this reliability standard and to the reliability of the bulk electric system, regardless of maximum authorized real power rating, as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1; and

(c) the legal owner of an aggregated generating facility that is:

(i) directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW, unless the aggregated generating facility is part of an industrial complex;

(ii) a blackstart resource;

(iii) directly connected to the bulk electric system and within an industrial complex with supply transmission service greater than 67.5 MW; or

(iv) regardless of maximum authorized real power rating, material to this reliability standard and to the reliability of the bulk electric system as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1.

# Compliance Assessment

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each legal owner of a generating unit and legal owner of an aggregated generating facility must have documentation for determining the facility ratings of its facilities: (a) up to the low side terminals of the step-up transformer if the legal owner of the generating unit or legal owner of the aggregated generating facility does not own the step-up transformer; or (b) including the step-up transformer and associated terminal equipment (as applicable based on ownership) if the legal owner of the generating unit or legal owner of the aggregated generating facility owns the step-up transformer. MR1 Evidence of having documentation for determining the facility ratings as required in requirements R1, R1.1 and R1.2 exists. | AR1 Please provide: - The documentation for determining facility ratings for facilities in scope of R1 that was in place throughout the audit period; | [Click and edit to enter description for AR1(i) (ii)submitted evidence] | [Click and edit to embed file or link to evidence] | Review AR1 (i) evidence to determine whether the entity has a documentation for determining the facility ratings of the facilities as specified in R1 throughout the audit period; | [For AESO use only] |
| R1.1 The documentation must contain assumptions used to rate the facilities and at least one (1) of the following: (a) design or construction information such as design criteria, ratings provided by equipment manufacturers, equipment drawings and/or specifications, engineering analyses, method(s) consistent with industry standards (e.g. the American National Standards Institute and the Institute of Electrical and Electronic Engineers (“IEEE”)), or an established engineering practice that has been verified by testing or engineering analysis; or (b) operational information such as commissioning test results, performance testing or historical performance records, any of which may be supplemented by engineering analyses. |  |  | [Click and edit to embed file or link to evidence] | Review AR1 (i) evidence to determine whether the documentation contains the assumptions used to rate the facilities, and contains at least one of R1.1 (a) or R1.1 (b); | [For AESO use only] |
| R1.2 The documentation must be consistent with the principle that the facility ratings do not exceed the most limiting applicable equipment rating of the individual equipment that comprises that facility. |  | [Click and edit to enter description for AR1.2 (i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review AR1 (i) evidence to determine whether the documentation is consistent with the principle specified in R1.2; | [For AESO use only] |
|  | or any other equivalent evidence to demonstrate compliance with requirement R1. |  | [Click and edit to embed file or link to evidence] | Review any additional evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

# Compliance Assessment

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each legal owner of a generating unit and legal owner of an aggregated generating facility must have a documented methodology for determining the facility ratings of its facilities connected between the location specified in requirement R1 and the interface with a transmission facility (based on equipment ownership) that contains all of the following: MR2 Evidence of having a documented facility ratings methodology as described in requirement R2 exists. | AR2 Please provide: - The documented methodology for determining the facility ratings for facilities in scope of R2 that were in place throughout the audit period; | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review AR2 (i) evidence to determine whether the entity has a documented methodology for determining the facility ratings for facilities in scope of R2 throughout the audit period; | [For AESO use only] |
| R2.1 the method used to establish the equipment ratings of the equipment that comprises the facility must be consistent with at least one (1) of the following: (a) ratings provided by equipment manufacturers or obtained from equipment manufacturer specifications, such as the nameplate rating; (b) one (1) or more industry standards developed through an open process such as the IEEE or the International Council on Large Electric Systems (“CIGRE”); or (c) a practice that has been verified by testing, performance history or engineering analysis; |  |  | [Click and edit to embed file or link to evidence] | Review AR2 (i) evidence to determine whether it contains the method used to establish the equipment ratings for the equipment in scope of R2, and that is consistent with at least one of R2.1 (a), R2.1 (b) or R2.1 (c); | [For AESO use only] |
| R2.2 the underlying assumptions, design criteria, and methods used to determine the equipment ratings identified in requirement R2.1, including identification of how each of the following were considered: (a) equipment rating standard(s) used in development of this method; (b) ratings provided by equipment manufacturers or obtained from equipment manufacturer specifications; (c) ambient conditions (for particular or average conditions or as they vary in real time); (d) operating limitations; and (e) both summer and winter season operations, where summer is defined as May 1st at 12:01 AM Mountain Time to October 31st at 12:00 midnight Mountain Time and winter is defined as November 1st at 12:01 AM Mountain Time to April 30th at 12:00 midnight Mountain Time; |  |  | [Click and edit to embed file or link to evidence] | Review AR2 (i) evidence to determine whether the documented methodology contains the underlying assumptions, design criteria, and methods used to determine the equipment ratings identified in requirement R2.1, including the identification of how each R2.2 (a) to R2.2 (e) were considered; | [For AESO use only] |
| R2.3 a statement that a facility rating must not exceed the most limiting applicable equipment rating of the individual equipment that comprises that facility; |  |  | [Click and edit to embed file or link to evidence] | Review AR2 (i) evidence to determine whether it contains a statement as per R2.3; | [For AESO use only] |
| R2.4 the process by which the equipment ratings of the equipment that comprises a facility are determined, where: R2.4.1 the scope of equipment that comprises the facility, addressed in accordance with requirement R2.4 must include (based on equipment ownership), but not be limited to, conductors, transformers, relay protective devices, terminal equipment, and series and shunt compensation devices; and R2.4.2 the scope of equipment ratings addressed in accordance with requirement R2.4 must include, as a minimum, both normal ratings and emergency ratings, such that: R2.4.2.1 the emergency ratings for equipment comprising power transformers must be specified for a 30 minute duration and the next 3.5 hour duration; and R2.4.2.2 the emergency ratings for transmission lines must be specified for a ten (10) minute duration. |  |  | [Click and edit to embed file or link to evidence] | Review the AR2 (i) to determine whether the documented methodology contains the process as described in R2.4; | [For AESO use only] |
|  | or any other equivalent evidence to demonstrate compliance with requirement R2. |  | [Click and edit to embed file or link to evidence] | Review any additional evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

# Compliance Assessment

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 Each legal owner of a transmission facility must have a documented methodology for determining the facility ratings of its facilities (except for those facilities associated with a generating unit or aggregated generating facility addressed in requirements R1 and R2) that contains all of the following: MR3 Evidence of having a documented facility ratings methodology as described in requirement R3 exists. | AR3 Please provide: - The documented methodology for determining the facility ratings for facilities in scope of R3 that were in place throughout the audit period; | [Click and edit to enter description for AR3(i) (ii)submitted evidence] | [Click and edit to embed file or link to evidence] | Review AR3 (i) evidence to determine whether the entity has a documented methodology as per R3 throughout the audit period; | [For AESO use only] |
| R3.1 the method used to establish the equipment ratings of the equipment that comprises the facility must be consistent with at least one (1) of the following: (a) ratings provided by equipment manufacturers or obtained from equipment manufacturer specifications, such as the nameplate rating; (b) one (1) or more industry standards developed through an open process such as the IEEE or CIGRE; or (c) a practice that has been verified by testing, performance history or engineering analysis; |  |  | [Click and edit to embed file or link to evidence] | Review AR3 (i) evidence to determine whether it contains the method used to establish the equipment ratings for the equipment in scope of R3, and that is consistent with at least one of R3.1 (a), R3.1 (b) or R3.1 (c); | [For AESO use only] |
| R3.2 the underlying assumptions, design criteria, and methods used to determine the equipment ratings identified in requirement R3.1, including identification of how each of the following were considered: (a) equipment rating standard(s) used in development of this method; (b) ratings provided by equipment manufacturers or obtained from equipment manufacturer specifications; (c) ambient conditions (for particular or average conditions or as they vary in real time); (d) operating limitations; and (e) both summer and winter season operations, where summer is defined as May 1st at 12:01 AM Mountain Time to October 31st at 12:00 midnight Mountain Time and winter is defined as November 1st at 12:01 AM Mountain Time to April 30th at 12:00 midnight Mountain Time; |  |  | [Click and edit to embed file or link to evidence] | Review AR3 (i) evidence to determine whether the documented methodology contains the underlying assumptions, design criteria, and methods used to determine all the equipment ratings identified in requirement R3.1, including the identification of how R3.2 (a) to R3.2 (e) were considered;; | [For AESO use only] |
| R3.3 a statement that a facility rating must not exceed the most limiting applicable equipment rating of the individual equipment that comprises that facility; and |  |  | [Click and edit to embed file or link to evidence] | Review AR3 (i) evidence to determine whether it contains a statement in accordance to R3.3; | [For AESO use only] |
| R3.4 the process by which the equipment ratings of the equipment that comprises a facility are determined, where: R3.4.1 the scope of equipment that comprises the facility, addressed in accordance with requirement R3.4, must include, but not be limited to, conductors, transformers, relay protective devices, terminal equipment, and series and shunt compensation devices; and R3.4.2 the scope of equipment ratings addressed in accordance with requirement R3.4 must include, at a minimum, both normal ratings and emergency ratings, such that: R3.4.2.1 the emergency ratings for equipment comprising power transformers must be specified for a 30 minute duration and the next 3.5 hour duration; and R3.4.2.2 the emergency ratings for transmission lines must be specified for a ten (10) minute duration. |  |  | [Click and edit to embed file or link to evidence] | Review AR3 (i) to determine whether the documented methodology contains the process as described in R3.4; | [For AESO use only] |
|  | or any other equivalent evidence to demonstrate compliance with requirement R3. |  | [Click and edit to embed file or link to evidence] | Review any additional evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

# Compliance Assessment

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R6 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must have facility ratings for its facilities that are consistent with: (a) the facility ratings methodology in accordance with requirements R2 or R3, for a transmission facility, a generating unit and an aggregated generating facility; and (b) the documentation in accordance with requirement R1, for a generating unit and an aggregated generating facility. MR6 Evidence of having facility ratings that are consistent with the facility ratings methodology in accordance with requirements R2 and R3, and the documentation in accordance with requirement R1 exists. | AR6 Please provide: - A list of facilities and facility ratings; Note: the AESO will further request documentation used in determining the facility ratings using the sampling methodology; | [Click and edit to enter description for AR6(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Select samples from AR6 (i) and request the source documentation used to determine the ratings of the equipment comprising the facilities, and; - Review the source documentation and the AR6 (i) evidence to determine whether facility ratings are consistent with the methodology developed in accordance with R2 and/or R3; - Review the source documentation, AR6 (i) evidence to determine whether facility ratings are consistent with the documentation developed in accordance with R1. | [For AESO use only] |
|  | or any other equivalent evidence to demonstrate compliance with requirement R6. |  | [Click and edit to embed file or link to evidence] | Review any additional evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2018-12-06 | Initial version of Worksheet |
| 1.1 | 2019-12-02 | Changes associated with the removal of “real time” from the Consolidated Authoritative Document Glossary |