FAC-501-WECC-AB2-1

Transmission Maintenance

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |
| R3 | [Summary of Findings] |
| R4 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to the legal owner of a transmission facility that is, or is part of, a major transmission path identified in the table “Major WECC Transfer Paths in the Bulk Electric System” as provided by the WECC.

# Compliance Assessment

# R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 The Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility must detail its inspection and maintenance requirements and must apply to each transmission facility that is associated with each of the transmission paths identified by the ISO. MR1 A documented Transmission Maintenance and Inspection Plan as identified in requirement R1 exists and covers each transmission facility as identified by the ISO. | AR1 Please provide: | [Click and edit to enter description for AR1 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the Transmission Maintenance and Inspection Plan for evidence to determine whether the entity has identified all its applicable transmission facilities from the list of ISO identified transmission facilities as referenced in the AESO Information Document FAC-501-WECC-AB2-1 R1 Identified Transmission Paths (ID # 2014-002RS). Review the documentation and verify the evidence details inspection and maintenance requirements for each transmission facility identified. | [For AESO use only] |
|  | copies of all documented Transmission Maintenance and Inspection Plan that were in effect during the audit period; |  |  |  |  |
| R1.1 The legal owner of a transmission facility must review its Transmission Maintenance and Inspection Plan annually and update it as required. MR1.1 Evidence exists that shows the legal owner of a transmission facility reviewed their Transmission Maintenance and Inspection Plan annually and updated it as needed. | - AR1.1 Please provide: | [Click and edit to enter description for AR1.1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1.1(i) submitted evidence to determine whether the Transmission Maintenance and Inspection Plan has been reviewed annually. | [For AESO use only] |
|  | (i) evidence, including the dates for each review, to demonstrate that the annual review of the Transmission Maintenance and Inspection Plan has occurred. |  |  |  |  |
|  | (ii) evidence that any necessary updates resulted from the annual review have been included in the Transmission Maintenance and Inspection Plan. | [Click and edit to enter description for AR1.1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1.1(ii) evidence and the Transmission Maintenance and Inspection Plan to determine whether it has been updated as identified during the annual review. | [For AESO use only] |
| R1.2 The legal owner of a transmission facility must annually submit its Transmission Maintenance and Inspection Plan and any updates to the ISO. MR1.2 The Transmission Maintenance and Inspection Plan and updates, if any, are received by the ISO annually. | AR1.2 Please provide: | [Click and edit to enter description for AR1.2 submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1.2 evidence to determine whether the entity submitted their Transmission Maintenance and Inspection Plan and any updates to the ISO annually. | [For AESO use only] |
|  | evidence, including the dates for each submission, to demonstrate that the Transmission Maintenance and Inspection Plan, and any updates, have been annually submitted and received by the ISO. |  |  |  |  |

Findings

[For AESO use only]

# R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 The Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility must include without limitation the following maintenance categories: R2.1 Transmission line maintenance details: R2.1.1 patrol/inspection; R2.1.2 contamination control; and R2.1.3 tower and wood pole structure management; R2.2 Station maintenance details: R2.2.1 inspections; R2.2.2 contamination control; and R2.2.3 equipment maintenance for the following: - circuit breakers; - power transformers (including phase-shifting transformers); - regulators; and - reactive power devices (including, but not limited to, shunt capacitors, series capacitors, static VAR compensators, synchronous condensers, shunt reactors, and tertiary reactors). MR2 The Transmission Maintenance and Inspection Plan addresses the required maintenance details of requirement R2. | AR2 Intentionally left blank. | [Click and edit to enter description of submitted evidence, if any.] | [Click and edit to embed file or link to evidence] | - Review the Transmission Maintenance and Inspection Plan provided at AR1 above, to determine whether the Transmission Maintenance and Inspection Plan included without limitation the maintenance categories, and station and transmission line details as listed in requirement R2. Review the Transmission Maintenance and Inspection Plan for technical reasonability. | [For AESO use only] |

Findings

[For AESO use only]

# R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 The maintenance practices of the legal owner of a transmission facility in the Transmission Maintenance and Inspection Plan must be either performance-based, time-based, or condition-based, or a combination of all three (3). The Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility must include scheduled intervals for any time-based maintenance activities and/or a description supporting condition or performance-based maintenance practices including a description of the condition or performance based trigger. MR3 The Transmission Maintenance and Inspection Plan addresses the items in requirement R3. | - AR3 Please provide: | [Click and edit to enter description for AR3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the Transmission Maintenance and Inspection Plan in conjunction with any evidence provided at AR3(i) to determine which maintenance practices are specified therein, i.e. performance-based, or time-based, or condition-based, or a combination of all three. | [For AESO use only] |
|  | (i) evidence which identifies all maintenance practices of the Transmission Maintenance and Inspection Plan maintenance practices in effect during the audit period; - and |  |  |  |  |
|  | (ii) if time based maintenance activities are in place, scheduled intervals for the time based maintenance activities, or | [Click and edit to enter description for AR3(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the Transmission Maintenance and Inspection Plan and any other evidence provided to determine whether the Transmission Maintenance and Inspection Plan includes: (a) if applicable, scheduled intervals for all time-based maintenance activities, and/or (b) if applicable, (b1) a description supporting condition-based or performance-based maintenance practices and (b2) a description of the condition or performance based trigger. | [For AESO use only] |
|  | (iii) if condition-based or performance-based maintenance schedules are in place, descriptions of the condition or performance criteria and the associated triggers for initiating maintenance activities, or | [Click and edit to enter description for AR3(iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | (iv) if a combination of time-based, condition-based and performance-based schedules is in effect, the requested information under AR3(ii) and AR3(iii) above. | [Click and edit to enter description for AR3(iv) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |

Findings

[For AESO use only]

# R4

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R4 The legal owner of a transmission facility must implement its Transmission Maintenance and Inspection Plan and retain records that demonstrate such implementation including without limitation the following: R4.1 The names of individual or crew members responsible for performing the work or inspection; R4.2 The date(s) the work or inspection was performed; R4.3 The transmission facility on which the work or inspection was performed; and R4.4 A description of the inspection or maintenance performed. MR4 Records exist that show the legal owner of a transmission facility implemented and followed itsTransmission Maintenance and Inspection Plan. | - AR4 Please provide: | [Click and edit to enter description for AR4(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR4 provided evidence to determine whether the legal owner of a transmission facility has carried out the maintenance and inspections as required in the Transmission Maintenance and Inspection Plan. . | [For AESO use only] |
|  | (i) a list of all maintenance and inspection activities performed during the audit period; this list should identify the date of maintenance and inspection activities, the location and the equipment type; and |  |  |  |  |
|  | - (ii) records that demonstrate that the maintenance and inspection activities have been implemented in accordance with the Transmission Maintenance and Inspection Plan and including all the R4.1, R4.2, R4.3 and R4.4 required information. | [Click and edit to enter description for AR4(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR4 evidence to determine whether: (a) the individual or crew members responsible for performing the work or inspection were documented; (b) the date of work or inspections was documented; (c) the transmission facility on which the work was performed is identified; and (d) the description of the inspection or maintenance performed was documented. | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with the Alberta Reliability Standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | December 17, 2015 | Initial version of the audit worksheet |