## GSO_Sep30_2013
Appendix 1: Updates to 2013 Loss Factors Generic Stacking Order (GSO) Due to Updated Project Information Received by September 17, 2013
New GSO Number | Name | MPID | Gen with 2nd Block | Generation Type | Winter Peak Capacity (MW) | Winter Med Capacity (MW) | Winter Low Capacity (MW) | Spring Peak Capacity (MW) | Spring Med Capacity (MW) | Spring Low Capacity (MW) | Summer Peak Capacity (MW) | Summer Med Capacity (MW) | Summer Low Capacity (MW) | Fall Peak Capacity (MW) | Fall Med Capacity (MW) | Fall low Capacity (MW)
1 | POPLAR HILL | PH1 | 1 | Gas | 1 | 5.9 | 6.2 | 8.7 | 3.4 | 1.9 | 1.2 | 2.5 | 0 | 0.7 | 2.7 | 4.4
2 | VALLEYVIEW | VVW1 | 1 | Gas | 0 | 0.2 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0
3 | BEAR CREEK G1 | BCRK | 1 | Co-Cycle | 0 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6 | 0.7
4 | TABER WIND | TAB1 |  | Wind | 17 | 38.8 | 56.9 | 34.9 | 28.6 | 26.1 | 8.1 | 17.7 | 23.1 | 38.7 | 30.5 | 34.9
5 | FT MACLEOD | 0000001511 |  | Wind, DG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | SUNCOR HILLRIDGE WIND FARM | SCR3 |  | Wind | 7.2 | 16.5 | 21.8 | 16.9 | 12.2 | 11.7 | 4.1 | 8.8 | 13.1 | 16.7 | 13.9 | 15.2
7 | Enel Alberta Castle Rock Wind Farm | CRR1 |  | Wind | 34.3 | 34.3 | 34.3 | 26.2 | 26.2 | 26.2 | 19.5 | 19.5 | 19.5 | 29 | 29 | 29
8 | SUNCOR MAGRATH | SCR2 |  | Wind | 6.1 | 16.2 | 19.8 | 19.6 | 11.7 | 11.1 | 7.2 | 8.3 | 10.8 | 16.2 | 13.6 | 12.7
9 | MCBRIDE | AKE1 |  | Wind | 13.4 | 39.3 | 41.4 | 43 | 25.9 | 20.7 | 20.9 | 20.1 | 25 | 34.6 | 32.6 | 28.9
10 | GLENWOOD | 0000022911 |  | Wind, DG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.7 | 0 | 0.1 | 0.1
11 | PINCHER CREEK | 0000039611 |  | Wind, DG | 0.3 | 1.4 | 2.7 | 0.4 | 1.2 | 1.1 | 1.1 | 1.2 | 2 | 1.2 | 1.3 | 1.4
12 | CASTLE RIVER | CR1 |  | Wind | 6.4 | 19.5 | 23.8 | 10.4 | 13.7 | 7.9 | 11.5 | 9.8 | 9.8 | 16.5 | 16.4 | 13.1
13 | KETTLES HILL WIND ENERGY PHASE 2 | KHW1 |  | Wind | 12.9 | 34.2 | 34.3 | 24.2 | 23.4 | 17.8 | 21.8 | 19.7 | 24.3 | 33.4 | 30.1 | 24.9
14 | BLUE TRAIL WIND FARM | BTR1 |  | Wind | 10.1 | 29.6 | 29 | 35.7 | 21.1 | 16.5 | 15.5 | 17.7 | 23.5 | 30.1 | 27 | 24.8
15 | SODERGLEN | GWW1 |  | Wind | 12.4 | 35.7 | 39.8 | 39 | 26.4 | 24.9 | 20.5 | 22.6 | 26.7 | 38.2 | 33.2 | 29.7
16 | TRANSALTA ARDENVILLE WIND FARM | ARD1 |  | Wind | 9 | 30.2 | 24.1 | 36 | 22.1 | 21.9 | 16.9 | 19.4 | 28 | 29.7 | 27.3 | 25.9
17 | SUMMERVIEW 1 | IEW1 |  | Wind | 9.9 | 30.3 | 33.8 | 21.9 | 21.9 | 15.3 | 19 | 16.6 | 20.1 | 34.8 | 28.7 | 22.8
18 | SUMMERVIEW 2 | IEW2 |  | Wind | 10.5 | 30 | 34.5 | 26.2 | 20.2 | 12 | 19.3 | 14.3 | 17.2 | 31 | 25.5 | 19.6
19 | GHOST PINE WIND FARM | NEP1 |  | Wind | 20.3 | 32.2 | 42.4 | 27.9 | 26.6 | 27.9 | 6.8 | 17.2 | 22.1 | 34.7 | 23.4 | 22.5
20 | COWLEY EXPANSION 1 | CRE1 |  | Wind | 0.1 | 0.2 | 0.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1
21 | COWLEY EXPANSION 2 | CRE2 |  | Wind | 0.1 | 0.4 | 0.4 | 0.1 | 0.1 | 0.1 | 0 | 0.1 | 0.2 | 0.3 | 0.2 | 0.1
22 | COWLEY NORTH | CRE3 |  | Wind | 3.6 | 8.3 | 11.2 | 5.4 | 5.8 | 3.9 | 5.6 | 5.1 | 4.9 | 8.1 | 7.6 | 6.4
23 | COWLEY RIDGE WIND POWER PHASE1 | PKNE |  | Wind | 0.6 | 1.7 | 2 | 0.4 | 1 | 0.7 | 0 | 0.8 | 1.9 | 0.8 | 0.5 | 0.4
24 | COWLEY RIDGE WIND POWER PHASE2 | CRWD |  | Wind | 0.3 | 0.6 | 0.9 | 0 | 0.3 | 0.3 | 0 | 0.6 | 1.6 | 0.5 | 0.3 | 0.2
25 | SUNCOR WINTERING HILLS WIND ENERGY PROJECT | SCR4 |  | Wind | 20.5 | 41.3 | 56 | 36.8 | 37.2 | 40 | 22.5 | 22.5 | 22.5 | 8.2 | 2.4 | 0.7
26 | CAPITAL POWER HALKIRK WIND PROJECT | HAL1 |  | Wind | 67.5 | 67.5 | 67.5 | 51.6 | 51.6 | 51.6 | 38.4 | 38.4 | 38.4 | 57.2 | 57.2 | 57.2
27 | WESGEN | WST1 |  | Bio-mass | 14.8 | 14.8 | 16.1 | 13 | 12.1 | 12.3 | 8.1 | 12 | 13.9 | 13.2 | 14.4 | 14.3
28 | WHITE COURT | EAGL |  | Bio-mass | 24.6 | 24.5 | 24.3 | 24.2 | 22.2 | 22.2 | 24.6 | 24.4 | 24.4 | 24.1 | 22.6 | 23.3
29 | BRIDGE CREEK | GOC1 |  | Gas-decomp | 2.5 | 2.4 | 3 | 2.7 | 0.6 | 0.4 | 2 | 2.1 | 1.5 | 3.3 | 2.6 | 2.5
30 | DRAYTON VALLEY PL IPP | DV1 |  | Bio-mass | 8.2 | 8.1 | 8.1 | 7.8 | 8.4 | 8.5 | 4.8 | 6.5 | 6.9 | 8.8 | 7.5 | 7
31 | CHIN CHUTE | CHIN |  | Hydro | 0 | 0 | 0 | 0 | 3.7 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0
32 | RAYMOND RESERVOIR | RYMD |  | Hydro | 0 | 0 | 0 | 0 | 4.6 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0
33 | NORTHSTONE ELMWORTH | NPC1 |  | Co-gen | 1.4 | 0.1 | 0 | 0 | 0.1 | 0 | 2.1 | 0.4 | 0 | 0.4 | 0.3 | 0
34 | GRANDE PRAIRIE ECOPOWER CENTRE | GPEC |  | Co-gen | 7.5 | 9.6 | 12.8 | 1.2 | 8.5 | 11.4 | 6.9 | 9.4 | 12.4 | 9.8 | 10.7 | 12
35 | BEAR CREEK G2 | BCR2 | 1 | Co-Cycle | 15 | 13.2 | 11.7 | 16.3 | 7.8 | 2.5 | 25.4 | 16.9 | 14.9 | 17 | 16.3 | 13.8
36 | P&G WEYERHAUSER | WEY1 |  | Co-gen | 0 | 0.3 | 1.1 | 0 | 0.2 | 0.1 | 0.5 | 0.5 | 0.5 | 0.3 | 0.2 | 0.2
37 | DIASHOWA | DAI1 |  | Co-gen | 3 | 4.7 | 3 | 8.6 | 9.8 | 8.6 | 4.2 | 1.7 | 2 | 3.1 | 2.3 | 1.7
38 | HARMATTAN GAS PLANT DG | 0000025611 |  | Gas | 6 | 6.2 | 6.4 | 6 | 6.5 | 7.3 | 6 | 6.2 | 7 | 6 | 6.2 | 6.5
39 | SHELL CAROLINE | SHCG |  | Co-gen | 2.5 | 3.9 | 4 | 5.2 | 4 | 2.2 | 0 | 1.3 | 2.3 | 4.2 | 2.6 | 3
40 | ALTAGAS PARKLAND | 0000034911 |  | Gas, DG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | BALZAC | NX01 | 1 | Co-Cycle | 69.3 | 50.6 | 26.3 | 63.5 | 46.4 | 21.5 | 59.3 | 29 | 3.2 | 38 | 41.5 | 26.2
42 | CARSELAND | TC01 | 1 | Co-gen | 73.8 | 62 | 61.9 | 58.7 | 58.6 | 62.3 | 62.9 | 54 | 61.4 | 68.5 | 59.2 | 57.7
43 | FORTISALBERTA AL-PAC PULP MILL | AFG1TX | 1 | Gas | 15.3 | 8.5 | 8 | 13.1 | 10 | 5.2 | 20.2 | 8.3 | 2.8 | 15 | 10.8 | 8.6
44 | CAVAILIER | EC01 | 1 | Co-Cycle | 51.5 | 37.9 | 17.8 | 51.9 | 39.7 | 24.9 | 47.9 | 21.6 | 2.5 | 41.5 | 35.7 | 18.6
45 | CITY OF MEDICINE HAT | CMH1 | 1 | Gas | 42.9 | 16.1 | 4 | 24.5 | 14.9 | 6.2 | 30.8 | 13.5 | 1.8 | 27.7 | 20.8 | 5.5
46 | NOVA JOFFRE | NOVAGEN15M | 1 | Co-gen | 142 | 96.2 | 41.3 | 114.9 | 86.7 | 80.5 | 131.8 | 81.3 | 50.7 | 138.6 | 102.4 | 82.5
47 | PRIMROSE | PR1 |  | Co-gen | 9.7 | 6.6 | 7.2 | 0 | 0.8 | 1.9 | 2.5 | 5.7 | 12.4 | 0.6 | 9.3 | 11.3
48 | SHELL SCOTFORD | SCTG |  | Co-gen | 1 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0
49 | CNRL HORIZON | CNR5 |  | Co-gen | 2.6 | 7.7 | 4.3 | 24.2 | 5.7 | 3.2 | 2.4 | 11.4 | 17.3 | 0.9 | 2.9 | 3.1
50 | MCKAY RIVER | MKRC |  | Co-gen | 167.6 | 159.5 | 157.3 | 150.8 | 142.2 | 145.9 | 139.3 | 140.8 | 144.3 | 147 | 130 | 127.9
51 | REDWATER | TC02 | 1 | Co-gen | 21 | 18.6 | 19.6 | 15.4 | 13.2 | 13.7 | 20.7 | 23 | 23.6 | 26.1 | 21.5 | 21.8
52 | BUCK LAKE | 0000045411 |  | Co-gen, DG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MUSKEG | MKR1 | 1 | Co-gen | 68.4 | 39.1 | 19.5 | 19.3 | 19.8 | 18.2 | 24.8 | 17.8 | 16.1 | 40.5 | 21 | 12.2
54 | SYNCRUDE | SCL1 |  | Co-gen | 42.5 | 37.4 | 35.4 | 27.7 | 32.8 | 26.7 | 5.6 | 7.6 | 19.3 | 44.7 | 28.2 | 28.5
55 | DOW GTG | DOWGEN15M | 1 | Co-gen | 87.2 | 65.8 | 37.6 | 78.7 | 73.2 | 60.4 | 54.7 | 46.4 | 52.9 | 75.8 | 45.6 | 33.6
56 | FOSTER CREEK G1 | EC04 |  | Co-gen | 38.2 | 32 | 34.1 | 29.5 | 25.3 | 16.6 | 14.5 | 22.7 | 22.2 | 29 | 22.8 | 25.1
57 | MEG ENERGY | MEG1 | 1 | Co-gen | 82 | 71.5 | 70.1 | 74.3 | 65 | 68.4 | 63.5 | 64.6 | 69.6 | 73 | 51.8 | 54.5
58 | SUNCOR MILLENIUM | SCR1 | 1 | Co-gen | 293.7 | 303.3 | 285.6 | 358.2 | 339.8 | 298.3 | 242.4 | 245.6 | 278.8 | 331.2 | 268.4 | 261.4
59 | NEXEN OPTI | NX02 |  | Co-gen | 25.7 | 37.2 | 37.8 | 32.8 | 24.1 | 26.7 | 13.1 | 20.8 | 78.8 | 36.7 | 34.2 | 34.3
60 | MAHKESES COLD LAKE | IOR1 |  | Co-gen | 48.2 | 41.1 | 38.2 | 34.8 | 29.6 | 34.7 | 24.8 | 23.3 | 15.1 | 40 | 36.4 | 37.2
61 | ENMAX CALGARY ENERGY CENTRE CTG | CES1 | 1 | Co-Cycle | 41.4 | 25.1 | 5.3 | 33.7 | 20.5 | 17.3 | 49.6 | 22.4 | 1.5 | 42 | 30.3 | 16.4
62 | ENMAX CALGARY ENERGY CENTRE STG | CES2 | 1 | Co-Cycle | 24.5 | 15.7 | 3.4 | 19.6 | 13.1 | 11.5 | 35.4 | 14.6 | 1 | 26.8 | 19.6 | 10.7
63 | CASCADE | CAS | 1 | Hydro | 9.1 | 8.3 | 0.8 | 18 | 9.3 | 0.3 | 17.5 | 7.6 | 1.2 | 11.6 | 9.4 | 2.5
64 | RUNDLE | RUN | 1 | Hydro | 12.3 | 9.2 | 6.2 | 13.9 | 10.2 | 7.4 | 0 | 0 | 0 | 10.3 | 9.9 | 5.7
65 | THREE SISTERS | THS |  | Hydro | 0.9 | 0.6 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.9 | 0.5
66 | SPRAY | SPR | 1 | Hydro | 36 | 27 | 17.8 | 43 | 29.8 | 21.2 | 0 | 0 | 0 | 30.6 | 29.1 | 16.9
67 | GHOST | GHO | 1 | Hydro | 23.4 | 13.3 | 2.9 | 21.2 | 19.6 | 7.6 | 40 | 42.7 | 48.8 | 22.6 | 23.7 | 9.7
68 | HORSESHOE | HSH | 1 | Hydro | 7.6 | 7.1 | 6.8 | 8.7 | 9 | 10.7 | 14.4 | 14.1 | 14.2 | 7.3 | 9.5 | 9.2
69 | BARRIER | BAR | 1 | Hydro | 7.5 | 4.2 | 2.1 | 6.1 | 5.6 | 3 | 10.8 | 7 | 9.7 | 4.1 | 5.5 | 1.3
70 | KANANASKIS | KAN | 1 | Hydro | 7.3 | 6.6 | 5.5 | 9.7 | 9.4 | 11.3 | 17.4 | 16.6 | 17.1 | 8.4 | 10.4 | 9.1
71 | STIRLING | 0000006711 |  | Hydro, DG | 0 | 0 | 0 | 0 | 0.1 | 0.8 | 0 | 0.1 | 0 | 0 | 0.1 | 0.4
72 | BEARSPAW | BPW | 1 | Hydro | 5.3 | 5.9 | 5.8 | 6.6 | 8.2 | 11 | 13.3 | 13.6 | 13.6 | 4.8 | 7.8 | 8.2
73 | POCATERRA | POC |  | Hydro | 9.6 | 4.6 | 0 | 10.8 | 4.1 | 0 | 10.7 | 2.1 | 0 | 7.8 | 4.5 | 0.3
74 | INTERLAKES | INT |  | Hydro | 3.3 | 1.8 | 0 | 2.8 | 0.8 | 0 | 3.3 | 0.7 | 0 | 1.4 | 1.2 | 0.6
75 | SPRING COULEE | 0000038511 |  | Hydro, DG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | TAYLOR HYDRO | TAY1 |  | Hydro | 0 | 0 | 0 | 0 | 3.7 | 8.6 | 12.4 | 9.4 | 3.4 | 0.7 | 4.7 | 5.7
77 | BIGHORN | BIG | 1 | Hydro | 64.9 | 44 | 30 | 50.5 | 47.6 | 25.9 | 57.7 | 45.4 | 26.1 | 56.2 | 44.8 | 33.3
78 | BRAZEAU | BRA | 1 | Hydro | 79 | 28.4 | 5.1 | 45.5 | 29.3 | 5.4 | 144.4 | 115.8 | 86.2 | 45.8 | 32 | 8.9
79 | OLDMAN | OMRH |  | Hydro | 2.5 | 2.2 | 2.3 | 2.4 | 12.4 | 23.7 | 24.5 | 27.4 | 30.2 | 4.9 | 10 | 11.1
80 | HR MILNER | HRM | 1 | Coal | 84.1 | 71.1 | 52 | 100.1 | 48.1 | 14.6 | 108.6 | 59.8 | 15.7 | 102.5 | 88.8 | 66.8
81 | SUNDANCE #3 | SD3 | 1 | Coal | 289.6 | 276.6 | 279.4 | 279.8 | 253.5 | 207.1 | 279.6 | 254 | 226.2 | 265.1 | 256.6 | 250.7
82 | SUNDANCE #4 | SD4 | 1 | Coal | 308.1 | 269.9 | 239.5 | 274.4 | 241.7 | 206.9 | 262.2 | 237.2 | 221.5 | 298.3 | 269.3 | 255.7
83 | SUNDANCE #5 | SD5 | 1 | Coal | 315 | 259.7 | 264.4 | 278.1 | 241.2 | 208.7 | 326.3 | 259.7 | 248.8 | 266.3 | 263.2 | 275.3
84 | SUNDANCE #6 | SD6 | 1 | Coal | 362.6 | 349.7 | 359.3 | 284.2 | 350.2 | 359.2 | 215.9 | 279.2 | 296.6 | 227.1 | 129.9 | 109.9
85 | BATTLE RIVER #5 | BR5 | 1 | Coal | 246 | 232.4 | 196.6 | 231 | 102.2 | 49.2 | 209.2 | 205.5 | 164.9 | 235 | 240 | 218.7
86 | KEEPHILLS #3 | KH3 | 1 | Coal | 328.9 | 323.7 | 342.6 | 248.3 | 321.3 | 320.7 | 184.8 | 158 | 98.6 | 324 | 329 | 334.5
87 | GENESEE 1 | GN1 | 1 | Coal | 223.7 | 222.7 | 219.3 | 215.3 | 205 | 205.7 | 223.8 | 219 | 184.8 | 224.1 | 223.3 | 219.3
88 | GENESEE 2 | GN2 | 1 | Coal | 224.1 | 220.4 | 218.8 | 224.4 | 210.3 | 178.4 | 223.9 | 219.2 | 184.2 | 223.5 | 223.4 | 219
89 | GENESEE 3 | GN3 | 1 | Coal | 201 | 155.9 | 51.3 | 305.2 | 285 | 265.4 | 303.6 | 297.6 | 272.6 | 56.2 | 248.8 | 263.6
90 | BATTLE RIVER #3 | BR3 | 1 | Coal | 102.5 | 94.8 | 72.3 | 98.3 | 89.1 | 69.3 | 100.1 | 73.9 | 16.4 | 87.6 | 96.6 | 84.6
91 | BATTLE RIVER #4 | BR4 | 1 | Coal | 103.1 | 95.4 | 77.2 | 101.8 | 87.5 | 66.5 | 77.9 | 81 | 71.7 | 86.4 | 64.2 | 52.5
92 | KEEPHILLS #1 | KH1 | 1 | Coal | 280.7 | 311 | 310.9 | 252.3 | 95.5 | 123.1 | 316 | 319.5 | 311.7 | 336.7 | 325.5 | 313.4
93 | KEEPHILLS #2 | KH2 | 1 | Coal | 308.7 | 162.2 | 249.7 | 77.2 | 283.3 | 275.9 | 312.8 | 313.7 | 302.4 | 316.4 | 298.6 | 278.6
94 | SHEERNESS #1 | SH1 | 1 | Coal | 200.2 | 190.7 | 171.4 | 189.2 | 143.2 | 68 | 204.3 | 176.4 | 86.5 | 198 | 195.7 | 184.1
95 | SHEERNESS #2 | SH2 | 1 | Coal | 176.3 | 169.9 | 157.7 | 163.8 | 127.2 | 73.4 | 176.7 | 150.8 | 78.8 | 171.4 | 123.8 | 112.9
96 | GENESEE 1 | GN1 | 2 | Coal | 180.9 | 180.1 | 177.4 | 174.1 | 165.8 | 166.3 | 181 | 177.1 | 149.4 | 181.2 | 180.6 | 177.4
97 | GENESEE 2 | GN2 | 2 | Coal | 181.3 | 178.3 | 177 | 181.5 | 170.1 | 144.3 | 181.1 | 177.3 | 149 | 180.8 | 180.7 | 177.1
98 | KEEPHILLS #3 | KH3 | 2 | Coal | 102.7 | 101.1 | 107 | 77.5 | 100.3 | 100.1 | 57.7 | 49.3 | 30.8 | 101.2 | 102.7 | 104.5
99 | KEEPHILLS #1 | KH1 | 2 | Coal | 30.8 | 34.2 | 34.2 | 27.7 | 10.5 | 13.5 | 34.7 | 35.1 | 34.2 | 37 | 35.8 | 34.4
100 | KEEPHILLS #2 | KH2 | 2 | Coal | 45.1 | 23.7 | 36.5 | 11.3 | 41.4 | 40.4 | 45.7 | 45.9 | 44.2 | 46.3 | 43.7 | 40.7
101 | BATTLE RIVER #5 | BR5 | 2 | Coal | 129.1 | 122 | 103.2 | 121.2 | 53.7 | 25.8 | 109.8 | 107.9 | 86.5 | 123.4 | 126 | 114.8
102 | GENESEE 3 | GN3 | 2 | Coal | 103.6 | 80.4 | 26.5 | 157.4 | 146.9 | 136.9 | 156.5 | 153.4 | 140.6 | 29 | 128.3 | 135.9
103 | BATTLE RIVER #3 | BR3 | 2 | Coal | 44.6 | 41.3 | 31.5 | 42.8 | 38.8 | 30.2 | 43.6 | 32.2 | 7.2 | 38.1 | 42 | 36.8
104 | BATTLE RIVER #4 | BR4 | 2 | Coal | 51.1 | 47.3 | 38.2 | 50.4 | 43.3 | 33 | 38.6 | 40.2 | 35.5 | 42.8 | 31.8 | 26
105 | SUNDANCE #5 | SD5 | 2 | Coal | 52.2 | 43.1 | 43.8 | 46.1 | 40 | 34.6 | 54.1 | 43.1 | 41.3 | 44.2 | 43.6 | 45.7
106 | SHEERNESS #2 | SH2 | 2 | Coal | 175.4 | 169.1 | 157 | 163 | 126.6 | 73 | 175.8 | 150.1 | 78.4 | 170.6 | 123.2 | 112.3
107 | SUNDANCE #6 | SD6 | 2 | Coal | 12 | 11.6 | 11.9 | 9.4 | 11.6 | 11.9 | 7.2 | 9.3 | 9.8 | 7.5 | 4.3 | 3.6
108 | SHEERNESS #1 | SH1 | 2 | Coal | 150.4 | 143.2 | 128.7 | 142.1 | 107.5 | 51.1 | 153.4 | 132.4 | 64.9 | 148.6 | 146.9 | 138.2
109 | HR MILNER | HRM | 2 | Coal | 20 | 17 | 12.4 | 23.9 | 11.5 | 3.5 | 25.9 | 14.2 | 3.7 | 24.4 | 21.2 | 15.9
110 | SUNDANCE #4 | SD4 | 2 | Coal | 50.4 | 44.1 | 39.2 | 44.9 | 39.5 | 33.8 | 42.9 | 38.8 | 36.2 | 48.8 | 44 | 41.8
111 | SUNDANCE #3 | SD3 | 2 | Coal | 30.8 | 29.5 | 29.8 | 29.8 | 27 | 22.1 | 29.8 | 27.1 | 24.1 | 28.2 | 27.3 | 26.7
112 | BATTLE RIVER #5 STS INCREASE | BR5 |  | Coal | 0 | 0 | 0 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7
113 | KEEPHILLS #3 UPRATE | KH3 |  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6
114 | SUNDANCE #1 | SD1 | 1 | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 211.8 | 211.8 | 211.8
115 | SUNDANCE #2 | SD2 | 1 | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 211.8 | 211.8 | 211.8
116 | BIGHORN | BIG | 2 | Hydro | 0.7 | 0.5 | 0.3 | 0.5 | 0.5 | 0.3 | 0.6 | 0.5 | 0.3 | 0.6 | 0.5 | 0.3
117 | BRAZEAU | BRA | 2 | Hydro | 3.7 | 1.3 | 0.2 | 2.1 | 1.4 | 0.3 | 6.8 | 5.4 | 4 | 2.2 | 1.5 | 0.4
118 | CASCADE | CAS | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 | RUNDLE | RUN | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 | SPRAY | SPR | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
121 | GHOST | GHO | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
122 | HORSESHOE | HSH | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
123 | BARRIER | BAR | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
124 | KANANASKIS | KAN | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
125 | BEARSPAW | BPW | 2 | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
126 | CHIN CHUTE | CHIN |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 7.6 | 6.6 | 4.3 | 0.6 | 4.4 | 5.2
127 | RAYMOND RESERVOIR | RYMD |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 15.1 | 11.9 | 4.8 | 0.8 | 6 | 7.1
128 | SPRAY 2 - GSU REPLACEMENT | SPR |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5 | 5.5 | 5.5
129 | BC IMPORT | BCHIMP |  | Import | 456 | 244.6 | 0 | 453.4 | 424.8 | 450.1 | 422.6 | 355.2 | 341.8 | 414.9 | 363.9 | 106.9
130 | SASKATCHEWAN IMPORT | SPCIMP |  | Import | 61.7 | 52.8 | 18.2 | 61.2 | 48.4 | 18.8 | 58.5 | 11.2 | 0 | 94.2 | 86.4 | 65.7
131 | MONTANA TIE LINE | MATLIMP |  | Import | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.8 | 65.7 | 25.9
132 | NORTHERN PRAIRIE POWER PROJECT | NPP1 | 1 | Gas | 48 | 14.8 | 1.2 | 25.7 | 8.7 | 0.4 | 43 | 8.9 | 0 | 36 | 24.5 | 2.2
133 | STURGEON 1 | ST1 |  | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
134 | STURGEON 2 | ST2 |  | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
135 | ATCO VALLEY VIEW 2 | VVW2 |  | Gas | 3.3 | 0.2 | 0 | 1.2 | 0.2 | 0 | 1.8 | 0.4 | 0.1 | 3 | 1.1 | 0.4
136 | ENMAX CROSSFIELD ENERGY CENTER | CRS2 | 1 | Gas | 7.7 | 1.1 | 0 | 0.7 | 1.2 | 0 | 7.1 | 1.5 | 0 | 4.6 | 4.7 | 0.7
137 | RAINBOW 1 | RB1 |  | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
138 | RAINBOW 4 | RL1 | 1 | Co-gen Gas | 40.4 | 37.7 | 37.7 | 36.6 | 36.7 | 38.8 | 33 | 31.5 | 32.5 | 31.1 | 31.9 | 30.1
139 | RAINBOW 5 | RB5 | 1 | Gas | 29.6 | 18.8 | 13.2 | 6.7 | 11.1 | 0.2 | 23.3 | 23 | 18.3 | 26.2 | 18.2 | 15.8
140 | RAINBOW 3 | RB3 |  | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
141 | RAINBOW 2 | RB2 |  | Gas | 9.1 | 4.4 | 0.6 | 14.2 | 1.2 | 0 | 10.7 | 9.9 | 6.8 | 12.3 | 4.3 | 3.1
142 | DRYWOOD 1 | DRW1 |  | Gas | 1.4 | 0.2 | 0 | 0.6 | 0.1 | 0 | 2.9 | 0.3 | 0 | 0.6 | 0.6 | 0
143 | CLOVER BAR 1 | ENC1 |  | Gas | 11.2 | 1.3 | 0 | 0 | 6.6 | 0 | 10.1 | 2.9 | 0 | 23 | 5.4 | 0.7
144 | ENMAX CROSSFIELD ENERGY CENTER | CRS3 | 1 | Gas | 14.4 | 3.8 | 0 | 8.5 | 3.9 | 0 | 11.7 | 2.5 | 0 | 8.9 | 7.4 | 1.1
145 | ENMAX CROSSFIELD ENERGY CENTER | CRS1 | 1 | Gas | 12.6 | 3.2 | 0 | 6.9 | 3 | 0 | 9.9 | 2.7 | 0 | 8 | 7.2 | 1.1
146 | FORT NELSON | FNG1 | 1 | Gas | 23.6 | 28.3 | 28.9 | 13.6 | 6.5 | 1.1 | 20.6 | 21.3 | 25 | 25 | 31 | 31.1
147 | CLOVER BAR 2 | ENC2 | 1 | Gas | 24.8 | 8.1 | 0 | 8.6 | 17.9 | 3.3 | 22.8 | 8.8 | 0 | 35.2 | 12.8 | 2.7
148 | CLOVER BAR 3 | ENC3 | 1 | Gas | 13.8 | 6.5 | 0 | 10.3 | 14.4 | 1 | 20.9 | 7.2 | 0 | 42.4 | 11.6 | 3.1
149 | ENMAX CALGARY ENERGY CENTRE CTG | CES1 | 2 | Co-Cycle | 81.9 | 49.7 | 10.4 | 66.7 | 40.5 | 34.3 | 98.2 | 44.3 | 3 | 83.2 | 60 | 32.4
150 | ENMAX CALGARY ENERGY CENTRE STG | CES2 | 2 | Co-Cycle | 48.5 | 31.1 | 6.8 | 38.8 | 25.8 | 22.9 | 70.1 | 28.8 | 2 | 53 | 38.7 | 21.1
151 | CAVAILIER | EC01 | 2 | Co-Cycle | 47.3 | 34.8 | 16.4 | 47.7 | 36.5 | 22.9 | 44.1 | 19.9 | 2.3 | 38.2 | 32.8 | 17.1
152 | BALZAC | NX01 | 2 | Co-Cycle | 38.4 | 28 | 14.6 | 35.2 | 25.7 | 11.9 | 32.9 | 16.1 | 1.8 | 21.1 | 23 | 14.5
153 | DOW GTG | DOWGEN15M | 2 | Co-gen | 15.4 | 11.6 | 6.6 | 13.9 | 12.9 | 10.6 | 9.6 | 8.2 | 9.3 | 13.4 | 8 | 5.9
154 | CITY OF MEDICINE HAT | CMH1 | 2 | Gas | 16.8 | 6.3 | 1.6 | 9.6 | 5.8 | 2.4 | 12.1 | 5.3 | 0.7 | 10.9 | 8.1 | 2.2
155 | MUSKEG | MKR1 | 2 | Co-gen | 6.5 | 3.7 | 1.9 | 1.8 | 1.9 | 1.7 | 2.4 | 1.7 | 1.5 | 3.9 | 2 | 1.2
156 | SUNCOR MILLENIUM | SCR1 | 2 | Co-gen | 10.2 | 10.5 | 9.9 | 12.4 | 11.8 | 10.3 | 8.4 | 8.5 | 9.6 | 11.5 | 9.3 | 9
157 | REDWATER | TC02 | 2 | Co-gen | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
158 | CARSELAND | TC01 | 2 | Co-gen | 1 | 0.9 | 0.9 | 0.8 | 0.8 | 0.9 | 0.9 | 0.8 | 0.9 | 1 | 0.8 | 0.8
159 | NOVA JOFFRE | NOVAGEN15M | 2 | Co-gen | 27.6 | 18.7 | 8 | 22.3 | 16.9 | 15.6 | 25.6 | 15.8 | 9.8 | 26.9 | 19.9 | 16
160 | FORTISALBERTA AL-PAC PULP MILL | AFG1TX | 2 | Gas | 1.7 | 1 | 0.9 | 1.5 | 1.1 | 0.6 | 2.3 | 0.9 | 0.3 | 1.7 | 1.2 | 1
161 | ENMAX CALGARY ENERGY CENTRE STG UPGRADE | CES2 | 2 | Co-Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 2.7 | 2.7 | 2.7 | 3.2 | 3.2 | 3.2
162 | MEG Christina Lake SAGD/Cogen 2 Plant | MEG1 | 2 | Co-gen | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.5 | 64.5 | 64.5
163 | ENMAX CROSSFIELD ENERGY CENTER | CRS2 | 2 | Gas | 24.3 | 3.4 | 0 | 2.4 | 3.7 | 0 | 22.6 | 4.8 | 0 | 14.4 | 15 | 2.3
164 | ENMAX CROSSFIELD ENERGY CENTER | CRS1 | 2 | Gas | 19.4 | 5 | 0 | 10.6 | 4.6 | 0 | 15.3 | 4.1 | 0 | 12.2 | 11.1 | 1.7
165 | ENMAX CROSSFIELD ENERGY CENTER | CRS3 | 2 | Gas | 22.2 | 5.9 | 0 | 13.1 | 6 | 0 | 18 | 3.8 | 0 | 13.7 | 11.4 | 1.8
166 | FORT NELSON | FNG1 | 2 | Gas | 8.7 | 10.4 | 10.7 | 5 | 2.4 | 0.4 | 7.6 | 7.9 | 9.2 | 9.2 | 11.5 | 11.5
167 | NORTHERN PRAIRIE POWER PROJECT | NPP1 | 2 | Gas | 26.3 | 8.1 | 0.7 | 14.1 | 4.8 | 0.2 | 23.6 | 4.9 | 0 | 19.8 | 13.4 | 1.2
168 | CLOVER BAR 2 | ENC2 | 2 | Gas | 25.4 | 8.2 | 0 | 8.8 | 18.3 | 3.3 | 23.3 | 9 | 0 | 36 | 13.1 | 2.7
169 | CLOVER BAR 3 | ENC3 | 2 | Gas | 12.7 | 5.9 | 0 | 9.5 | 13.2 | 0.9 | 19.1 | 6.6 | 0 | 38.9 | 10.7 | 2.9
170 | RAINBOW 5 | RB5 | 2 | Gas | 9.3 | 5.9 | 4.1 | 2.1 | 3.5 | 0.1 | 7.3 | 7.2 | 5.7 | 8.2 | 5.7 | 5
171 | RAINBOW 4 | RL1 | 2 | Co-gen Gas | 1.6 | 1.5 | 1.5 | 1.4 | 1.4 | 1.5 | 1.3 | 1.2 | 1.3 | 1.2 | 1.2 | 1.2
172 | BEAR CREEK G1 | BCRK | 2 | Co-Cycle | 30.3 | 7.9 | 0 | 10.5 | 2.3 | 0 | 36.7 | 7.1 | 0.3 | 19.9 | 12.6 | 2.9
173 | POPLAR HILL | PH1 | 2 | Gas | 11.5 | 1 | 0.6 | 3.6 | 1.4 | 0.2 | 5.2 | 0.5 | 0 | 3.2 | 1.2 | 0.3
174 | VALLEYVIEW | VVW1 | 2 | Gas | 1.8 | 0.2 | 0 | 1.3 | 0.3 | 0 | 2.6 | 0.5 | 0 | 2 | 0.5 | 0.1
175 | NRGreen Windfall Power Generating Station | NRG3 |  | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.8 | 15.8 | 15.8
176 | Fortis ANC (Alberta Newsprint Company) - Generation | BTF_NEWSPRNT_GEN |  | Gas Turbine | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0