PRC-001-AB3-1.1(ii)
Protection System Coordination

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |
| R3 | [Summary of Findings] |
| R4 | [Summary of Findings] |

## Findings (continued)

| R5 | [Summary of Findings] |
| --- | --- |
| R6 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

- the legal owner of a transmission facility that is:

- part of the bulk electric system; or

- not part of the bulk electric system and which the ISO:

- determines is necessary for the reliable operation of either the interconnected electric system or the City of Medicine Hat electric system, and

- publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1;

- the legal owner of a generating unit that is:

- directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW;

- within a power plant which:

- is not part of an aggregated generating facility;

- is directly connected to the bulk electric system; and

- has a combined maximum authorized real power rating greater than 67.5 MW;

- a blackstart resource; or

- material to this reliability standard and to the reliability of the bulk electric system, regardless of maximum authorized real power rating, as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1;

- the legal owner of an aggregated generating facility that is:

- directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW;

- within a power plant or industrial complex which:

  - is directly connected to the bulk electric system; and

  - has a combined maximum authorized real power rating greater than 67.5 MW;

- a blackstart resource; or

- material to this reliability standard and to the reliability of the bulk electric system, regardless of maximum authorized real power rating, as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1;

- the operator of a transmission facility that is:

- part of the bulk electric system; or

- not part of the bulk electric system and which the ISO:

- determines is necessary for the reliable operation of either the interconnected electric system or the City of Medicine Hat electric system; and

- publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1;

- the operator of a generating unit that is:

- directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW;

- within a power plant which:

  - is not part of an aggregated generating facility;

  - is directly connected to the bulk electric system; and

  - has a combined maximum authorized real power rating greater than 67.5 MW;

- a blackstart resource; or

- material to this reliability standard and to the reliability of the bulk electric system, regardless of maximum authorized real power rating, as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1;

- the operator of an aggregated generating facility that is:

- directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW;

- within a power plant or industrial complex which:

- is directly connected to the bulk electric system; and

- has a combined maximum authorized real power rating greater than 67.5 MW;

- a blackstart resource; or

- material to this reliability standard and to the reliability of the bulk electric system, regardless of maximum authorized real power rating, as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1.

# Compliance Assessment

## R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each operator of a generating unit and operator of an aggregated generating facility must, upon failure of any component of a protection system of a generating unit or an aggregated generating facility which it operates, take the actions listed in requirement R1.1 and R1.2. MR1 Evidence of notifying, providing information and correcting failures of any component of a protection system as required in requirement R1 exists. Evidence may include, but is not limited to: | AR1 Please provide: - a list containing all failures that qualify under requirement R1 during the audit period, or, if during the audit period there were no such failures, an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc. | [Click and edit to enter description for AR1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR1(i). | [For AESO use only] |
| R1.1 Notify the operator of a transmission facility to which the generating unit or aggregated generating facility is connected as soon as possible, but no longer than twenty-four (24) hours after becoming aware of such a failure, and provide the following information, regardless of whether or not the generating unit or aggregated generating facility remains on-line: - identify the protection system that failed; and (b) identify whether or not a functionally equivalent protection system remains in service. MR1.1 voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence; and | AR1.1 Please provide: - evidence, such as incident reports or event logs, showing the time and date of the failure, a brief description and, the time and date of becoming aware of the failure, for each failure identified at AR1(i). | [Click and edit to enter description for AR1.1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR1.1(i). | [For AESO use only] |
|  | - evidence, such as voice recordings, operator logs, electronic notifications (emails), demonstrating that your entity notified the entities and provided the information in accordance to R1.1, for each failure identified at AR1(i). | [Click and edit to enter description for AR1.1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(i), AR1.1(i) and AR1.1(ii) evidence to determine whether the notifications were sent to the entities within twenty-four (24) hours of becoming aware of each failure. Review the AR1(i) and AR1.1(ii) evidence to determine whether the notification(s) provided information of the protection system that failed and whether or not a functionally equivalent protection system remained in service for each failure. | [For AESO use only] |
| R1.2 Correct the failure as soon as possible. MR1.2 work orders, setting change files, electronic records or other equivalent evidence. | AR1.2 Please provide: - evidence, such as work orders, setting change files, and electronic records, demonstrating that each failure identified at AR1(i) has been corrected; if any of the corrective actions has not been completed, please provide the corrective action plan. | [Click and edit to enter description for AR1.2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(i) and AR1.2(i) evidence to determine whether the failure has been corrected or is in the process of being corrected as soon as possible. | [For AESO use only] |
|  | or any other equivalent evidence demonstrating compliance with the requirement R1. | [Click and edit to embed file or link to evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility must take the actions listed in requirements R2.1 through R2.3 after becoming aware of the failure of any of the following protection systems or teleprotection communication channels under its authority: - a protection system, other than a related teleprotection communication channel referred to in requirement R2(c) or R2(d), that protects a transmission facility greater than 200 kV, whether or not a functionally equivalent protection system remains in service; - a protection system, other than a related teleprotection communication channel referred to in requirement R2(c) or R2(d), that protects a transmission facility that is part of the bulk electric system where a functionally equivalent protection system is not available; - a teleprotection communication channel, that is part of a protection system for a transmission facility operated at a nominal voltage greater than 200 kV, where there is an equivalent backup teleprotection communication channel, and where the failure lasts for more than twenty-four (24) continuous hours; or - a teleprotection communication channel(s), where there is no equivalent backup teleprotection communication channel, and where the failure lasts for more than ten (10) consecutive minutes. MR2 Evidence of providing notification, providing an estimate and correcting failures of any of the protection systems or teleprotection communication channel(s) as required in requirement R2 exists. Evidence may include, but is not limited to: | - AR2 Please provide: - a list containing all failures that qualify under requirement R2 during the audit period, or, if during the audit period there were no such failures, an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc. | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR2(i). | [For AESO use only] |
| R2.1 Provide notification to the ISO, and to each directly affected operator of a transmission facility, directly affected operator of a generating unit, directly affected operator of an aggregated generating facility and directly affected interconnected transmission operator as soon as possible, but no longer than twenty-four (24) hours after becoming aware of a failure identified in requirements R2(a), R2(b) and R2(d), and no longer than forty-eight (48) hours after becoming aware of a failure identified in requirement R2(c), regardless of whether or not the transmission facility is removed from service following the awareness of such failure, that includes the following information: - the identification of the protection system or teleprotection communication channel(s) that failed; - when the protection system or teleprotection communication channel(s) failed or when such failure was first discovered; and - an estimate of the date when the protection system or teleprotection communication channel(s) will be returned to service. MR2.1 voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence; | AR2.1 Please provide: - evidence, such as incident reports or event logs, showing the time and date of the failure, a brief description and, the time and date of becoming aware of the failure, for each failure identified at AR2(i). | [Click and edit to enter description for AR2.1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR2.1(i). | [For AESO use only] |
|  | - evidence, such as voice recordings, operator logs, electronic notifications (emails), demonstrating that your entity notified the entities and provided the information in accordance to R2.1, for each failure identified at AR2(i). | [Click and edit to enter description for AR2.1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR2(i), AR2.1(i) and AR2.1(ii) evidence to determine whether notifications were sent to the appropriate entities within twenty-four (24) hours (R2(a), R2(b) and R2(d)) or forty-eight (48) hours (R2(d)) of becoming aware of each failure. Review the AR2(i) and AR2.1(ii) evidence to determine whether the notifications identified the following: - the protection system or teleprotection communication channel(s) that failed; - when the protection system or teleprotection communication channel(s) failed or when such failure was first discovered; and - an estimate of the date when the protection system or teleprotection communication channel(s) will be returned to service. | [For AESO use only] |
| R2.2 Where the protection system or teleprotection communication channel(s) are not returned to service by the estimated return to service date identified in requirement R2.1, provide a new estimate of the return to service date up to five (5) days after the previous estimated return to service date to the entities that received the notification in accordance with requirement R2.1. MR2.2 voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence; and | AR2.2 Please provide: - evidence, such as operator logs, phone records, electronic notification or other notification, as required in R2.2. | [Click and edit to enter description for AR2.2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR2.1(ii) and AR2.2(i) to determine whether a new estimate of return to service was provided up to five (5) days after the previous estimated return to service date to all appropriate entities. | [For AESO use only] |
| R2.3 Correct the failure as soon as possible. MR2.3 work orders, setting change files, electronic records or other equivalent evidence. | AR2.3 Please provide: - evidence, such as work orders, setting change files, electronic records or other equivalent evidence, as required in R2.3 for each failures identified at AR2(i); if any of the corrective actions has not been completed, please provide the corrective action plan; | [Click and edit to enter description for AR2.3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR2(i) and AR2.3(i) evidence to determine whether the failure has been corrected or is in the process of being corrected as soon as possible. | [For AESO use only] |
|  | or any other equivalent evidence demonstrating compliance with the requirement R2. | [Click and edit to embed file or link to evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

## R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 Each legal owner of a generating unit and legal owner of an aggregated generating facility must coordinate all new protection systems and all protection system changes with each affected interconnecting legal owner of a transmission facility and notify the ISO that such coordination has occurred. MR3 Evidence of coordinating protection systems and notifying the ISO as required in requirement R3 exists. Evidence of coordinating protection systems may include, but is not limited to, a fault analysis study, letters of agreement on settings, notifications of changes or other equivalent evidence. Evidence of notifying the ISO may include, but is not limited to, electronic notifications (emails), hard copy notifications, or other equivalent evidence. | AR3 Please provide: - a list of all new protection systems and all protection system changes implemented during the audit period; or, if during the audit period there were no new protection systems or protection systems changes, an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc. | [Click and edit to enter description for AR3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR3(i) | [For AESO use only] |
|  | - evidence, such as fault analysis study, letters of agreements on settings or notification of changes, demonstrating that your entity coordinated all new protection systems and all protection system changes with each affected interconnecting legal owner of a transmission facility for each entry identified at AR3(i). | [Click and edit to enter description for AR3(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR3(i) and AR3(ii) to determine whether appropriate coordination has occurred. | [For AESO use only] |
|  | - evidence, such as electronic notifications (emails) or hard copy notifications, demonstrating that your entity notified the ISO on the coordination of all new protection systems and all protection system changes with each affected interconnecting legal owner of a transmission facility for each entry identified at AR3(i). | [Click and edit to enter description for AR3(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR3(i) and AR3(iii) to determine whether the ISO was notified of coordination. | [For AESO use only] |
|  | or any other equivalent evidence demonstrating compliance with the requirement R3. | [Click and edit to embed file or link to evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R4 Each legal owner of a transmission facility must coordinate all new protection systems and all protection system changes with: - each affected adjacent legal owner of a transmission facility; - each affected legal owner of a generating unit; - each affected legal owner of an aggregated generating facility; - each affected interconnected transmission operator ; and - the ISO, as affected, and must notify the ISO that such coordination has occurred. MR4 Evidence of coordinating protection systems and notifying the ISO as required in requirement R4 exists. Evidence of coordinating protection systems may include, but is not limited to, a fault analysis study, letters of agreement on settings, notifications of changes or other equivalent evidence. Evidence of notifying the ISO may include, but is not limited to, electronic notifications (emails), hard copy notifications or other equivalent evidence. | AR4 Please provide: - a list of all new protection systems and all protection system changes implemented during the audit period; or, if during the audit period there were no new protection systems or protection systems changes, an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc. | [Click and edit to enter description for AR4(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR4(i) | [For AESO use only] |
|  | - evidence, such as a fault analysis study, letters of agreement on settings or notifications of changes, demonstrating that your entity coordinated all new protection systems and all protection system changes as per R4, for each entry identified at AR4(i). | [Click and edit to enter description for AR4(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR4(i) and AR4(ii) to determine whether appropriate coordination has occurred. | [For AESO use only] |
|  | - evidence, such as electronic notifications (emails) or hard copy notifications, demonstrating that your entity notified the ISO on the coordination of all new protection systems and all protection system changes as per R4, for each entry identified at AR4(i). | [Click and edit to enter description for AR4(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR4(i) and AR4(iii) to determine whether the ISO was notified of coordination. | [For AESO use only] |
|  | or any other equivalent evidence demonstrating compliance with the requirement R4. | [Click and edit to embed file or link to evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

## R5

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R5 Each operator of a generating unit, operator of an aggregated generating facility and operator of a transmission facility must identify, notify and coordinate planned changes that may require changes in the protection systems of others as described in requirements R5.1 and R5.2. MR5 Measures for this requirement are identified in the subsections below: | AR5 Please provide: - a list of all changes that qualify under R5 during the audit period, or, if no such changes have been identified, an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc. | [Click and edit to enter description for AR5(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR5(i) | [For AESO use only] |
| R5.1 Each operator of a generating unit and operator of an aggregated generating facility must identify planned changes to its generation, load, or operating conditions that may require changes to the protection systems of others, and must notify the ISO and coordinate with each affected operator of a transmission facility in advance of making such changes. MR5.1 Evidence of identifying, notifying and coordinating planned changes that may require changes to the protection systems of others as required in requirement R5.1 exists. Evidence may include, but is not limited, to voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence | AR5.1 Please provide: - evidence, such us to voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence, demonstrating coordination and notification in accordance to R5.1 for each planned change as identified at AR5(i). | [Click and edit to enter description for AR5(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR5.1(i) and AR5.1(i) to determine whether appropriate coordination and notifications has occurred. | [For AESO use only] |
| R5.2 Each operator of a transmission facility must identify planned changes to its transmission, load or operating conditions that may require changes to the protection systems of others, and must notify the ISO and coordinate with each affected: - operator of a transmission facility; - adjacent interconnected transmission operator; - operator of a generating unit; and - operator of an aggregated generating facility, in advance of making such changes. MR5.2 Evidence of identifying, notifying and coordinating planned changes that may require changes to the protection systems of others as required in requirement R5.2 exists. Evidence may include, but is not limited to, voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence. | AR5.2 Please provide: - evidence, such us to voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence, demonstrating coordination and notification in accordance to R5.2 for each planned change as identified at AR5(i). | [Click and edit to enter description for AR5(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR5.2(i) and AR5.2(i) to determine whether appropriate coordination and notifications has occurred. | [For AESO use only] |
|  | or any other equivalent evidence demonstrating compliance with the requirement R5. | [Click and edit to embed file or link to evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

## R6

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R6 Each operator of a transmission facility must monitor the status (on/off) of each remedial action scheme in its area, and must notify the ISO and each affected: - operator of a transmission facility; - adjacent interconnected transmission operator; - operator of a generating unit; and - operator of an aggregated generating facility, of each change in status. MR6 Evidence of monitoring the status of each remedial action scheme in its area and notifying entities of each change in status as required in requirement R6 exists. Evidence of monitoring the status of each remedial action scheme may include, but is not limited to, SCADA data, wiring diagrams or other equivalent evidence. Evidence of notifying entities may include, but is not limited to, SCADA data, voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence. | AR6 Please provide: - a list of all remedial action scheme in the entity’s area that existed within the audit period; the list should include all those remedial action scheme identified in the ISO remedial action scheme database (which is published on the ISO website) that the entity owns (entirely or a portion of the remedial action scheme). | [Click and edit to enter description for AR6(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the list provided at AR6(i) against the ISO RAS database. | [For AESO use only] |
|  | - evidence (e.g. SCADA data, alarms, procedures, etc.) to demonstrate monitoring of the status of each remedial action scheme in its area. | [Click and edit to enter description for AR6(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR6(i) and AR6(ii) to determine whether all remedial action schemes were monitored. | [For AESO use only] |
|  | - a list of the changes in remedial action scheme status which occurred during the audit period; or, if no such changes occurred, provide an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc.; | [Click and edit to enter description for AR6(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR6(iii). | [For AESO use only] |
|  | - evidence of notification, such as operator logs or voice recordings, of each change in remedial action scheme status which occurred during the audit period. | [Click and edit to enter description for AR6(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence provided at AR6(iii) and AR6(iv) to determine whether the notification of change of status was issued to the entities. | [For AESO use only] |
|  | or any other equivalent evidence demonstrating compliance with the requirement R6. | [Click and edit to embed file or link to evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Alberta Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with the Alberta Reliability Standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the applicable Alberta Reliability Standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | October 17, 2017 | Initial version of Worksheet |
| 2.0 | March 3, 2020 | Revised content related to attestation letters |