PRC-004-AB2-1

Analysis and Mitigation of Transmission and Generation Protection System Misoperation

Effective Date: 2019-04-01

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |

## Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

- the legal owner of a transmission facility;

(b)  the legal owner of a generating unit that:

(i) is not part of an aggregated generating facility;

(ii) has a maximum authorized real power rating greater than 4.5 MW;

(iii) is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat; and

(iv) has protection systems that directly affect the reliability of the bulk electric system;

(c)  the legal owner of an aggregated generating facility that:

(i) is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat;

(ii) has a maximum authorized real power rating greater than 4.5 MW; and

(iii) has protection systems that directly affect the reliability of the bulk electric system; and

(d)  the ISO.

# Compliance Assessment

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| # R1 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must analyze misoperations of its protection systems affecting the reliability of the bulk electric system, and develop and implement a corrective action plan to avoid future misoperations of a similar nature. MR1 Evidence of analyzing misoperations, and developing and implementing a corrective action plan as required in requirement R1 exists. Evidence may include reports that include analysis and corrective action plans, emails, work orders, or other equivalent evidence. | AR1 Please provide: A list of misoperations as specified in R1 which occurred during the audit period; for each misoperation, identify the following information: - date and time of the event; - the protection system that misoperated; - the bulk electric system element(s) affected (i.e. protected elements and/or elements that were removed from service); or, if no misoperations as specified in R1 occurred during the audit period, an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc.; | [Click and edit to enter description for AR1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(i) evidence provided for appropriateness and completeness. Review the attestation letters (if any) for correctness and completeness. | [For AESO use only] |
|  | Evidence of analysis for each misoperation identified in AR1(i), including the root cause of the misoperation; | [Click and edit to enter description for AR1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(ii) evidence to determine whether the misoperations identified in AR1(i) were analyzed. | [For AESO use only] |
|  | The corrective action plan(s), including corrective actions and target completion dates, for each misoperation identified in AR1(i). If any corrective action plans are in the process of being developed, please provide details, including the estimated completion date; | [Click and edit to enter description for AR1(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(iii) evidence to determine whether corrective action plans for misoperations identified in AR1(i) were developed to avoid future misoperations of a similar nature. | [For AESO use only] |
|  | Evidence that the corrective action plan(s) were implemented or are in the process of being implemented; | [Click and edit to enter description for AR1(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1(iv) evidence to determine whether corrective action plans for misoperations identified in AR1(i) were implemented or are in the process of being implemented. | [For AESO use only] |
|  | A description of or the process(es) used to determine misoperations as specified in R1; | [Click and edit to enter description for AR1(v) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR1 (v) evidence for appropriateness. | [For AESO use only] |
|  | or any other evidence to demonstrate compliance to R1. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] | Review any additional evidence provided. | [For AESO use only] |
| Findings |  |  |  |  |  |
| [For AESO use only] |  |  |  |  |  |

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must provide to the ISO documentation of its misoperations analyses and corrective action plans upon request by the ISO. MR2 Evidence of providing to the ISO documentation of misoperations analyses and corrective action plans as required in requirement R2 exists. Evidence may include emails, dated correspondence, or other equivalent evidence. | AR2 Please provide: - The list of ISO requests received during the audit period as described in R2; - or, if no ISO requests were received, an attestation letter to this effect; | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR2 (i) evidence for completeness. Review the attestation letters (if any) for correctness and completeness. | [For AESO use only] |
|  | - Evidence of documented analyses and corrective action plans submitted to the ISO for each request received; | [Click and edit to enter description for AR2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR2 (ii) evidence to determine whether the misoperations analyses and the corrective action plans were submitted in accordance to the ISO request. | [For AESO use only] |
|  | or any other evidence to demonstrate compliance to R2. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] | Review any additional evidence provided. | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | February 8, 2019 | Initial version of Worksheet |
| 2.0 | March 3, 2020 | Revised content related to attestation letters |