PRC-004-WECC-AB1-1

Protection System and Remedial Action Scheme Misoperation

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |
| R3 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

(a)	the legal owner of a transmission facility that is the legal owner of a WECC major transmission path facility or RAS listed in the tables titled “Major WECC Transfer Paths in the Bulk Electric System” and “Major WECC Remedial Action Schemes (RAS)” as provided by the WECC;

(b)	the operator of a transmission facility that operates a WECC major transmission path facility or RAS listed in the tables titled “Major WECC Transfer Paths in the Bulk Electric System” and “Major WECC Remedial Action Schemes (RAS)” as provided by the WECC;

(c)	the legal owner of a generating unit that owns components of RASs listed in the table titled “Major WECC Remedial Action Schemes (RAS)” as provided by the WECC;

(d)	the legal owner of an aggregated generating facility that owns components of RASs listed in the table titled “Major WECC Remedial Action Schemes (RAS)” as provided by the WECC;

(e)	the operator of a generating unit that operates RASs listed in the table titled “Major WECC Remedial Action Schemes (RAS)” as provided by the WECC;

(f)	the operator of an aggregated generating facility that operates RASs listed in the table titled “Major WECC Remedial Action Schemes (RAS)” as provided by the WECC; and

(g)	the ISO.

# Compliance Assessment

# R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each legal owner of a transmission facility, legal owner of a generating unit, legal owner of an aggregated generating facility, operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility must ensure that its system operators and protection personnel analyze all protection system and RAS operations as follows: MR1 Measures for this requirement are identified in the subsections below. | - AR1 Please provide: | [Click and edit to enter description for AR1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the list provided at AR1(i) for appropriateness. | [For AESO use only] |
|  | (i) a list of all applicable transmission system elements and RAS under the purview of this reliability standard throughout the audit period; |  |  |  |  |
|  | (ii) a list of all trippings of transmission system elements and RAS operations during the audit period; or if no trippings occurred during the audit period, an attestation letter to this effect; | [Click and edit to enter description for AR1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the list provided at AR1(ii) for appropriateness. - Review attestation letters, if any, for appropriateness. | [For AESO use only] |
|  | (iii) a list of all misoperations that were identified during the audit period; this list should include the date and time of each misoperation and the date and time when each misoperation was identified. or if no misoperations were identified throughout the audit period, an attestation letter to this effect. | [Click and edit to enter description for AR1(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the list provided at AR1(iii) for appropriateness. Review attestation letters, if any, for appropriateness. | [For AESO use only] |
| R1.1 Each operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility must review all tripping of transmission system elements and RAS operations to identify apparent misoperations within 24 hours. MR1.1 Documentation exists that confirms a review was completed within the timelines as specified in requirement R1.1. | - AR1.1 Please provide:” evidence of the transmission system elements tripping reviews for identification of the apparent misoperation, including the date and time when this review was completed. | [Click and edit to enter description for AR1.1 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR1.1 evidence to determine whether the reviews were completed and the apparent misoperations, if any, were identified within 24 hours. | [For AESO use only] |
| R1.2 Protection personnel of the legal owner of a transmission facility, the legal owner of a generating unit and the legal owner of an aggregated generating facility must analyze all operations of protection systems and RAS within 20 business days of the operation of either such system or RAS to determine whether a misoperation has occurred. MR1.2 Documentation exists that confirms an analysis was completed and in the timelines as specified in requirement R1.2. | - AR1.2 Please provide: | [Click and edit to enter description for AR1.2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR1.2 evidence to determine whether the protection personnel completed the analyses to determine whether a misoperation occurred, within 20 business days of each operation. | [For AESO use only] |
|  | (i) evidence to demonstrate that analyses of all operations of protection systems and RAS were performed to determine whether misoperations occurred; this evidence should include the date when the analyses were completed; and |  |  |  |  |
|  | (ii) evidence to demonstrate that the analyses to determine whether misoperations occurred were performed by protection personnel. | [Click and edit to enter description for AR1.2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

# R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must perform the actions listed in requirements R2.1 to R2.4 inclusive for each misoperation of the protection system or RAS, subject to the following: Requirements R2.1 to R2.4 inclusive do not apply to protection system and/or RAS operations that appear to have operated correctly at the time of occurrence. If the legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility later finds through system protection personnel analysis that the protection system or RAS misoperated, the requirements of R2.1 to R2.4 inclusive become applicable at the time the legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility identifies the misoperation. Table 1 is provided as a simplified summary of the requirements in R2.1 to R2.4 inclusive. MR2 Measures for this requirement are identified in the subsections below. | - AR2 Please provide the number of FEPS and FERAS in service for each protection system or RAS on the list of system elements provided at AR1(i). | [Click and edit to enter description for AR2 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR1(i) list and the AR2 provided information to determine whether the number of FEPS and FERAS in service at system normal were clearly identified. | [For AESO use only] |
| R2.1 If the protection system or RAS has a security-based misoperation and two or more FEPS or FERAS remain in service to ensure BES reliability, the legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility must remove from service the protection system or RAS that misoperated, within 22 hours following the identification of the misoperation. Repair or replacement of the failed protection system or RAS is at the discretion of the legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility. MR2.1 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.1. | - AR2.1 Please provide: | [Click and edit to enter description for AR2.1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.1(i) information to determine whether it includes the type of each AR1(iii) identified misoperation. | [For AESO use only] |
|  | (i) the type of each misoperation (security-based or dependability-based) identified on the list of misoperations provided at AR1(iii); |  |  |  |  |
|  | (ii) the number of FEPS and FERAS that remained in service for each misoperation on the list provided in AR1(iii); | [Click and edit to enter description for AR2.1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.1(ii) information to determine whether instances where two or more FEPS or FERAS remained in service exist. | [For AESO use only] |
|  | (iii) evidence showing the date and time when the protection system or RAS that had a security-based misoperation has been removed from service. | [Click and edit to enter description for AR2.1(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.1(iii) evidence to determine whether the protection system or RAS that misoperated was removed from service within 22 hours following the identification of the security-based misoperation, for each instance where two or more FEPS or FERAS remained in service. | [For AESO use only] |
| R2.2 If the protection system or RAS has a security-based misoperation and only one FEPS or FERAS remains in service to ensure BES reliability, the legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility responsible for the protection system or RAS, as the case may be, must perform the following: MR2.2 Measures for this requirement are identified in the subsections below. | - AR2.2 - Intentionally left blank. | Intentionally left blank. | Intentionally left blank. | - Intentionally left blank. | Intentionally left blank. |
| R2.2.1 Remove from service, within 22 hours for repair or modification, the protection system or RAS that misoperated. MR2.2.1 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.2.1. | - AR2.2.1 - Intentionally left blank. |  |  | - Review the AR2.1(iii) evidence to determine whether the protection system or RAS that misoperated was removed from service within 22 hours following the identification of the security-based misoperation, for each instance where only one FEPS or FERAS remained in service. | [For AESO use only] |
| R2.2.2 Repair or replace any protection system or RAS that misoperated with a FEPS or FERAS within 20 business days of the date of removal. MR2.2.2 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.2.2. | - AR2.2.2 Please provide evidence that the protection system or RAS that misoperated has been repaired or replaced, including the date and time when this was completed. | [Click and edit to enter description for AR2.2.2 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.2.2 evidence to determine whether the protection system or RAS that had a security-based misoperation with only one FEPS or FERAS remaining in service has been replaced or repaired within 20 business days of the date of removal. | [For AESO use only] |
| R2.2.3 Remove the system element from service or disable the RAS if repair or replacement is not completed within 20 business days. MR2.2.3 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.2.3. | - AR2.2.3 Please provide evidence that the system element was removed from service or RAS disabled, for any situation in which the protection system or RAS that misoperated and was removed from service was not replaced or repaired within 20 business days of its removal from service; this evidence should include the date and time when the system element was removed from service or RAS disabled. | [Click and edit to enter description for AR2.2.3 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.2.3 evidence to determine whether the protected system element was removed from service in case the protection system or RAS that misoperated was not repaired or replaced within 20 business days of the date of its removal. | [For AESO use only] |
| R2.3 If the protection system or RAS has a security-based or dependability-based misoperation and a FEPS or FERAS is not in service to ensure BES reliability, the legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility responsible for the protection system or RAS, as the case may be, must repair and place back in service within 22 hours the protection system or RAS that misoperated. If this cannot be done, the responsible legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility must perform the following: MR2.3 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.3. | - AR2.3 Please provide evidence that the protection system or RAS that misoperated has been repaired and placed back in service, including the date and time when the that the protection system or RAS was back in service. | [Click and edit to enter description for AR2.3 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.3 evidence to determine whether the protection system or RAS that misoperated has been repaired and placed back in service within 22 hours of its misoperation‘s identification, if no FEPS or FERAS remained in service after misoperation. | [For AESO use only] |
| R2.3.1 When a FEPS is not available, remove the associated system element from service. MR2.3.1 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.3.1. | - AR2.3.1 Please provide evidence that the associated system element was removed from service, for any situation in which the protection system misoperated with no FEPS remaining in service; this evidence should include the date and time when the associated system element was removed from service. | [Click and edit to enter description for AR2.3.1 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.3.1 evidence to determine whether the associated system element was removed from service in case the protection system or RAS that misoperated was not repaired and place back in service within 22 hours of misoperation’s identification. | [For AESO use only] |
| R2.3.2 When FERAS is not available, meet one of the following requirements: MR2.3.2 When FERAS is not available, meet one of the following requirements: | - AR2.3.2 For any situation in which a RAS misoperated with no FERAS remaining in service, please provide: |  |  |  |  |
| R2.3.2.1 If the responsible entity is a legal owner of a generating unit or legal owner of an aggregated generating facility, it must advise the ISO, and the operator of a generating unit or operator of an aggregated generating facility must adjust generation to a reliable operating level as directed by the ISO. MR2.3.2.1 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.3.2.1. | - AR2.3.2.1 (i) evidence of advising the ISO, if applicable; (ii) the ISO directives, if any; (iii) evidence of adjusting generation as directed by the ISO, if applicable. | [Click and edit to enter description for AR2.3.2.1(i), (ii), & (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the evidence to verify the required actions met R2.3.2.1. | [For AESO use only] |
| R2.3.2.2 If the responsible entity is a legal owner of a transmission facility, it must advise the ISO, and the operator of a transmission facility must operate the facilities within the adjusted SOL as determined and directed by the ISO. MR2.3.2.2 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.3.2.2. | - AR2.3.2.2 (i) evidence of advising the ISO, if applicable; (ii) the ISO directives, if any; (iii) evidence of operating to the adjusted SOL as determined and directed by the ISO, if applicable. | [Click and edit to enter description for AR2.3.2.2 (i), (ii) & (iii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the evidence to verify the required actions met R2.3.2.2. | [For AESO use only] |
| R2.4 If the protection system or RAS has a dependability-based misoperation, but has one or more FEPS or FERAS that operated correctly, the associated system element or transmission path may remain in service without removing from service the protection system or RAS that failed, provided one of the following is performed: MR2.4 Measures for this requirement are identified in the subsections below | - AR2.4 Please provide: | [Click and edit to enter description for AR2.4 submitted evidence, if any] | [Click and edit to embed file or link to evidence] | - Review the AR2.4 evidence for appropriateness. | [For AESO use only] |
|  | - (i) the list of dependability-based misoperations where one or more FEPS or FERAS operated correctly and the associated system element or transmission path remained in service without removing from service the protection system or RAS that failed to operate; - (ii) evidence showing the date and time when the misoperation has been identified, for all AR2.4(i) events; and |  |  |  |  |
| R2.4.1 The legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility must repair or replace any protection system or RAS that misoperated with FEPS and FERAS within 20 business days of the date of the misoperation identification, or MR2.4.1 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.4.1. | (iii) evidence that the protection system or RAS that misoperated has been repaired or replaced, including the date and time when this was completed; or | [Click and edit to enter description for AR2.4.1(i) & (ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.4(ii) and AR2.4(iii) evidence to determine whether the protection system or RAS that misoperated has been repaired and replaced within 20 business days of its misoperation being identified. | [For AESO use only] |
| R2.4.2 The legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility must remove from service the associated system element or RAS. MR2.4.2 Evidence exists and shows that required actions were taken in the timelines as specified in requirement R2.4.2. | (iv) evidence that the associated system element has been removed from service showing the time and date when the associated system element or RAS has been removed from service, if a repair or replacement could not be performed within 20 business days of its misoperation being identified. | [Click and edit to enter description for AR2.4.2 submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR2.4(ii) and AR2.4(iv) evidence to determine whether the associated system element or RAS has been removed from service within 20 business days of misoperation being identified. | [For AESO use only] |

Findings

[For AESO use only]

# R3

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R3 The legal owner of a transmission facility, legal owner of a generating unit or legal owner of an aggregated generating facility must submit a misoperation incident report to the ISO within six business days of identifying the misoperation for the following: MR3 Misoperation incident report is submitted within timelines as specified in requirement R3. | - AR3 Please provide: |  |  |  |  |
|  | (i) evidence that misoperation incident reports were completed and submitted to the ISO; the evidence should identify the date of misoperation, the date when the misoperation was identified, the date of report’s completion, and the date when the report was submitted to the ISO; and | [Click and edit to enter description for AR3(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR3(i) evidence to determine whether the misoperation incident report was sent to the ISO within six business days of identifying the misoperation. | [For AESO use only] |
| R3.1 Identification of a misoperation of a protection system and/or RAS. MR3.1 Misoperation incident report contains content as specified in requirement R3.1. | - (ii) the misoperation incident reports submitted to the ISO. | [Click and edit to enter description for AR3(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the AR3(ii) evidence to determine whether the misoperation incident report identified a misoperation of a protection system and/or RAS. - Review the AR3(ii) evidence to determine whether the misoperation incident report included information about completion of repairs or the replacement of the protection system and/or RAS that misoperated. | [For AESO use only] |
| R3.2 Completion of repairs or the replacement of the protection system and/or RAS that misoperated. M3.2 Misoperation incident report contains content as specified in requirements R3.2. |  |  |  |  |  |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | November 13, 2012 | Initial version of the audit worksheet |
| 1.1 | May 30, 2013 | Removal of requirements applicable to the ISO |
| 2.0 | December 17, 2015 | Revised template and content |
| 2.1 | January 10, 2017 | Replaced the term “element” with the term system element which has been defined in the AESO Glossary and included in the AB1 version of this standard. |