# PRC-006-AB-3

# Automatic Underfrequency Load Shedding

# Standard Effective Date: January 01, 2022

## Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |
| --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |
| Suspected Non-Compliance to the standard? | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5]. |
| Date of Completion | [Use YYYY-MM-DD format] |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

R8	[Summary of Findings]

R9	[Summary of Findings]

R10	[Summary of Findings]

## Contact Information

| Audited Entity |  |
| --- | --- |
| Compliance Primary | Name: Title: Phone: Email: |
| Subject Matter Expert | Name: Title: Phone: Email: |

| AESO Team |  |
| --- | --- |
| Lead Auditor | Name: Title: Phone: Email: |
| Auditor | Name: Title: Phone: Email: |
| Compliance Manager | Name: Title: Phone: Email: |
| Standard Owner | Name: Title: Phone: Email: |

## Applicability

This reliability standard applies to:

- the legal owner of a transmission facility that has responsibility in an underfrequency load shedding program the ISO establishes;

- the legal owner of an electric distribution system that has responsibility in an underfrequency load shedding program the ISO establishes;

- a market participant receiving service under Rate DTS of the ISO tariff that has responsibility in an underfrequency load shedding program the ISO establishes; and

- the ISO.

Entities identified in item (a), (b) and (c) above are collectively referred to as “UFLS entities” in this reliability standard. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly.

## Compliance Assessment

| Requirement and Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R8 Each legal owner of a transmission facility, legal owner of an electric distribution system and market participant receiving service under Rate DTS of the ISO tariff must provide data to support maintenance of the underfrequency load shedding program, to the ISO according to the schedule the ISO specifies. MR8 Evidence of providing data to the ISO as required in requirement R8 exists. Evidence may include responses to data requests, spreadsheets, letters or other dated documentation or other equivalent evidence. | AR1 Please provide: - a list of the ISO requests and the associated notification of each request for the provision of data to support maintenance of the underfrequency load shedding program, including the date of each request and the delivery schedule that the ISO specified. | Provide descriptions for AR1 (i) submitted evidence: | Embed file or link to evidence | Review the evidence submitted at AR1(i) for completeness. | For AESO use only |
|  | - evidence of submission of the requested data for each ISO request, including the date when the data has been submitted; | Provide descriptions for AR1 (ii) submitted evidence: | Embed file or link to evidence | Review the evidence provided at AR1(ii) to determine whether the data was provided within the delivery schedule that the ISO specified for each request. | For AESO use only |
|  | or any other evidence to demonstrate compliance with R8. | Provide descriptions for other submitted evidence | Embed file or link to evidence |  | For AESO use only |
| Findings |  |  |  |  |  |
| For AESO use only |  |  |  |  |  |

| Requirement and Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R9 Each legal owner of a transmission facility, legal owner of an electric distribution system and market participant receiving service under Rate DTS of the ISO tariff must provide, as the ISO determines, automatic tripping of load in accordance with the underfrequency load shedding program design, and schedule for implementation, including any corrective action plan. MR9 Evidence of providing automatic tripping of load as required in requirement R9 exists. Evidence may include: - spreadsheets summarizing feeder load armed with underfrequency load shedding relays; - the relay settings and implementation date; - schedules for implementation of the underfrequency load shedding program or any required corrective action plan; or - other equivalent evidence. | AR9 Please provide: - Evidence of providing automatic tripping of load as required in requirement R9. Evidence may include: - spreadsheets summarizing feeder load armed with underfrequency load shedding relays; - the relay settings and implementation date; - schedules for implementation of the underfrequency load shedding program or any required corrective action plan; or - other equivalent evidence. | Provide descriptions for AR9 (i) submitted evidence | Embed file or link to evidence | Review the evidence submitted at AR9(i) against the AESO’s underfrequency load shedding program design including schedule for implementation for completeness. | For AESO use only |
|  | and/or, Provide the corrective action plan(s) for all failure(s) to provide, as the ISO determines, automatic tripping of load in accordance with the underfrequency load shedding program design, and schedule for implementation. |  |  | Review the submitted corrective action plan(s) and determine if every failure(s) to provide, as the ISO determines, automatic tripping of load in accordance with the underfrequency load shedding program design, and schedule for implementation has been addressed. | For AESO use only |
|  | or, if during the audit period there were no request from the AESO to provide automatic tripping of load in accordance with the AESO’s underfrequency load shedding program design, provide an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc. |  |  | Review attestation letters and the associated process. | For AESO use only |
|  | or any other evidence to demonstrate compliance with R9. | Provide descriptions for other submitted evidence | Embed file or link to evidence |  | For AESO use only |
| Findings |  |  |  |  |  |
| For AESO use only |  |  |  |  |  |

| Requirement and Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R10 Each legal owner of a transmission facility must provide, as the ISO determines, automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as a result of underfrequency load shedding if required by the underfrequency load shedding program and schedule for implementation, including any corrective action plan. MR10 Evidence of providing automatic switching of capacitor banks, transmission lines, and reactors as required in requirement R10 exists. Evidence may include: - relay settings and, in some cases, the tripping logic and the implementation date; - schedules for implementation of the underfrequency load shedding program or any required corrective action plan; or - other equivalent evidence. | AR10 Please provide: - Evidence of providing automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as required in requirement R10. Evidence may include: - relay settings and, in some cases, the tripping logic and the implementation date; - schedules for implementation of the underfrequency load shedding program or any required corrective action plan; or - other equivalent evidence. | Provide descriptions for AR10 (i) submitted evidence | Embed file or link to evidence | Review the evidence submitted at AR10(i) against the AESO’s underfrequency load shedding program design including schedule for implementation and (if applicable) any corrective action plan, for completeness. | For AESO use only |
|  | and/or, Provide the corrective action plan(s) for all failure(s) to provide, as the ISO determines, automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as a result of underfrequency load shedding if required by the underfrequency load shedding program and schedule for implementation. |  |  | Review the submitted corrective action plan(s) and determine if every failure(s) to provide, as the ISO determines, automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as a result of underfrequency load shedding if required by the underfrequency load shedding program and schedule has been addressed. |  |
|  | or, if during the audit period there were no request from the AESO to provide automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as a result of underfrequency load shedding in accordance with the AESO’s underfrequency load shedding program design, provide an attestation letter to this effect, including the description of the process on how the assertion was determined, e.g. the reviews made, procedures conducted, resources used etc. |  |  | Review attestation letter and the associated process. |  |
|  | or any other evidence to demonstrate compliance with R10. | Provide descriptions for other submitted evidence | Embed file or link to evidence |  | For AESO use only |
| Findings |  |  |  |  |  |
| For AESO use only |  |  |  |  |  |

## General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

## Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

## Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2021-10-18 | Initial version |