PRC-018-AB-1
Disturbance Monitoring Equipment Installation and Data Reporting

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R2 | [Summary of Findings] |
| --- | --- |
| R4 | [Summary of Findings] |
| R5 | [Summary of Findings] |
| R7 | [Summary of Findings] |
| R10 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

- the legal owner of a transmission facility that owns disturbance monitoring equipment as identified in the list of Disturbance Monitoring Equipment Locations as required in requirement R1, as published by the ISO on the AESO website and as amended from time to time by the ISO on notice to market participants;

- the legal owner of a generating unit that owns disturbance monitoring equipment as identified in the list of Disturbance Monitoring Equipment Locations as required in requirement R1, as published by the ISO on the AESO website and as amended from time to time by the ISO on notice to market participants;

- the legal owner of an aggregated generating facility that owns disturbance monitoring equipment as identified in the list of Disturbance Monitoring Equipment Locations as required in requirement R1, as published by the ISO on the AESO website and as amended from time to time by the ISO on notice to market participants; and

- the ISO.

# Compliance Assessment

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility that the ISO directs to install disturbance monitoring equipment must install such disturbance monitoring equipment with internal clocks synchronized to within two (2) milliseconds or less of the Universal Coordinated Time scale. MR2 Evidence of having internal clocks in the installed disturbance monitoring equipment synchronized as required in requirement R2 exists. Evidence may include: the manufacturer’s equipment specification, commissioning documents or GPS clock records that demonstrate each installed disturbance monitoring equipment’s internal clock is synchronized in accordance with R2. | - AR2 For all ISO directed disturbance monitoring equipment please provide: | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the submitted evidence to identify for each installed disturbance monitoring equipment: - type or model of the internal clock that might be internal oscillators, embedded GPS clock or equivalent device; - method of testing or validating the time synchronization on the internal clock and the result. Review the submitted evidence to verify whether the internal clock was synchronized to within two (2) milliseconds or less of the Universal Coordinated Time scale. | [For AESO use only] |
|  | (i) the manufacturer’s equipment specification; |  |  |  |  |
|  | (ii) commissioning documents; | [Click and edit to enter description for AR2(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
|  | (iii) GPS clock records; | [Click and edit to enter description for AR2(iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
|  | or any other evidence to demonstrate compliance with requirement R2. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

## R4

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R4 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must install disturbance monitoring equipment as directed by the ISO. MR4 Evidence of installing disturbance monitoring equipment as required in requirement R4 exists. Evidence may include documentation of the installation of the disturbance monitoring equipment. | - AR4 Please provide: | [Click and edit to enter description for AR4(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the ISO published list of disturbance monitoring equipment to determine whether all disturbance monitoring equipment were included in the list provided at AR4(i). Review the submitted evidence and for each disturbance monitoring equipment verify whether it was installed as per the ISO directive. | [For AESO use only] |
|  | (i) a list of all ISO directives to install disturbance monitoring equipment during the audit period; |  |  |  |  |
|  | (ii) procurement invoices or work orders for each disturbance monitoring equipment installed during the audit period; | [Click and edit to enter description for AR4(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
|  | (iii) commissioning records for each disturbance monitoring equipment installed during the audit period; | [Click and edit to enter description for AR4(iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
|  | or any other evidence to demonstrate compliance with requirement R4. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

## R5

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R5 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must report, within thirty (30) days of the ISO’s request, the following information on the disturbance monitoring equipment: R5.1 type of disturbance monitoring equipment; R5.2 make and model of disturbance monitoring equipment; R5.3 installation location; R5.4 operational status; R5.5 date last tested; R5.6 monitored system elements which may include transmission circuit and bus section; R5.7 monitored devices which may include circuit breaker, disconnect status and alarms; and R5.8 monitored electrical quantities, which may include voltage and current. MR5 Evidence of reporting information as required in requirement R5 exists. Evidence may include email or mail to the appropriate ISO recipient that identifies information submitted. | - AR5 Please provide: | [Click and edit to enter description for AR5(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR5 submitted evidence for each ISO request, to determine whether: (a) the information was provided to the appropriate ISO recipient within thirty (30) days of the ISO’s request; (b) the type of disturbance monitoring equipment was identified (R5.1); (c) the make and model of disturbance monitoring equipment was identified (R5.2); (d) the installation location of disturbance monitoring equipment was identified (R5.3); (e) the operational status of disturbance monitoring equipment was identified (R5.4); (f) the date last tested of disturbance monitoring equipment was identified (R5.5); (g) the monitored system elements of disturbance monitoring equipment were identified (R5.6); (h) the monitored devices of disturbance monitoring equipment were identified (R5.7); (i) the monitored electrical quantities of disturbance monitoring equipment were identified (R5.8). | [For AESO use only] |
|  | (i) a list with all the ISO requests under requirement R5 during the audit period, including the date of each request; or, if there were no such requests, an attestation letter to this effect; |  |  |  |  |
|  | (ii) email or mail responding to each ISO request under R5, including the date of the response and any attachments; | [Click and edit to enter description for AR5(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
|  | or any other evidence to demonstrate compliance with requirement R5. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

## R7

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R7 If the ISO is unable to directly access disturbance data, then each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must provide all available disturbance data recorded by disturbance monitoring equipment to the ISO within forty-five (45) days of the ISO’s written request. MR7 Evidence of providing data as required in requirement R7 exists. Evidence may include email or mail to the appropriate ISO recipient that identifies data submitted. | - AR7 Please provide: | [Click and edit to enter description for AR7(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR7 submitted evidence for each ISO written request, to determine whether: (a) the audited entity provided all available disturbance data information recorded by disturbance monitoring equipment to the appropriate ISO recipient within forty-five (45) days of the ISO’s request ; (b) the provided disturbance data met the ISO’s written request; (c) the audited entity provided supporting document. | [For AESO use only] |
|  | (i) a list with all ISO requests under requirement R7 during the audit period, including the date of each request; or if there were no such requests, an attestation letter to this effect; |  |  |  |  |
|  | (ii) emails or mails responding to each ISO’s written request made under R7 including the date of the response and any attachments; | [Click and edit to enter description for AR7(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |
|  | or any other evidence to demonstrate compliance with requirement R7. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] |  |  |

Findings

[For AESO use only]

## R10

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R10 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility that the ISO directs to have disturbance monitoring equipment must develop, implement and maintain a maintenance and testing program for disturbance monitoring equipment that includes: R10.1 maintenance and testing intervals and their basis; and R10.2 a summary of maintenance and testing procedures. MR10 Evidence of developing, implementing and maintaining a maintenance and testing program as required in requirement R10 exists. Evidence may include a documented maintenance and testing program, maintenance and testing records showing the test date, type of test, what was tested and test results. MR10.1 Evidence of developing, implementing and maintaining a maintenance and testing program as required in requirement R10.1 exists. Evidence may include a documented maintenance and testing program that includes the provision as required in requirement R10.1. MR10.2 Evidence of developing, implementing and maintaining a maintenance and testing program as required in requirement R10.2 exists. Evidence may include a documented maintenance and testing program that includes the provision as required in requirement R10.2. | - AR10 Please provide: | [Click and edit to enter description for AR10(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR10(i) submitted evidence and to determine whether the maintenance and testing program: (a) was in place throughout the audit period; (b) provided the maintenance and testing intervals and their basis, and (c) provided a summary of the maintenance and testing procedures. | [For AESO use only] |
|  | (i) the maintenance and testing program that was in place at the start date of the audit period and its subsequent revisions, if any, that were made within the audit period for each disturbance monitoring equipment; |  |  |  |  |
|  | (ii) records of maintenance and testing that were carried out during the audit period; | [Click and edit to enter description for AR10(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR10(ii) documentation to determine whether each record showed: (a) the test date; (b) the type of the test; (c) what was tested; (d) the test results; and (e) the maintenance or testing procedure. | [For AESO use only] |
|  | (iii) documentation of the last date of maintenance and testing. | [Click and edit to enter description for AR10(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the AR10(iii) provided documentation in conjunction with the AR10(i) maintenance and testing program to determine the date due for maintenance and testing, and verify whether the maintenance and testing were carried out in accordance with the maintenance and testing intervals and the procedures included in the program. | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Alberta Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with the Alberta Reliability Standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the applicable Alberta Reliability Standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | April 19, 2012 | Initial version of audit worksheet |
| 2.0 | February 13, 2013 | Changes made to support pilot project to use RSAW for evidence submission and to have a single format for published, assessment and evidence submission purposes. |
| 2.1 | May 28, 2013 | Formatting alignment with posted standard and removal of requirements applicable to the ISO. |
| 3.0 | December 17, 2015 | Revised format and content. |
| 3.1 | January 09, 2017 | Revised to replace the term “element” with the term system element, which has been defined in the AESO Glossary of Terms. |