# PRC-019-AB-2

# Coordination of Generating Unit or Plant Capabilities, Voltage Regulating Controls, and Protection

# Standard Effective Date: January 1, 2022

## Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |
| --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |
| Suspected Non-Compliance to the standard? | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2]. |
| Date of Completion | [Use YYYY-MM-DD format] |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

R1	[Summary of Findings]

R2	[Summary of Findings]

## Contact Information

| Audited Entity |  |
| --- | --- |
| Compliance Primary | Name: Title: Phone: Email: |
| Subject Matter Expert | Name: Title: Phone: Email: |

| AESO Team |  |
| --- | --- |
| Lead Auditor | Name: Title: Phone: Email: |
| Auditor | Name: Title: Phone: Email: |
| Compliance Manager | Name: Title: Phone: Email: |
| Standard Owner | Name: Title: Phone: Email: |

## Applicability

This reliability standard applies to:

- the legal owner of a transmission facility that owns a synchronous condenser greater than 20 MVA (gross nameplate rating) directly connected to the transmission system;

(b) the legal owner of a generating unit whose generating unit has a maximum authorized real power rating greater than 18 MW that is:

(i) directly connected to the transmission system;

(ii) directly connected to transmission facilities within the City of Medicine Hat; or

(iii) part of an industrial complex that is directly connected to the transmission system;

(c) the legal owner of a generating unit whose generating unit is within a power plant that has a combined maximum authorized real power rating greater than 67.5 MW and that:

(i) is not part of an aggregated generating facility; and

(ii) is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat;

(d) the legal owner of an aggregated generating facility that has a maximum authorized real power rating greater than 67.5 MW, where voltage regulating control for the facility is performed solely at the individual generating units of the aggregated generating facility, and the aggregated generating facility is:

(i) directly connected to the transmission system;

(ii) directly connected to transmission facilities within the City of Medicine Hat; or

(iii) part of an industrial complex that is directly connected to the transmission system;

(e) the legal owner of a generating unit whose generating unit is a blackstart resource; and

(f) the legal owner of a generating unit, the legal owner of a aggregated generating facility and the legal owner of a transmission facility whose resource is material to this reliability standard and to the reliability of either the interconnected electric system or the City of Medicine Hat electric system as the ISO determines and includes on a list published on the AESO website, which the ISO may amend from time to time in accordance with the process set out in Appendix 1.

## Compliance Assessment

| Requirement and Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must, by the effective date of this reliability standard and at a maximum of every 5 calendar years, coordinate the voltage regulating system controls, including in-service limiters and protection functions, with the applicable equipment capabilities and settings of the applicable protection system devices and functions, assuming normal automatic voltage regulator control loop and steady-state system operating conditions, by verifying the following coordination items for each applicable facility: (a) the in-service limiters are set to operate before the protection system of the applicable facility in order to avoid disconnecting the generating unit or synchronous condenser unnecessarily; and (b) the applicable in-service protection system devices are set to operate to isolate or de-energize equipment in order to limit the extent of damage when operating conditions exceed equipment capabilities or stability limits. MR1 Evidence of coordinating the voltage regulating system controls by verifying the coordination items as required in requirement R1 exists. Evidence may include dated documentation that demonstrates the coordination was performed, or other equivalent evidence. | AR1 Please provide: - A list of voltage regulating system controls including limiters and protection functions in-service during the audit period at each applicable facility. | Provide descriptions for AR1 (i) submitted evidence | Embed file or link to evidence | Review the list for completeness. | For AESO use only |
|  | (ii) Dated evidence demonstrating that the entity coordinated voltage regulating system controls1 as per R1, prior to or on the effective date of the reliability standard and at least once every 5 calendar years. Evidence may include P-Q Diagrams,R-X Diagrams, Inverse Time Diagrams, or other equivalent evidence which show: - The settings or operating regions for the voltage regulating system controls (i.e. limiters and protection functions found in AR1(i)); - The applicable equipment capabilities; - The settings or operating regions of other protection system devices and functions for the applicable facility. | Provide descriptions for AR1 (ii) submitted evidence | Embed file or link to evidence | Assuming the normal automatic voltage regulator control loop and steady-state system operating conditions, verify that the voltage regulating system controls have been coordinated with the applicable equipment capabilities and settings of the applicable protection system devices and functions at the facility, including: - The in-service limiters are set to operate before the protection system of the applicable facility in order to avoid disconnecting the generating unit, aggregated generating facility or synchronous condenser unnecessarily; and - The applicable in-service protection system devices are set to operate to isolate or de-energize equipment in order to limit the extent of damage when operating conditions exceed equipment capabilities or stability limits. Verify that the coordination of the voltage regulating system controls occurred at least once every 5 calendar years after either: - The initial coordination was completed prior to or on the effective date of the standand; or - The latest date of coordination as specified in R2. | For AESO use only |
|  | or any other evidence to demonstrate compliance with R1. | Provide descriptions for other submitted evidence | Embed file or link to evidence |  | For AESO use only |
| Findings |  |  |  |  |  |
| For AESO use only |  |  |  |  |  |

Evidence may be provided for the entire population in the initial evidence submission at the entity’s discretion. Otherwise, the AESO will request specific samples.

| Requirement and Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must: (a) by the later of either the effective date of this reliability standard or within 90 days following the identification of unplanned systems, equipment or setting changes that will affect the coordination described in requirement R1; or (b) prior to electrically connecting to the transmission system: (i) a generating unit; (ii) a synchronous condenser; or (iii) a generating unit that is part of an aggregated generating facility; any of which are impacted by planned system, equipment or setting changes that will affect the coordination as described in requirement R1, perform the coordination described in requirement R1. MR2 Evidence of performing the coordination as described in requirement R1 in accordance with the requirements in requirement R2 exists. Evidence may include dated documentation that demonstrates the specified interval in requirement R2(a) has been met or an operator log, or other equivalent evidence. | AR2 Please provide: - A list of unplanned system, equipment or setting changes that affected the coordination described in R1 during the audit period including the date when the change was identified and date when the change occurred. - Dated documentation demonstrating that coordination was performed within 90 days of identification for unplanned changes. | Provide descriptions for AR2 (i) submitted evidence | Embed file or link to evidence | Review AR2(i) list for completeness. Verify that within 90 days following the identification of unplanned system, equipment or setting changes that affected the coordination described in R1, the entity performed the coordination as per R1. | For AESO use only |
|  | - A list of planned system, equipment or setting changes that affected the coordination described in R1 during the audit period including the date when the planned changes occurred and the date(s) that the facility was electrically connected to the transmission system. - Dated documentation demonstrating that coordination was performed prior to electrically connecting to the transmission system for planned changes. | Provide descriptions for AR2 (ii) submitted evidence | Embed file or link to evidence | Review AR2(ii) list for completeness. Verify that prior to electrically connecting to the transmission system, for planned system, equipment or setting changes that affected the coordination described in R1, the entity performed the coordination as per R1. | For AESO use only |
|  | or any other evidence to demonstrate compliance with R2. | Provide descriptions for other submitted evidence | Embed file or link to evidence |  | For AESO use only |
| Findings |  |  |  |  |  |
| For AESO use only |  |  |  |  |  |

## General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

## Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

## Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | October 18, 2021 | Initial version |