# PRC-025-AB-2

# Generator Load Reliability

# Standard Effective Date: 2024-10-01

## Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |
| --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |
| Suspected Non-Compliance to the standard? | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R5]. |
| Date of Completion | [Use YYYY-MM-DD format] |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | Suspected Contraventions | AESO Use Only |
| --- | --- | --- |
|  | Areas of Concern and Observations | AESO Use Only |

## Contact Information

| Audited Entity |  |
| --- | --- |
| Compliance Primary | Name: Title: Phone: Email: |
| Subject Matter Expert | Name: Title: Phone: Email: |

| AESO Team |  |
| --- | --- |
| Lead Auditor | Name: Title: Phone: Email: |
| Auditor | Name: Title: Phone: Email: |
| Compliance Manager | Name: Title: Phone: Email: |
| Standard Owner | Name: Title: Phone: Email: |

## Applicability

This reliability standard applies to:

- the legal owner of a generating unit, including all electrical equipment that connects the stator windings of any generating unit to the transmission system, that is:

  - directly connected to the bulk electric system, or that is part of an industrial complex that is directly connected to the bulk electric system, and has a maximum authorized real power rating greater than 18 MW;

  - within a power plant or industrial complex which:

  - is not part of an aggregated generating facility;

  - is directly connected to the bulk electric system; and

  - has a combined maximum authorized real power rating greater than 67.5 MW;

- a blackstart resource; or

- material to this reliability standard and to the reliability of either the interconnected electric system or the City of Medicine Hat electric system as the ISO determines and publishes on the AESO website and may amend from time to time on notice to market participants in accordance with the process set out in Appendix 1;

- the legal owner of an aggregated generating facility that is:

  - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW;

  - within a power plant or industrial complex which:

  - is directly connected to the bulk electric system; and

  - has a combined maximum authorized real power rating greater than 67.5 MW;

- a blackstart resource; or

- material to this reliability standard and to the reliability of either the interconnected electric system or the City of Medicine Hat electric system as the ISO determines and publishes on the AESO website and may amend from time to time on notice to market participants in accordance with the process set out in Appendix 1;

- the legal owner of a transmission facility that is:

  - part of the bulk electric system; or

  - which the ISO determines is necessary for the reliable operation of either the interconnected electric system or the City of Medicine Hat electric system and publishes on the AESO website and may amend from time to time on notice to market participants in accordance with the process set out in Appendix 1.

## Compliance Assessment

| ### Requirement |  |  | ### Measure |  |  |
| --- | --- | --- | --- | --- | --- |
| R1 Each legal owner of a generating unit, legal owner of an aggregated generating facility, and legal owner of a transmission facility, must apply settings that are in accordance with Appendix 3 - Relay Loadability Evaluation Criteria to protection systems, excluding those listed in Appendix 2 – Excluded Protection Systems, on each load-response protection relay while maintaining reliable fault protection. |  |  | MR1 Evidence of applying protection relay settings in accordance with requirement R1 exists. Evidence may include summaries of coordination studies, calculations, setting sheets, and protection relay test reports or records of installation of settings in protection relays including references to how the requirements of Table 1 and maintaining reliable fault protection have been met, or other equivalent evidence. It is only necessary to provide evidence that the protection relays settings do not limit loadability. PRC-025-AB-2 does not require evidence to be provided that the protection relays reliably detect all fault conditions and protect the applicable system elements from these faults. |  |  |
| ### Evidence Submission | ### Evidence Description | ### Evidence | ### Assessment Approach | ### Auditor Notes |  |
| AR1 Please provide: - A list of all applicable load-responsive protection relays during the audit period. The list should include, but is not limited to, the following information: - Relay Information (i.e., Relay Name, ID, manufacturer, type, version, etc.); - Application (ref.: Column 1 of Table 1 Relay Loadability Evaluation Criteria), - Relay type (ref.: Column 2 of Table 1 Relay Loadability Evaluation Criteria), - Option (ref.: Column 3 of Table 1 Relay Loadability Evaluation Criteria) - Name of the associated generating unit, aggregated generating facility or substation, and - Commissioning date for the relays commissioned during the audit period or - Decommissioning date for relays decommissioned during the audit period. - All applicable P&C diagrams. | Provide descriptions for AR1 (i) submitted evidence: | Relative link to evidence: | Review AR1 (i) list(s) for appropriateness and completeness. | For AESO use only |  |
| - A list of protection systems, if any, excluded based on the criteria set out in Appendix 2 – Excluded Protection Systems. The list should include, but is not limited to, the following information: - Description of each protection relay element or protection system that are excluded; and - The reason of exclusion. | Provide descriptions for AR1 (ii) submitted evidence: | Relative link to evidence: | Review AR1(ii) evidence and verify whether each reason of exclusion is consistent with the criteria set out in Appendix 2 – Excluded Protection Systems. | For AESO use only |  |
| - Evidence that settings for each load responsive relay were applied in accordance with Table 1: Relay Loadability Evaluation Criteria. The evidence may include, but is not limited to, the following information: - Summaries of coordination studies, - Calculations; - Setting sheets; - Protection relay test reports; and/or - Records of installation of settings in protection relays. The evidence should include references to how the criteria in Table 1 Relay Loadability Evaluation Criteria has been met. | Provide descriptions for AR1 (iii) submitted evidence: | Relative link to evidence: | Review AR1 (iii) evidence and verify whether the settings were calculated and implemented in accordance with Table1 Relay Loadability Evaluation Criteria. | For AESO use only |  |
| Note: Evidence may be provided for the entire population in the initial evidence submission at the Entity’s discretion. Otherwise, the AESO will request specific samples. |  |  |  |  |  |
| or any other evidence to demonstrate compliance with R1. | Provide descriptions for other submitted evidence: | Relative link to evidence: | Review any other evidence provided. | For AESO use only |  |

## General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

## Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

## Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | September 20, 2024 | Initial version |