# VAR-002-WECC-AB-1
Automatic Voltage Regulators and Voltage Regulating Systems

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability:

This reliability standard applies to:

- the operator of a generating unit, including those that operate as a synchronous condenser, that:

(i)	is not part of an aggregated generating facility;

(ii)	has a maximum authorized real power rating greater than four point five (4.5) MW; and

(iii)	is directly connected to either the transmission system or to transmission facilities within the City of Medicine Hat;

(b)	the operator of an aggregated generating facility that:

(i)	has a maximum authorized real power rating greater than four point five (4.5) MW; and

(ii)	is directly connected to either the transmission system or to transmission facilities within the City of Medicine Hat; and

(c)	the operator of a transmission facility that operates a synchronous condenser.

# Compliance Assessment

# R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each operator of a generating unit, operator of an aggregated generating facility and operator of a transmission facility that operates a synchronous condenser, must have the automatic voltage regulator or voltage regulating system in service and in automatic voltage control mode for ninety-eight percent (98%) of all operating hours except that the operating hours determined in accordance with requirements R1.1 through R1.12 inclusive may be extended to achieve the ninety-eight percent (98%) requirement. R1.1 The operating hours during which the generating unit, aggregated generating facility or synchronous condenser operates for less than five percent (5%) of all hours during any calendar quarter; R1.2 The operating hours during which maintenance or testing on any of the foregoing was performed, up to a maximum of seven (7) calendar days per calendar quarter; R1.3 The operating hours during which the automatic voltage regulator or voltage regulating system exhibits instability due to an abnormal system configuration; R1.4 The operating hours, up to a maximum of sixty (60) consecutive days per incident, during which the automatic voltage regulator or voltage regulating system is out of service for repair due to component failure; R1.5 The operating hours, up to a maximum of twelve (12) consecutive months, during which the automatic voltage regulator or voltage regulating system had a component failure, provided the operator of a generating unit, operator of an aggregated generating facility or operator of a transmission facility submitted documentation to the ISO identifying the need for time to obtain replacement parts and, if required, to schedule an outage; R1.6 The operating hours, up to a maximum of twenty-four (24) consecutive months during which the automatic voltage regulator or voltage regulating system had a component failure, provided the operator of a generating unit, operator of an aggregated generating facility or operator of a transmission facility submitted documentation to the ISO identifying the need for time for replacement of the excitation system including replacing the automatic voltage regulator or voltage regulating system, limiters, and controls but not necessarily the power source and power bridge, and to schedule an outage; R1.7 The operating hours during which the synchronous generating unit, aggregated generating facility or synchronous condenser is not in commercial operation; R1.8 The operating hours for which the ISO has issued a directive to the operator of a generating unit to operate the generating unit when the automatic voltage regulator is unavailable for service; R1.9 The operating hours for which the ISO has issued a directive to the operator of an aggregated generating facility to operate the aggregated generating facility when the voltage regulating system is unavailable for service; R1.10 The operating hours for which the ISO has issued a directive to an operator of a transmission facility to operate a synchronous condenser when the automatic voltage regulator is unavailable for service; R1.11 The operating hours during which an automatic voltage regulator exhibits instability due to operation of an on-load tap changer transformer in the area when the ISO has authorized the operator of a generating unit or operator of a transmission facility to operate the excitation system in modes other than automatic voltage control until the transmission system configuration changes; and R1.12 The operating hours during which a voltage regulating system exhibits instability due to operation of an on-load tap changer transformer in the area when the ISO has authorized the operator of an aggregated generating facility to operate the voltage regulating system in modes other than automatic voltage control until the transmission system configuration changes. MR1 Evidence of having the automatic voltage regulator or voltage regulating system in service and in automatic voltage control mode as required in requirement R1 exists. Evidence may include documentation that summarizes for each calendar quarter: (a) the number of hours the automatic voltage regulator or voltage regulating system was in service and in automatic voltage control mode while the generating unit, the aggregated generating facility or synchronous condenser was operating; (b) the number of hours the automatic voltage regulator or voltage regulating system was out of service while the generating unit, the aggregated generating facility or synchronous condenser was operating; (c) the number of operating hours excluded in accordance with requirements R1.1 through R1.12; and (d) the percentage of operating hours that the automatic voltage regulator or voltage regulating system was in service, excluding the number of operating hours determined in accordance with requirements R1.1 through R1.12. | AR1 Please provide the following data for each calendar quarter during the audit period: (i) the number of operating hours for each calendar quarter of the audit period for any of: (a) a generating unit, operated either as a generator or a synchronous condenser; or (b) an aggregated generating facility; or (c) a synchronous condenser. | [Click and edit to enter description for AR1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence for appropriateness and completeness. | [For AESO use only] |
|  | (ii) the number of hours the automatic voltage regulator or voltage regulating system was in service and in automatic voltage control mode while the generating unit, the aggregated generating facility or synchronous condenser was operating and any evidence to substantiate that; | [Click and edit to enter description for AR1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence for appropriateness and completeness. | [For AESO use only] |
|  | (iii) the number of operating hours identified in accordance with R1.1 through R1.12, if applicable; | [Click and edit to enter description for AR1(iii) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence for appropriateness. | [For AESO use only] |
|  | (iv) the percentage of operating hours that the automatic voltage regulator or voltage regulating system was in service and in automatic voltage control mode, excluding the number of operating hours determined in accordance with requirements R1.1 through R1.12; | [Click and edit to enter description for AR1(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | Review the evidence to determine whether the automatic voltage regulator(s) or voltage regulating system(s) was in service and in automatic voltage control mode for ninety-eight percent (98%) of all applicable operating hours. | [For AESO use only] |
|  | or any other evidence to demonstrate compliance with requirement R1. | [Click and edit to enter description for any submitted evidence] | [Click and edit to embed file or link to evidence] | Review any other provided evidence to determine whether the automatic voltage regulator or voltage regulating system was in service and in automatic voltage control mode for ninety-eight percent (98%) of all applicable operating hours. | [For AESO use only] |

Findings

[For AESO use only]

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each operator of a generating unit, operator of an aggregated generating facility and operator of a transmission facility must have documentation supporting the identification of the number of operating hours excluded for each requirement in requirements R1.1 through R1.12 inclusive. MR2 Evidence of having documentation as required in requirement R2 exists. Evidence may include a document identifying the subject of each applicable exclusion, the date and the period of time that the exclusion refers to, reasons, the supporting data and the supporting logs. |  | - AR2 Please provide: | [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review any documentation provided for R1.1 through R1.12 to validate that appropriate information, such as: - the requirement number that each exclusion refers to; - the date and the period of time that each exclusion refers to; - brief description of the reasons for outage; - other supporting data, logs or information exists and is supporting the identification of the number of operating hours excluded at R1. | [For AESO use only] |
|  |  | documentation identifying each exclusion listed at AR1(iv), including the date and the period of time that the exclusion refers to, reasons, the supporting data and the supporting logs; |  |  |  |  |
|  |  | or any other evidence to demonstrate compliance with the requirement R2. | [Click and edit to enter description for submitted evidence] | [Click and edit to embed file or link to evidence] | Review any evidence provided to determine if appropriate documentation per requirement R2 exists. | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | April 9, 2013 | Initial version of Worksheet |
| 2.0 | December 17, 2015 | Revised template and content |