VAR-501-WECC-AB-1
Power System Stabilizer

# Audit Summary

| Registered Entity: | [Registered Entity name as it appears in the AESO ARS Registry] |  |
| --- | --- | --- |
| Functional Entity: | [Functional entities for which the Registered Entity above was registered throughout the audit period] |  |
| Audit Period: | From: [Audit start date or standard effective date, whichever comes later] To: [Audit end date or standard withdrawal/supersede date, whichever comes first] |  |
| Audit: | [Scheduled (YYYY-QX) or Spot Check YYYY-MM-DD] |  |
| Compliance Monitoring Entity: | Alberta Electric System Operator (AESO) |  |
| Suspected Non-Compliance to the standard? |  |  |
|  |  | [If Yes, list the requirements with suspected contravention findings e.g. R1, R2, R7] |
| Date of Completion: | [Use YYYY-MM-DD format] |  |

## Assessment Commentary

[Information (if any) relevant to audit findings below]

## Findings

| R1 | [Summary of Findings] |
| --- | --- |
| R2 | [Summary of Findings] |

# Contact Information

| Audited Entity |  |  |
| --- | --- | --- |
| Compliance Primary | [Name] [Title] [Phone] [Email] |  |
| Subject Matter Expert | [Name] [Title] [Phone] [Email] |  |
| AESO Team |  | Sign-off |
| Lead Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Auditor | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Compliance Manager | [Name] [Title] [Phone] [Email] | Date: Signature: |
| Standard Owner | [Name] [Title] [Phone] [Email] | Date: Signature: |

# Applicability

This reliability standard applies to:

(a) the operator of a generating unit equipped with a power system stabilizer that is either:

(i)	directly connected to the bulk electric system or part of an industrial complex that is directly connected to the bulk electric system, and has a maximum authorized real power rating greater than eighteen (18) MW; or

(ii)	within a power plant which:

(A) is not part of an aggregated generating facility;

(B) is directly connected to the bulk electric system; and

(C) has a combined maximum authorized real power rating greater than sixty-seven point five (67.5) MW;

(iii)	a black start resource; or

(iv)	regardless of maximum authorized real power rating, material to this reliability standard and to the reliability of the bulk electric system as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1.

# Compliance Assessment

## R1

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R1 Each operator of a generating unit equipped with a power system stabilizer must have the power system stabilizer in service ninety-eight (98%) of all operating hours except that the operating hours determined in accordance with requirements R 1.1 through 1.12 inclusive may be excluded to achieve the ninety-eight percent (98%) requirement. R1.1 The operating hours during which the generating unit operates for less than five percent (5%) of all hours during any calendar quarter. R1.2 The operating hours during which maintenance or testing on the power system stabilizer was performed, up to a maximum of seven (7) days per calendar quarter. R1.3 The operating hours during which the power system stabilizer exhibits instability due to abnormal system configuration. R1.4 The operating hours during which the generating unit is operating in the synchronous condenser mode and the generating unit is very near or at a zero (0) real power level. R1.5 The operating hours during which the generating unit is generating less real power than its design limit for effective power system stabilizer operation. R1.6 The operating hours during which the generating unit is passing through a range of output that is a known “rough zone” being a range in which a generating unit is experiencing excessive vibration. R1.7 The operating hours during which the automatic voltage regulator of the generating unit is not in service. R1.8 The operating hours, up to a maximum of sixty (60) consecutive days per incident, during which the power system stabilizer is out of service for repair due to a component failure. R1.9 The operating hours, up to a maximum of twelve (12) consecutive months, during which the power system stabilizer had a component failure, but only if the operator of a generating unit submitted documentation to the ISO identifying the need for time to obtain replacement parts and identifying a scheduled outage, if required. R1.10 The operating hours, up to a maximum of twenty-four (24) consecutive months, during which the power system stabilizer had a component failure, but only if the operator of a generating unit submitted documentation to the ISO identifying the need for time to replace the power system stabilizer and to schedule an outage. R1.11 The operating hours during which the generating unit is not in commercial operation. R1.12 The operating hours for which the ISO has issued a directive to the operator of a generating unit to operate the generating unit when the power system stabilizer is unavailable for service. MR1 Evidence of having the power system stabilizer in service as required in requirement R1 exists. Evidence may include documentation that summarizes for each calendar quarter: (a) the number of hours the power system stabilizer was in service while the generating unit was operating; (b) the number of hours the power system stabilizer was out of service while the generating unit was operating; (c) the number of operating hours excluded in accordance with requirements R1.1 through R1.12; and (d) the percentage of operating hours that the power system stabilizer was in service excluding the number of operating hours determined in accordance with requirements R1.1 through R1.12. | - AR1 Please provide the following data for each calendar quarter during the audit period: | - [Click and edit to enter description for AR1(i) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the evidence for appropriateness and completeness. | [For AESO use only] |
|  | - (i) the number of hours the generating unit was operating; |  |  |  |  |
|  | - (ii) the number of hours the power system stabilizer was in service while the generating unit was operating and any evidence to substantiate that; | [Click and edit to enter description for AR1(ii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | - (iii) the number of operating hours identified in accordance with requirements R1.1 through R1.12, if applicable; | [Click and edit to enter description for AR1(iii) submitted evidence] | [Click and edit to embed file or link to evidence] |  | [For AESO use only] |
|  | - (iv) the percentage of operating hours that the power system stabilizer was in service excluding the number of operating hours determined in accordance with requirements R1.1 through R1.12 | [Click and edit to enter description for AR1(iv) submitted evidence] | [Click and edit to embed file or link to evidence] | - Review the evidence to determine whether the audited entity had the power system stabilizer in service for ninety-eight percent (98%) of all applicable operating hours. | [For AESO use only] |
|  | or any other evidence to demonstrate compliance with the requirement R1. | [Click and edit to enter description for any other submitted evidence] | [Click and edit to embed file or link to evidence] | Review any other evidence to determine whether the audited entity had the power system stabilizer(s) in service for ninety-eight percent (98%) of all applicable operating hours. | [For AESO use only] |

Findings

[For AESO use only]

## R2

| # Requirement & Measure | Evidence Submission | Evidence Description | Evidence | Assessment Approach | Auditor Notes |
| --- | --- | --- | --- | --- | --- |
| R2 Each operator of a generating unit must have documentation supporting the identification of the number of operating hours excluded for each requirement in requirements R1.1 through R1.12 inclusive. MR2 Evidence of having documentation as required in requirement R2 exists. Evidence may include a document identifying the subject of each exclusion, the date and the period of time that the exclusion refers to, reasons, the supporting data and the supporting logs. | - AR2 Please provide: | - [Click and edit to enter description for AR2(i) submitted evidence] | [Click and edit to embed file or link to evidence] | Review any documentation provided for R1.1 through R1.12 to validate that appropriate information, such as - the requirement number that each exclusion refers to; - the date and the period of time that each exclusion refers to; - brief description of the reasons for outage; - other supporting data, logs or information exists and is supporting the identification of the number of operating hours excluded at R1. | [For AESO use only] |
|  | documentation identifying exclusion listed at AR1(iii), including the date and the period of time that the exclusion refers to, reasons, the supporting data and the supporting logs; |  |  |  |  |
|  | or any other evidence to support compliance with requirement R2. | [Click and edit to enter description for any submitted evidence] | [Click and edit to embed file or link to evidence] | - Review any other evidence provided to determine if appropriate documentation per requirement R2 exists. | [For AESO use only] |

Findings

[For AESO use only]

# General Notes

The AESO developed this Reliability Standard Audit Worksheet (RSAW) to add clarity and consistency to the audit team’s assessment of compliance with this reliability standard, including the approach elected to assess requirements.

Additionally, the RSAW provides a non-exclusive list of examples of the types of evidence a market participant may produce or may be asked to produce to demonstrate compliance with this reliability standard. A market participant’s adherence to the examples contained within this RSAW does not constitute compliance with the reliability standard.

This document is not an AESO authoritative document and revisions to it may be made from time to time by the AESO. Market participants are notified of revisions through the stakeholder update process.

# Notes to File

[For AESO use only: any observations, remarks or action items for future audits]

# Revision History

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | April 9, 2013 | Initial version of Worksheet |
| 2.0 | December 17, 2015 | Revised template and content |